## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71726 | 2021-04-05 16:15 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3105 | μmol/L | 11.0971 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.586 | 141516.329 | 276442.8621 | 36.4 | 83.1
71735 | 2021-04-05 16:15 | 0.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.1553 | μmol/L | 11.1093 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.587 | 141509.9334 | 276451.6066 | 36.4 | 83.1
71744 | 2021-04-05 16:16 | 0.66087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.1441 | μmol/L | 11.1155 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.585 | 141499.9679 | 276441.1518 | 36.4 | 83.1
71753 | 2021-04-05 16:16 | 0.99379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.0798 | μmol/L | 11.1216 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.585 | 141495.9407 | 276440.2246 | 36.4 | 83.1
71762 | 2021-04-05 16:16 | 1.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.0951 | μmol/L | 11.1277 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.582 | 141486.9619 | 276438.6355 | 36.4 | 83.1
71771 | 2021-04-05 16:17 | 1.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.1104 | μmol/L | 11.1338 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141475.7697 | 276443.9208 | 36.4 | 83.1
71780 | 2021-04-05 16:17 | 1.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.0574 | μmol/L | 11.1338 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.581 | 141456.8948 | 276430.8249 | 36.4 | 83.1
71789 | 2021-04-05 16:17 | 2.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9931 | μmol/L | 11.1399 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.581 | 141466.0804 | 276430.4875 | 36.4 | 83.1
71798 | 2021-04-05 16:18 | 2.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9931 | μmol/L | 11.1399 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.581 | 141436.5041 | 276419.3672 | 36.4 | 83.1
71807 | 2021-04-05 16:18 | 2.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.0992 | μmol/L | 11.1399 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 141436.4064 | 276414.539 | 36.4 | 83.1
71816 | 2021-04-05 16:18 | 3.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9819 | μmol/L | 11.146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141436.9687 | 276411.4683 | 36.4 | 83.1
71825 | 2021-04-05 16:19 | 3.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9819 | μmol/L | 11.146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141428.7976 | 276398.6794 | 36.4 | 83.1
71834 | 2021-04-05 16:19 | 3.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9177 | μmol/L | 11.1521 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141433.9751 | 276393.1444 | 36.4 | 83.1
71843 | 2021-04-05 16:19 | 4.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9065 | μmol/L | 11.1582 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 141417.3904 | 276393.7697 | 36.4 | 83.1
71852 | 2021-04-05 16:20 | 4.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8424 | μmol/L | 11.1643 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 141430.7378 | 276391.8638 | 36.4 | 83.1
71861 | 2021-04-05 16:20 | 4.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7893 | μmol/L | 11.1643 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141431.5015 | 276383.562 | 36.4 | 83.1
71870 | 2021-04-05 16:20 | 5.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7098 | μmol/L | 11.1643 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.582 | 141438.0112 | 276368.6507 | 36.4 | 83.1
71879 | 2021-04-05 16:21 | 5.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.6722 | μmol/L | 11.1705 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.581 | 141426.7899 | 276365.8341 | 36.4 | 83.1
71888 | 2021-04-05 16:21 | 5.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.6346 | μmol/L | 11.1766 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.58 | 141429.7985 | 276364.3125 | 36.4 | 83.1
71897 | 2021-04-05 16:21 | 6.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.6081 | μmol/L | 11.1766 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.581 | 141425.2139 | 276373.8813 | 36.4 | 83.1
71906 | 2021-04-05 16:22 | 6.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.661 | μmol/L | 11.1766 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141414.6806 | 276364.8989 | 36.4 | 83.1
71915 | 2021-04-05 16:22 | 6.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.661 | μmol/L | 11.1766 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141415.8818 | 276353.1758 | 36.4 | 83.1
71924 | 2021-04-05 16:22 | 7.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.5328 | μmol/L | 11.1888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141391.0653 | 276340.0972 | 36.4 | 83.1
71933 | 2021-04-05 16:23 | 7.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4952 | μmol/L | 11.1949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.578 | 141400.2139 | 276354.0268 | 36.4 | 83.1
71942 | 2021-04-05 16:23 | 7.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.5217 | μmol/L | 11.1949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 141375.234 | 276337.7428 | 36.4 | 83.1
71951 | 2021-04-05 16:23 | 8.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.5217 | μmol/L | 11.1949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 141391.0882 | 276339.597 | 36.4 | 83.1
71960 | 2021-04-05 16:24 | 8.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4841 | μmol/L | 11.201 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.576 | 141370.6772 | 276324.536 | 36.4 | 83.1
71969 | 2021-04-05 16:24 | 8.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4047 | μmol/L | 11.201 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 141375.2165 | 276318.586 | 36.4 | 83.1
71978 | 2021-04-05 16:24 | 9.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.42 | μmol/L | 11.2071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.576 | 141344.9475 | 276311.2138 | 36.4 | 83.1
71987 | 2021-04-05 16:25 | 9.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.409 | μmol/L | 11.2132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 141352.087 | 276296.0005 | 36.4 | 83.1
71996 | 2021-04-05 16:25 | 9.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3825 | μmol/L | 11.2132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.575 | 141339.541 | 276292.271 | 36.4 | 83.1
72005 | 2021-04-05 16:25 | 10.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4619 | μmol/L | 11.2132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.572 | 141331.2688 | 276291.8816 | 36.4 | 83.1
72014 | 2021-04-05 16:26 | 10.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.5149 | μmol/L | 11.2132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141318.1682 | 276285.1183 | 36.4 | 83.1
72023 | 2021-04-05 16:26 | 10.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4773 | μmol/L | 11.2193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 141294.1197 | 276268.8614 | 36.4 | 83.1
72032 | 2021-04-05 16:26 | 11.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4662 | μmol/L | 11.2255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141298.8037 | 276282.0529 | 36.4 | 83.1
72041 | 2021-04-05 16:27 | 11.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3868 | μmol/L | 11.2255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141280.8282 | 276289.4795 | 36.4 | 83.1
72050 | 2021-04-05 16:27 | 11.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4022 | μmol/L | 11.2316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141277.6421 | 276279.917 | 36.4 | 83.1
72059 | 2021-04-05 16:27 | 12.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4662 | μmol/L | 11.2255 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141256.4475 | 276264.1947 | 36.4 | 83.1
72068 | 2021-04-05 16:28 | 12.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4022 | μmol/L | 11.2316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141259.9325 | 276264.5894 | 36.4 | 83.1
72077 | 2021-04-05 16:28 | 12.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.4176 | μmol/L | 11.2377 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141242.2468 | 276251.9236 | 36.4 | 83.1
72086 | 2021-04-05 16:28 | 13.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3911 | μmol/L | 11.2377 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141243.7306 | 276258.2066 | 36.4 | 83.1
72095 | 2021-04-05 16:29 | 13.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3271 | μmol/L | 11.2438 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141223.3841 | 276263.9614 | 36.4 | 83.1
72104 | 2021-04-05 16:29 | 13.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.2257 | μmol/L | 11.256 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141228.1796 | 276246.8434 | 36.4 | 83.1
72113 | 2021-04-05 16:29 | 14.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3691 | μmol/L | 11.2499 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.561 | 141205.5223 | 276242.6161 | 36.4 | 83.1
72122 | 2021-04-05 16:30 | 14.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3051 | μmol/L | 11.256 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.561 | 141208.3633 | 276229.2071 | 36.4 | 83.1
72131 | 2021-04-05 16:30 | 14.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3205 | μmol/L | 11.2621 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.558 | 141190.0367 | 276234.488 | 36.4 | 83.1
72140 | 2021-04-05 16:30 | 15.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3051 | μmol/L | 11.256 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.561 | 141191.003 | 276222.8023 | 36.4 | 83.1
72149 | 2021-04-05 16:31 | 15.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.2565 | μmol/L | 11.2682 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.558 | 141195.6797 | 276231.9734 | 36.4 | 83.1
72158 | 2021-04-05 16:31 | 15.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3205 | μmol/L | 11.2621 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.558 | 141180.7212 | 276223.6469 | 36.4 | 83.1
72167 | 2021-04-05 16:31 | 16.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.336 | μmol/L | 11.2682 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 141178.9444 | 276219.856 | 36.4 | 83.1
72176 | 2021-04-05 16:32 | 16.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1661 | μmol/L | 11.2743 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.559 | 141173.8733 | 276220.8622 | 36.4 | 83.1
72185 | 2021-04-05 16:32 | 16.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1397 | μmol/L | 11.2743 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 141175.8309 | 276202.1471 | 36.4 | 83.1
72194 | 2021-04-05 16:32 | 17.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1022 | μmol/L | 11.2805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.559 | 141176.681 | 276218.7747 | 36.4 | 83.1
72203 | 2021-04-05 16:33 | 17.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1132 | μmol/L | 11.2743 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.561 | 141175.2412 | 276203.6332 | 36.4 | 83.1
72212 | 2021-04-05 16:33 | 17.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0383 | μmol/L | 11.2866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.559 | 141155.8896 | 276186.2669 | 36.4 | 83.1
72221 | 2021-04-05 16:33 | 18.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0912 | μmol/L | 11.2866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 141169.3755 | 276198.838 | 36.4 | 83.1
72230 | 2021-04-05 16:34 | 18.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0758 | μmol/L | 11.2805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 141155.2116 | 276196.2004 | 36.4 | 83.1
72239 | 2021-04-05 16:34 | 18.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.948 | μmol/L | 11.2927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 141156.9959 | 276202.5895 | 36.4 | 83.1
72248 | 2021-04-05 16:34 | 19.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8687 | μmol/L | 11.2927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141144.9005 | 276180.8743 | 36.4 | 83.1
72257 | 2021-04-05 16:35 | 19.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9635 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 141150.0658 | 276173.5403 | 36.4 | 83.1
72266 | 2021-04-05 16:35 | 19.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9106 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.559 | 141150.9977 | 276178.3935 | 36.4 | 83.1
72275 | 2021-04-05 16:35 | 20.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8996 | μmol/L | 11.3049 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 141142.1053 | 276165.6141 | 36.4 | 83.1
72284 | 2021-04-05 16:36 | 20.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8996 | μmol/L | 11.3049 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 141149.131 | 276167.5334 | 36.4 | 83.1
72293 | 2021-04-05 16:36 | 20.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6772 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141143.985 | 276164.6854 | 36.4 | 83.1
72302 | 2021-04-05 16:36 | 21.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8093 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.558 | 141147.0212 | 276157.4385 | 36.4 | 83.1
72311 | 2021-04-05 16:37 | 21.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8093 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.558 | 141142.5562 | 276162.0097 | 36.4 | 83.1
72320 | 2021-04-05 16:37 | 21.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.587 | μmol/L | 11.3171 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141164.5364 | 276165.4193 | 36.4 | 83.1
72329 | 2021-04-05 16:37 | 22.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6772 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141149.7339 | 276151.2562 | 36.4 | 83.1
72338 | 2021-04-05 16:38 | 22.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6927 | μmol/L | 11.3171 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 141162.1904 | 276136.8334 | 36.4 | 83.1
72347 | 2021-04-05 16:38 | 22.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4968 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141151.5821 | 276135.6462 | 36.4 | 83.1
72356 | 2021-04-05 16:38 | 23.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5496 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141166.1079 | 276134.5272 | 36.4 | 83.1
72365 | 2021-04-05 16:39 | 23.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6134 | μmol/L | 11.3171 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141158.0944 | 276136.629 | 36.4 | 83.1
72374 | 2021-04-05 16:39 | 23.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4331 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141164.1129 | 276136.9 | 36.4 | 83.1
72383 | 2021-04-05 16:39 | 24.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4067 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.566 | 141156.7521 | 276129.7179 | 36.4 | 83.1
72392 | 2021-04-05 16:40 | 24.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.343 | μmol/L | 11.3355 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.566 | 141162.8168 | 276117.9804 | 36.4 | 83.1
72401 | 2021-04-05 16:40 | 24.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4595 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141149.7234 | 276128.5234 | 36.4 | 83.1
72410 | 2021-04-05 16:40 | 25.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4859 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141154.8808 | 276122.6956 | 36.4 | 83.1
72419 | 2021-04-05 16:41 | 25.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4595 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141134.6792 | 276117.7607 | 36.4 | 83.1
72428 | 2021-04-05 16:41 | 25.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.332 | μmol/L | 11.3416 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141149.0602 | 276110.641 | 36.4 | 83.1
72437 | 2021-04-05 16:41 | 26.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3958 | μmol/L | 11.3355 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141143.4386 | 276119.383 | 36.4 | 83.1
72446 | 2021-04-05 16:42 | 26.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2947 | μmol/L | 11.3477 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141140.5699 | 276101.4822 | 36.4 | 83.1
72455 | 2021-04-05 16:42 | 26.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4222 | μmol/L | 11.3355 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141137.5469 | 276096.0942 | 36.4 | 83.1
72464 | 2021-04-05 16:42 | 27.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1519 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.566 | 141140.0125 | 276102.4543 | 36.4 | 83.1
72473 | 2021-04-05 16:43 | 27.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1256 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141140.6812 | 276100.6764 | 36.4 | 83.1
72482 | 2021-04-05 16:43 | 27.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1256 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141131.9043 | 276090.0286 | 36.4 | 83.1
72491 | 2021-04-05 16:43 | 28.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.0619 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141144.9102 | 276097.8937 | 36.4 | 83.1
72500 | 2021-04-05 16:44 | 28.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2311 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 141143.0285 | 276097.7289 | 36.4 | 83.1
72509 | 2021-04-05 16:44 | 28.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1256 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141154.7563 | 276102.2825 | 36.4 | 83.1
72518 | 2021-04-05 16:44 | 29.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9456 | μmol/L | 11.366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 141137.1209 | 276105.6503 | 36.4 | 83.1
72527 | 2021-04-05 16:45 | 29.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9565 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.571 | 141155.727 | 276097.004 | 36.4 | 83.1
72536 | 2021-04-05 16:45 | 29.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9983 | μmol/L | 11.366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141149.0273 | 276090.1572 | 36.4 | 83.1
72545 | 2021-04-05 16:45 | 30.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9828 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141149.5871 | 276088.9752 | 36.4 | 83.1
72554 | 2021-04-05 16:46 | 30.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.803 | μmol/L | 11.3721 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.572 | 141140.7606 | 276085.6476 | 36.4 | 83.1
72563 | 2021-04-05 16:46 | 30.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7394 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.572 | 141148.9792 | 276093.1341 | 36.4 | 83.1
72572 | 2021-04-05 16:46 | 31.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9084 | μmol/L | 11.3721 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.568 | 141139.6944 | 276072.321 | 36.4 | 83.1
72581 | 2021-04-05 16:47 | 31.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9084 | μmol/L | 11.3721 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.568 | 141137.251 | 276081.7473 | 36.4 | 83.1
72590 | 2021-04-05 16:47 | 31.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8712 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141132.2203 | 276071.7946 | 36.4 | 83.1
72599 | 2021-04-05 16:47 | 32.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8076 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141130.75 | 276070.7139 | 36.4 | 83.1
72608 | 2021-04-05 16:48 | 32.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8076 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141130.5935 | 276076.0122 | 36.4 | 83.1
72617 | 2021-04-05 16:48 | 32.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8231 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141124.8524 | 276078.591 | 36.4 | 83.1
72626 | 2021-04-05 16:48 | 33.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8975 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.566 | 141118.3806 | 276081.4484 | 36.4 | 83.1
72635 | 2021-04-05 16:49 | 33.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7812 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.568 | 141110.0381 | 276053.871 | 36.4 | 83.1
72644 | 2021-04-05 16:49 | 33.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8866 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 141115.8893 | 276071.9593 | 36.4 | 83.1
72653 | 2021-04-05 16:49 | 34.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7441 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141098.8907 | 276074.1992 | 36.4 | 83.1
72662 | 2021-04-05 16:50 | 34.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7812 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.568 | 141116.2931 | 276068.1359 | 36.4 | 83.1
72671 | 2021-04-05 16:50 | 34.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7332 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141099.0721 | 276063.0225 | 36.4 | 83.1
72680 | 2021-04-05 16:50 | 35.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6805 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141115.0534 | 276056.785 | 36.4 | 83.1
72689 | 2021-04-05 16:51 | 35.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7332 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141104.0767 | 276067.4339 | 36.4 | 83.1
72698 | 2021-04-05 16:51 | 35.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5381 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141104.8844 | 276058.4866 | 36.4 | 83.1
72707 | 2021-04-05 16:51 | 36.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5907 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.568 | 141092.5086 | 276050.4089 | 36.4 | 83.1
72716 | 2021-04-05 16:52 | 36.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5644 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 141113.4957 | 276060.8984 | 36.4 | 83.1
72725 | 2021-04-05 16:52 | 36.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7332 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 141092.3751 | 276044.7468 | 36.4 | 83.1
72734 | 2021-04-05 16:52 | 37.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.617 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.567 | 141103.4821 | 276043.2382 | 36.4 | 83.1
72743 | 2021-04-05 16:53 | 37.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5644 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 141111.8067 | 276050.5504 | 36.4 | 83.1
72752 | 2021-04-05 16:53 | 37.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4112 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141114.4232 | 276057.0614 | 36.4 | 83.1
72761 | 2021-04-05 16:53 | 38.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4112 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141106.8412 | 276047.9554 | 36.4 | 83.1
72770 | 2021-04-05 16:54 | 38.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4375 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 141110.2012 | 276042.054 | 36.4 | 83.1
72779 | 2021-04-05 16:54 | 38.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4483 | μmol/L | 11.4088 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.571 | 141108.6582 | 276057.3238 | 36.4 | 83.1
72788 | 2021-04-05 16:54 | 39.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4746 | μmol/L | 11.4088 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 141123.0068 | 276050.8577 | 36.4 | 83.1
72797 | 2021-04-05 16:55 | 39.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4638 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.568 | 141116.4986 | 276039.1192 | 36.4 | 83.1
72806 | 2021-04-05 16:55 | 39.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3585 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.572 | 141129.8735 | 276054.2204 | 36.4 | 83.1
72815 | 2021-04-05 16:55 | 40.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.1791 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 141126.1426 | 276054.2446 | 36.4 | 83.1
72824 | 2021-04-05 16:56 | 40.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.374 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 141137.384 | 276045.6315 | 36.4 | 83.1
72833 | 2021-04-05 16:56 | 40.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3322 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.573 | 141128.0459 | 276051.674 | 36.4 | 83.1
72842 | 2021-04-05 16:56 | 41.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.2425 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 141132.5475 | 276044.4421 | 36.4 | 83.1
72851 | 2021-04-05 16:57 | 41.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.1158 | μmol/L | 11.4332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 141117.1779 | 276035.1035 | 36.4 | 83.1
72860 | 2021-04-05 16:57 | 41.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.2688 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.573 | 141142.0407 | 276044.8873 | 36.4 | 83.1
72869 | 2021-04-05 16:57 | 42.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.258 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.571 | 141122.3107 | 276025.1408 | 36.4 | 83.1
72878 | 2021-04-05 16:58 | 42.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.1791 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 141133.5533 | 276040.9752 | 36.4 | 83.1