## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71728 | 2021-04-05 16:15 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1435 | μmol/L | 11.1131 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.733 | 157850.0442 | 298801.9555 | 59.9307 | 49.4
71737 | 2021-04-05 16:15 | 0.32689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2925 | μmol/L | 11.1131 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157824.0719 | 298764.3 | 59.9307 | 49.4
71746 | 2021-04-05 16:16 | 0.66029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2094 | μmol/L | 11.1193 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157807.9261 | 298763.2103 | 59.9307 | 49.4
71755 | 2021-04-05 16:16 | 0.99309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.176 | μmol/L | 11.1254 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157788.9585 | 298765.2928 | 59.9307 | 49.4
71764 | 2021-04-05 16:16 | 1.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1425 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157773.3884 | 298743.3273 | 59.9307 | 49.4
71773 | 2021-04-05 16:17 | 1.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1425 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157768.7908 | 298764.7639 | 59.9307 | 49.4
71782 | 2021-04-05 16:17 | 1.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1922 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157751.3661 | 298754.1467 | 59.9307 | 49.4
71791 | 2021-04-05 16:17 | 2.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2084 | μmol/L | 11.1377 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 157735.6565 | 298737.4269 | 59.9307 | 49.4
71800 | 2021-04-05 16:18 | 2.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1588 | μmol/L | 11.1377 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.723 | 157722.8899 | 298728.3694 | 59.9307 | 49.4
71809 | 2021-04-05 16:18 | 2.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2332 | μmol/L | 11.1377 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.72 | 157718.2619 | 298713.1845 | 59.9307 | 49.4
71818 | 2021-04-05 16:18 | 3.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.092 | μmol/L | 11.15 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 157699.4025 | 298704.2251 | 59.9307 | 49.4
71827 | 2021-04-05 16:19 | 3.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.175 | μmol/L | 11.1439 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.72 | 157690.8163 | 298675.6798 | 59.9307 | 49.4
71836 | 2021-04-05 16:19 | 3.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1416 | μmol/L | 11.15 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.719 | 157682.2431 | 298684.7024 | 59.9307 | 49.4
71845 | 2021-04-05 16:19 | 4.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2161 | μmol/L | 11.15 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.716 | 157666.3178 | 298674.2 | 59.9307 | 49.4
71854 | 2021-04-05 16:20 | 4.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1827 | μmol/L | 11.1562 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.715 | 157645.3283 | 298670.6277 | 59.9307 | 49.4
71863 | 2021-04-05 16:20 | 4.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0996 | μmol/L | 11.1624 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.716 | 157638.4198 | 298661.6901 | 59.9307 | 49.4
71872 | 2021-04-05 16:20 | 5.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2238 | μmol/L | 11.1624 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157620.363 | 298666.8912 | 59.9307 | 49.4
71881 | 2021-04-05 16:21 | 5.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.199 | μmol/L | 11.1624 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.712 | 157611.3268 | 298674.2299 | 59.9307 | 49.4
71890 | 2021-04-05 16:21 | 5.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1407 | μmol/L | 11.1685 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.712 | 157585.825 | 298665.2549 | 59.9307 | 49.4
71899 | 2021-04-05 16:21 | 6.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2067 | μmol/L | 11.1747 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157591.0207 | 298675.4763 | 59.9307 | 49.4
71908 | 2021-04-05 16:22 | 6.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1322 | μmol/L | 11.1747 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.71 | 157567.3084 | 298646.4197 | 59.9307 | 49.4
71917 | 2021-04-05 16:22 | 6.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1237 | μmol/L | 11.1808 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157563.3599 | 298657.6647 | 59.9307 | 49.4
71926 | 2021-04-05 16:22 | 7.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1237 | μmol/L | 11.1808 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157556.8601 | 298650.5965 | 59.9307 | 49.4
71935 | 2021-04-05 16:23 | 7.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1485 | μmol/L | 11.1808 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157537.7358 | 298638.0696 | 59.9307 | 49.4
71944 | 2021-04-05 16:23 | 7.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1151 | μmol/L | 11.187 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157530.4432 | 298644.8078 | 59.9307 | 49.4
71953 | 2021-04-05 16:23 | 8.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0818 | μmol/L | 11.1931 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157526.4394 | 298635.0851 | 59.9307 | 49.4
71962 | 2021-04-05 16:24 | 8.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0903 | μmol/L | 11.187 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157524.7782 | 298636.0159 | 59.9307 | 49.4
71971 | 2021-04-05 16:24 | 8.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.14 | μmol/L | 11.187 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157525.5943 | 298636.7838 | 59.9307 | 49.4
71980 | 2021-04-05 16:24 | 9.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9244 | μmol/L | 11.1993 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157521.6778 | 298614.1896 | 59.9307 | 49.4
71989 | 2021-04-05 16:25 | 9.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0321 | μmol/L | 11.1931 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157526.2858 | 298610.1785 | 59.9307 | 49.4
71998 | 2021-04-05 16:25 | 9.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0236 | μmol/L | 11.1993 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157520.0979 | 298584.2987 | 59.9307 | 49.4
72007 | 2021-04-05 16:25 | 10.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9244 | μmol/L | 11.1993 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157518.4332 | 298584.5278 | 59.9307 | 49.4
72016 | 2021-04-05 16:26 | 10.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8662 | μmol/L | 11.2055 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157514.8611 | 298575.6987 | 59.9307 | 49.4
72025 | 2021-04-05 16:26 | 10.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.891 | μmol/L | 11.2055 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157509.3359 | 298569.9023 | 59.9307 | 49.4
72034 | 2021-04-05 16:26 | 11.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8329 | μmol/L | 11.2116 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157512.1669 | 298581.726 | 59.9307 | 49.4
72043 | 2021-04-05 16:27 | 11.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8662 | μmol/L | 11.2055 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157501.1633 | 298571.1359 | 59.9307 | 49.4
72052 | 2021-04-05 16:27 | 11.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7748 | μmol/L | 11.2178 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157496.7988 | 298566.2518 | 59.9307 | 49.4
72061 | 2021-04-05 16:27 | 12.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7748 | μmol/L | 11.2178 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157491.1812 | 298559.8341 | 59.9307 | 49.4
72070 | 2021-04-05 16:28 | 12.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.75 | μmol/L | 11.2178 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157477.484 | 298535.6872 | 59.9307 | 49.4
72079 | 2021-04-05 16:28 | 12.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.816 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.704 | 157481.2898 | 298552.6804 | 59.9307 | 49.4
72088 | 2021-04-05 16:28 | 13.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.692 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157469.6358 | 298550.4797 | 59.9307 | 49.4
72097 | 2021-04-05 16:29 | 13.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.692 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157475.4683 | 298541.5809 | 59.9307 | 49.4
72106 | 2021-04-05 16:29 | 13.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6091 | μmol/L | 11.2301 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.71 | 157470.1581 | 298531.0571 | 59.9307 | 49.4
72115 | 2021-04-05 16:29 | 14.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7168 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157469.9238 | 298535.6611 | 59.9307 | 49.4
72124 | 2021-04-05 16:30 | 14.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6587 | μmol/L | 11.2301 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157463.0706 | 298521.5819 | 59.9307 | 49.4
72133 | 2021-04-05 16:30 | 14.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6254 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157454.944 | 298533.7875 | 59.9307 | 49.4
72142 | 2021-04-05 16:30 | 15.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6835 | μmol/L | 11.2301 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157443.864 | 298504.2034 | 59.9307 | 49.4
72151 | 2021-04-05 16:31 | 15.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5759 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157436.441 | 298512.4176 | 59.9307 | 49.4
72160 | 2021-04-05 16:31 | 15.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.675 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157435.378 | 298512.3667 | 59.9307 | 49.4
72169 | 2021-04-05 16:31 | 16.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5674 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157428.5639 | 298522.8675 | 59.9307 | 49.4
72178 | 2021-04-05 16:32 | 16.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5674 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157413.9564 | 298526.2771 | 59.9307 | 49.4
72187 | 2021-04-05 16:32 | 16.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.617 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157406.8643 | 298519.2038 | 59.9307 | 49.4
72196 | 2021-04-05 16:32 | 17.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6085 | μmol/L | 11.2486 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.703 | 157403.6019 | 298517.8054 | 59.9307 | 49.4
72205 | 2021-04-05 16:33 | 17.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7409 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.7 | 157406.745 | 298509.2075 | 59.9307 | 49.4
72214 | 2021-04-05 16:33 | 17.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5589 | μmol/L | 11.2486 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157387.0731 | 298508.9941 | 59.9307 | 49.4
72223 | 2021-04-05 16:33 | 18.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5257 | μmol/L | 11.2547 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.704 | 157383.9598 | 298513.7547 | 59.9307 | 49.4
72232 | 2021-04-05 16:34 | 18.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6085 | μmol/L | 11.2486 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.703 | 157390.424 | 298519.5081 | 59.9307 | 49.4
72241 | 2021-04-05 16:34 | 18.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4182 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157387.9974 | 298482.4623 | 59.9307 | 49.4
72250 | 2021-04-05 16:34 | 19.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3686 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157390.5884 | 298503.4117 | 59.9307 | 49.4
72259 | 2021-04-05 16:35 | 19.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4677 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.704 | 157399.8067 | 298495.4991 | 59.9307 | 49.4
72268 | 2021-04-05 16:35 | 19.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3602 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157398.5347 | 298483.4073 | 59.9307 | 49.4
72277 | 2021-04-05 16:35 | 20.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3602 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157407.5258 | 298489.3421 | 59.9307 | 49.4
72286 | 2021-04-05 16:36 | 20.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2032 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.71 | 157412.209 | 298487.5189 | 59.9307 | 49.4
72295 | 2021-04-05 16:36 | 20.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2859 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157402.7662 | 298474.3766 | 59.9307 | 49.4
72304 | 2021-04-05 16:36 | 21.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3023 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157406.4826 | 298476.2874 | 59.9307 | 49.4
72313 | 2021-04-05 16:37 | 21.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3107 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157402.1671 | 298471.5453 | 59.9307 | 49.4
72322 | 2021-04-05 16:37 | 21.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1206 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157401.2032 | 298483.4357 | 59.9307 | 49.4
72331 | 2021-04-05 16:37 | 22.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3023 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157391.4268 | 298456.8328 | 59.9307 | 49.4
72340 | 2021-04-05 16:38 | 22.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3023 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157384.9589 | 298440.3161 | 59.9307 | 49.4
72349 | 2021-04-05 16:38 | 22.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2443 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157377.2937 | 298450.1734 | 59.9307 | 49.4
72358 | 2021-04-05 16:38 | 23.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2111 | μmol/L | 11.2855 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157378.1869 | 298437.7264 | 59.9307 | 49.4
72367 | 2021-04-05 16:39 | 23.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1369 | μmol/L | 11.2855 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157363.0022 | 298428.2462 | 59.9307 | 49.4
72376 | 2021-04-05 16:39 | 23.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1122 | μmol/L | 11.2855 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.709 | 157369.9914 | 298457.3517 | 59.9307 | 49.4
72385 | 2021-04-05 16:39 | 24.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2938 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.704 | 157359.5723 | 298437.5545 | 59.9307 | 49.4
72394 | 2021-04-05 16:40 | 24.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1285 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157358.1585 | 298434.2827 | 59.9307 | 49.4
72403 | 2021-04-05 16:40 | 24.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1696 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.702 | 157344.6108 | 298432.2495 | 59.9307 | 49.4
72412 | 2021-04-05 16:40 | 25.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1285 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157337.7159 | 298423.201 | 59.9307 | 49.4
72421 | 2021-04-05 16:41 | 25.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1038 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157342.0914 | 298422.7829 | 59.9307 | 49.4
72430 | 2021-04-05 16:41 | 25.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1038 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157360.8088 | 298448.2117 | 59.9307 | 49.4
72439 | 2021-04-05 16:41 | 26.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.0211 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.708 | 157363.0013 | 298427.5726 | 59.9307 | 49.4
72448 | 2021-04-05 16:42 | 26.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9717 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.71 | 157366.6252 | 298428.318 | 59.9307 | 49.4
72457 | 2021-04-05 16:42 | 26.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8975 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.713 | 157377.4964 | 298424.4964 | 59.9307 | 49.4
72466 | 2021-04-05 16:42 | 27.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8891 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157381.7132 | 298416.4618 | 59.9307 | 49.4
72475 | 2021-04-05 16:43 | 27.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8397 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.713 | 157400.234 | 298406.1841 | 59.9307 | 49.4
72484 | 2021-04-05 16:43 | 27.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8397 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.713 | 157388.4029 | 298409.4126 | 59.9307 | 49.4
72493 | 2021-04-05 16:43 | 28.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7902 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.715 | 157393.9023 | 298401.0821 | 59.9307 | 49.4
72502 | 2021-04-05 16:44 | 28.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.683 | μmol/L | 11.3101 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.717 | 157397.9433 | 298402.0862 | 59.9307 | 49.4
72511 | 2021-04-05 16:44 | 28.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6993 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.714 | 157401.9934 | 298398.9134 | 59.9307 | 49.4
72520 | 2021-04-05 16:44 | 29.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6499 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.716 | 157408.6176 | 298413.3236 | 59.9307 | 49.4
72529 | 2021-04-05 16:45 | 29.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7408 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.717 | 157412.9118 | 298408.8257 | 59.9307 | 49.4
72538 | 2021-04-05 16:45 | 29.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6005 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.718 | 157420.9793 | 298410.7793 | 59.9307 | 49.4
72547 | 2021-04-05 16:45 | 30.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4687 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 157426.6859 | 298398.4199 | 59.9307 | 49.4
72556 | 2021-04-05 16:46 | 30.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4687 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 157441.7015 | 298398.9493 | 59.9307 | 49.4
72565 | 2021-04-05 16:46 | 30.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3947 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157470.0938 | 298415.1774 | 59.9307 | 49.4
72574 | 2021-04-05 16:46 | 31.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4031 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157474.2112 | 298433.5068 | 59.9307 | 49.4
72583 | 2021-04-05 16:47 | 31.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.296 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157484.8124 | 298409.9805 | 59.9307 | 49.4
72592 | 2021-04-05 16:47 | 31.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3453 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157508.8225 | 298399.1653 | 59.9307 | 49.4
72601 | 2021-04-05 16:47 | 32.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.263 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157503.3196 | 298413.6948 | 59.9307 | 49.4
72610 | 2021-04-05 16:48 | 32.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.189 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.73 | 157503.33 | 298401.4325 | 59.9307 | 49.4
72619 | 2021-04-05 16:48 | 32.9933 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.156 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.729 | 157494.3864 | 298385.7449 | 59.9307 | 49.4
72628 | 2021-04-05 16:48 | 33.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1313 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.73 | 157498.0629 | 298379.0004 | 59.9307 | 49.4
72637 | 2021-04-05 16:49 | 33.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1723 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157486.4777 | 298400.4518 | 59.9307 | 49.4
72646 | 2021-04-05 16:49 | 33.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2137 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.729 | 157486.57 | 298385.0918 | 59.9307 | 49.4
72655 | 2021-04-05 16:49 | 34.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1807 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157482.2967 | 298365.703 | 59.9307 | 49.4
72664 | 2021-04-05 16:50 | 34.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2546 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157474.4561 | 298379.1044 | 59.9307 | 49.4
72673 | 2021-04-05 16:50 | 34.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2546 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157465.9813 | 298385.0184 | 59.9307 | 49.4
72682 | 2021-04-05 16:50 | 35.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1807 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157466.3493 | 298389.1159 | 59.9307 | 49.4
72691 | 2021-04-05 16:51 | 35.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2463 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.723 | 157450.9625 | 298370.5577 | 59.9307 | 49.4
72700 | 2021-04-05 16:51 | 35.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1723 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157461.5496 | 298374.48 | 59.9307 | 49.4
72709 | 2021-04-05 16:51 | 36.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1476 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157452.5454 | 298368.7975 | 59.9307 | 49.4
72718 | 2021-04-05 16:52 | 36.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1476 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157457.2665 | 298388.292 | 59.9307 | 49.4
72727 | 2021-04-05 16:52 | 36.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.09 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157435.2913 | 298362.9375 | 59.9307 | 49.4
72736 | 2021-04-05 16:52 | 37.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1063 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157432.1996 | 298357.9739 | 59.9307 | 49.4
72745 | 2021-04-05 16:53 | 37.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1886 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.723 | 157439.0025 | 298363.9936 | 59.9307 | 49.4
72754 | 2021-04-05 16:53 | 37.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1063 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157440.7062 | 298359.8318 | 59.9307 | 49.4
72763 | 2021-04-05 16:53 | 38.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1063 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157436.6011 | 298358.2134 | 59.9307 | 49.4
72772 | 2021-04-05 16:54 | 38.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.131 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.723 | 157437.6025 | 298366.3611 | 59.9307 | 49.4
72781 | 2021-04-05 16:54 | 38.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1063 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157442.1979 | 298371.668 | 59.9307 | 49.4
72790 | 2021-04-05 16:54 | 39.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.024 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157449.0368 | 298372.7145 | 59.9307 | 49.4
72799 | 2021-04-05 16:55 | 39.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1393 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157435.1322 | 298349.7827 | 59.9307 | 49.4
72808 | 2021-04-05 16:55 | 39.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9009 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.73 | 157442.2327 | 298352.464 | 59.9307 | 49.4
72817 | 2021-04-05 16:55 | 40.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0817 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157444.5252 | 298364.8177 | 59.9307 | 49.4
72826 | 2021-04-05 16:56 | 40.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8762 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.731 | 157464.0403 | 298364.9604 | 59.9307 | 49.4
72835 | 2021-04-05 16:56 | 40.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9748 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157453.5673 | 298346.1058 | 59.9307 | 49.4
72844 | 2021-04-05 16:56 | 41.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8679 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.729 | 157456.9257 | 298378.1655 | 59.9307 | 49.4
72853 | 2021-04-05 16:57 | 41.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9172 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157461.7545 | 298367.0226 | 59.9307 | 49.4
72862 | 2021-04-05 16:57 | 41.9933 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9009 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.73 | 157461.174 | 298358.9312 | 59.9307 | 49.4
72871 | 2021-04-05 16:57 | 42.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9501 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157465.0311 | 298372.5335 | 59.9307 | 49.4
72880 | 2021-04-05 16:58 | 42.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8925 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157473.5572 | 298372.4568 | 59.9307 | 49.4