## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71729 | 2021-04-05 16:15 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0055 | μmol/L | 11.231 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.991 | 156441.8623 | 313182.1323 | 33.25 | 68.6
71738 | 2021-04-05 16:15 | 0.32713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.1554 | μmol/L | 11.2249 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156439.8712 | 313215.2692 | 33.25 | 68.6
71747 | 2021-04-05 16:16 | 0.66103 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0176 | μmol/L | 11.2371 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.988 | 156430.9843 | 313214.6665 | 33.25 | 68.6
71756 | 2021-04-05 16:16 | 0.99375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.0066 | μmol/L | 11.2431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156409.4458 | 313212.7619 | 33.25 | 68.6
71765 | 2021-04-05 16:16 | 1.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.9151 | μmol/L | 11.2553 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.985 | 156390.683 | 313202.492 | 33.25 | 68.6
71774 | 2021-04-05 16:17 | 1.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.9603 | μmol/L | 11.2431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.988 | 156390.1647 | 313196.6737 | 33.25 | 68.6
71783 | 2021-04-05 16:17 | 1.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8688 | μmol/L | 11.2553 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156382.0103 | 313190.9962 | 33.25 | 68.6
71792 | 2021-04-05 16:17 | 2.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8347 | μmol/L | 11.2613 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156361.5809 | 313183.821 | 33.25 | 68.6
71801 | 2021-04-05 16:18 | 2.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8809 | μmol/L | 11.2613 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156352.2882 | 313175.7938 | 33.25 | 68.6
71810 | 2021-04-05 16:18 | 2.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8468 | μmol/L | 11.2674 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.983 | 156340.4899 | 313177.3918 | 33.25 | 68.6
71819 | 2021-04-05 16:18 | 3.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.7433 | μmol/L | 11.2735 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.985 | 156332.6106 | 313155.2094 | 33.25 | 68.6
71828 | 2021-04-05 16:19 | 3.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.8358 | μmol/L | 11.2735 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.981 | 156323.2428 | 313144.0569 | 33.25 | 68.6
71837 | 2021-04-05 16:19 | 3.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.7895 | μmol/L | 11.2735 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.983 | 156314.7426 | 313142.92 | 33.25 | 68.6
71846 | 2021-04-05 16:19 | 4.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.7664 | μmol/L | 11.2735 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.984 | 156326.4707 | 313138.2705 | 33.25 | 68.6
71855 | 2021-04-05 16:20 | 4.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5365 | μmol/L | 11.2856 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.989 | 156312.3817 | 313128.9722 | 33.25 | 68.6
71864 | 2021-04-05 16:20 | 4.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.6058 | μmol/L | 11.2856 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.986 | 156318.6975 | 313125.6638 | 33.25 | 68.6
71873 | 2021-04-05 16:20 | 5.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5596 | μmol/L | 11.2856 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.988 | 156327.7039 | 313129.8949 | 33.25 | 68.6
71882 | 2021-04-05 16:21 | 5.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.5827 | μmol/L | 11.2856 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.987 | 156318.6931 | 313106.8816 | 33.25 | 68.6
71891 | 2021-04-05 16:21 | 5.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4903 | μmol/L | 11.2856 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.991 | 156321.7133 | 313111.2989 | 33.25 | 68.6
71900 | 2021-04-05 16:21 | 6.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.4793 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.989 | 156322.4517 | 313096.7472 | 33.25 | 68.6
71909 | 2021-04-05 16:22 | 6.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3529 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.992 | 156325.1506 | 313100.1927 | 33.25 | 68.6
71918 | 2021-04-05 16:22 | 6.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.3529 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.992 | 156321.7654 | 313086.5912 | 33.25 | 68.6
71927 | 2021-04-05 16:22 | 7.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2156 | μmol/L | 11.3099 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.993 | 156332.2139 | 313064.7659 | 33.25 | 68.6
71936 | 2021-04-05 16:23 | 7.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.2266 | μmol/L | 11.3038 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.995 | 156340.5047 | 313082.4702 | 33.25 | 68.6
71945 | 2021-04-05 16:23 | 7.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.1695 | μmol/L | 11.3099 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.995 | 156346.1772 | 313075.2134 | 33.25 | 68.6
71954 | 2021-04-05 16:23 | 8.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.0082 | μmol/L | 11.3099 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.002 | 156360.2489 | 313065.7516 | 33.25 | 68.6
71963 | 2021-04-05 16:24 | 8.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.0093 | μmol/L | 11.3221 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.997 | 156364.7985 | 313053.6012 | 33.25 | 68.6
71972 | 2021-04-05 16:24 | 8.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 280.0203 | μmol/L | 11.316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.999 | 156372.6159 | 313051.5099 | 33.25 | 68.6
71981 | 2021-04-05 16:24 | 9.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9742 | μmol/L | 11.316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.001 | 156369.2366 | 313039.0508 | 33.25 | 68.6
71990 | 2021-04-05 16:25 | 9.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9281 | μmol/L | 11.316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.003 | 156375.1625 | 313044.6686 | 33.25 | 68.6
71999 | 2021-04-05 16:25 | 9.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.768 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.005 | 156382.7562 | 313030.1003 | 33.25 | 68.6
72008 | 2021-04-05 16:25 | 10.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.722 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.007 | 156380.4776 | 313021.4101 | 33.25 | 68.6
72017 | 2021-04-05 16:26 | 10.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.722 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.007 | 156384.1541 | 313025.0681 | 33.25 | 68.6
72026 | 2021-04-05 16:26 | 10.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.619 | μmol/L | 11.3342 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156380.5778 | 313017.2084 | 33.25 | 68.6
72035 | 2021-04-05 16:26 | 11.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.688 | μmol/L | 11.3342 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.006 | 156371.1663 | 312998.962 | 33.25 | 68.6
72044 | 2021-04-05 16:27 | 11.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.6529 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156377.1113 | 313002.0743 | 33.25 | 68.6
72053 | 2021-04-05 16:27 | 11.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.642 | μmol/L | 11.3342 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.008 | 156371.1375 | 312989.3186 | 33.25 | 68.6
72062 | 2021-04-05 16:27 | 12.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4931 | μmol/L | 11.3403 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156369.818 | 312994.2246 | 33.25 | 68.6
72071 | 2021-04-05 16:28 | 12.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5621 | μmol/L | 11.3403 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156378.1111 | 313000.9986 | 33.25 | 68.6
72080 | 2021-04-05 16:28 | 12.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5851 | μmol/L | 11.3403 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.008 | 156362.217 | 312988.04 | 33.25 | 68.6
72089 | 2021-04-05 16:28 | 13.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5281 | μmol/L | 11.3463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.008 | 156355.8858 | 312981.8852 | 33.25 | 68.6
72098 | 2021-04-05 16:29 | 13.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5851 | μmol/L | 11.3403 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.008 | 156352.777 | 312968.859 | 33.25 | 68.6
72107 | 2021-04-05 16:29 | 13.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4482 | μmol/L | 11.3524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156366.2588 | 312977.2094 | 33.25 | 68.6
72116 | 2021-04-05 16:29 | 14.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4482 | μmol/L | 11.3524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156351.8863 | 312954.9163 | 33.25 | 68.6
72125 | 2021-04-05 16:30 | 14.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4252 | μmol/L | 11.3524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156353.166 | 312954.7616 | 33.25 | 68.6
72134 | 2021-04-05 16:30 | 14.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3683 | μmol/L | 11.3585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156356.0304 | 312953.2787 | 33.25 | 68.6
72143 | 2021-04-05 16:30 | 15.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3454 | μmol/L | 11.3585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.011 | 156356.9128 | 312950.012 | 33.25 | 68.6
72152 | 2021-04-05 16:31 | 15.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3224 | μmol/L | 11.3585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156353.9602 | 312939.1541 | 33.25 | 68.6
72161 | 2021-04-05 16:31 | 15.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2885 | μmol/L | 11.3646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.011 | 156362.1013 | 312931.0247 | 33.25 | 68.6
72170 | 2021-04-05 16:31 | 16.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3115 | μmol/L | 11.3646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156365.047 | 312933.1737 | 33.25 | 68.6
72179 | 2021-04-05 16:32 | 16.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2087 | μmol/L | 11.3706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156360.1847 | 312927.7782 | 33.25 | 68.6
72188 | 2021-04-05 16:32 | 16.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1857 | μmol/L | 11.3706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.013 | 156364.8071 | 312917.6737 | 33.25 | 68.6
72197 | 2021-04-05 16:32 | 17.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1059 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.014 | 156364.0074 | 312909.641 | 33.25 | 68.6
72206 | 2021-04-05 16:33 | 17.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.06 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.016 | 156374.1949 | 312902.236 | 33.25 | 68.6
72215 | 2021-04-05 16:33 | 17.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0829 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.015 | 156373.3512 | 312898.8397 | 33.25 | 68.6
72224 | 2021-04-05 16:33 | 18.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9573 | μmol/L | 11.3828 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.018 | 156368.3829 | 312894.1116 | 33.25 | 68.6
72233 | 2021-04-05 16:34 | 18.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.06 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.016 | 156370.9465 | 312895.5389 | 33.25 | 68.6
72242 | 2021-04-05 16:34 | 18.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0032 | μmol/L | 11.3828 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.016 | 156370.535 | 312884.8984 | 33.25 | 68.6
72251 | 2021-04-05 16:34 | 19.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9464 | μmol/L | 11.3888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.016 | 156361.9151 | 312902.3525 | 33.25 | 68.6
72260 | 2021-04-05 16:35 | 19.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9005 | μmol/L | 11.3888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.018 | 156353.5226 | 312877.8182 | 33.25 | 68.6
72269 | 2021-04-05 16:35 | 19.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9235 | μmol/L | 11.3888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.017 | 156347.2746 | 312870.536 | 33.25 | 68.6
72278 | 2021-04-05 16:35 | 20.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9235 | μmol/L | 11.3888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.017 | 156327.827 | 312868.3707 | 33.25 | 68.6
72287 | 2021-04-05 16:36 | 20.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0044 | μmol/L | 11.3949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.011 | 156322.0953 | 312863.2188 | 33.25 | 68.6
72296 | 2021-04-05 16:36 | 20.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9585 | μmol/L | 11.3949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.013 | 156316.7497 | 312862.3008 | 33.25 | 68.6
72305 | 2021-04-05 16:36 | 21.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9018 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.013 | 156302.3593 | 312858.0131 | 33.25 | 68.6
72314 | 2021-04-05 16:37 | 21.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9936 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156289.5679 | 312843.4218 | 33.25 | 68.6
72323 | 2021-04-05 16:37 | 21.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9247 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156290.9215 | 312854.9867 | 33.25 | 68.6
72332 | 2021-04-05 16:37 | 22.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9476 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.011 | 156278.3632 | 312852.8905 | 33.25 | 68.6
72341 | 2021-04-05 16:38 | 22.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9827 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.007 | 156274.1042 | 312844.8351 | 33.25 | 68.6
72350 | 2021-04-05 16:38 | 22.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9247 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156263.5909 | 312840.301 | 33.25 | 68.6
72359 | 2021-04-05 16:38 | 23.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8112 | μmol/L | 11.4131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156256.1422 | 312839.6949 | 33.25 | 68.6
72368 | 2021-04-05 16:39 | 23.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.0274 | μmol/L | 11.3949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156262.4758 | 312837.4574 | 33.25 | 68.6
72377 | 2021-04-05 16:39 | 23.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8801 | μmol/L | 11.4131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156254.0709 | 312820.1896 | 33.25 | 68.6
72386 | 2021-04-05 16:39 | 24.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8004 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156262.5734 | 312832.0586 | 33.25 | 68.6
72395 | 2021-04-05 16:40 | 24.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8571 | μmol/L | 11.4131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.01 | 156261.0467 | 312822.8837 | 33.25 | 68.6
72404 | 2021-04-05 16:40 | 24.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8233 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.009 | 156257.8769 | 312823.0234 | 33.25 | 68.6
72413 | 2021-04-05 16:40 | 25.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8342 | μmol/L | 11.4131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.011 | 156262.6822 | 312824.4994 | 33.25 | 68.6
72422 | 2021-04-05 16:41 | 25.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7316 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.013 | 156266.0355 | 312823.5335 | 33.25 | 68.6
72431 | 2021-04-05 16:41 | 25.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7087 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.014 | 156274.3679 | 312812.0136 | 33.25 | 68.6
72440 | 2021-04-05 16:41 | 26.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6857 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.015 | 156288.6315 | 312810.1711 | 33.25 | 68.6
72449 | 2021-04-05 16:42 | 26.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5832 | μmol/L | 11.4253 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.017 | 156298.1413 | 312824.7545 | 33.25 | 68.6
72458 | 2021-04-05 16:42 | 26.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6628 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.016 | 156303.0747 | 312798.2762 | 33.25 | 68.6
72467 | 2021-04-05 16:42 | 27.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3891 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.023 | 156328.2267 | 312802.8531 | 33.25 | 68.6
72476 | 2021-04-05 16:43 | 27.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2638 | μmol/L | 11.4374 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.026 | 156340.9427 | 312786.5209 | 33.25 | 68.6
72485 | 2021-04-05 16:43 | 27.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3204 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.026 | 156352.0547 | 312805.4762 | 33.25 | 68.6
72494 | 2021-04-05 16:43 | 28.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2975 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.027 | 156375.3596 | 312800.2075 | 33.25 | 68.6
72503 | 2021-04-05 16:44 | 28.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.206 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.031 | 156396.4996 | 312788.45 | 33.25 | 68.6
72512 | 2021-04-05 16:44 | 28.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.1723 | μmol/L | 11.4374 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.03 | 156399.2414 | 312784.9182 | 33.25 | 68.6
72521 | 2021-04-05 16:44 | 29.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.0916 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.036 | 156421.6561 | 312775.9408 | 33.25 | 68.6
72530 | 2021-04-05 16:45 | 29.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.9556 | μmol/L | 11.4435 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.037 | 156434.7776 | 312779.5563 | 33.25 | 68.6
72539 | 2021-04-05 16:45 | 29.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.8414 | μmol/L | 11.4435 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.042 | 156449.343 | 312783.4172 | 33.25 | 68.6
72548 | 2021-04-05 16:45 | 30.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.8306 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.04 | 156452.3245 | 312764.5358 | 33.25 | 68.6
72557 | 2021-04-05 16:46 | 30.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.8642 | μmol/L | 11.4435 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.041 | 156464.758 | 312779.5017 | 33.25 | 68.6
72566 | 2021-04-05 16:46 | 30.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.8414 | μmol/L | 11.4435 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.042 | 156472.6282 | 312755.6233 | 33.25 | 68.6
72575 | 2021-04-05 16:46 | 31.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.762 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.043 | 156482.1238 | 312753.1174 | 33.25 | 68.6
72584 | 2021-04-05 16:47 | 31.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6935 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.046 | 156479.1554 | 312761.2437 | 33.25 | 68.6
72593 | 2021-04-05 16:47 | 31.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6935 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.046 | 156485.0672 | 312765.8771 | 33.25 | 68.6
72602 | 2021-04-05 16:47 | 32.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6935 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.046 | 156498.1904 | 312754.1471 | 33.25 | 68.6
72611 | 2021-04-05 16:48 | 32.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6707 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.047 | 156513.7156 | 312761.6273 | 33.25 | 68.6
72620 | 2021-04-05 16:48 | 32.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5458 | μmol/L | 11.4556 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.05 | 156516.5024 | 312749.9494 | 33.25 | 68.6
72629 | 2021-04-05 16:48 | 33.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5458 | μmol/L | 11.4556 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.05 | 156525.8869 | 312737.8775 | 33.25 | 68.6
72638 | 2021-04-05 16:49 | 33.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4437 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.052 | 156526.873 | 312742.5943 | 33.25 | 68.6
72647 | 2021-04-05 16:49 | 33.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4773 | μmol/L | 11.4556 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 156540.544 | 312751.5421 | 33.25 | 68.6
72656 | 2021-04-05 16:49 | 34.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4209 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 156535.0279 | 312748.0945 | 33.25 | 68.6
72665 | 2021-04-05 16:50 | 34.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3645 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 156552.4836 | 312745.285 | 33.25 | 68.6
72674 | 2021-04-05 16:50 | 34.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5109 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.054 | 156550.6442 | 312732.284 | 33.25 | 68.6
72683 | 2021-04-05 16:50 | 35.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1486 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.06 | 156560.9173 | 312738.4496 | 33.25 | 68.6
72692 | 2021-04-05 16:51 | 35.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3753 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156562.0088 | 312729.5438 | 33.25 | 68.6
72701 | 2021-04-05 16:51 | 35.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2961 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.056 | 156558.8717 | 312732.3269 | 33.25 | 68.6
72710 | 2021-04-05 16:51 | 36.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3525 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.056 | 156553.7127 | 312723.0875 | 33.25 | 68.6
72719 | 2021-04-05 16:52 | 36.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1942 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.058 | 156557.1322 | 312720.6298 | 33.25 | 68.6
72728 | 2021-04-05 16:52 | 36.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1942 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.058 | 156559.5306 | 312725.666 | 33.25 | 68.6
72737 | 2021-04-05 16:52 | 37.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2625 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156540.6716 | 312713.6793 | 33.25 | 68.6
72746 | 2021-04-05 16:53 | 37.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1834 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.056 | 156547.3 | 312718.7036 | 33.25 | 68.6
72755 | 2021-04-05 16:53 | 37.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1606 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.057 | 156536.2134 | 312719.6948 | 33.25 | 68.6
72764 | 2021-04-05 16:53 | 38.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2062 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156531.4225 | 312724.7075 | 33.25 | 68.6
72773 | 2021-04-05 16:54 | 38.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2062 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156530.6562 | 312721.4143 | 33.25 | 68.6
72782 | 2021-04-05 16:54 | 38.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2182 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.052 | 156533.6433 | 312714.5729 | 33.25 | 68.6
72791 | 2021-04-05 16:54 | 39.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1955 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 156540.4663 | 312726.0002 | 33.25 | 68.6
72800 | 2021-04-05 16:55 | 39.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2062 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156532.0528 | 312711.5361 | 33.25 | 68.6
72809 | 2021-04-05 16:55 | 39.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2062 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156533.83 | 312717.1427 | 33.25 | 68.6
72818 | 2021-04-05 16:55 | 40.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1727 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.054 | 156543.2391 | 312715.7955 | 33.25 | 68.6
72827 | 2021-04-05 16:56 | 40.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1271 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.056 | 156535.3679 | 312708.7824 | 33.25 | 68.6
72836 | 2021-04-05 16:56 | 40.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1043 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.057 | 156538.071 | 312718.8967 | 33.25 | 68.6
72845 | 2021-04-05 16:56 | 41.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1955 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 156541.0192 | 312727.4624 | 33.25 | 68.6
72854 | 2021-04-05 16:57 | 41.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1271 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.056 | 156545.5858 | 312712.6783 | 33.25 | 68.6
72863 | 2021-04-05 16:57 | 41.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1043 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.057 | 156534.0637 | 312697.9654 | 33.25 | 68.6
72872 | 2021-04-05 16:57 | 42.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0252 | μmol/L | 11.4921 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.058 | 156548.4174 | 312695.4593 | 33.25 | 68.6
72881 | 2021-04-05 16:58 | 42.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9917 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.057 | 156554.0997 | 312692.2939 | 33.25 | 68.6