## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71730 | 2021-04-05 16:15 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2775 | μmol/L | 11.2263 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.044 | 132847.3955 | 275791.6528 | 26.25 | 74
71739 | 2021-04-05 16:15 | 0.32863 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3015 | μmol/L | 11.2263 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.043 | 132837.1312 | 275809.4488 | 26.25 | 74
71748 | 2021-04-05 16:16 | 0.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2927 | μmol/L | 11.2324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.041 | 132817.6753 | 275789.2526 | 26.25 | 74
71757 | 2021-04-05 16:16 | 0.99546 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2839 | μmol/L | 11.2385 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 132805.8044 | 275800.9456 | 26.25 | 74
71766 | 2021-04-05 16:16 | 1.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2686 | μmol/L | 11.2324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 132801.3998 | 275776.4312 | 26.25 | 74
71775 | 2021-04-05 16:17 | 1.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1939 | μmol/L | 11.2506 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 132791.5463 | 275776.852 | 26.25 | 74
71784 | 2021-04-05 16:17 | 1.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1129 | μmol/L | 11.2567 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 132772.4136 | 275760.8381 | 26.25 | 74
71793 | 2021-04-05 16:17 | 2.329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3232 | μmol/L | 11.2446 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 132761.9583 | 275758.6588 | 26.25 | 74
71802 | 2021-04-05 16:18 | 2.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.161 | μmol/L | 11.2567 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 132751.8236 | 275754.4314 | 26.25 | 74
71811 | 2021-04-05 16:18 | 2.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2092 | μmol/L | 11.2567 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 132747.3867 | 275753.8693 | 26.25 | 74
71820 | 2021-04-05 16:18 | 3.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.161 | μmol/L | 11.2567 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 132735.0216 | 275742.1979 | 26.25 | 74
71829 | 2021-04-05 16:19 | 3.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2092 | μmol/L | 11.2567 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 132726.9377 | 275738.4267 | 26.25 | 74
71838 | 2021-04-05 16:19 | 3.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0712 | μmol/L | 11.2689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 132715.3991 | 275746.0165 | 26.25 | 74
71847 | 2021-04-05 16:19 | 4.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0712 | μmol/L | 11.2689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 132719.1344 | 275748.2537 | 26.25 | 74
71856 | 2021-04-05 16:20 | 4.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1194 | μmol/L | 11.2689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 132715.5717 | 275720.831 | 26.25 | 74
71865 | 2021-04-05 16:20 | 4.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9661 | μmol/L | 11.275 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.038 | 132715.2179 | 275729.0749 | 26.25 | 74
71874 | 2021-04-05 16:20 | 5.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8851 | μmol/L | 11.281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 132722.9031 | 275714.2208 | 26.25 | 74
71883 | 2021-04-05 16:21 | 5.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9902 | μmol/L | 11.275 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 132717.5211 | 275722.0905 | 26.25 | 74
71892 | 2021-04-05 16:21 | 5.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.918 | μmol/L | 11.275 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 132714.3677 | 275708.5381 | 26.25 | 74
71901 | 2021-04-05 16:21 | 6.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9333 | μmol/L | 11.281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 132705.8207 | 275703.7557 | 26.25 | 74
71910 | 2021-04-05 16:22 | 6.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0383 | μmol/L | 11.275 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 132702.0436 | 275711.0789 | 26.25 | 74
71919 | 2021-04-05 16:22 | 6.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0777 | μmol/L | 11.281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.031 | 132671.0999 | 275688.7989 | 26.25 | 74
71928 | 2021-04-05 16:22 | 7.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0777 | μmol/L | 11.281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.031 | 132656.029 | 275689.1422 | 26.25 | 74
71937 | 2021-04-05 16:23 | 7.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1171 | μmol/L | 11.2871 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 132644.4708 | 275678.9591 | 26.25 | 74
71946 | 2021-04-05 16:23 | 7.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.093 | μmol/L | 11.2871 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.028 | 132620.366 | 275689.114 | 26.25 | 74
71955 | 2021-04-05 16:23 | 8.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2047 | μmol/L | 11.2932 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.021 | 132597.1122 | 275670.1901 | 26.25 | 74
71964 | 2021-04-05 16:24 | 8.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0273 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.026 | 132593.2227 | 275680.5418 | 26.25 | 74
71973 | 2021-04-05 16:24 | 8.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0273 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.026 | 132581.2404 | 275679.4868 | 26.25 | 74
71982 | 2021-04-05 16:24 | 9.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9945 | μmol/L | 11.3054 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.025 | 132572.4902 | 275660.2504 | 26.25 | 74
71991 | 2021-04-05 16:25 | 9.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0908 | μmol/L | 11.3054 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.021 | 132562.7048 | 275649.1867 | 26.25 | 74
72000 | 2021-04-05 16:25 | 9.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9857 | μmol/L | 11.3114 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 132549.5156 | 275640.0955 | 26.25 | 74
72009 | 2021-04-05 16:25 | 10.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0098 | μmol/L | 11.3114 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 132545.9132 | 275641.5693 | 26.25 | 74
72018 | 2021-04-05 16:26 | 10.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0252 | μmol/L | 11.3175 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 132547.0956 | 275649.0271 | 26.25 | 74
72027 | 2021-04-05 16:26 | 10.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0011 | μmol/L | 11.3175 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 132530.3003 | 275635.018 | 26.25 | 74
72036 | 2021-04-05 16:26 | 11.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0821 | μmol/L | 11.3114 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 132539.0358 | 275624.5057 | 26.25 | 74
72045 | 2021-04-05 16:27 | 11.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9288 | μmol/L | 11.3175 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 132531.8559 | 275624.7155 | 26.25 | 74
72054 | 2021-04-05 16:27 | 11.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8479 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 132533.8461 | 275606.8447 | 26.25 | 74
72063 | 2021-04-05 16:27 | 12.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8479 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 132529.4515 | 275615.5825 | 26.25 | 74
72072 | 2021-04-05 16:28 | 12.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.872 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 132532.4071 | 275608.6228 | 26.25 | 74
72081 | 2021-04-05 16:28 | 12.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8392 | μmol/L | 11.3297 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 132530.174 | 275598.5159 | 26.25 | 74
72090 | 2021-04-05 16:28 | 13.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8479 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 132532.9556 | 275594.6951 | 26.25 | 74
72099 | 2021-04-05 16:29 | 13.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6621 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 132528.2547 | 275605.4321 | 26.25 | 74
72108 | 2021-04-05 16:29 | 13.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8479 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 132524.5361 | 275600.4609 | 26.25 | 74
72117 | 2021-04-05 16:29 | 14.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8064 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.021 | 132524.0171 | 275602.3585 | 26.25 | 74
72126 | 2021-04-05 16:30 | 14.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7014 | μmol/L | 11.3418 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 132511.3219 | 275593.2029 | 26.25 | 74
72135 | 2021-04-05 16:30 | 14.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6446 | μmol/L | 11.3479 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 132503.9865 | 275581.1622 | 26.25 | 74
72144 | 2021-04-05 16:30 | 15.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8305 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 132485.1347 | 275584.5483 | 26.25 | 74
72153 | 2021-04-05 16:31 | 15.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7823 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 132483.8133 | 275577.9608 | 26.25 | 74
72162 | 2021-04-05 16:31 | 15.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7168 | μmol/L | 11.3479 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 132469.6357 | 275565.4371 | 26.25 | 74
72171 | 2021-04-05 16:31 | 16.329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7081 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132459.4023 | 275580.9314 | 26.25 | 74
72180 | 2021-04-05 16:32 | 16.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7649 | μmol/L | 11.3479 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132453.9334 | 275582.4695 | 26.25 | 74
72189 | 2021-04-05 16:32 | 16.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7562 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132449.7912 | 275562.4603 | 26.25 | 74
72198 | 2021-04-05 16:32 | 17.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8044 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132439.384 | 275561.2269 | 26.25 | 74
72207 | 2021-04-05 16:33 | 17.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7562 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132425.3085 | 275554.0755 | 26.25 | 74
72216 | 2021-04-05 16:33 | 17.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7803 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 132419.1609 | 275532.4043 | 26.25 | 74
72225 | 2021-04-05 16:33 | 18.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7475 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132412.5625 | 275546.4789 | 26.25 | 74
72234 | 2021-04-05 16:34 | 18.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7235 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 132410.5451 | 275533.7767 | 26.25 | 74
72243 | 2021-04-05 16:34 | 18.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7148 | μmol/L | 11.3661 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 132412.3712 | 275533.6533 | 26.25 | 74
72252 | 2021-04-05 16:34 | 19.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7716 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 132410.7399 | 275538.9195 | 26.25 | 74
72261 | 2021-04-05 16:35 | 19.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.658 | μmol/L | 11.3722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 132411.7982 | 275514.7781 | 26.25 | 74
72270 | 2021-04-05 16:35 | 19.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7148 | μmol/L | 11.3661 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 132407.0729 | 275522.0572 | 26.25 | 74
72279 | 2021-04-05 16:35 | 20.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6667 | μmol/L | 11.3661 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 132403.047 | 275519.0391 | 26.25 | 74
72288 | 2021-04-05 16:36 | 20.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.634 | μmol/L | 11.3722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132411.2765 | 275517.5376 | 26.25 | 74
72297 | 2021-04-05 16:36 | 20.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5859 | μmol/L | 11.3722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132405.7986 | 275519.6595 | 26.25 | 74
72306 | 2021-04-05 16:36 | 21.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.634 | μmol/L | 11.3722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132406.5911 | 275513.2002 | 26.25 | 74
72315 | 2021-04-05 16:37 | 21.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5772 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132402.2261 | 275517.6536 | 26.25 | 74
72324 | 2021-04-05 16:37 | 21.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5051 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.017 | 132414.344 | 275524.6138 | 26.25 | 74
72333 | 2021-04-05 16:37 | 22.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.457 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 132408.7058 | 275503.5589 | 26.25 | 74
72342 | 2021-04-05 16:38 | 22.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3762 | μmol/L | 11.3844 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 132412.2471 | 275486.5586 | 26.25 | 74
72351 | 2021-04-05 16:38 | 22.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3676 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132416.8424 | 275518.314 | 26.25 | 74
72360 | 2021-04-05 16:38 | 23.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3762 | μmol/L | 11.3844 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 132412.9729 | 275500.9691 | 26.25 | 74
72369 | 2021-04-05 16:39 | 23.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4243 | μmol/L | 11.3844 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132410.9351 | 275504.5098 | 26.25 | 74
72378 | 2021-04-05 16:39 | 23.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4156 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132404.1759 | 275482.1404 | 26.25 | 74
72387 | 2021-04-05 16:39 | 24.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3916 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.017 | 132394.6928 | 275489.5826 | 26.25 | 74
72396 | 2021-04-05 16:40 | 24.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3676 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132385.0875 | 275480.0103 | 26.25 | 74
72405 | 2021-04-05 16:40 | 24.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.383 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 132373.8061 | 275488.083 | 26.25 | 74
72414 | 2021-04-05 16:40 | 25.329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.407 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132362.2952 | 275493.9349 | 26.25 | 74
72423 | 2021-04-05 16:41 | 25.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.431 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 132349.0995 | 275480.8177 | 26.25 | 74
72432 | 2021-04-05 16:41 | 25.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4464 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.01 | 132335.4994 | 275483.6388 | 26.25 | 74
72441 | 2021-04-05 16:41 | 26.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3984 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.012 | 132327.9409 | 275476.3364 | 26.25 | 74
72450 | 2021-04-05 16:42 | 26.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4224 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132332.4472 | 275478.8143 | 26.25 | 74
72459 | 2021-04-05 16:42 | 26.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4705 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 132314.4996 | 275479.1568 | 26.25 | 74
72468 | 2021-04-05 16:42 | 27.329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5186 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 132308.8152 | 275467.4562 | 26.25 | 74
72477 | 2021-04-05 16:43 | 27.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5753 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 132301.2138 | 275469.9708 | 26.25 | 74
72486 | 2021-04-05 16:43 | 27.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3176 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 132301.9399 | 275453.7084 | 26.25 | 74
72495 | 2021-04-05 16:43 | 28.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4618 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 132293.3096 | 275457.6514 | 26.25 | 74
72504 | 2021-04-05 16:44 | 28.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4378 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.008 | 132281.3485 | 275452.9768 | 26.25 | 74
72513 | 2021-04-05 16:44 | 28.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4378 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.008 | 132286.9547 | 275448.5689 | 26.25 | 74
72522 | 2021-04-05 16:44 | 29.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4292 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.006 | 132288.9778 | 275448.8721 | 26.25 | 74
72531 | 2021-04-05 16:45 | 29.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2524 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132283.8012 | 275458.4349 | 26.25 | 74
72540 | 2021-04-05 16:45 | 29.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4051 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 132288.8904 | 275449.007 | 26.25 | 74
72549 | 2021-04-05 16:45 | 30.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3571 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 132271.8089 | 275439.1891 | 26.25 | 74
72558 | 2021-04-05 16:46 | 30.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3571 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 132281.7955 | 275459.49 | 26.25 | 74
72567 | 2021-04-05 16:46 | 30.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4051 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 132278.348 | 275443.2271 | 26.25 | 74
72576 | 2021-04-05 16:46 | 31.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4206 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.004 | 132279.7435 | 275430.6843 | 26.25 | 74
72585 | 2021-04-05 16:47 | 31.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3158 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.006 | 132275.9961 | 275440.9726 | 26.25 | 74
72594 | 2021-04-05 16:47 | 31.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2918 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 132273.1091 | 275438.1664 | 26.25 | 74
72603 | 2021-04-05 16:47 | 32.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.333 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.01 | 132273.3697 | 275437.8456 | 26.25 | 74
72612 | 2021-04-05 16:48 | 32.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3725 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.006 | 132283.4588 | 275454.9399 | 26.25 | 74
72621 | 2021-04-05 16:48 | 32.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2678 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.008 | 132283.8418 | 275430.489 | 26.25 | 74
72630 | 2021-04-05 16:48 | 33.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1065 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.01 | 132281.2089 | 275417.2275 | 26.25 | 74
72639 | 2021-04-05 16:49 | 33.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2524 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132280.4206 | 275431.3839 | 26.25 | 74
72648 | 2021-04-05 16:49 | 33.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1717 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.012 | 132290.28 | 275436.0725 | 26.25 | 74
72657 | 2021-04-05 16:49 | 34.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1391 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132279.9627 | 275422.1533 | 26.25 | 74
72666 | 2021-04-05 16:50 | 34.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1065 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.01 | 132269.9642 | 275422.9943 | 26.25 | 74
72675 | 2021-04-05 16:50 | 34.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1871 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 132266.8724 | 275418.31 | 26.25 | 74
72684 | 2021-04-05 16:50 | 35.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1871 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 132273.6845 | 275422.9456 | 26.25 | 74
72693 | 2021-04-05 16:51 | 35.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0585 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.012 | 132265.7708 | 275419.9009 | 26.25 | 74
72702 | 2021-04-05 16:51 | 35.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0825 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132267.2561 | 275412.4612 | 26.25 | 74
72711 | 2021-04-05 16:51 | 36.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0825 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132263.2361 | 275409.6548 | 26.25 | 74
72720 | 2021-04-05 16:52 | 36.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0979 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.008 | 132267.4001 | 275403.1492 | 26.25 | 74
72729 | 2021-04-05 16:52 | 36.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0585 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.012 | 132265.2306 | 275392.1225 | 26.25 | 74
72738 | 2021-04-05 16:52 | 37.329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0259 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132271.3846 | 275397.9417 | 26.25 | 74
72747 | 2021-04-05 16:53 | 37.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8973 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132276.69 | 275409.0409 | 26.25 | 74
72756 | 2021-04-05 16:53 | 37.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9693 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 132282.2332 | 275411.0757 | 26.25 | 74
72765 | 2021-04-05 16:53 | 38.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8733 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 132275.3317 | 275403.0284 | 26.25 | 74
72774 | 2021-04-05 16:54 | 38.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8973 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132275.06 | 275411.0716 | 26.25 | 74
72783 | 2021-04-05 16:54 | 38.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8887 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.012 | 132273.9926 | 275399.2064 | 26.25 | 74
72792 | 2021-04-05 16:54 | 39.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8819 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.017 | 132286.7557 | 275411.0144 | 26.25 | 74
72801 | 2021-04-05 16:55 | 39.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8887 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.012 | 132286.997 | 275402.7713 | 26.25 | 74
72810 | 2021-04-05 16:55 | 39.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7842 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 132291.5774 | 275410.3763 | 26.25 | 74
72819 | 2021-04-05 16:55 | 40.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7448 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132295.5897 | 275405.4164 | 26.25 | 74
72828 | 2021-04-05 16:56 | 40.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7448 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132296.9598 | 275408.3342 | 26.25 | 74
72837 | 2021-04-05 16:56 | 40.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7928 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132297.1577 | 275411.6558 | 26.25 | 74
72846 | 2021-04-05 16:56 | 41.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7602 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 132300.8504 | 275399.4776 | 26.25 | 74
72855 | 2021-04-05 16:57 | 41.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7928 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 132304.98 | 275399.4519 | 26.25 | 74
72864 | 2021-04-05 16:57 | 41.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6883 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 132303.8693 | 275389.9823 | 26.25 | 74
72873 | 2021-04-05 16:57 | 42.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6969 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 132310.9398 | 275389.4549 | 26.25 | 74
72882 | 2021-04-05 16:58 | 42.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.536 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.022 | 132313.4822 | 275384.1943 | 26.25 | 74