## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 16:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
71732 | 2021-04-05 16:15 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6602 | μmol/L | 11.1778 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.762 | 126786.3263 | 275045.3434 | 32.55 | 27.7
71741 | 2021-04-05 16:15 | 0.32805 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7094 | μmol/L | 11.1778 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.76 | 126778.4334 | 275020.014 | 32.55 | 27.7
71750 | 2021-04-05 16:16 | 0.66103 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7499 | μmol/L | 11.1839 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.756 | 126764.0272 | 274991.3858 | 32.55 | 27.7
71759 | 2021-04-05 16:16 | 0.99482 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7007 | μmol/L | 11.1839 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.758 | 126746.5888 | 274967.0285 | 32.55 | 27.7
71768 | 2021-04-05 16:16 | 1.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7745 | μmol/L | 11.1839 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.755 | 126718.3937 | 274959.2418 | 32.55 | 27.7
71777 | 2021-04-05 16:17 | 1.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7411 | μmol/L | 11.19 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.754 | 126705.8832 | 274937.0518 | 32.55 | 27.7
71786 | 2021-04-05 16:17 | 1.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7165 | μmol/L | 11.19 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.755 | 126691.4771 | 274935.3602 | 32.55 | 27.7
71795 | 2021-04-05 16:17 | 2.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6831 | μmol/L | 11.1961 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.754 | 126682.7947 | 274901.8723 | 32.55 | 27.7
71804 | 2021-04-05 16:18 | 2.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.699 | μmol/L | 11.2022 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.751 | 126668.2602 | 274886.7168 | 32.55 | 27.7
71813 | 2021-04-05 16:18 | 2.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5918 | μmol/L | 11.2083 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.753 | 126652.6077 | 274879.5166 | 32.55 | 27.7
71822 | 2021-04-05 16:18 | 3.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7395 | μmol/L | 11.2083 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126640.3886 | 274878.3274 | 32.55 | 27.7
71831 | 2021-04-05 16:19 | 3.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6657 | μmol/L | 11.2083 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.75 | 126623.5874 | 274849.5861 | 32.55 | 27.7
71840 | 2021-04-05 16:19 | 3.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6815 | μmol/L | 11.2144 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126626.5403 | 274855.0134 | 32.55 | 27.7
71849 | 2021-04-05 16:19 | 4.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6236 | μmol/L | 11.2205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126606.2831 | 274833.6059 | 32.55 | 27.7
71858 | 2021-04-05 16:20 | 4.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6728 | μmol/L | 11.2205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.745 | 126597.9592 | 274832.6171 | 32.55 | 27.7
71867 | 2021-04-05 16:20 | 4.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6236 | μmol/L | 11.2205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126594.2296 | 274821.3561 | 32.55 | 27.7
71876 | 2021-04-05 16:20 | 5.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6395 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.744 | 126579.2494 | 274817.8341 | 32.55 | 27.7
71885 | 2021-04-05 16:21 | 5.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6395 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.744 | 126576.0339 | 274803.8511 | 32.55 | 27.7
71894 | 2021-04-05 16:21 | 5.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6887 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.742 | 126562.2737 | 274781.6093 | 32.55 | 27.7
71903 | 2021-04-05 16:21 | 6.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5236 | μmol/L | 11.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.744 | 126559.0422 | 274784.3402 | 32.55 | 27.7
71912 | 2021-04-05 16:22 | 6.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5975 | μmol/L | 11.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.741 | 126545.419 | 274770.9937 | 32.55 | 27.7
71921 | 2021-04-05 16:22 | 6.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.68 | μmol/L | 11.2328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.74 | 126536.1926 | 274758.8428 | 32.55 | 27.7
71930 | 2021-04-05 16:22 | 7.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5801 | μmol/L | 11.2511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.737 | 126527.871 | 274761.716 | 32.55 | 27.7
71939 | 2021-04-05 16:23 | 7.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5888 | μmol/L | 11.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.739 | 126516.755 | 274766.1248 | 32.55 | 27.7
71948 | 2021-04-05 16:23 | 7.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6293 | μmol/L | 11.2511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.735 | 126508.8968 | 274750.7107 | 32.55 | 27.7
71957 | 2021-04-05 16:23 | 8.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7119 | μmol/L | 11.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126490.5846 | 274741.8772 | 32.55 | 27.7
71966 | 2021-04-05 16:24 | 8.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6539 | μmol/L | 11.2511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126480.1391 | 274745.0474 | 32.55 | 27.7
71975 | 2021-04-05 16:24 | 8.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5468 | μmol/L | 11.2572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.736 | 126476.7445 | 274736.7178 | 32.55 | 27.7
71984 | 2021-04-05 16:24 | 9.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6539 | μmol/L | 11.2511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126467.1625 | 274742.6339 | 32.55 | 27.7
71993 | 2021-04-05 16:25 | 9.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7191 | μmol/L | 11.2572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126451.5506 | 274732.5009 | 32.55 | 27.7
72002 | 2021-04-05 16:25 | 9.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.612 | μmol/L | 11.2633 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126447.5324 | 274728.0548 | 32.55 | 27.7
72011 | 2021-04-05 16:25 | 10.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6612 | μmol/L | 11.2633 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126435.9967 | 274713.8964 | 32.55 | 27.7
72020 | 2021-04-05 16:26 | 10.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6279 | μmol/L | 11.2694 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126434.8009 | 274716.5153 | 32.55 | 27.7
72029 | 2021-04-05 16:26 | 10.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6279 | μmol/L | 11.2694 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.728 | 126415.5064 | 274719.4963 | 32.55 | 27.7
72038 | 2021-04-05 16:26 | 11.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6772 | μmol/L | 11.2694 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126416.5476 | 274718.136 | 32.55 | 27.7
72047 | 2021-04-05 16:27 | 11.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6525 | μmol/L | 11.2694 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126400.2372 | 274695.7576 | 32.55 | 27.7
72056 | 2021-04-05 16:27 | 11.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6193 | μmol/L | 11.2755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126401.1765 | 274692.6239 | 32.55 | 27.7
72065 | 2021-04-05 16:27 | 12.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.463 | μmol/L | 11.2816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.73 | 126393.0191 | 274696.2927 | 32.55 | 27.7
72074 | 2021-04-05 16:28 | 12.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5614 | μmol/L | 11.2816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126382.7837 | 274674.5952 | 32.55 | 27.7
72083 | 2021-04-05 16:28 | 12.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6353 | μmol/L | 11.2816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126382.7218 | 274674.5829 | 32.55 | 27.7
72092 | 2021-04-05 16:28 | 13.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4789 | μmol/L | 11.2877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126379.055 | 274671.1406 | 32.55 | 27.7
72101 | 2021-04-05 16:29 | 13.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.602 | μmol/L | 11.2877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126371.2275 | 274675.8015 | 32.55 | 27.7
72110 | 2021-04-05 16:29 | 13.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5441 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126358.4738 | 274672.2628 | 32.55 | 27.7
72119 | 2021-04-05 16:29 | 14.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4703 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.725 | 126347.1134 | 274662.7239 | 32.55 | 27.7
72128 | 2021-04-05 16:30 | 14.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5441 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126345.8258 | 274665.4429 | 32.55 | 27.7
72137 | 2021-04-05 16:30 | 14.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4863 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126341.2824 | 274657.9905 | 32.55 | 27.7
72146 | 2021-04-05 16:30 | 15.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5441 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126326.4419 | 274650.0362 | 32.55 | 27.7
72155 | 2021-04-05 16:31 | 15.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3706 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126325.5959 | 274637.7881 | 32.55 | 27.7
72164 | 2021-04-05 16:31 | 15.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5023 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126323.1726 | 274629.5905 | 32.55 | 27.7
72173 | 2021-04-05 16:31 | 16.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5515 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126314.8637 | 274633.3108 | 32.55 | 27.7
72182 | 2021-04-05 16:32 | 16.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4445 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126310.7763 | 274626.5273 | 32.55 | 27.7
72191 | 2021-04-05 16:32 | 16.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3952 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.721 | 126301.8661 | 274628.1923 | 32.55 | 27.7
72200 | 2021-04-05 16:32 | 17.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4445 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126298.4312 | 274626.7063 | 32.55 | 27.7
72209 | 2021-04-05 16:33 | 17.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4445 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126291.4514 | 274621.7317 | 32.55 | 27.7
72218 | 2021-04-05 16:33 | 17.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4359 | μmol/L | 11.3182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126291.8714 | 274619.4337 | 32.55 | 27.7
72227 | 2021-04-05 16:33 | 18.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4273 | μmol/L | 11.3243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.715 | 126287.4725 | 274626.5625 | 32.55 | 27.7
72236 | 2021-04-05 16:34 | 18.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2711 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126284.048 | 274610.7946 | 32.55 | 27.7
72245 | 2021-04-05 16:34 | 18.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2871 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126278.0319 | 274606.0631 | 32.55 | 27.7
72254 | 2021-04-05 16:34 | 19.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2711 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.719 | 126274.1445 | 274576.8265 | 32.55 | 27.7
72263 | 2021-04-05 16:35 | 19.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3363 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126267.3543 | 274594.4614 | 32.55 | 27.7
72272 | 2021-04-05 16:35 | 19.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3203 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126255.4547 | 274587.7343 | 32.55 | 27.7
72281 | 2021-04-05 16:35 | 20.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3117 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.715 | 126265.3042 | 274599.1559 | 32.55 | 27.7
72290 | 2021-04-05 16:36 | 20.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3117 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.715 | 126258.78 | 274600.8414 | 32.55 | 27.7
72299 | 2021-04-05 16:36 | 20.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2625 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126251.7049 | 274577.4612 | 32.55 | 27.7
72308 | 2021-04-05 16:36 | 21.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2047 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126248.0304 | 274583.8373 | 32.55 | 27.7
72317 | 2021-04-05 16:37 | 21.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4101 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.711 | 126237.0949 | 274581.4723 | 32.55 | 27.7
72326 | 2021-04-05 16:37 | 21.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2785 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126231.3196 | 274576.1047 | 32.55 | 27.7
72335 | 2021-04-05 16:37 | 22.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2122 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126227.064 | 274575.2755 | 32.55 | 27.7
72344 | 2021-04-05 16:38 | 22.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2454 | μmol/L | 11.3487 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.713 | 126226.5818 | 274558.4956 | 32.55 | 27.7
72353 | 2021-04-05 16:38 | 22.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3031 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.713 | 126214.998 | 274565.2094 | 32.55 | 27.7
72362 | 2021-04-05 16:38 | 23.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2208 | μmol/L | 11.3487 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.714 | 126211.4036 | 274564.5435 | 32.55 | 27.7
72371 | 2021-04-05 16:39 | 23.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2614 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.71 | 126211.0822 | 274555.933 | 32.55 | 27.7
72380 | 2021-04-05 16:39 | 23.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1299 | μmol/L | 11.3609 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.713 | 126193.978 | 274561.8303 | 32.55 | 27.7
72389 | 2021-04-05 16:39 | 24.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3106 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.708 | 126208.5219 | 274551.0748 | 32.55 | 27.7
72398 | 2021-04-05 16:40 | 24.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2122 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126192.7023 | 274563.0475 | 32.55 | 27.7
72407 | 2021-04-05 16:40 | 24.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.286 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.709 | 126184.5943 | 274555.9466 | 32.55 | 27.7
72416 | 2021-04-05 16:40 | 25.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2775 | μmol/L | 11.3609 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.707 | 126178.5321 | 274552.0241 | 32.55 | 27.7
72425 | 2021-04-05 16:41 | 25.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0637 | μmol/L | 11.3731 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.711 | 126185.735 | 274557.0154 | 32.55 | 27.7
72434 | 2021-04-05 16:41 | 25.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0968 | μmol/L | 11.367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.712 | 126165.858 | 274548.53 | 32.55 | 27.7
72443 | 2021-04-05 16:41 | 26.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0882 | μmol/L | 11.3731 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.71 | 126164.8103 | 274553.3523 | 32.55 | 27.7
72452 | 2021-04-05 16:42 | 26.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1705 | μmol/L | 11.367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.709 | 126174.0436 | 274557.7697 | 32.55 | 27.7
72461 | 2021-04-05 16:42 | 26.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.146 | μmol/L | 11.367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.71 | 126165.1892 | 274535.9079 | 32.55 | 27.7
72470 | 2021-04-05 16:42 | 27.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1128 | μmol/L | 11.3731 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.709 | 126158.9234 | 274550.1146 | 32.55 | 27.7
72479 | 2021-04-05 16:43 | 27.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1289 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.706 | 126161.9401 | 274549.7309 | 32.55 | 27.7
72488 | 2021-04-05 16:43 | 27.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1866 | μmol/L | 11.3731 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.706 | 126149.5037 | 274524.2089 | 32.55 | 27.7
72497 | 2021-04-05 16:43 | 28.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0306 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.71 | 126147.7104 | 274526.9531 | 32.55 | 27.7
72506 | 2021-04-05 16:44 | 28.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0712 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.706 | 126137.1466 | 274532.3494 | 32.55 | 27.7
72515 | 2021-04-05 16:44 | 28.995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0797 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.708 | 126136.4332 | 274514.7653 | 32.55 | 27.7
72524 | 2021-04-05 16:44 | 29.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1289 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.706 | 126134.1683 | 274525.7667 | 32.55 | 27.7
72533 | 2021-04-05 16:45 | 29.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0466 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.707 | 126128.7741 | 274518.9073 | 32.55 | 27.7
72542 | 2021-04-05 16:45 | 29.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0381 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.705 | 126126.2302 | 274510.1873 | 32.55 | 27.7
72551 | 2021-04-05 16:45 | 30.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0958 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.705 | 126126.9873 | 274513.5817 | 32.55 | 27.7
72560 | 2021-04-05 16:46 | 30.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0958 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.705 | 126121.691 | 274510.6761 | 32.55 | 27.7
72569 | 2021-04-05 16:46 | 30.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0627 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.704 | 126117.6367 | 274504.4955 | 32.55 | 27.7
72578 | 2021-04-05 16:46 | 31.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1942 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.701 | 126105.7819 | 274487.6976 | 32.55 | 27.7
72587 | 2021-04-05 16:47 | 31.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0873 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.703 | 126106.2752 | 274502.1537 | 32.55 | 27.7
72596 | 2021-04-05 16:47 | 31.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0958 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.705 | 126116.0028 | 274524.6082 | 32.55 | 27.7
72605 | 2021-04-05 16:47 | 32.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0788 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.701 | 126116.8939 | 274515.8945 | 32.55 | 27.7
72614 | 2021-04-05 16:48 | 32.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.005 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.704 | 126135.6643 | 274505.4133 | 32.55 | 27.7
72623 | 2021-04-05 16:48 | 32.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6772 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.715 | 126172.3124 | 274500.3588 | 32.55 | 27.7
72632 | 2021-04-05 16:48 | 33.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5055 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126216.9463 | 274491.4678 | 32.55 | 27.7
72641 | 2021-04-05 16:49 | 33.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2763 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126261.7706 | 274488.1552 | 32.55 | 27.7
72650 | 2021-04-05 16:49 | 33.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2603 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126295.9672 | 274486.622 | 32.55 | 27.7
72659 | 2021-04-05 16:49 | 34.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0559 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.738 | 126330.761 | 274486.524 | 32.55 | 27.7
72668 | 2021-04-05 16:50 | 34.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0154 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.742 | 126360.6838 | 274488.1799 | 32.55 | 27.7
72677 | 2021-04-05 16:50 | 34.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8516 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.744 | 126363.1312 | 274481.5735 | 32.55 | 27.7
72686 | 2021-04-05 16:50 | 35.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8846 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.745 | 126375.6293 | 274489.4796 | 32.55 | 27.7
72695 | 2021-04-05 16:51 | 35.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7782 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126379.3836 | 274496.6801 | 32.55 | 27.7
72704 | 2021-04-05 16:51 | 35.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8761 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.743 | 126382.9666 | 274492.0265 | 32.55 | 27.7
72713 | 2021-04-05 16:51 | 36.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.925 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.741 | 126370.0205 | 274480.3651 | 32.55 | 27.7
72722 | 2021-04-05 16:52 | 36.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8027 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.746 | 126380.1191 | 274496.9261 | 32.55 | 27.7
72731 | 2021-04-05 16:52 | 36.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7209 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126382.6532 | 274484.2894 | 32.55 | 27.7
72740 | 2021-04-05 16:52 | 37.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.656 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.752 | 126380.55 | 274478.1532 | 32.55 | 27.7
72749 | 2021-04-05 16:53 | 37.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7782 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.747 | 126385.3448 | 274483.971 | 32.55 | 27.7
72758 | 2021-04-05 16:53 | 37.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.6879 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.746 | 126374.9511 | 274496.5976 | 32.55 | 27.7
72767 | 2021-04-05 16:53 | 38.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7538 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.748 | 126351.583 | 274477.153 | 32.55 | 27.7
72776 | 2021-04-05 16:54 | 38.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8187 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.743 | 126337.5661 | 274463.4913 | 32.55 | 27.7
72785 | 2021-04-05 16:54 | 38.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8591 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.739 | 126317.601 | 274453.4234 | 32.55 | 27.7
72794 | 2021-04-05 16:54 | 39.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8262 | μmol/L | 11.4341 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.738 | 126307.321 | 274460.2227 | 32.55 | 27.7
72803 | 2021-04-05 16:55 | 39.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8506 | μmol/L | 11.4341 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.737 | 126284.1335 | 274454.152 | 32.55 | 27.7
72812 | 2021-04-05 16:55 | 39.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.006 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.733 | 126275.4152 | 274466.6183 | 32.55 | 27.7
72821 | 2021-04-05 16:55 | 40.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.973 | μmol/L | 11.4341 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.732 | 126263.0952 | 274466.1413 | 32.55 | 27.7
72830 | 2021-04-05 16:56 | 40.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0465 | μmol/L | 11.4341 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.729 | 126243.1314 | 274470.6723 | 32.55 | 27.7
72839 | 2021-04-05 16:56 | 40.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1774 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126237.2204 | 274468.6561 | 32.55 | 27.7
72848 | 2021-04-05 16:56 | 41.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1774 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126231.8452 | 274467.7632 | 32.55 | 27.7
72857 | 2021-04-05 16:57 | 41.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2019 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.725 | 126213.0762 | 274451.2149 | 32.55 | 27.7
72866 | 2021-04-05 16:57 | 41.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1605 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126205.1799 | 274465.0938 | 32.55 | 27.7
72875 | 2021-04-05 16:57 | 42.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2264 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126185.2215 | 274457.7047 | 32.55 | 27.7
72883 | 2021-04-05 16:58 | 42.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.283 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.717 | 126185.9898 | 274452.9573 | 32.55 | 27.7