## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89582 | 2021-04-09 18:40 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 287.4974 | μmol/L | 10.3453 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.058 | 148148.141 | 315336.9734 | 59.9307 | 38.1
89591 | 2021-04-09 18:40 | 0.33239 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.9879 | μmol/L | 10.3758 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.067 | 148197.1292 | 315283.6243 | 59.9307 | 38.1
89600 | 2021-04-09 18:41 | 0.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.5126 | μmol/L | 10.4001 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.077 | 148216.141 | 315182.2074 | 59.9307 | 38.1
89609 | 2021-04-09 18:41 | 0.99905 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 286.0139 | μmol/L | 10.4245 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.088 | 148247.558 | 315096.9184 | 59.9307 | 38.1
89618 | 2021-04-09 18:41 | 1.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.5892 | μmol/L | 10.4489 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.096 | 148275.5286 | 315016.3315 | 59.9307 | 38.1
89627 | 2021-04-09 18:42 | 1.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1012 | μmol/L | 10.4671 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.109 | 148313.904 | 314939.3351 | 59.9307 | 38.1
89636 | 2021-04-09 18:42 | 1.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7528 | μmol/L | 10.4732 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.121 | 148329.1647 | 314857.5132 | 59.9307 | 38.1
89645 | 2021-04-09 18:42 | 2.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2247 | μmol/L | 10.5037 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.131 | 148339.2804 | 314767.4517 | 59.9307 | 38.1
89654 | 2021-04-09 18:43 | 2.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9326 | μmol/L | 10.5219 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.136 | 148346.5764 | 314703.3265 | 59.9307 | 38.1
89663 | 2021-04-09 18:43 | 2.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.415 | μmol/L | 10.5463 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.148 | 148355.3213 | 314621.2461 | 59.9307 | 38.1
89672 | 2021-04-09 18:43 | 3.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0515 | μmol/L | 10.5646 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.156 | 148347.9256 | 314530.9118 | 59.9307 | 38.1
89681 | 2021-04-09 18:44 | 3.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7127 | μmol/L | 10.5829 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.163 | 148340.2503 | 314447.7168 | 59.9307 | 38.1
89690 | 2021-04-09 18:44 | 3.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4224 | μmol/L | 10.6011 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.168 | 148338.427 | 314371.1131 | 59.9307 | 38.1
89699 | 2021-04-09 18:44 | 4.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0039 | μmol/L | 10.6255 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.176 | 148327.1399 | 314292.7391 | 59.9307 | 38.1
89708 | 2021-04-09 18:45 | 4.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6579 | μmol/L | 10.6499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.181 | 148306.4748 | 314210.9254 | 59.9307 | 38.1
89717 | 2021-04-09 18:45 | 4.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2971 | μmol/L | 10.6682 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.189 | 148290.2007 | 314118.7302 | 59.9307 | 38.1
89726 | 2021-04-09 18:45 | 5.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9369 | μmol/L | 10.6864 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.197 | 148271.2715 | 314032.6253 | 59.9307 | 38.1
89735 | 2021-04-09 18:46 | 5.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7442 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.198 | 148235.1702 | 313949.4456 | 59.9307 | 38.1
89744 | 2021-04-09 18:46 | 5.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5363 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.202 | 148209.6531 | 313872.1621 | 59.9307 | 38.1
89753 | 2021-04-09 18:46 | 6.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.201 | μmol/L | 10.7352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.209 | 148167.7468 | 313783.4598 | 59.9307 | 38.1
89762 | 2021-04-09 18:47 | 6.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.929 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.211 | 148133.2653 | 313711.9891 | 59.9307 | 38.1
89771 | 2021-04-09 18:47 | 6.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7457 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.214 | 148091.0602 | 313614.8155 | 59.9307 | 38.1
89780 | 2021-04-09 18:47 | 7.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.459 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.219 | 148053.8595 | 313524.4948 | 59.9307 | 38.1
89789 | 2021-04-09 18:48 | 7.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3709 | μmol/L | 10.8022 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 148005.5781 | 313457.5913 | 59.9307 | 38.1
89798 | 2021-04-09 18:48 | 7.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0289 | μmol/L | 10.8265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 147961.1481 | 313371.4741 | 59.9307 | 38.1
89807 | 2021-04-09 18:48 | 8.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7751 | μmol/L | 10.8387 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.229 | 147916.6211 | 313287.3722 | 59.9307 | 38.1
89816 | 2021-04-09 18:49 | 8.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7584 | μmol/L | 10.8509 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.225 | 147861.0585 | 313192.9476 | 59.9307 | 38.1
89825 | 2021-04-09 18:49 | 8.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.4173 | μmol/L | 10.8753 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.23 | 147817.3748 | 313097.8035 | 59.9307 | 38.1
89834 | 2021-04-09 18:49 | 9.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.3144 | μmol/L | 10.8814 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.232 | 147763.2595 | 313022.4525 | 59.9307 | 38.1
89843 | 2021-04-09 18:50 | 9.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.0684 | μmol/L | 10.9057 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.233 | 147716.5679 | 312934.287 | 59.9307 | 38.1
89852 | 2021-04-09 18:50 | 9.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 277.9184 | μmol/L | 10.9118 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.237 | 147659.9022 | 312854.9338 | 59.9307 | 38.1
89861 | 2021-04-09 18:50 | 10.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 277.8699 | μmol/L | 10.9301 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.232 | 147598.7415 | 312764.1962 | 59.9307 | 38.1
89870 | 2021-04-09 18:51 | 10.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 277.7118 | μmol/L | 10.9423 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.234 | 147542.4121 | 312695.3093 | 59.9307 | 38.1
89879 | 2021-04-09 18:51 | 10.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 277.3723 | μmol/L | 10.9667 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.239 | 147482.83 | 312618.7561 | 59.9307 | 38.1
89888 | 2021-04-09 18:51 | 11.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 277.3405 | μmol/L | 10.9728 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.238 | 147427.3069 | 312542.6409 | 59.9307 | 38.1
89897 | 2021-04-09 18:52 | 11.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 277.1592 | μmol/L | 10.9849 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.241 | 147377.005 | 312457.6789 | 59.9307 | 38.1
89906 | 2021-04-09 18:52 | 11.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.9545 | μmol/L | 10.9971 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.245 | 147309.8602 | 312374.7547 | 59.9307 | 38.1
89915 | 2021-04-09 18:52 | 12.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.8594 | μmol/L | 11.0154 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.242 | 147252.7036 | 312285.5682 | 59.9307 | 38.1
89924 | 2021-04-09 18:53 | 12.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.8277 | μmol/L | 11.0215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.241 | 147190.6207 | 312197.3444 | 59.9307 | 38.1
89933 | 2021-04-09 18:53 | 12.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.5094 | μmol/L | 11.0459 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.245 | 147133.2788 | 312111.3204 | 59.9307 | 38.1
89942 | 2021-04-09 18:53 | 13.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.3757 | μmol/L | 11.0581 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.246 | 147076.0131 | 312036.3511 | 59.9307 | 38.1
89951 | 2021-04-09 18:54 | 13.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.3676 | μmol/L | 11.0641 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.244 | 147010.3018 | 311955.7055 | 59.9307 | 38.1
89960 | 2021-04-09 18:54 | 13.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.124 | μmol/L | 11.0885 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.245 | 146945.4922 | 311868.4219 | 59.9307 | 38.1
89969 | 2021-04-09 18:54 | 14.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1159 | μmol/L | 11.0946 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.243 | 146869.1499 | 311792.558 | 59.9307 | 38.1
89978 | 2021-04-09 18:55 | 14.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0293 | μmol/L | 11.1068 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.242 | 146811.1085 | 311729.4108 | 59.9307 | 38.1
89987 | 2021-04-09 18:55 | 14.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.896 | μmol/L | 11.119 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.243 | 146738.8555 | 311637.0277 | 59.9307 | 38.1
89996 | 2021-04-09 18:55 | 15.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8645 | μmol/L | 11.1251 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.242 | 146673.6623 | 311548.0383 | 59.9307 | 38.1
90005 | 2021-04-09 18:56 | 15.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6844 | μmol/L | 11.1373 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.245 | 146605.5049 | 311504.69 | 59.9307 | 38.1
90014 | 2021-04-09 18:56 | 15.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6449 | μmol/L | 11.1494 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.242 | 146537.6511 | 311419.0416 | 59.9307 | 38.1
90023 | 2021-04-09 18:56 | 16.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.5587 | μmol/L | 11.1616 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.241 | 146461.8432 | 311321.2419 | 59.9307 | 38.1
90032 | 2021-04-09 18:57 | 16.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6209 | μmol/L | 11.1677 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.236 | 146392.7275 | 311236.2819 | 59.9307 | 38.1
90041 | 2021-04-09 18:57 | 16.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.441 | μmol/L | 11.1799 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.239 | 146316.5206 | 311169.0852 | 59.9307 | 38.1
90050 | 2021-04-09 18:57 | 17.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.2767 | μmol/L | 11.1982 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.239 | 146249.4792 | 311088.6124 | 59.9307 | 38.1
90059 | 2021-04-09 18:58 | 17.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.222 | μmol/L | 11.2043 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.239 | 146184.4035 | 311021.4459 | 59.9307 | 38.1
90068 | 2021-04-09 18:58 | 17.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.1673 | μmol/L | 11.2104 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.239 | 146120.773 | 310944.8071 | 59.9307 | 38.1
90077 | 2021-04-09 18:58 | 18.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0733 | μmol/L | 11.2286 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.236 | 146045.1555 | 310872.2935 | 59.9307 | 38.1
90086 | 2021-04-09 18:59 | 18.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0186 | μmol/L | 11.2347 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.236 | 145991.7106 | 310794.9156 | 59.9307 | 38.1
90095 | 2021-04-09 18:59 | 18.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0107 | μmol/L | 11.2408 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.234 | 145919.1386 | 310717.491 | 59.9307 | 38.1
90104 | 2021-04-09 18:59 | 19.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.9014 | μmol/L | 11.253 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.234 | 145856.3989 | 310637.4582 | 59.9307 | 38.1
90113 | 2021-04-09 19:00 | 19.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.7143 | μmol/L | 11.2713 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.235 | 145790.5562 | 310570.0093 | 59.9307 | 38.1
90122 | 2021-04-09 19:00 | 19.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.6285 | μmol/L | 11.2835 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.234 | 145732.283 | 310504.0673 | 59.9307 | 38.1
90131 | 2021-04-09 19:00 | 20.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.6518 | μmol/L | 11.2835 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.233 | 145665.6214 | 310425.3241 | 59.9307 | 38.1
90140 | 2021-04-09 19:01 | 20.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.6285 | μmol/L | 11.2835 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.234 | 145600.8847 | 310347.6297 | 59.9307 | 38.1
90149 | 2021-04-09 19:01 | 20.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.4183 | μmol/L | 11.3018 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.236 | 145529.4778 | 310289.3148 | 59.9307 | 38.1
90158 | 2021-04-09 19:01 | 21.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.4571 | μmol/L | 11.3079 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.232 | 145474.4439 | 310201.4029 | 59.9307 | 38.1
90167 | 2021-04-09 19:02 | 21.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.4026 | μmol/L | 11.314 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.232 | 145397.8887 | 310119.6635 | 59.9307 | 38.1
90176 | 2021-04-09 19:02 | 21.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.3948 | μmol/L | 11.32 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.23 | 145334.3027 | 310059.9548 | 59.9307 | 38.1
90185 | 2021-04-09 19:02 | 22.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.317 | μmol/L | 11.3261 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.231 | 145266.1232 | 309976.0518 | 59.9307 | 38.1
90194 | 2021-04-09 19:03 | 22.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.2547 | μmol/L | 11.3383 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.229 | 145201.4731 | 309907.4514 | 59.9307 | 38.1
90203 | 2021-04-09 19:03 | 22.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.1692 | μmol/L | 11.3505 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.228 | 145136.5891 | 309850.1963 | 59.9307 | 38.1
90212 | 2021-04-09 19:03 | 23.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.1148 | μmol/L | 11.3566 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.228 | 145074.0331 | 309778.254 | 59.9307 | 38.1
90221 | 2021-04-09 19:04 | 23.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.0992 | μmol/L | 11.3688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.224 | 145007.2504 | 309709.4435 | 59.9307 | 38.1
90230 | 2021-04-09 19:04 | 23.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.1691 | μmol/L | 11.3688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.221 | 144933.2003 | 309629.0402 | 59.9307 | 38.1
90239 | 2021-04-09 19:04 | 24.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.944 | μmol/L | 11.381 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.226 | 144871.2138 | 309571.6918 | 59.9307 | 38.1
90248 | 2021-04-09 19:05 | 24.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.0837 | μmol/L | 11.381 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.22 | 144803.1048 | 309501.4995 | 59.9307 | 38.1
90257 | 2021-04-09 19:05 | 24.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.0759 | μmol/L | 11.3871 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.218 | 144738.6293 | 309442.8756 | 59.9307 | 38.1
90266 | 2021-04-09 19:05 | 25.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.8276 | μmol/L | 11.3993 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.224 | 144674.5246 | 309365.7674 | 59.9307 | 38.1
90275 | 2021-04-09 19:06 | 25.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.8897 | μmol/L | 11.4053 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.219 | 144606.479 | 309325.2644 | 59.9307 | 38.1
90284 | 2021-04-09 19:06 | 25.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.8509 | μmol/L | 11.4175 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.216 | 144530.8394 | 309232.1973 | 59.9307 | 38.1
90293 | 2021-04-09 19:06 | 26.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.7734 | μmol/L | 11.4236 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.217 | 144479.3544 | 309169.5838 | 59.9307 | 38.1
90302 | 2021-04-09 19:07 | 26.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.7657 | μmol/L | 11.4297 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.215 | 144413.5309 | 309096.2787 | 59.9307 | 38.1
90311 | 2021-04-09 19:07 | 26.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.8045 | μmol/L | 11.4358 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.211 | 144351.0961 | 309039.8829 | 59.9307 | 38.1
90320 | 2021-04-09 19:07 | 27.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.758 | μmol/L | 11.4358 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.213 | 144269.8957 | 308968.4515 | 59.9307 | 38.1
90329 | 2021-04-09 19:08 | 27.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.6185 | μmol/L | 11.4541 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.212 | 144209.942 | 308909.6577 | 59.9307 | 38.1
90338 | 2021-04-09 19:08 | 27.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5876 | μmol/L | 11.4602 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.211 | 144153.3633 | 308853.7085 | 59.9307 | 38.1
90347 | 2021-04-09 19:08 | 28.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.7039 | μmol/L | 11.4602 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.206 | 144086.7272 | 308776.2639 | 59.9307 | 38.1
90356 | 2021-04-09 19:09 | 28.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5955 | μmol/L | 11.4724 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.206 | 144017.6114 | 308718.6872 | 59.9307 | 38.1
90365 | 2021-04-09 19:09 | 28.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5413 | μmol/L | 11.4785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.206 | 143962.2271 | 308670.728 | 59.9307 | 38.1
90374 | 2021-04-09 19:09 | 29.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5104 | μmol/L | 11.4846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.205 | 143893.4136 | 308595.0963 | 59.9307 | 38.1
90383 | 2021-04-09 19:10 | 29.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5104 | μmol/L | 11.4846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.205 | 143830.3936 | 308537.2431 | 59.9307 | 38.1
90392 | 2021-04-09 19:10 | 29.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5416 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.199 | 143759.2819 | 308460.7237 | 59.9307 | 38.1
90401 | 2021-04-09 19:10 | 30.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5882 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.197 | 143693.9447 | 308406.3685 | 59.9307 | 38.1
90410 | 2021-04-09 19:11 | 30.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5882 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.197 | 143625.522 | 308359.0575 | 59.9307 | 38.1
90419 | 2021-04-09 19:11 | 30.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5805 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.195 | 143556.8041 | 308288.2086 | 59.9307 | 38.1
90428 | 2021-04-09 19:11 | 31.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.542 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.192 | 143487.9362 | 308218.9721 | 59.9307 | 38.1
90437 | 2021-04-09 19:12 | 31.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5885 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.19 | 143435.1448 | 308181.113 | 59.9307 | 38.1
90446 | 2021-04-09 19:12 | 31.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5653 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.191 | 143383.2528 | 308122.0158 | 59.9307 | 38.1
90455 | 2021-04-09 19:12 | 32.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5268 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.188 | 143316.9023 | 308043.4754 | 59.9307 | 38.1
90464 | 2021-04-09 19:13 | 32.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3953 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.189 | 143261.9337 | 307997.362 | 59.9307 | 38.1
90473 | 2021-04-09 19:13 | 32.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4186 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.188 | 143216.8592 | 307937.5018 | 59.9307 | 38.1
90482 | 2021-04-09 19:13 | 33.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3413 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.189 | 143158.1704 | 307879.9385 | 59.9307 | 38.1
90491 | 2021-04-09 19:14 | 33.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3337 | μmol/L | 11.5516 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.187 | 143103.8344 | 307815.1497 | 59.9307 | 38.1
90500 | 2021-04-09 19:14 | 33.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3569 | μmol/L | 11.5516 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.186 | 143046.7979 | 307764.0088 | 59.9307 | 38.1
90509 | 2021-04-09 19:14 | 34.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2488 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.186 | 142988.8636 | 307703.6918 | 59.9307 | 38.1
90518 | 2021-04-09 19:15 | 34.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3185 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.183 | 142930.0901 | 307649.4545 | 59.9307 | 38.1
90527 | 2021-04-09 19:15 | 34.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3418 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.182 | 142876.6486 | 307590.0049 | 59.9307 | 38.1
90536 | 2021-04-09 19:15 | 35.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2412 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.184 | 142823.3569 | 307544.2184 | 59.9307 | 38.1
90545 | 2021-04-09 19:16 | 35.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1797 | μmol/L | 11.5821 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.182 | 142760.3399 | 307476.6899 | 59.9307 | 38.1
90554 | 2021-04-09 19:16 | 35.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3267 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.178 | 142700.6312 | 307414.361 | 59.9307 | 38.1
90563 | 2021-04-09 19:16 | 36.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2494 | μmol/L | 11.5821 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.179 | 142661.4364 | 307372.9252 | 59.9307 | 38.1
90572 | 2021-04-09 19:17 | 36.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1414 | μmol/L | 11.5942 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.179 | 142596.0459 | 307324.9114 | 59.9307 | 38.1
90581 | 2021-04-09 19:17 | 36.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.0799 | μmol/L | 11.6064 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.177 | 142541.4515 | 307266.8426 | 59.9307 | 38.1
90590 | 2021-04-09 19:17 | 37.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1571 | μmol/L | 11.6003 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.176 | 142486.56 | 307203.5507 | 59.9307 | 38.1
90599 | 2021-04-09 19:18 | 37.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1728 | μmol/L | 11.6064 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.173 | 142430.5977 | 307142.1293 | 59.9307 | 38.1
90608 | 2021-04-09 19:18 | 37.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.0723 | μmol/L | 11.6125 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.175 | 142370.9338 | 307102.0882 | 59.9307 | 38.1
90617 | 2021-04-09 19:18 | 38.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1345 | μmol/L | 11.6186 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.17 | 142315.7781 | 307047.802 | 59.9307 | 38.1
90626 | 2021-04-09 19:19 | 38.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1885 | μmol/L | 11.6125 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.17 | 142273.5514 | 306990.3343 | 59.9307 | 38.1
90635 | 2021-04-09 19:19 | 38.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1113 | μmol/L | 11.6186 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.171 | 142211.7428 | 306944.1342 | 59.9307 | 38.1
90644 | 2021-04-09 19:19 | 39.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1038 | μmol/L | 11.6247 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.169 | 142163.6838 | 306888.8936 | 59.9307 | 38.1
90653 | 2021-04-09 19:20 | 39.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1503 | μmol/L | 11.6247 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.167 | 142109.1756 | 306852.5751 | 59.9307 | 38.1
90662 | 2021-04-09 19:20 | 39.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1503 | μmol/L | 11.6247 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.167 | 142062.4794 | 306805.2735 | 59.9307 | 38.1
90671 | 2021-04-09 19:20 | 40.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1195 | μmol/L | 11.6308 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.166 | 142003.2815 | 306759.9808 | 59.9307 | 38.1
90680 | 2021-04-09 19:21 | 40.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1353 | μmol/L | 11.6369 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.163 | 141949.7604 | 306694.2829 | 59.9307 | 38.1
90689 | 2021-04-09 19:21 | 40.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1046 | μmol/L | 11.643 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.162 | 141892.4147 | 306642.7309 | 59.9307 | 38.1
90698 | 2021-04-09 19:21 | 41.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1353 | μmol/L | 11.6369 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.163 | 141843.8912 | 306598.3975 | 59.9307 | 38.1
90707 | 2021-04-09 19:22 | 41.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1436 | μmol/L | 11.6491 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.158 | 141782.4683 | 306539.3426 | 59.9307 | 38.1
90716 | 2021-04-09 19:22 | 41.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1668 | μmol/L | 11.6491 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.157 | 141729.8734 | 306515.0052 | 59.9307 | 38.1
90725 | 2021-04-09 19:22 | 42.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.0897 | μmol/L | 11.6552 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.158 | 141676.8886 | 306463.5174 | 59.9307 | 38.1
90734 | 2021-04-09 19:23 | 42.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.0283 | μmol/L | 11.6674 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.156 | 141625.998 | 306427.3116 | 59.9307 | 38.1
90743 | 2021-04-09 19:23 | 42.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1752 | μmol/L | 11.6613 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.152 | 141576.2597 | 306370.2804 | 59.9307 | 38.1
90752 | 2021-04-09 19:23 | 43.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1445 | μmol/L | 11.6674 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.151 | 141522.0475 | 306326.0022 | 59.9307 | 38.1
90761 | 2021-04-09 19:24 | 43.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1445 | μmol/L | 11.6674 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.151 | 141479.9283 | 306290.9306 | 59.9307 | 38.1
90770 | 2021-04-09 19:24 | 43.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.284 | μmol/L | 11.6674 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.145 | 141421.8739 | 306247.464 | 59.9307 | 38.1
90779 | 2021-04-09 19:24 | 44.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1063 | μmol/L | 11.6796 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.148 | 141372.4783 | 306188.6854 | 59.9307 | 38.1
90788 | 2021-04-09 19:25 | 44.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2226 | μmol/L | 11.6796 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.143 | 141315.9972 | 306142.6032 | 59.9307 | 38.1
90797 | 2021-04-09 19:25 | 44.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2617 | μmol/L | 11.6856 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.139 | 141264.3954 | 306101.158 | 59.9307 | 38.1
90806 | 2021-04-09 19:25 | 45.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2617 | μmol/L | 11.6856 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.139 | 141208.0222 | 306047.2265 | 59.9307 | 38.1
90815 | 2021-04-09 19:26 | 45.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.231 | μmol/L | 11.6917 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.138 | 141160.7756 | 305996.2833 | 59.9307 | 38.1
90824 | 2021-04-09 19:26 | 45.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2542 | μmol/L | 11.6917 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.137 | 141104.1205 | 305965.7906 | 59.9307 | 38.1
90833 | 2021-04-09 19:26 | 46.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2236 | μmol/L | 11.6978 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.136 | 141049.4943 | 305926.5413 | 59.9307 | 38.1
90842 | 2021-04-09 19:27 | 46.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2627 | μmol/L | 11.7039 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.132 | 141004.4469 | 305879.1003 | 59.9307 | 38.1
90851 | 2021-04-09 19:27 | 46.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3706 | μmol/L | 11.6917 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.132 | 140954.6086 | 305841.9652 | 59.9307 | 38.1
90860 | 2021-04-09 19:27 | 47.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3325 | μmol/L | 11.7039 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.129 | 140905.29 | 305803.3949 | 59.9307 | 38.1
90869 | 2021-04-09 19:28 | 47.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4256 | μmol/L | 11.7039 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.125 | 140847.6072 | 305761.2646 | 59.9307 | 38.1
90878 | 2021-04-09 19:28 | 47.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3716 | μmol/L | 11.71 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.125 | 140801.2546 | 305716.3389 | 59.9307 | 38.1
90887 | 2021-04-09 19:28 | 48.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4647 | μmol/L | 11.71 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.121 | 140752.2338 | 305691.266 | 59.9307 | 38.1
90896 | 2021-04-09 19:29 | 48.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3875 | μmol/L | 11.7161 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.122 | 140707.5453 | 305635.7548 | 59.9307 | 38.1
90905 | 2021-04-09 19:29 | 48.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4341 | μmol/L | 11.7161 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.12 | 140663.2654 | 305603.7121 | 59.9307 | 38.1
90914 | 2021-04-09 19:29 | 49.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3336 | μmol/L | 11.7222 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.122 | 140605.2639 | 305556.3893 | 59.9307 | 38.1
90923 | 2021-04-09 19:30 | 49.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4034 | μmol/L | 11.7222 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.119 | 140568.3871 | 305510.8401 | 59.9307 | 38.1
90932 | 2021-04-09 19:30 | 49.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4267 | μmol/L | 11.7222 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.118 | 140517.5349 | 305481.9686 | 59.9307 | 38.1
90941 | 2021-04-09 19:30 | 50.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5198 | μmol/L | 11.7222 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.114 | 140468.4271 | 305439.9382 | 59.9307 | 38.1
90950 | 2021-04-09 19:31 | 50.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4119 | μmol/L | 11.7344 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.114 | 140435.4215 | 305402.0435 | 59.9307 | 38.1
90959 | 2021-04-09 19:31 | 50.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5358 | μmol/L | 11.7283 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.111 | 140384.6726 | 305358.1666 | 59.9307 | 38.1
90968 | 2021-04-09 19:31 | 51.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5051 | μmol/L | 11.7344 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.11 | 140342.4631 | 305325.5333 | 59.9307 | 38.1
90977 | 2021-04-09 19:32 | 51.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5051 | μmol/L | 11.7344 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.11 | 140296.6635 | 305282.4993 | 59.9307 | 38.1
90986 | 2021-04-09 19:32 | 51.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4744 | μmol/L | 11.7405 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.109 | 140265.344 | 305259.5284 | 59.9307 | 38.1
90995 | 2021-04-09 19:32 | 52.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4671 | μmol/L | 11.7466 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.107 | 140219.4747 | 305230.0946 | 59.9307 | 38.1
91004 | 2021-04-09 19:33 | 52.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4438 | μmol/L | 11.7466 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.108 | 140177.1387 | 305192.4331 | 59.9307 | 38.1
91013 | 2021-04-09 19:33 | 52.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5063 | μmol/L | 11.7527 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.103 | 140136.8583 | 305151.2967 | 59.9307 | 38.1
91022 | 2021-04-09 19:33 | 53.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5296 | μmol/L | 11.7527 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.102 | 140092.412 | 305108.7556 | 59.9307 | 38.1
91031 | 2021-04-09 19:34 | 53.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5529 | μmol/L | 11.7527 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.101 | 140061.9252 | 305084.1679 | 59.9307 | 38.1
91040 | 2021-04-09 19:34 | 53.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5529 | μmol/L | 11.7527 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.101 | 140026.3332 | 305049.003 | 59.9307 | 38.1
91049 | 2021-04-09 19:34 | 54.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.499 | μmol/L | 11.7588 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.101 | 139969.7125 | 304995.8206 | 59.9307 | 38.1
91058 | 2021-04-09 19:35 | 54.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5848 | μmol/L | 11.7649 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.095 | 139933.9783 | 304974.781 | 59.9307 | 38.1
91067 | 2021-04-09 19:35 | 54.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4451 | μmol/L | 11.7649 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.101 | 139884.7284 | 304955.7131 | 59.9307 | 38.1
91076 | 2021-04-09 19:35 | 55.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.6388 | μmol/L | 11.7588 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.095 | 139844.9293 | 304889.6007 | 59.9307 | 38.1
91085 | 2021-04-09 19:36 | 55.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5542 | μmol/L | 11.771 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.094 | 139795.5395 | 304859.4478 | 59.9307 | 38.1
91094 | 2021-04-09 19:36 | 55.9988 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4843 | μmol/L | 11.771 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.097 | 139761.7821 | 304826.9227 | 59.9307 | 38.1
91103 | 2021-04-09 19:36 | 56.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.6008 | μmol/L | 11.771 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.092 | 139730.5488 | 304802.2124 | 59.9307 | 38.1
91112 | 2021-04-09 19:37 | 56.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.6008 | μmol/L | 11.771 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.092 | 139684.1684 | 304765.0825 | 59.9307 | 38.1
91121 | 2021-04-09 19:37 | 56.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5702 | μmol/L | 11.7771 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.091 | 139648.877 | 304725.0438 | 59.9307 | 38.1
91130 | 2021-04-09 19:37 | 57.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5163 | μmol/L | 11.7831 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.091 | 139615.9721 | 304698.599 | 59.9307 | 38.1
91139 | 2021-04-09 19:38 | 57.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.6401 | μmol/L | 11.7771 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.088 | 139581.8246 | 304664.4968 | 59.9307 | 38.1
91148 | 2021-04-09 19:38 | 57.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5396 | μmol/L | 11.7831 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.09 | 139545.3575 | 304627.8962 | 59.9307 | 38.1
91157 | 2021-04-09 19:38 | 58.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5629 | μmol/L | 11.7831 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.089 | 139522.0841 | 304597.917 | 59.9307 | 38.1
91162 | 2021-04-09 19:39 | 58.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.6561 | μmol/L | 11.7831 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.085 | 139493.8783 | 304571.3389 | 59.9307 | 38.1