## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 08:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
72885 | 2021-04-07 07:50 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.567 | μmol/L | 12.0631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.675 | 113090.6717 | 219394.2531 | 27.3 | 43.4
72894 | 2021-04-07 07:50 | 0.34151 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.4831 | μmol/L | 12.0631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.678 | 113108.4096 | 219392.3796 | 27.3 | 43.4
72903 | 2021-04-07 07:50 | 0.67505 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3341 | μmol/L | 12.0692 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.681 | 113097.5181 | 219378.9774 | 27.3 | 43.4
72912 | 2021-04-07 07:51 | 1.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.4649 | μmol/L | 12.0753 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.674 | 113065.2979 | 219374.1259 | 27.3 | 43.4
72921 | 2021-04-07 07:51 | 1.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.251 | μmol/L | 12.0875 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.677 | 113043.8216 | 219368.4567 | 27.3 | 43.4
72930 | 2021-04-07 07:51 | 1.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3908 | μmol/L | 12.0875 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.672 | 113024.5466 | 219366.2551 | 27.3 | 43.4
72939 | 2021-04-07 07:52 | 2.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2419 | μmol/L | 12.0936 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.675 | 112994.3765 | 219353.6386 | 27.3 | 43.4
72948 | 2021-04-07 07:52 | 2.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2888 | μmol/L | 12.0997 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.671 | 112965.3151 | 219349.4963 | 27.3 | 43.4
72957 | 2021-04-07 07:52 | 2.6746 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3636 | μmol/L | 12.1058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.666 | 112944.0435 | 219337.0768 | 27.3 | 43.4
72966 | 2021-04-07 07:53 | 3.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1959 | μmol/L | 12.1058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.672 | 112920.0079 | 219337.1049 | 27.3 | 43.4
72975 | 2021-04-07 07:53 | 3.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2058 | μmol/L | 12.118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.667 | 112900.5671 | 219321.1718 | 27.3 | 43.4
72984 | 2021-04-07 07:53 | 3.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3826 | μmol/L | 12.1119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.663 | 112866.4877 | 219320.6327 | 27.3 | 43.4
72993 | 2021-04-07 07:54 | 4.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2806 | μmol/L | 12.1241 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.662 | 112846.7711 | 219311.9473 | 27.3 | 43.4
73002 | 2021-04-07 07:54 | 4.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3366 | μmol/L | 12.1241 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.66 | 112824.856 | 219305.9358 | 27.3 | 43.4
73011 | 2021-04-07 07:54 | 4.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2347 | μmol/L | 12.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.659 | 112803.431 | 219282.1701 | 27.3 | 43.4
73020 | 2021-04-07 07:55 | 5.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1787 | μmol/L | 12.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.661 | 112786.8239 | 219278.4123 | 27.3 | 43.4
73029 | 2021-04-07 07:55 | 5.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1697 | μmol/L | 12.1424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.659 | 112768.8 | 219279.2528 | 27.3 | 43.4
73038 | 2021-04-07 07:55 | 5.6747 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2446 | μmol/L | 12.1485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.654 | 112738.7429 | 219272.2457 | 27.3 | 43.4
73047 | 2021-04-07 07:56 | 6.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1518 | μmol/L | 12.1546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.655 | 112730.9337 | 219261.6351 | 27.3 | 43.4
73056 | 2021-04-07 07:56 | 6.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2357 | μmol/L | 12.1546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.652 | 112703.3227 | 219257.0074 | 27.3 | 43.4
73065 | 2021-04-07 07:56 | 6.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3106 | μmol/L | 12.1607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112693.8829 | 219250.2708 | 27.3 | 43.4
73074 | 2021-04-07 07:57 | 7.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1898 | μmol/L | 12.1668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.649 | 112670.7637 | 219241.0565 | 27.3 | 43.4
73083 | 2021-04-07 07:57 | 7.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1808 | μmol/L | 12.1729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112652.2917 | 219233.8088 | 27.3 | 43.4
73092 | 2021-04-07 07:57 | 7.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0321 | μmol/L | 12.179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.65 | 112636.1843 | 219225.6238 | 27.3 | 43.4
73101 | 2021-04-07 07:58 | 8.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.116 | μmol/L | 12.179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112631.0985 | 219211.9429 | 27.3 | 43.4
73110 | 2021-04-07 07:58 | 8.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0511 | μmol/L | 12.1851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112616.5539 | 219213.4208 | 27.3 | 43.4
73119 | 2021-04-07 07:58 | 8.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0981 | μmol/L | 12.1912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.643 | 112607.5455 | 219195.7171 | 27.3 | 43.4
73128 | 2021-04-07 07:59 | 9.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1261 | μmol/L | 12.1912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.642 | 112590.9868 | 219210.0085 | 27.3 | 43.4
73137 | 2021-04-07 07:59 | 9.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0702 | μmol/L | 12.1912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.644 | 112594.7434 | 219195.1806 | 27.3 | 43.4
73146 | 2021-04-07 07:59 | 9.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.9494 | μmol/L | 12.1973 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112610.8249 | 219188.1557 | 27.3 | 43.4
73155 | 2021-04-07 08:00 | 10.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.8567 | μmol/L | 12.2034 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112601.0294 | 219171.4528 | 27.3 | 43.4
73164 | 2021-04-07 08:00 | 10.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.764 | μmol/L | 12.2095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112585.9644 | 219182.3797 | 27.3 | 43.4
73173 | 2021-04-07 08:00 | 10.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.6523 | μmol/L | 12.2095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.652 | 112572.4567 | 219167.6114 | 27.3 | 43.4
73182 | 2021-04-07 08:01 | 11.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.6345 | μmol/L | 12.2217 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112543.7945 | 219155.1292 | 27.3 | 43.4
73191 | 2021-04-07 08:01 | 11.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.6345 | μmol/L | 12.2217 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112546.5646 | 219145.3423 | 27.3 | 43.4
73200 | 2021-04-07 08:01 | 11.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.7183 | μmol/L | 12.2217 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112539.5984 | 219160.9455 | 27.3 | 43.4
73209 | 2021-04-07 08:02 | 12.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5698 | μmol/L | 12.2278 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112537.9395 | 219141.4917 | 27.3 | 43.4
73218 | 2021-04-07 08:02 | 12.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5698 | μmol/L | 12.2278 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112527.3522 | 219131.8567 | 27.3 | 43.4
73227 | 2021-04-07 08:02 | 12.6747 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5609 | μmol/L | 12.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112513.4085 | 219141.237 | 27.3 | 43.4
73236 | 2021-04-07 08:03 | 13.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.533 | μmol/L | 12.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112502.9841 | 219123.4145 | 27.3 | 43.4
73245 | 2021-04-07 08:03 | 13.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.552 | μmol/L | 12.2399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.644 | 112487.9837 | 219122.0778 | 27.3 | 43.4
73254 | 2021-04-07 08:03 | 13.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4595 | μmol/L | 12.246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112477.9907 | 219116.5772 | 27.3 | 43.4
73263 | 2021-04-07 08:04 | 14.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4595 | μmol/L | 12.246 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112465.3222 | 219106.5071 | 27.3 | 43.4
73272 | 2021-04-07 08:04 | 14.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4697 | μmol/L | 12.2582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.64 | 112449.6466 | 219111.3848 | 27.3 | 43.4
73281 | 2021-04-07 08:04 | 14.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5623 | μmol/L | 12.2521 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.639 | 112444.1065 | 219107.5206 | 27.3 | 43.4
73290 | 2021-04-07 08:05 | 15.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4139 | μmol/L | 12.2582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.642 | 112430.6654 | 219094.7618 | 27.3 | 43.4
73299 | 2021-04-07 08:05 | 15.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5534 | μmol/L | 12.2582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.637 | 112427.8696 | 219100.8854 | 27.3 | 43.4
73308 | 2021-04-07 08:05 | 15.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3492 | μmol/L | 12.2643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.642 | 112415.3915 | 219073.2217 | 27.3 | 43.4
73317 | 2021-04-07 08:06 | 16.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3683 | μmol/L | 12.2704 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.639 | 112404.1066 | 219082.4066 | 27.3 | 43.4
73326 | 2021-04-07 08:06 | 16.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3125 | μmol/L | 12.2704 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.641 | 112397.7938 | 219081.4312 | 27.3 | 43.4
73335 | 2021-04-07 08:06 | 16.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2758 | μmol/L | 12.2765 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.64 | 112382.4321 | 219064.8041 | 27.3 | 43.4
73344 | 2021-04-07 08:07 | 17.008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3595 | μmol/L | 12.2765 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.637 | 112370.9501 | 219058.6426 | 27.3 | 43.4
73353 | 2021-04-07 08:07 | 17.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4065 | μmol/L | 12.2826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.633 | 112374.8222 | 219063.2541 | 27.3 | 43.4
73362 | 2021-04-07 08:07 | 17.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2494 | μmol/L | 12.2948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.634 | 112371.5938 | 219057.1218 | 27.3 | 43.4
73371 | 2021-04-07 08:08 | 18.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3228 | μmol/L | 12.2826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.636 | 112363.6156 | 219055.2048 | 27.3 | 43.4
73380 | 2021-04-07 08:08 | 18.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2024 | μmol/L | 12.2887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.638 | 112354.0618 | 219042.6587 | 27.3 | 43.4
73389 | 2021-04-07 08:08 | 18.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2303 | μmol/L | 12.2887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.637 | 112355.7671 | 219046.6492 | 27.3 | 43.4
73398 | 2021-04-07 08:09 | 19.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0821 | μmol/L | 12.2948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.64 | 112360.0101 | 219042.0043 | 27.3 | 43.4
73407 | 2021-04-07 08:09 | 19.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.11 | μmol/L | 12.2948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.639 | 112350.7514 | 219032.7286 | 27.3 | 43.4
73416 | 2021-04-07 08:09 | 19.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0176 | μmol/L | 12.3009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.64 | 112359.5096 | 219025.3933 | 27.3 | 43.4
73425 | 2021-04-07 08:10 | 20.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8504 | μmol/L | 12.3009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112364.0818 | 219025.2007 | 27.3 | 43.4
73434 | 2021-04-07 08:10 | 20.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8416 | μmol/L | 12.307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.644 | 112371.7026 | 219015.6184 | 27.3 | 43.4
73443 | 2021-04-07 08:10 | 20.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8137 | μmol/L | 12.307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112369.4609 | 219015.2113 | 27.3 | 43.4
73452 | 2021-04-07 08:11 | 21.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.758 | μmol/L | 12.307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112372.2528 | 219005.1844 | 27.3 | 43.4
73461 | 2021-04-07 08:11 | 21.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5735 | μmol/L | 12.3192 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.649 | 112369.0276 | 219010.8981 | 27.3 | 43.4
73470 | 2021-04-07 08:11 | 21.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.657 | μmol/L | 12.3192 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112372.0694 | 219012.6173 | 27.3 | 43.4
73479 | 2021-04-07 08:12 | 22.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6936 | μmol/L | 12.3131 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112367.8554 | 219005.8698 | 27.3 | 43.4
73488 | 2021-04-07 08:12 | 22.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5647 | μmol/L | 12.3253 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112361.2558 | 219003.2521 | 27.3 | 43.4
73497 | 2021-04-07 08:12 | 22.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5647 | μmol/L | 12.3253 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112353.732 | 218991.5363 | 27.3 | 43.4
73506 | 2021-04-07 08:13 | 23.008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4447 | μmol/L | 12.3314 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.649 | 112351.3859 | 218985.1268 | 27.3 | 43.4
73515 | 2021-04-07 08:13 | 23.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5926 | μmol/L | 12.3253 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112357.4689 | 218983.0948 | 27.3 | 43.4
73524 | 2021-04-07 08:13 | 23.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4813 | μmol/L | 12.3253 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.65 | 112354.8945 | 218974.2346 | 27.3 | 43.4
73533 | 2021-04-07 08:14 | 24.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4359 | μmol/L | 12.3375 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112348.5152 | 218979.8321 | 27.3 | 43.4
73542 | 2021-04-07 08:14 | 24.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3612 | μmol/L | 12.3314 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.652 | 112346.3192 | 218969.984 | 27.3 | 43.4
73551 | 2021-04-07 08:14 | 24.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4638 | μmol/L | 12.3375 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112349.3603 | 218973.9888 | 27.3 | 43.4
73560 | 2021-04-07 08:15 | 25.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5282 | μmol/L | 12.3314 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112343.0083 | 218968.711 | 27.3 | 43.4
73569 | 2021-04-07 08:15 | 25.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3438 | μmol/L | 12.3436 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.648 | 112324.3992 | 218967.0785 | 27.3 | 43.4
73578 | 2021-04-07 08:15 | 25.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2238 | μmol/L | 12.3497 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.65 | 112327.9392 | 218963.8245 | 27.3 | 43.4
73587 | 2021-04-07 08:16 | 26.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2238 | μmol/L | 12.3497 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.65 | 112330.7466 | 218957.8727 | 27.3 | 43.4
73596 | 2021-04-07 08:16 | 26.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2326 | μmol/L | 12.3436 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.652 | 112325.1701 | 218952.0659 | 27.3 | 43.4
73605 | 2021-04-07 08:16 | 26.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2516 | μmol/L | 12.3497 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.649 | 112320.0423 | 218956.127 | 27.3 | 43.4
73614 | 2021-04-07 08:17 | 27.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1873 | μmol/L | 12.3558 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.649 | 112310.7953 | 218956.5948 | 27.3 | 43.4
73623 | 2021-04-07 08:17 | 27.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3351 | μmol/L | 12.3497 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112303.1319 | 218952.9811 | 27.3 | 43.4
73632 | 2021-04-07 08:17 | 27.6747 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2342 | μmol/L | 12.3619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112295.157 | 218949.9182 | 27.3 | 43.4
73641 | 2021-04-07 08:18 | 28.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1786 | μmol/L | 12.3619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.647 | 112287.8783 | 218948.5585 | 27.3 | 43.4
73650 | 2021-04-07 08:18 | 28.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2064 | μmol/L | 12.3619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112285.644 | 218934.3698 | 27.3 | 43.4
73659 | 2021-04-07 08:18 | 28.6747 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2533 | μmol/L | 12.368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.642 | 112270.0747 | 218941.4298 | 27.3 | 43.4
73668 | 2021-04-07 08:19 | 29.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3646 | μmol/L | 12.368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.638 | 112254.5516 | 218940.1817 | 27.3 | 43.4
73677 | 2021-04-07 08:19 | 29.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2533 | μmol/L | 12.368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.642 | 112250.2119 | 218938.8025 | 27.3 | 43.4
73686 | 2021-04-07 08:19 | 29.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2533 | μmol/L | 12.368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.642 | 112253.8093 | 218937.6212 | 27.3 | 43.4
73695 | 2021-04-07 08:20 | 30.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2811 | μmol/L | 12.368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.641 | 112254.5744 | 218945.5789 | 27.3 | 43.4
73704 | 2021-04-07 08:20 | 30.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1334 | μmol/L | 12.3741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.644 | 112254.3751 | 218939.0711 | 27.3 | 43.4
73713 | 2021-04-07 08:20 | 30.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1612 | μmol/L | 12.3741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.643 | 112252.2829 | 218928.9633 | 27.3 | 43.4
73722 | 2021-04-07 08:21 | 31.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0136 | μmol/L | 12.3802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.646 | 112252.5405 | 218927.5246 | 27.3 | 43.4
73731 | 2021-04-07 08:21 | 31.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0414 | μmol/L | 12.3802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.645 | 112256.8495 | 218924.3824 | 27.3 | 43.4