## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 08:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
72887 | 2021-04-07 07:50 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 310.1194 | μmol/L | 12.2217 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133314.2604 | 277091.1614 | 36.4 | 83.1
72896 | 2021-04-07 07:50 | 0.33878 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 310.057 | μmol/L | 12.2278 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133327.841 | 277097.4114 | 36.4 | 83.1
72905 | 2021-04-07 07:50 | 0.67242 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 310.0404 | μmol/L | 12.2217 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.306 | 133326.5829 | 277085.9901 | 36.4 | 83.1
72914 | 2021-04-07 07:51 | 1.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.942 | μmol/L | 12.2339 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.305 | 133320.6547 | 277065.9557 | 36.4 | 83.1
72923 | 2021-04-07 07:51 | 1.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8893 | μmol/L | 12.2339 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.307 | 133297.9533 | 277065.6087 | 36.4 | 83.1
72932 | 2021-04-07 07:51 | 1.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7647 | μmol/L | 12.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.307 | 133294.7647 | 277047.3645 | 36.4 | 83.1
72941 | 2021-04-07 07:52 | 2.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7024 | μmol/L | 12.2523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.307 | 133279.2449 | 277027.7083 | 36.4 | 83.1
72950 | 2021-04-07 07:52 | 2.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.791 | μmol/L | 12.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.306 | 133270.7429 | 277006.8975 | 36.4 | 83.1
72959 | 2021-04-07 07:52 | 2.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7453 | μmol/L | 12.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133264.504 | 277012.8193 | 36.4 | 83.1
72968 | 2021-04-07 07:53 | 3.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.798 | μmol/L | 12.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.301 | 133240.5205 | 276998.3211 | 36.4 | 83.1
72977 | 2021-04-07 07:53 | 3.3392 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7261 | μmol/L | 12.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.299 | 133216.0253 | 276983.9668 | 36.4 | 83.1
72986 | 2021-04-07 07:53 | 3.6719 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6208 | μmol/L | 12.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133203.3436 | 276970.4864 | 36.4 | 83.1
72995 | 2021-04-07 07:54 | 4.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6901 | μmol/L | 12.2767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.298 | 133172.9546 | 276954.3195 | 36.4 | 83.1
73004 | 2021-04-07 07:54 | 4.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4963 | μmol/L | 12.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133169.1541 | 276951.1385 | 36.4 | 83.1
73013 | 2021-04-07 07:54 | 4.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3982 | μmol/L | 12.295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.302 | 133160.9353 | 276932.8085 | 36.4 | 83.1
73022 | 2021-04-07 07:55 | 5.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3886 | μmol/L | 12.3012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.3 | 133150.0708 | 276945.9105 | 36.4 | 83.1
73031 | 2021-04-07 07:55 | 5.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4245 | μmol/L | 12.295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.301 | 133143.9143 | 276920.4425 | 36.4 | 83.1
73040 | 2021-04-07 07:55 | 5.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.336 | μmol/L | 12.3012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.302 | 133131.7612 | 276915.2137 | 36.4 | 83.1
73049 | 2021-04-07 07:56 | 6.0055 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3264 | μmol/L | 12.3073 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.3 | 133121.1232 | 276901.9111 | 36.4 | 83.1
73058 | 2021-04-07 07:56 | 6.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1854 | μmol/L | 12.3134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133100.2915 | 276892.4208 | 36.4 | 83.1
73067 | 2021-04-07 07:56 | 6.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.097 | μmol/L | 12.3195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.304 | 133098.5151 | 276872.7309 | 36.4 | 83.1
73076 | 2021-04-07 07:57 | 7.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.097 | μmol/L | 12.3195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.304 | 133107.8662 | 276869.1131 | 36.4 | 83.1
73085 | 2021-04-07 07:57 | 7.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1233 | μmol/L | 12.3195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.303 | 133088.804 | 276860.6292 | 36.4 | 83.1
73094 | 2021-04-07 07:57 | 7.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0516 | μmol/L | 12.3317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.301 | 133071.8006 | 276840.5582 | 36.4 | 83.1
73103 | 2021-04-07 07:58 | 8.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0875 | μmol/L | 12.3256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.302 | 133076.1213 | 276835.8614 | 36.4 | 83.1
73112 | 2021-04-07 07:58 | 8.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9824 | μmol/L | 12.3256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.306 | 133102.421 | 276828.7116 | 36.4 | 83.1
73121 | 2021-04-07 07:58 | 8.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7629 | μmol/L | 12.3317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.312 | 133114.5133 | 276819.8891 | 36.4 | 83.1
73130 | 2021-04-07 07:59 | 9.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7271 | μmol/L | 12.3378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.311 | 133098.6006 | 276811.4468 | 36.4 | 83.1
73139 | 2021-04-07 07:59 | 9.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.4625 | μmol/L | 12.3562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.314 | 133086.3003 | 276801.0155 | 36.4 | 83.1
73148 | 2021-04-07 07:59 | 9.6724 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.646 | μmol/L | 12.3562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.307 | 133057.9632 | 276790.2453 | 36.4 | 83.1
73157 | 2021-04-07 08:00 | 10.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6198 | μmol/L | 12.3562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.308 | 133030.3367 | 276777.1182 | 36.4 | 83.1
73166 | 2021-04-07 08:00 | 10.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.646 | μmol/L | 12.3562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.307 | 133027.0061 | 276780.1147 | 36.4 | 83.1
73175 | 2021-04-07 08:00 | 10.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6818 | μmol/L | 12.3501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.308 | 133029.7175 | 276761.2083 | 36.4 | 83.1
73184 | 2021-04-07 08:01 | 11.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.5936 | μmol/L | 12.3562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.309 | 133022.4902 | 276742.4745 | 36.4 | 83.1
73193 | 2021-04-07 08:01 | 11.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.5316 | μmol/L | 12.3623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.309 | 133029.8122 | 276752.5961 | 36.4 | 83.1
73202 | 2021-04-07 08:01 | 11.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.4173 | μmol/L | 12.3684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.311 | 133036.7465 | 276738.4649 | 36.4 | 83.1
73211 | 2021-04-07 08:02 | 12.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.3125 | μmol/L | 12.3684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.315 | 133025.865 | 276737.0473 | 36.4 | 83.1
73220 | 2021-04-07 08:02 | 12.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.3911 | μmol/L | 12.3684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.312 | 133030.8799 | 276724.5379 | 36.4 | 83.1
73229 | 2021-04-07 08:02 | 12.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.3029 | μmol/L | 12.3745 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.313 | 133031.0235 | 276717.6737 | 36.4 | 83.1
73238 | 2021-04-07 08:03 | 13.0057 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.2768 | μmol/L | 12.3745 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.314 | 133034.2814 | 276722.5744 | 36.4 | 83.1
73247 | 2021-04-07 08:03 | 13.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.1363 | μmol/L | 12.3806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.317 | 133028.7694 | 276697.3304 | 36.4 | 83.1
73256 | 2021-04-07 08:03 | 13.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.9698 | μmol/L | 12.3867 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.321 | 133042.4582 | 276704.8007 | 36.4 | 83.1
73265 | 2021-04-07 08:04 | 14.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.9342 | μmol/L | 12.3929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.32 | 133045.9414 | 276699.1955 | 36.4 | 83.1
73274 | 2021-04-07 08:04 | 14.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.0221 | μmol/L | 12.3867 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.319 | 133038.3339 | 276672.6553 | 36.4 | 83.1
73283 | 2021-04-07 08:04 | 14.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.8818 | μmol/L | 12.3929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.322 | 133036.0313 | 276668.6098 | 36.4 | 83.1
73292 | 2021-04-07 08:05 | 15.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.996 | μmol/L | 12.3867 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.32 | 133040.6908 | 276670.4237 | 36.4 | 83.1
73301 | 2021-04-07 08:05 | 15.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.8818 | μmol/L | 12.3929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.322 | 133041.3497 | 276652.7163 | 36.4 | 83.1
73310 | 2021-04-07 08:05 | 15.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.592 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.326 | 133041.6408 | 276658.1931 | 36.4 | 83.1
73319 | 2021-04-07 08:06 | 16.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.592 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.326 | 133051.5204 | 276634.3026 | 36.4 | 83.1
73328 | 2021-04-07 08:06 | 16.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5659 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.327 | 133056.251 | 276638.0011 | 36.4 | 83.1
73337 | 2021-04-07 08:06 | 16.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5398 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.328 | 133054.8101 | 276622.411 | 36.4 | 83.1
73346 | 2021-04-07 08:07 | 17.0061 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5303 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.326 | 133025.5958 | 276619.7062 | 36.4 | 83.1
73355 | 2021-04-07 08:07 | 17.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.4519 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.329 | 133020.0814 | 276619.2908 | 36.4 | 83.1
73364 | 2021-04-07 08:07 | 17.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6181 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.325 | 133003.2438 | 276606.0848 | 36.4 | 83.1
73373 | 2021-04-07 08:08 | 18.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6087 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.323 | 132991.2501 | 276601.2608 | 36.4 | 83.1
73382 | 2021-04-07 08:08 | 18.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6965 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.322 | 132987.8871 | 276604.3512 | 36.4 | 83.1
73391 | 2021-04-07 08:08 | 18.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6871 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.32 | 132981.9432 | 276594.3838 | 36.4 | 83.1
73400 | 2021-04-07 08:09 | 19.0058 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6609 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.321 | 132979.8996 | 276589.5528 | 36.4 | 83.1
73409 | 2021-04-07 08:09 | 19.3394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6443 | μmol/L | 12.4112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.324 | 132968.7284 | 276575.5715 | 36.4 | 83.1
73418 | 2021-04-07 08:09 | 19.6721 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5731 | μmol/L | 12.4234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.322 | 132961.6346 | 276569.378 | 36.4 | 83.1
73427 | 2021-04-07 08:10 | 20.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.4236 | μmol/L | 12.4356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.323 | 132956.5168 | 276564.3967 | 36.4 | 83.1
73436 | 2021-04-07 08:10 | 20.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.4591 | μmol/L | 12.4295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.324 | 132960.1028 | 276572.8399 | 36.4 | 83.1
73445 | 2021-04-07 08:10 | 20.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.547 | μmol/L | 12.4234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.323 | 132951.6656 | 276559.3006 | 36.4 | 83.1
73454 | 2021-04-07 08:11 | 21.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.4591 | μmol/L | 12.4295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.324 | 132931.4247 | 276552.3573 | 36.4 | 83.1
73463 | 2021-04-07 08:11 | 21.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.3714 | μmol/L | 12.4356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.325 | 132929.5323 | 276564.3551 | 36.4 | 83.1
73472 | 2021-04-07 08:11 | 21.6725 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.2836 | μmol/L | 12.4418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.326 | 132928.8869 | 276542.651 | 36.4 | 83.1
73481 | 2021-04-07 08:12 | 22.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.3714 | μmol/L | 12.4356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.325 | 132926.205 | 276545.3383 | 36.4 | 83.1
73490 | 2021-04-07 08:12 | 22.3387 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.3097 | μmol/L | 12.4418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.325 | 132939.0257 | 276522.6263 | 36.4 | 83.1
73499 | 2021-04-07 08:12 | 22.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.2575 | μmol/L | 12.4418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.327 | 132944.3074 | 276515.5876 | 36.4 | 83.1
73508 | 2021-04-07 08:13 | 23.0059 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0749 | μmol/L | 12.4418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.334 | 132961.7704 | 276527.7811 | 36.4 | 83.1
73517 | 2021-04-07 08:13 | 23.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8736 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.337 | 132964.4612 | 276519.045 | 36.4 | 83.1
73526 | 2021-04-07 08:13 | 23.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8641 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.335 | 132980.9644 | 276509.3595 | 36.4 | 83.1
73535 | 2021-04-07 08:14 | 24.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7078 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.341 | 132983.9066 | 276499.4472 | 36.4 | 83.1
73544 | 2021-04-07 08:14 | 24.3388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.5776 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.346 | 132991.9023 | 276491.1004 | 36.4 | 83.1
73553 | 2021-04-07 08:14 | 24.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.5871 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.348 | 133012.97 | 276477.9145 | 36.4 | 83.1
73562 | 2021-04-07 08:15 | 25.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.5871 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.348 | 133029.6112 | 276480.9347 | 36.4 | 83.1
73571 | 2021-04-07 08:15 | 25.3389 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.3601 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.352 | 133041.1474 | 276478.0822 | 36.4 | 83.1
73580 | 2021-04-07 08:15 | 25.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.4641 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.348 | 133037.3223 | 276474.3506 | 36.4 | 83.1
73589 | 2021-04-07 08:16 | 26.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.3955 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.353 | 133042.2573 | 276473.7034 | 36.4 | 83.1
73598 | 2021-04-07 08:16 | 26.3386 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.483 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.352 | 133049.8932 | 276475.785 | 36.4 | 83.1
73607 | 2021-04-07 08:16 | 26.6723 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2561 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.356 | 133051.6615 | 276466.4619 | 36.4 | 83.1
73616 | 2021-04-07 08:17 | 27.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2301 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.357 | 133071.3059 | 276464.3578 | 36.4 | 83.1
73625 | 2021-04-07 08:17 | 27.3391 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2301 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.357 | 133088.4973 | 276452.3647 | 36.4 | 83.1
73634 | 2021-04-07 08:17 | 27.6726 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0128 | μmol/L | 12.4723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.363 | 133077.4615 | 276455.2718 | 36.4 | 83.1
73643 | 2021-04-07 08:18 | 28.0053 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0388 | μmol/L | 12.4723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.362 | 133083.9754 | 276446.5539 | 36.4 | 83.1
73652 | 2021-04-07 08:18 | 28.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0388 | μmol/L | 12.4723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.362 | 133086.2884 | 276445.3103 | 36.4 | 83.1
73661 | 2021-04-07 08:18 | 28.6727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.968 | μmol/L | 12.4846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.36 | 133084.5649 | 276440.2848 | 36.4 | 83.1
73670 | 2021-04-07 08:19 | 29.0054 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.8216 | μmol/L | 12.4784 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.368 | 133093.8472 | 276442.9054 | 36.4 | 83.1
73679 | 2021-04-07 08:19 | 29.339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.8901 | μmol/L | 12.4846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.363 | 133091.7899 | 276439.7388 | 36.4 | 83.1
73688 | 2021-04-07 08:19 | 29.672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.9255 | μmol/L | 12.4784 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.364 | 133087.2718 | 276436.1806 | 36.4 | 83.1
73697 | 2021-04-07 08:20 | 30.0056 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.6731 | μmol/L | 12.4907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.369 | 133095.642 | 276425.985 | 36.4 | 83.1
73706 | 2021-04-07 08:20 | 30.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.7604 | μmol/L | 12.4846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.368 | 133112.2664 | 276430.9384 | 36.4 | 83.1
73715 | 2021-04-07 08:20 | 30.6722 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.6566 | μmol/L | 12.4846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.372 | 133137.0638 | 276424.7759 | 36.4 | 83.1
73724 | 2021-04-07 08:21 | 31.006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.5175 | μmol/L | 12.4907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.375 | 133167.2995 | 276425.7917 | 36.4 | 83.1
73733 | 2021-04-07 08:21 | 31.3393 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3786 | μmol/L | 12.4968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.378 | 133187.9418 | 276420.6498 | 36.4 | 83.1