## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 08:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
72888 | 2021-04-07 07:50 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.4866 | μmol/L | 12.2343 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.832 | 109466.9454 | 305186.3556 | 30.45 | 114.2
72897 | 2021-04-07 07:50 | 0.33812 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.3142 | μmol/L | 12.2404 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.837 | 109471.8946 | 305195.6784 | 30.45 | 114.2
72906 | 2021-04-07 07:50 | 0.67093 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.3975 | μmol/L | 12.2466 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.831 | 109459.2915 | 305169.0615 | 30.45 | 114.2
72915 | 2021-04-07 07:51 | 1.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.3307 | μmol/L | 12.2466 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.834 | 109456.098 | 305169.0575 | 30.45 | 114.2
72924 | 2021-04-07 07:51 | 1.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.2362 | μmol/L | 12.2466 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.838 | 109449.6071 | 305141.908 | 30.45 | 114.2
72933 | 2021-04-07 07:51 | 1.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.2764 | μmol/L | 12.2527 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.834 | 109438.9483 | 305125.5853 | 30.45 | 114.2
72942 | 2021-04-07 07:52 | 2.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.0568 | μmol/L | 12.2588 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109438.5552 | 305122.594 | 30.45 | 114.2
72951 | 2021-04-07 07:52 | 2.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.0262 | μmol/L | 12.265 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.84 | 109425.937 | 305104.4508 | 30.45 | 114.2
72960 | 2021-04-07 07:52 | 2.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.0498 | μmol/L | 12.265 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.839 | 109422.1737 | 305105.6492 | 30.45 | 114.2
72969 | 2021-04-07 07:53 | 3.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8776 | μmol/L | 12.2711 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 109400.3757 | 305090.2887 | 30.45 | 114.2
72978 | 2021-04-07 07:53 | 3.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.9483 | μmol/L | 12.2711 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109402.1018 | 305082.9077 | 30.45 | 114.2
72987 | 2021-04-07 07:53 | 3.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8941 | μmol/L | 12.2772 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109393.4877 | 305061.0177 | 30.45 | 114.2
72996 | 2021-04-07 07:54 | 4.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8705 | μmol/L | 12.2772 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109379.2332 | 305053.5579 | 30.45 | 114.2
73005 | 2021-04-07 07:54 | 4.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8163 | μmol/L | 12.2833 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109372.3119 | 305023.3426 | 30.45 | 114.2
73014 | 2021-04-07 07:54 | 4.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.7386 | μmol/L | 12.2895 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109369.8116 | 305018.4844 | 30.45 | 114.2
73023 | 2021-04-07 07:55 | 5.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.7857 | μmol/L | 12.2895 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109371.7696 | 305022.3732 | 30.45 | 114.2
73032 | 2021-04-07 07:55 | 5.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.7621 | μmol/L | 12.2895 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109356.8889 | 305009.5531 | 30.45 | 114.2
73041 | 2021-04-07 07:55 | 5.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.6844 | μmol/L | 12.2956 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109353.3018 | 304976.281 | 30.45 | 114.2
73050 | 2021-04-07 07:56 | 6.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.6333 | μmol/L | 12.2956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.845 | 109349.458 | 304987.0031 | 30.45 | 114.2
73059 | 2021-04-07 07:56 | 6.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.6302 | μmol/L | 12.3017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109339.5747 | 304963.8543 | 30.45 | 114.2
73068 | 2021-04-07 07:56 | 6.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.6468 | μmol/L | 12.3079 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.84 | 109323.0432 | 304957.3374 | 30.45 | 114.2
73077 | 2021-04-07 07:57 | 7.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.5996 | μmol/L | 12.3079 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109313.531 | 304938.5921 | 30.45 | 114.2
73086 | 2021-04-07 07:57 | 7.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.4584 | μmol/L | 12.3079 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109305.9365 | 304933.4658 | 30.45 | 114.2
73095 | 2021-04-07 07:57 | 7.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.4984 | μmol/L | 12.314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 109300.7514 | 304915.2666 | 30.45 | 114.2
73104 | 2021-04-07 07:58 | 8.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.3972 | μmol/L | 12.3201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.846 | 109285.6595 | 304906.0109 | 30.45 | 114.2
73113 | 2021-04-07 07:58 | 8.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.522 | μmol/L | 12.314 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109286.474 | 304892.1609 | 30.45 | 114.2
73122 | 2021-04-07 07:58 | 8.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.3156 | μmol/L | 12.3263 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.847 | 109289.0507 | 304886.5301 | 30.45 | 114.2
73131 | 2021-04-07 07:59 | 9.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.3737 | μmol/L | 12.3201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.847 | 109281.9146 | 304873.3579 | 30.45 | 114.2
73140 | 2021-04-07 07:59 | 9.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.2255 | μmol/L | 12.3263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.851 | 109279.1923 | 304866.4246 | 30.45 | 114.2
73149 | 2021-04-07 07:59 | 9.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.1675 | μmol/L | 12.3324 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.851 | 109270.2182 | 304847.1456 | 30.45 | 114.2
73158 | 2021-04-07 08:00 | 10.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.1715 | μmol/L | 12.3324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.851 | 109261.1755 | 304833.0177 | 30.45 | 114.2
73167 | 2021-04-07 08:00 | 10.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.242 | μmol/L | 12.3324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109267.1148 | 304834.3345 | 30.45 | 114.2
73176 | 2021-04-07 08:00 | 10.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.3156 | μmol/L | 12.3263 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.847 | 109255.8424 | 304814.935 | 30.45 | 114.2
73185 | 2021-04-07 08:01 | 11.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.1645 | μmol/L | 12.3385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109247.4709 | 304791.8904 | 30.45 | 114.2
73194 | 2021-04-07 08:01 | 11.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.188 | μmol/L | 12.3385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109247.0053 | 304786.463 | 30.45 | 114.2
73203 | 2021-04-07 08:01 | 11.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.094 | μmol/L | 12.3385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.852 | 109235.7251 | 304786.3943 | 30.45 | 114.2
73212 | 2021-04-07 08:02 | 12.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.087 | μmol/L | 12.3447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.85 | 109238.2538 | 304773.2242 | 30.45 | 114.2
73221 | 2021-04-07 08:02 | 12.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.993 | μmol/L | 12.3447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.854 | 109232.9843 | 304759.1977 | 30.45 | 114.2
73230 | 2021-04-07 08:02 | 12.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.029 | μmol/L | 12.3508 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.85 | 109231.7389 | 304745.0356 | 30.45 | 114.2
73239 | 2021-04-07 08:03 | 13.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.979 | μmol/L | 12.3569 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.85 | 109223.3447 | 304731.6511 | 30.45 | 114.2
73248 | 2021-04-07 08:03 | 13.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.033 | μmol/L | 12.3508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.85 | 109214.8883 | 304744.3204 | 30.45 | 114.2
73257 | 2021-04-07 08:03 | 13.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.0025 | μmol/L | 12.3569 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109209.0691 | 304726.1456 | 30.45 | 114.2
73266 | 2021-04-07 08:04 | 14.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8545 | μmol/L | 12.3631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.853 | 109206.6246 | 304716.3895 | 30.45 | 114.2
73275 | 2021-04-07 08:04 | 14.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8311 | μmol/L | 12.3631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.854 | 109202.067 | 304704.3788 | 30.45 | 114.2
73284 | 2021-04-07 08:04 | 14.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9485 | μmol/L | 12.3631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109192.1973 | 304686.0016 | 30.45 | 114.2
73293 | 2021-04-07 08:05 | 15.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9955 | μmol/L | 12.3631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.847 | 109184.2419 | 304694.8525 | 30.45 | 114.2
73302 | 2021-04-07 08:05 | 15.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8476 | μmol/L | 12.3692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.851 | 109174.7175 | 304690.9953 | 30.45 | 114.2
73311 | 2021-04-07 08:05 | 15.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9485 | μmol/L | 12.3631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109162.5993 | 304670.6431 | 30.45 | 114.2
73320 | 2021-04-07 08:06 | 16.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8406 | μmol/L | 12.3753 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109159.2712 | 304654.2973 | 30.45 | 114.2
73329 | 2021-04-07 08:06 | 16.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8945 | μmol/L | 12.3692 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109144.2787 | 304644.1536 | 30.45 | 114.2
73338 | 2021-04-07 08:06 | 16.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7867 | μmol/L | 12.3815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109137.7131 | 304650.331 | 30.45 | 114.2
73347 | 2021-04-07 08:07 | 17.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7867 | μmol/L | 12.3815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 109132.1349 | 304648.4309 | 30.45 | 114.2
73356 | 2021-04-07 08:07 | 17.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8101 | μmol/L | 12.3815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109132.2316 | 304624.8207 | 30.45 | 114.2
73365 | 2021-04-07 08:07 | 17.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9276 | μmol/L | 12.3815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109118.3966 | 304623.3572 | 30.45 | 114.2
73374 | 2021-04-07 08:08 | 18.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8101 | μmol/L | 12.3815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.848 | 109106.9939 | 304625.8065 | 30.45 | 114.2
73383 | 2021-04-07 08:08 | 18.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8432 | μmol/L | 12.3937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109100.7074 | 304606.425 | 30.45 | 114.2
73392 | 2021-04-07 08:08 | 18.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8032 | μmol/L | 12.3876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.846 | 109084.1315 | 304608.3012 | 30.45 | 114.2
73401 | 2021-04-07 08:09 | 19.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8736 | μmol/L | 12.3876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109076.2532 | 304591.4184 | 30.45 | 114.2
73410 | 2021-04-07 08:09 | 19.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9206 | μmol/L | 12.3876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109073.6728 | 304591.8034 | 30.45 | 114.2
73419 | 2021-04-07 08:09 | 19.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9137 | μmol/L | 12.3937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.839 | 109059.2438 | 304589.6828 | 30.45 | 114.2
73428 | 2021-04-07 08:10 | 20.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9137 | μmol/L | 12.3937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.839 | 109057.9594 | 304578.1747 | 30.45 | 114.2
73437 | 2021-04-07 08:10 | 20.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8832 | μmol/L | 12.3998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.838 | 109044.1255 | 304561.7161 | 30.45 | 114.2
73446 | 2021-04-07 08:10 | 20.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7893 | μmol/L | 12.3998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109043.7711 | 304562.076 | 30.45 | 114.2
73455 | 2021-04-07 08:11 | 21.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7658 | μmol/L | 12.3998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109047.0412 | 304561.9772 | 30.45 | 114.2
73464 | 2021-04-07 08:11 | 21.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8058 | μmol/L | 12.406 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.839 | 109038.8832 | 304554.4772 | 30.45 | 114.2
73473 | 2021-04-07 08:11 | 21.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8832 | μmol/L | 12.3998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.838 | 109035.5052 | 304540.5103 | 30.45 | 114.2
73482 | 2021-04-07 08:12 | 22.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7589 | μmol/L | 12.406 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109040.0093 | 304543.7694 | 30.45 | 114.2
73491 | 2021-04-07 08:12 | 22.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6346 | μmol/L | 12.4121 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 109030.6553 | 304542.2423 | 30.45 | 114.2
73500 | 2021-04-07 08:12 | 22.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6746 | μmol/L | 12.4182 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.84 | 109028.8773 | 304522.2649 | 30.45 | 114.2
73509 | 2021-04-07 08:13 | 23.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7354 | μmol/L | 12.406 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109017.7135 | 304525.6378 | 30.45 | 114.2
73518 | 2021-04-07 08:13 | 23.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6276 | μmol/L | 12.4182 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 109019.8919 | 304506.2823 | 30.45 | 114.2
73527 | 2021-04-07 08:13 | 23.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7519 | μmol/L | 12.4121 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.839 | 109019.6414 | 304515.5641 | 30.45 | 114.2
73536 | 2021-04-07 08:14 | 24.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.658 | μmol/L | 12.4121 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109024.4672 | 304513.6697 | 30.45 | 114.2
73545 | 2021-04-07 08:14 | 24.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.5807 | μmol/L | 12.4182 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 109018.5865 | 304502.3675 | 30.45 | 114.2
73554 | 2021-04-07 08:14 | 24.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6746 | μmol/L | 12.4182 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.84 | 109012.4358 | 304496.7417 | 30.45 | 114.2
73563 | 2021-04-07 08:15 | 25.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.5503 | μmol/L | 12.4244 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109008.1254 | 304484.8289 | 30.45 | 114.2
73572 | 2021-04-07 08:15 | 25.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.705 | μmol/L | 12.4121 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 109003.6838 | 304480.7252 | 30.45 | 114.2
73581 | 2021-04-07 08:15 | 25.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.473 | μmol/L | 12.4305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 109003.2734 | 304484.1186 | 30.45 | 114.2
73590 | 2021-04-07 08:16 | 26.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4496 | μmol/L | 12.4305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.845 | 109006.3574 | 304476.4799 | 30.45 | 114.2
73599 | 2021-04-07 08:16 | 26.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.5269 | μmol/L | 12.4244 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 109005.2991 | 304464.8232 | 30.45 | 114.2
73608 | 2021-04-07 08:16 | 26.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4261 | μmol/L | 12.4305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.846 | 109013.602 | 304468.8023 | 30.45 | 114.2
73617 | 2021-04-07 08:17 | 27.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4965 | μmol/L | 12.4305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 109008.7047 | 304473.1876 | 30.45 | 114.2
73626 | 2021-04-07 08:17 | 27.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4261 | μmol/L | 12.4305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.846 | 109008.4721 | 304459.302 | 30.45 | 114.2
73635 | 2021-04-07 08:17 | 27.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3723 | μmol/L | 12.4366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.846 | 109009.2369 | 304459.1178 | 30.45 | 114.2
73644 | 2021-04-07 08:18 | 28.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2951 | μmol/L | 12.4428 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.847 | 109011.2121 | 304443.056 | 30.45 | 114.2
73653 | 2021-04-07 08:18 | 28.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2882 | μmol/L | 12.4489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.845 | 108998.5765 | 304447.8081 | 30.45 | 114.2
73662 | 2021-04-07 08:18 | 28.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4661 | μmol/L | 12.4366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 108995.285 | 304436.909 | 30.45 | 114.2
73671 | 2021-04-07 08:19 | 29.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2882 | μmol/L | 12.4489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.845 | 108985.0728 | 304445.417 | 30.45 | 114.2
73680 | 2021-04-07 08:19 | 29.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3654 | μmol/L | 12.4428 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 108982.045 | 304441.1845 | 30.45 | 114.2
73689 | 2021-04-07 08:19 | 29.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4123 | μmol/L | 12.4428 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 108975.3951 | 304436.1575 | 30.45 | 114.2
73698 | 2021-04-07 08:20 | 30.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3654 | μmol/L | 12.4428 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 108974.8933 | 304428.9935 | 30.45 | 114.2
73707 | 2021-04-07 08:20 | 30.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3351 | μmol/L | 12.4489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 108974.7709 | 304426.6237 | 30.45 | 114.2
73716 | 2021-04-07 08:20 | 30.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3654 | μmol/L | 12.4428 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 108966.8716 | 304416.8969 | 30.45 | 114.2
73725 | 2021-04-07 08:21 | 31.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2813 | μmol/L | 12.455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 108963.4584 | 304400.5058 | 30.45 | 114.2
73734 | 2021-04-07 08:21 | 31.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3351 | μmol/L | 12.4489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 108973.7203 | 304422.12 | 30.45 | 114.2
73740 | 2021-04-07 08:21 | 31.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2482 | μmol/L | 12.4428 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.849 | 108981.7936 | 304413.6188 | 30.45 | 114.2