## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 08:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
72889 | 2021-04-07 07:50 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9531 | μmol/L | 12.1538 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.308 | 155997.6594 | 299477.3936 | 59.9307 | 49.4
72898 | 2021-04-07 07:50 | 0.34693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7378 | μmol/L | 12.1661 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.312 | 155997.6205 | 299464.6096 | 59.9307 | 49.4
72907 | 2021-04-07 07:50 | 0.67254 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8527 | μmol/L | 12.1538 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.312 | 155994.4921 | 299456.3082 | 59.9307 | 49.4
72916 | 2021-04-07 07:51 | 1.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7879 | μmol/L | 12.1661 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.31 | 155979.986 | 299440.4149 | 59.9307 | 49.4
72925 | 2021-04-07 07:51 | 1.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7054 | μmol/L | 12.1722 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.311 | 155962.6099 | 299408.442 | 59.9307 | 49.4
72934 | 2021-04-07 07:51 | 1.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6981 | μmol/L | 12.1784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.309 | 155944.7198 | 299407.6856 | 59.9307 | 49.4
72943 | 2021-04-07 07:52 | 2.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7483 | μmol/L | 12.1784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.307 | 155932.8553 | 299410.8271 | 59.9307 | 49.4
72952 | 2021-04-07 07:52 | 2.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7159 | μmol/L | 12.1846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.306 | 155900.6812 | 299395.8416 | 59.9307 | 49.4
72961 | 2021-04-07 07:52 | 2.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6512 | μmol/L | 12.1969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.304 | 155874.8393 | 299365.8205 | 59.9307 | 49.4
72970 | 2021-04-07 07:53 | 3.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7588 | μmol/L | 12.1907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.302 | 155855.1147 | 299362.8854 | 59.9307 | 49.4
72979 | 2021-04-07 07:53 | 3.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7337 | μmol/L | 12.1907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.303 | 155826.6017 | 299322.0693 | 59.9307 | 49.4
72988 | 2021-04-07 07:53 | 3.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.669 | μmol/L | 12.203 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.301 | 155814.7031 | 299336.2602 | 59.9307 | 49.4
72997 | 2021-04-07 07:54 | 4.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.669 | μmol/L | 12.203 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.301 | 155782.8842 | 299328.2862 | 59.9307 | 49.4
73006 | 2021-04-07 07:54 | 4.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6116 | μmol/L | 12.2092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.301 | 155773.0622 | 299293.0447 | 59.9307 | 49.4
73015 | 2021-04-07 07:54 | 4.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6367 | μmol/L | 12.2092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.3 | 155748.3375 | 299304.5397 | 59.9307 | 49.4
73024 | 2021-04-07 07:55 | 5.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5543 | μmol/L | 12.2154 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.301 | 155720.2198 | 299277.6387 | 59.9307 | 49.4
73033 | 2021-04-07 07:55 | 5.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.737 | μmol/L | 12.2092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.296 | 155711.6107 | 299281.725 | 59.9307 | 49.4
73042 | 2021-04-07 07:55 | 5.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6724 | μmol/L | 12.2215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.294 | 155684.4772 | 299264.9386 | 59.9307 | 49.4
73051 | 2021-04-07 07:56 | 6.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5649 | μmol/L | 12.2277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.296 | 155662.3371 | 299270.83 | 59.9307 | 49.4
73060 | 2021-04-07 07:56 | 6.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.615 | μmol/L | 12.2277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.294 | 155636.7466 | 299246.2354 | 59.9307 | 49.4
73069 | 2021-04-07 07:56 | 6.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6903 | μmol/L | 12.2277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.291 | 155597.7507 | 299225.6337 | 59.9307 | 49.4
73078 | 2021-04-07 07:57 | 7.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.683 | μmol/L | 12.2338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.289 | 155580.2015 | 299217.1446 | 59.9307 | 49.4
73087 | 2021-04-07 07:57 | 7.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.683 | μmol/L | 12.2338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.289 | 155551.2162 | 299217.7024 | 59.9307 | 49.4
73096 | 2021-04-07 07:57 | 7.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.726 | μmol/L | 12.24 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.285 | 155527.6406 | 299207.0266 | 59.9307 | 49.4
73105 | 2021-04-07 07:58 | 8.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.726 | μmol/L | 12.24 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.285 | 155496.7849 | 299186.643 | 59.9307 | 49.4
73114 | 2021-04-07 07:58 | 8.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8013 | μmol/L | 12.24 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155477.1786 | 299186.4758 | 59.9307 | 49.4
73123 | 2021-04-07 07:58 | 8.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6937 | μmol/L | 12.2462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.284 | 155464.5078 | 299175.7723 | 59.9307 | 49.4
73132 | 2021-04-07 07:59 | 9.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7618 | μmol/L | 12.2523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.279 | 155446.8898 | 299173.1776 | 59.9307 | 49.4
73141 | 2021-04-07 07:59 | 9.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.769 | μmol/L | 12.2462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.281 | 155423.8712 | 299188.6238 | 59.9307 | 49.4
73150 | 2021-04-07 07:59 | 9.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6865 | μmol/L | 12.2523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155401.9636 | 299156.9035 | 59.9307 | 49.4
73159 | 2021-04-07 08:00 | 10.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7295 | μmol/L | 12.2585 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 155405.6762 | 299169.1064 | 59.9307 | 49.4
73168 | 2021-04-07 08:00 | 10.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6793 | μmol/L | 12.2585 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.28 | 155399.9603 | 299156.0352 | 59.9307 | 49.4
73177 | 2021-04-07 08:00 | 10.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5396 | μmol/L | 12.2708 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.281 | 155387.1051 | 299135.5715 | 59.9307 | 49.4
73186 | 2021-04-07 08:01 | 11.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5897 | μmol/L | 12.2708 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.279 | 155382.1819 | 299138.6127 | 59.9307 | 49.4
73195 | 2021-04-07 08:01 | 11.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5145 | μmol/L | 12.2708 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155367.6263 | 299128.9394 | 59.9307 | 49.4
73204 | 2021-04-07 08:01 | 11.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.622 | μmol/L | 12.2646 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.28 | 155366.2538 | 299112.0487 | 59.9307 | 49.4
73213 | 2021-04-07 08:02 | 12.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3498 | μmol/L | 12.2831 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.284 | 155358.6207 | 299115.5139 | 59.9307 | 49.4
73222 | 2021-04-07 08:02 | 12.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3748 | μmol/L | 12.2831 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155340.5432 | 299096.74 | 59.9307 | 49.4
73231 | 2021-04-07 08:02 | 12.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3748 | μmol/L | 12.2831 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155337.3018 | 299077.8989 | 59.9307 | 49.4
73240 | 2021-04-07 08:03 | 13.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.4429 | μmol/L | 12.2893 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 155320.9017 | 299065.9269 | 59.9307 | 49.4
73249 | 2021-04-07 08:03 | 13.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3928 | μmol/L | 12.2893 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.28 | 155314.7578 | 299068.1164 | 59.9307 | 49.4
73258 | 2021-04-07 08:03 | 13.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3748 | μmol/L | 12.2831 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155310.5942 | 299077.2463 | 59.9307 | 49.4
73267 | 2021-04-07 08:04 | 14.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.4429 | μmol/L | 12.2893 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 155291.4796 | 299056.4655 | 59.9307 | 49.4
73276 | 2021-04-07 08:04 | 14.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2603 | μmol/L | 12.2954 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155288.7923 | 299046.7887 | 59.9307 | 49.4
73285 | 2021-04-07 08:04 | 14.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2854 | μmol/L | 12.2954 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155286.4804 | 299043.2971 | 59.9307 | 49.4
73294 | 2021-04-07 08:05 | 15.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2603 | μmol/L | 12.2954 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155275.8178 | 299058.4852 | 59.9307 | 49.4
73303 | 2021-04-07 08:05 | 15.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2031 | μmol/L | 12.3016 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155253.4077 | 299032.1308 | 59.9307 | 49.4
73312 | 2021-04-07 08:05 | 15.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2031 | μmol/L | 12.3016 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155244.9201 | 299029.9381 | 59.9307 | 49.4
73321 | 2021-04-07 08:06 | 16.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.196 | μmol/L | 12.3077 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.281 | 155227.6372 | 299019.1379 | 59.9307 | 49.4
73330 | 2021-04-07 08:06 | 16.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2711 | μmol/L | 12.3077 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 155210.6059 | 299002.1795 | 59.9307 | 49.4
73339 | 2021-04-07 08:06 | 16.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1638 | μmol/L | 12.3139 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.28 | 155205.7758 | 299024.6828 | 59.9307 | 49.4
73348 | 2021-04-07 08:07 | 17.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3463 | μmol/L | 12.3077 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.275 | 155185.2165 | 299012.0502 | 59.9307 | 49.4
73357 | 2021-04-07 08:07 | 17.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3212 | μmol/L | 12.3077 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.276 | 155161.0146 | 298986.6227 | 59.9307 | 49.4
73366 | 2021-04-07 08:07 | 17.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2068 | μmol/L | 12.3201 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.276 | 155149.6545 | 298986.9689 | 59.9307 | 49.4
73375 | 2021-04-07 08:08 | 18.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2819 | μmol/L | 12.3201 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.273 | 155136.346 | 298982.1671 | 59.9307 | 49.4
73384 | 2021-04-07 08:08 | 18.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2569 | μmol/L | 12.3201 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.274 | 155125.1514 | 298982.9974 | 59.9307 | 49.4
73393 | 2021-04-07 08:08 | 18.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2247 | μmol/L | 12.3262 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.273 | 155115.5799 | 298972.9491 | 59.9307 | 49.4
73402 | 2021-04-07 08:09 | 19.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2748 | μmol/L | 12.3262 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.271 | 155108.1229 | 298966.9675 | 59.9307 | 49.4
73411 | 2021-04-07 08:09 | 19.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2498 | μmol/L | 12.3262 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.272 | 155100.3186 | 298955.7893 | 59.9307 | 49.4
73420 | 2021-04-07 08:09 | 19.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2819 | μmol/L | 12.3201 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.273 | 155102.9399 | 298954.7373 | 59.9307 | 49.4
73429 | 2021-04-07 08:10 | 20.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0924 | μmol/L | 12.3324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.276 | 155105.4833 | 298944.04 | 59.9307 | 49.4
73438 | 2021-04-07 08:10 | 20.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1174 | μmol/L | 12.3324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.275 | 155097.6033 | 298930.8428 | 59.9307 | 49.4
73447 | 2021-04-07 08:10 | 20.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0281 | μmol/L | 12.3447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.274 | 155099.691 | 298932.8228 | 59.9307 | 49.4
73456 | 2021-04-07 08:11 | 21.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0423 | μmol/L | 12.3324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 155089.4357 | 298923.756 | 59.9307 | 49.4
73465 | 2021-04-07 08:11 | 21.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0173 | μmol/L | 12.3324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.279 | 155109.2226 | 298922.3371 | 59.9307 | 49.4
73474 | 2021-04-07 08:11 | 21.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.86 | μmol/L | 12.3385 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155123.456 | 298922.4933 | 59.9307 | 49.4
73483 | 2021-04-07 08:12 | 22.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.86 | μmol/L | 12.3385 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155129.975 | 298917.2485 | 59.9307 | 49.4
73492 | 2021-04-07 08:12 | 22.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7029 | μmol/L | 12.3447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.287 | 155150.7223 | 298896.8824 | 59.9307 | 49.4
73501 | 2021-04-07 08:12 | 22.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.76 | μmol/L | 12.3385 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.287 | 155157.4843 | 298903.9336 | 59.9307 | 49.4
73510 | 2021-04-07 08:13 | 23.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5708 | μmol/L | 12.3509 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.29 | 155172.6 | 298917.0525 | 59.9307 | 49.4
73519 | 2021-04-07 08:13 | 23.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6029 | μmol/L | 12.3447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.291 | 155170.1154 | 298897.6084 | 59.9307 | 49.4
73528 | 2021-04-07 08:13 | 23.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6279 | μmol/L | 12.3447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.29 | 155164.4926 | 298901.8349 | 59.9307 | 49.4
73537 | 2021-04-07 08:14 | 24.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5208 | μmol/L | 12.3509 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.292 | 155168.4908 | 298875.1014 | 59.9307 | 49.4
73546 | 2021-04-07 08:14 | 24.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5458 | μmol/L | 12.3509 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.291 | 155165.4203 | 298869.2348 | 59.9307 | 49.4
73555 | 2021-04-07 08:14 | 24.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4638 | μmol/L | 12.357 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.292 | 155149.0387 | 298844.5809 | 59.9307 | 49.4
73564 | 2021-04-07 08:15 | 25.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4317 | μmol/L | 12.3632 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.291 | 155146.3186 | 298849.3003 | 59.9307 | 49.4
73573 | 2021-04-07 08:15 | 25.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5138 | μmol/L | 12.357 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.29 | 155129.8335 | 298845.8156 | 59.9307 | 49.4
73582 | 2021-04-07 08:15 | 25.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5138 | μmol/L | 12.357 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.29 | 155132.4083 | 298852.52 | 59.9307 | 49.4
73591 | 2021-04-07 08:16 | 26.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4567 | μmol/L | 12.3632 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.29 | 155105.0144 | 298845.6569 | 59.9307 | 49.4
73600 | 2021-04-07 08:16 | 26.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4996 | μmol/L | 12.3693 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.286 | 155090.6597 | 298815.3772 | 59.9307 | 49.4
73609 | 2021-04-07 08:16 | 26.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4996 | μmol/L | 12.3693 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.286 | 155080.7636 | 298841.7226 | 59.9307 | 49.4
73618 | 2021-04-07 08:17 | 27.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4426 | μmol/L | 12.3755 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.286 | 155069.4399 | 298847.4239 | 59.9307 | 49.4
73627 | 2021-04-07 08:17 | 27.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5496 | μmol/L | 12.3693 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.284 | 155055.4303 | 298814.418 | 59.9307 | 49.4
73636 | 2021-04-07 08:17 | 27.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4496 | μmol/L | 12.3693 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.288 | 155040.765 | 298833.5362 | 59.9307 | 49.4
73645 | 2021-04-07 08:18 | 28.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4676 | μmol/L | 12.3755 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.285 | 155042.8165 | 298821.3942 | 59.9307 | 49.4
73654 | 2021-04-07 08:18 | 28.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5425 | μmol/L | 12.3755 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155036.9898 | 298818.6249 | 59.9307 | 49.4
73663 | 2021-04-07 08:18 | 28.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4925 | μmol/L | 12.3755 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.284 | 155030.8989 | 298811.4017 | 59.9307 | 49.4
73672 | 2021-04-07 08:19 | 29.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4355 | μmol/L | 12.3817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.284 | 155030.8071 | 298809.9934 | 59.9307 | 49.4
73681 | 2021-04-07 08:19 | 29.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4605 | μmol/L | 12.3817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.283 | 155028.7839 | 298826.9948 | 59.9307 | 49.4
73690 | 2021-04-07 08:19 | 29.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4855 | μmol/L | 12.3817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155022.7885 | 298818.4816 | 59.9307 | 49.4
73699 | 2021-04-07 08:20 | 30.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5105 | μmol/L | 12.3817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.281 | 155007.6678 | 298815.7584 | 59.9307 | 49.4
73708 | 2021-04-07 08:20 | 30.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3785 | μmol/L | 12.3878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.284 | 155005.9191 | 298803.3495 | 59.9307 | 49.4
73717 | 2021-04-07 08:20 | 30.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5425 | μmol/L | 12.3755 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.282 | 155002.4869 | 298820.9259 | 59.9307 | 49.4
73726 | 2021-04-07 08:21 | 31.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4714 | μmol/L | 12.394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.278 | 154996.5952 | 298801.5806 | 59.9307 | 49.4
73735 | 2021-04-07 08:21 | 31.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4535 | μmol/L | 12.3878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.281 | 154985.017 | 298797.9321 | 59.9307 | 49.4
73741 | 2021-04-07 08:21 | 31.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.4214 | μmol/L | 12.394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.28 | 154983.6724 | 298775.7876 | 59.9307 | 49.4