## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 08:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
72890 | 2021-04-07 07:50 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0012 | μmol/L | 12.3908 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.74 | 146014.3271 | 314507.1933 | 33.25 | 68.6
72899 | 2021-04-07 07:50 | 0.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1153 | μmol/L | 12.3908 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.735 | 146008.3852 | 314532.1644 | 33.25 | 68.6
72908 | 2021-04-07 07:50 | 0.67107 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.06 | μmol/L | 12.3968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.735 | 145961.4147 | 314527.6164 | 33.25 | 68.6
72917 | 2021-04-07 07:51 | 1.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.06 | μmol/L | 12.3968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.735 | 145915.846 | 314494.9605 | 33.25 | 68.6
72926 | 2021-04-07 07:51 | 1.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0732 | μmol/L | 12.4029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.732 | 145895.8511 | 314482.6511 | 33.25 | 68.6
72935 | 2021-04-07 07:51 | 1.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0863 | μmol/L | 12.409 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.729 | 145872.0177 | 314474.3013 | 33.25 | 68.6
72944 | 2021-04-07 07:52 | 2.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0635 | μmol/L | 12.409 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.73 | 145843.9733 | 314451.368 | 33.25 | 68.6
72953 | 2021-04-07 07:52 | 2.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0538 | μmol/L | 12.4151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.728 | 145816.6341 | 314441.2822 | 33.25 | 68.6
72962 | 2021-04-07 07:52 | 2.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0538 | μmol/L | 12.4151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.728 | 145795.982 | 314432.0022 | 33.25 | 68.6
72971 | 2021-04-07 07:53 | 3.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1127 | μmol/L | 12.4211 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.723 | 145755.4203 | 314393.4472 | 33.25 | 68.6
72980 | 2021-04-07 07:53 | 3.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0442 | μmol/L | 12.4211 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.726 | 145751.8755 | 314399.5238 | 33.25 | 68.6
72989 | 2021-04-07 07:53 | 3.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0802 | μmol/L | 12.4272 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.722 | 145717.7646 | 314381.1811 | 33.25 | 68.6
72998 | 2021-04-07 07:54 | 4.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1127 | μmol/L | 12.4211 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.723 | 145711.5834 | 314361.0159 | 33.25 | 68.6
73007 | 2021-04-07 07:54 | 4.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9468 | μmol/L | 12.4394 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.723 | 145693.7989 | 314348.5668 | 33.25 | 68.6
73016 | 2021-04-07 07:54 | 4.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0021 | μmol/L | 12.4333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.723 | 145682.2913 | 314336.2498 | 33.25 | 68.6
73025 | 2021-04-07 07:55 | 5.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9925 | μmol/L | 12.4394 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.721 | 145665.4558 | 314300.8075 | 33.25 | 68.6
73034 | 2021-04-07 07:55 | 5.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9793 | μmol/L | 12.4333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.724 | 145665.541 | 314288.3293 | 33.25 | 68.6
73043 | 2021-04-07 07:55 | 5.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8652 | μmol/L | 12.4333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.729 | 145656.8755 | 314281.6752 | 33.25 | 68.6
73052 | 2021-04-07 07:56 | 6.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.924 | μmol/L | 12.4394 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.724 | 145663.3821 | 314276.4044 | 33.25 | 68.6
73061 | 2021-04-07 07:56 | 6.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9564 | μmol/L | 12.4333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.725 | 145659.0996 | 314263.6299 | 33.25 | 68.6
73070 | 2021-04-07 07:56 | 6.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7679 | μmol/L | 12.4515 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.726 | 145649.7965 | 314253.6161 | 33.25 | 68.6
73079 | 2021-04-07 07:57 | 7.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8687 | μmol/L | 12.4454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.724 | 145637.9544 | 314237.5811 | 33.25 | 68.6
73088 | 2021-04-07 07:57 | 7.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6767 | μmol/L | 12.4515 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.73 | 145623.6981 | 314216.9987 | 33.25 | 68.6
73097 | 2021-04-07 07:57 | 7.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6443 | μmol/L | 12.4576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.729 | 145621.0226 | 314221.3175 | 33.25 | 68.6
73106 | 2021-04-07 07:58 | 8.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6671 | μmol/L | 12.4576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.728 | 145608.4469 | 314193.3141 | 33.25 | 68.6
73115 | 2021-04-07 07:58 | 8.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6899 | μmol/L | 12.4576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.727 | 145593.9182 | 314180.9566 | 33.25 | 68.6
73124 | 2021-04-07 07:58 | 8.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5531 | μmol/L | 12.4576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.733 | 145586.6775 | 314170.7664 | 33.25 | 68.6
73133 | 2021-04-07 07:59 | 9.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6347 | μmol/L | 12.4636 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.727 | 145572.3082 | 314146.6402 | 33.25 | 68.6
73142 | 2021-04-07 07:59 | 9.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4883 | μmol/L | 12.4697 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.731 | 145574.9468 | 314154.2338 | 33.25 | 68.6
73151 | 2021-04-07 07:59 | 9.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5111 | μmol/L | 12.4697 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.73 | 145556.6922 | 314136.9455 | 33.25 | 68.6
73160 | 2021-04-07 08:00 | 10.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4428 | μmol/L | 12.4697 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.733 | 145557.1837 | 314127.3361 | 33.25 | 68.6
73169 | 2021-04-07 08:00 | 10.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3649 | μmol/L | 12.4758 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.734 | 145549.007 | 314108.554 | 33.25 | 68.6
73178 | 2021-04-07 08:00 | 10.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3649 | μmol/L | 12.4758 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.734 | 145543.1299 | 314096.3176 | 33.25 | 68.6
73187 | 2021-04-07 08:01 | 11.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3649 | μmol/L | 12.4758 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.734 | 145541.1161 | 314084.7641 | 33.25 | 68.6
73196 | 2021-04-07 08:01 | 11.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.2547 | μmol/L | 12.4879 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.734 | 145524.244 | 314061.5486 | 33.25 | 68.6
73205 | 2021-04-07 08:01 | 11.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.2642 | μmol/L | 12.4819 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.736 | 145529.6226 | 314062.041 | 33.25 | 68.6
73214 | 2021-04-07 08:02 | 12.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.1409 | μmol/L | 12.4879 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.739 | 145537.1149 | 314057.7858 | 33.25 | 68.6
73223 | 2021-04-07 08:02 | 12.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.2187 | μmol/L | 12.4819 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.738 | 145523.5378 | 314028.3973 | 33.25 | 68.6
73232 | 2021-04-07 08:02 | 12.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.0631 | μmol/L | 12.494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.74 | 145522.8459 | 314029.7617 | 33.25 | 68.6
73241 | 2021-04-07 08:03 | 13.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.0954 | μmol/L | 12.4879 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.741 | 145524.5675 | 314017.7099 | 33.25 | 68.6
73250 | 2021-04-07 08:03 | 13.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.0954 | μmol/L | 12.4879 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.741 | 145539.4763 | 314013.8539 | 33.25 | 68.6
73259 | 2021-04-07 08:03 | 13.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.9589 | μmol/L | 12.4879 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.747 | 145544.1726 | 314010.3854 | 33.25 | 68.6
73268 | 2021-04-07 08:04 | 14.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.8812 | μmol/L | 12.494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.748 | 145567.2796 | 313995.8342 | 33.25 | 68.6
73277 | 2021-04-07 08:04 | 14.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.7126 | μmol/L | 12.5001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145558.2448 | 313978.4829 | 33.25 | 68.6
73286 | 2021-04-07 08:04 | 14.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.7353 | μmol/L | 12.5001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.752 | 145570.857 | 313998.4374 | 33.25 | 68.6
73295 | 2021-04-07 08:05 | 15.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.7126 | μmol/L | 12.5001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145564.0671 | 313981.5312 | 33.25 | 68.6
73304 | 2021-04-07 08:05 | 15.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.6804 | μmol/L | 12.5062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.752 | 145542.5819 | 313951.2575 | 33.25 | 68.6
73313 | 2021-04-07 08:05 | 15.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.6899 | μmol/L | 12.5001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145551.3448 | 313954.5106 | 33.25 | 68.6
73322 | 2021-04-07 08:06 | 16.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.6576 | μmol/L | 12.5062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145541.7732 | 313930.7855 | 33.25 | 68.6
73331 | 2021-04-07 08:06 | 16.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.5346 | μmol/L | 12.5122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 145527.7213 | 313921.9399 | 33.25 | 68.6
73340 | 2021-04-07 08:06 | 16.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.6804 | μmol/L | 12.5062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.752 | 145523.9036 | 313916.6315 | 33.25 | 68.6
73349 | 2021-04-07 08:07 | 17.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.5705 | μmol/L | 12.5183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.752 | 145507.4282 | 313898.1411 | 33.25 | 68.6
73358 | 2021-04-07 08:07 | 17.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.6708 | μmol/L | 12.5122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.75 | 145494.4813 | 313908.7886 | 33.25 | 68.6
73367 | 2021-04-07 08:07 | 17.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.5346 | μmol/L | 12.5122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 145505.554 | 313888.8554 | 33.25 | 68.6
73376 | 2021-04-07 08:08 | 18.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.5024 | μmol/L | 12.5183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.755 | 145493.0591 | 313861.325 | 33.25 | 68.6
73385 | 2021-04-07 08:08 | 18.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.5251 | μmol/L | 12.5183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145484.5087 | 313877.6116 | 33.25 | 68.6
73394 | 2021-04-07 08:08 | 18.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4797 | μmol/L | 12.5183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 145479.9915 | 313865.6681 | 33.25 | 68.6
73403 | 2021-04-07 08:09 | 19.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4702 | μmol/L | 12.5244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145485.5076 | 313877.2224 | 33.25 | 68.6
73412 | 2021-04-07 08:09 | 19.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4475 | μmol/L | 12.5244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.755 | 145469.6139 | 313855.5618 | 33.25 | 68.6
73421 | 2021-04-07 08:09 | 19.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4929 | μmol/L | 12.5244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145475.9688 | 313840.7781 | 33.25 | 68.6
73430 | 2021-04-07 08:10 | 20.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4153 | μmol/L | 12.5305 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145470.2853 | 313840.4031 | 33.25 | 68.6
73439 | 2021-04-07 08:10 | 20.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4475 | μmol/L | 12.5244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.755 | 145450.4031 | 313824.7598 | 33.25 | 68.6
73448 | 2021-04-07 08:10 | 20.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.5251 | μmol/L | 12.5183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145455.1265 | 313833.8796 | 33.25 | 68.6
73457 | 2021-04-07 08:11 | 21.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4929 | μmol/L | 12.5244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145442.3448 | 313826.469 | 33.25 | 68.6
73466 | 2021-04-07 08:11 | 21.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4833 | μmol/L | 12.5305 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.751 | 145436.3419 | 313804.4113 | 33.25 | 68.6
73475 | 2021-04-07 08:11 | 21.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3604 | μmol/L | 12.5365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145430.7062 | 313808.1076 | 33.25 | 68.6
73484 | 2021-04-07 08:12 | 22.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4833 | μmol/L | 12.5305 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.751 | 145420.3429 | 313793.5794 | 33.25 | 68.6
73493 | 2021-04-07 08:12 | 22.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3604 | μmol/L | 12.5365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145411.6145 | 313780.4659 | 33.25 | 68.6
73502 | 2021-04-07 08:12 | 22.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3604 | μmol/L | 12.5365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145408.9843 | 313770.536 | 33.25 | 68.6
73511 | 2021-04-07 08:13 | 23.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.4511 | μmol/L | 12.5365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.75 | 145401.6233 | 313761.7276 | 33.25 | 68.6
73520 | 2021-04-07 08:13 | 23.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3377 | μmol/L | 12.5365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.755 | 145410.1158 | 313776.8598 | 33.25 | 68.6
73529 | 2021-04-07 08:13 | 23.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3831 | μmol/L | 12.5365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145394.338 | 313745.9775 | 33.25 | 68.6
73538 | 2021-04-07 08:14 | 24.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3509 | μmol/L | 12.5426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.752 | 145378.2004 | 313748.6608 | 33.25 | 68.6
73547 | 2021-04-07 08:14 | 24.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3282 | μmol/L | 12.5426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145380.0421 | 313755.2943 | 33.25 | 68.6
73556 | 2021-04-07 08:14 | 24.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3055 | μmol/L | 12.5426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.754 | 145367.3029 | 313743.1572 | 33.25 | 68.6
73565 | 2021-04-07 08:15 | 25.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.2828 | μmol/L | 12.5426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.755 | 145361.7821 | 313730.4151 | 33.25 | 68.6
73574 | 2021-04-07 08:15 | 25.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3282 | μmol/L | 12.5426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.753 | 145356.6947 | 313730.8719 | 33.25 | 68.6
73583 | 2021-04-07 08:15 | 25.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.2053 | μmol/L | 12.5487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 145358.8539 | 313725.3447 | 33.25 | 68.6
73592 | 2021-04-07 08:16 | 26.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.228 | μmol/L | 12.5487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.755 | 145362.5048 | 313718.9108 | 33.25 | 68.6
73601 | 2021-04-07 08:16 | 26.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.16 | μmol/L | 12.5487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.758 | 145378.1008 | 313721.8454 | 33.25 | 68.6
73610 | 2021-04-07 08:16 | 26.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.16 | μmol/L | 12.5487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.758 | 145365.1568 | 313698.9324 | 33.25 | 68.6
73619 | 2021-04-07 08:17 | 27.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.1922 | μmol/L | 12.5426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.759 | 145383.4976 | 313693.229 | 33.25 | 68.6
73628 | 2021-04-07 08:17 | 27.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.1278 | μmol/L | 12.5547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.757 | 145351.1473 | 313678.1216 | 33.25 | 68.6
73637 | 2021-04-07 08:17 | 27.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.1052 | μmol/L | 12.5547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.758 | 145361.468 | 313684.002 | 33.25 | 68.6
73646 | 2021-04-07 08:18 | 28.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.1052 | μmol/L | 12.5547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.758 | 145339.1283 | 313683.5776 | 33.25 | 68.6
73655 | 2021-04-07 08:18 | 28.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.0504 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.758 | 145339.6775 | 313671.537 | 33.25 | 68.6
73664 | 2021-04-07 08:18 | 28.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.1505 | μmol/L | 12.5547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 145318.205 | 313658.3753 | 33.25 | 68.6
73673 | 2021-04-07 08:19 | 29.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.0957 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 145312.6576 | 313670.1941 | 33.25 | 68.6
73682 | 2021-04-07 08:19 | 29.3376 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.2317 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.75 | 145291.3629 | 313667.2878 | 33.25 | 68.6
73691 | 2021-04-07 08:19 | 29.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.2544 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.749 | 145265.3813 | 313639.8987 | 33.25 | 68.6
73700 | 2021-04-07 08:20 | 30.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3224 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.746 | 145264.6104 | 313647.2808 | 33.25 | 68.6
73709 | 2021-04-07 08:20 | 30.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3224 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.746 | 145234.6688 | 313662.9065 | 33.25 | 68.6
73718 | 2021-04-07 08:20 | 30.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3224 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.746 | 145235.889 | 313651.3204 | 33.25 | 68.6
73727 | 2021-04-07 08:21 | 31.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.3905 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.743 | 145226.0324 | 313649.2434 | 33.25 | 68.6
73736 | 2021-04-07 08:21 | 31.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.2222 | μmol/L | 12.5669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.748 | 145212.0925 | 313624.2771 | 33.25 | 68.6
73742 | 2021-04-07 08:21 | 31.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 274.277 | μmol/L | 12.5608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.748 | 145211.3829 | 313630.3381 | 33.25 | 68.6