## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89584 | 2021-04-09 18:40 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8376 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 115651.3622 | 314585.9182 | 28.7 | 67.6
89593 | 2021-04-09 18:40 | 0.33528 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4202 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.389 | 115684.2726 | 314502.8824 | 28.7 | 67.6
89602 | 2021-04-09 18:41 | 0.66884 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9887 | μmol/L | 10.2685 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.4 | 115695.2623 | 314420.6433 | 28.7 | 67.6
89611 | 2021-04-09 18:41 | 1.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4601 | μmol/L | 10.3049 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 115695.3549 | 314322.2933 | 28.7 | 67.6
89620 | 2021-04-09 18:41 | 1.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2525 | μmol/L | 10.317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.412 | 115690.0255 | 314227.4469 | 28.7 | 67.6
89629 | 2021-04-09 18:42 | 1.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8676 | μmol/L | 10.3534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.414 | 115675.0265 | 314134.596 | 28.7 | 67.6
89638 | 2021-04-09 18:42 | 2.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6044 | μmol/L | 10.3716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.418 | 115652.7617 | 314052.2403 | 28.7 | 67.6
89647 | 2021-04-09 18:42 | 2.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4362 | μmol/L | 10.3898 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.418 | 115629.9219 | 313959.0754 | 28.7 | 67.6
89656 | 2021-04-09 18:43 | 2.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0939 | μmol/L | 10.4141 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.423 | 115592.4478 | 313868.4431 | 28.7 | 67.6
89665 | 2021-04-09 18:43 | 3.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8142 | μmol/L | 10.4444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.423 | 115545.5105 | 313769.1732 | 28.7 | 67.6
89674 | 2021-04-09 18:43 | 3.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5436 | μmol/L | 10.4687 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.425 | 115515.6172 | 313682.0347 | 28.7 | 67.6
89683 | 2021-04-09 18:44 | 3.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3675 | μmol/L | 10.493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.423 | 115457.8942 | 313574.6052 | 28.7 | 67.6
89692 | 2021-04-09 18:44 | 4.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2796 | μmol/L | 10.5051 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.422 | 115412.1167 | 313495.5274 | 28.7 | 67.6
89701 | 2021-04-09 18:44 | 4.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1038 | μmol/L | 10.5294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.42 | 115364.8853 | 313400.6625 | 28.7 | 67.6
89710 | 2021-04-09 18:45 | 4.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8812 | μmol/L | 10.5537 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.42 | 115304.5125 | 313304.066 | 28.7 | 67.6
89719 | 2021-04-09 18:45 | 5.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.6675 | μmol/L | 10.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.422 | 115244.2449 | 313196.0496 | 28.7 | 67.6
89728 | 2021-04-09 18:45 | 5.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5863 | μmol/L | 10.5961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.416 | 115191.4259 | 313133.7965 | 28.7 | 67.6
89737 | 2021-04-09 18:46 | 5.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.3579 | μmol/L | 10.6083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.421 | 115129.9349 | 313006.7672 | 28.7 | 67.6
89746 | 2021-04-09 18:46 | 6.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.2215 | μmol/L | 10.6386 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 115076.2412 | 312928.8947 | 28.7 | 67.6
89755 | 2021-04-09 18:46 | 6.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.1896 | μmol/L | 10.6447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.414 | 115019.3528 | 312832.8378 | 28.7 | 67.6
89764 | 2021-04-09 18:47 | 6.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.1088 | μmol/L | 10.6689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 114960.6754 | 312724.0071 | 28.7 | 67.6
89773 | 2021-04-09 18:47 | 7.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.9428 | μmol/L | 10.6872 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 114897.4032 | 312634.8649 | 28.7 | 67.6
89782 | 2021-04-09 18:47 | 7.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.8388 | μmol/L | 10.7114 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.403 | 114835.8325 | 312547.2804 | 28.7 | 67.6
89791 | 2021-04-09 18:48 | 7.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6497 | μmol/L | 10.7296 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.404 | 114765.5444 | 312425.466 | 28.7 | 67.6
89800 | 2021-04-09 18:48 | 8.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6012 | μmol/L | 10.7478 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.399 | 114710.304 | 312352.2337 | 28.7 | 67.6
89809 | 2021-04-09 18:48 | 8.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.3655 | μmol/L | 10.766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.402 | 114644.7615 | 312255.5024 | 28.7 | 67.6
89818 | 2021-04-09 18:49 | 8.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4658 | μmol/L | 10.7782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.393 | 114577.0889 | 312155.3797 | 28.7 | 67.6
89827 | 2021-04-09 18:49 | 9.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2771 | μmol/L | 10.7964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.394 | 114510.0419 | 312062.1795 | 28.7 | 67.6
89836 | 2021-04-09 18:49 | 9.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.127 | μmol/L | 10.8207 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.391 | 114435.6866 | 311960.3486 | 28.7 | 67.6
89845 | 2021-04-09 18:50 | 9.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0788 | μmol/L | 10.8389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.386 | 114376.3336 | 311873.8685 | 28.7 | 67.6
89854 | 2021-04-09 18:50 | 10.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0706 | μmol/L | 10.8449 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.384 | 114304.1335 | 311769.5761 | 28.7 | 67.6
89863 | 2021-04-09 18:50 | 10.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9758 | μmol/L | 10.8631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 114244.9554 | 311678.1902 | 28.7 | 67.6
89872 | 2021-04-09 18:51 | 10.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9594 | μmol/L | 10.8753 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.377 | 114172.6227 | 311580.2798 | 28.7 | 67.6
89881 | 2021-04-09 18:51 | 11.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9512 | μmol/L | 10.8813 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.375 | 114103.7412 | 311482.8275 | 28.7 | 67.6
89890 | 2021-04-09 18:51 | 11.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8249 | μmol/L | 10.9056 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.371 | 114033.1094 | 311379.3766 | 28.7 | 67.6
89899 | 2021-04-09 18:52 | 11.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.7619 | μmol/L | 10.9177 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 113974.809 | 311325.1104 | 28.7 | 67.6
89908 | 2021-04-09 18:52 | 12.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.6907 | μmol/L | 10.936 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 113905.4226 | 311204.7201 | 28.7 | 67.6
89917 | 2021-04-09 18:52 | 12.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.6277 | μmol/L | 10.9481 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 113826.6336 | 311130.5511 | 28.7 | 67.6
89926 | 2021-04-09 18:53 | 12.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.5334 | μmol/L | 10.9663 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.36 | 113765.3053 | 311028.736 | 28.7 | 67.6
89935 | 2021-04-09 18:53 | 13.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.5091 | μmol/L | 10.9845 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.354 | 113698.2377 | 310941.9778 | 28.7 | 67.6
89944 | 2021-04-09 18:53 | 13.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.501 | μmol/L | 10.9906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.352 | 113625.8352 | 310831.1458 | 28.7 | 67.6
89953 | 2021-04-09 18:54 | 13.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.4149 | μmol/L | 11.0027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.351 | 113545.0731 | 310747.082 | 28.7 | 67.6
89962 | 2021-04-09 18:54 | 14.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3754 | μmol/L | 11.0148 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.348 | 113469.3151 | 310648.0141 | 28.7 | 67.6
89971 | 2021-04-09 18:54 | 14.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.4527 | μmol/L | 11.027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.34 | 113403.4141 | 310555.0224 | 28.7 | 67.6
89980 | 2021-04-09 18:55 | 14.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3039 | μmol/L | 11.0513 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.337 | 113324.3224 | 310458.4624 | 28.7 | 67.6
89989 | 2021-04-09 18:55 | 15.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3273 | μmol/L | 11.0513 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.336 | 113261.7548 | 310381.492 | 28.7 | 67.6
89998 | 2021-04-09 18:55 | 15.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3113 | μmol/L | 11.0634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.332 | 113192.975 | 310291.918 | 28.7 | 67.6
90007 | 2021-04-09 18:56 | 15.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3967 | μmol/L | 11.0695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.326 | 113125.1734 | 310204.2005 | 28.7 | 67.6
90016 | 2021-04-09 18:56 | 16.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.256 | μmol/L | 11.0877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.325 | 113054.6532 | 310104.2863 | 28.7 | 67.6
90025 | 2021-04-09 18:56 | 16.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1701 | μmol/L | 11.0998 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.324 | 112983.642 | 310024.2725 | 28.7 | 67.6
90034 | 2021-04-09 18:57 | 16.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1776 | μmol/L | 11.1119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.319 | 112912.1683 | 309912.1714 | 28.7 | 67.6
90043 | 2021-04-09 18:57 | 17.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3097 | μmol/L | 11.118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.311 | 112841.1414 | 309816.2871 | 28.7 | 67.6
90052 | 2021-04-09 18:57 | 17.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1147 | μmol/L | 11.1423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.31 | 112767.2462 | 309748.3563 | 28.7 | 67.6
90061 | 2021-04-09 18:58 | 17.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1534 | μmol/L | 11.1484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.306 | 112699.1398 | 309661.8894 | 28.7 | 67.6
90070 | 2021-04-09 18:58 | 18.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.309 | μmol/L | 11.1544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 112638.3101 | 309560.1764 | 28.7 | 67.6
90079 | 2021-04-09 18:58 | 18.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1765 | μmol/L | 11.1666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.298 | 112566.5628 | 309483.2915 | 28.7 | 67.6
90088 | 2021-04-09 18:59 | 18.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1374 | μmol/L | 11.1787 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.295 | 112495.5217 | 309400.1248 | 28.7 | 67.6
90097 | 2021-04-09 18:59 | 19.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9817 | μmol/L | 11.1908 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 112427.5624 | 309302.3214 | 28.7 | 67.6
90106 | 2021-04-09 18:59 | 19.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1139 | μmol/L | 11.1969 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.289 | 112372.2888 | 309227.7653 | 28.7 | 67.6
90115 | 2021-04-09 19:00 | 19.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1683 | μmol/L | 11.2091 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.282 | 112302.8821 | 309137.8573 | 28.7 | 67.6
90124 | 2021-04-09 19:00 | 20.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0204 | μmol/L | 11.2151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.286 | 112231.4176 | 309048.8316 | 28.7 | 67.6
90133 | 2021-04-09 19:00 | 20.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9503 | μmol/L | 11.2333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.282 | 112178.1922 | 308982.2781 | 28.7 | 67.6
90142 | 2021-04-09 19:01 | 20.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.137 | μmol/L | 11.2333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.274 | 112110.8783 | 308894.0661 | 28.7 | 67.6
90151 | 2021-04-09 19:01 | 21.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.997 | μmol/L | 11.2515 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.273 | 112040.1368 | 308814.0948 | 28.7 | 67.6
90160 | 2021-04-09 19:01 | 21.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0126 | μmol/L | 11.2576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.27 | 111975.0161 | 308709.1544 | 28.7 | 67.6
90169 | 2021-04-09 19:02 | 21.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0204 | μmol/L | 11.2697 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.265 | 111909.3861 | 308647.1436 | 28.7 | 67.6
90178 | 2021-04-09 19:02 | 22.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9193 | μmol/L | 11.2758 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 111855.1895 | 308565.3084 | 28.7 | 67.6
90187 | 2021-04-09 19:02 | 22.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9816 | μmol/L | 11.2819 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 111795.3974 | 308503.3267 | 28.7 | 67.6
90196 | 2021-04-09 19:03 | 22.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9972 | μmol/L | 11.288 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 111727.2417 | 308406.2786 | 28.7 | 67.6
90205 | 2021-04-09 19:03 | 23.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0518 | μmol/L | 11.3001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.252 | 111663.7417 | 308341.2602 | 28.7 | 67.6
90214 | 2021-04-09 19:03 | 23.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0674 | μmol/L | 11.3062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.249 | 111598.9615 | 308254.8637 | 28.7 | 67.6
90223 | 2021-04-09 19:04 | 23.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9897 | μmol/L | 11.3122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.25 | 111539.4621 | 308178.3545 | 28.7 | 67.6
90232 | 2021-04-09 19:04 | 24.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0287 | μmol/L | 11.3183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.246 | 111483.738 | 308099.6704 | 28.7 | 67.6
90241 | 2021-04-09 19:04 | 24.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9899 | μmol/L | 11.3304 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.243 | 111423.006 | 308021.7794 | 28.7 | 67.6
90250 | 2021-04-09 19:05 | 24.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0056 | μmol/L | 11.3365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.24 | 111372.3708 | 307949.7644 | 28.7 | 67.6
90259 | 2021-04-09 19:05 | 25.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8812 | μmol/L | 11.3426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.243 | 111308.032 | 307855.6828 | 28.7 | 67.6
90268 | 2021-04-09 19:05 | 25.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9359 | μmol/L | 11.3547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.236 | 111254.651 | 307786.9603 | 28.7 | 67.6
90277 | 2021-04-09 19:06 | 25.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8039 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.237 | 111189.4482 | 307707.0723 | 28.7 | 67.6
90286 | 2021-04-09 19:06 | 26.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9206 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.232 | 111144.0853 | 307639.1436 | 28.7 | 67.6
90295 | 2021-04-09 19:06 | 26.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9363 | μmol/L | 11.3729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.229 | 111088.4242 | 307571.0036 | 28.7 | 67.6
90304 | 2021-04-09 19:07 | 26.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9754 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.225 | 111028.2033 | 307489.4443 | 28.7 | 67.6
90313 | 2021-04-09 19:07 | 27.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9135 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.223 | 110968.2051 | 307405.2556 | 28.7 | 67.6
90322 | 2021-04-09 19:07 | 27.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9722 | μmol/L | 11.3972 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.218 | 110905.8224 | 307324.4164 | 28.7 | 67.6
90331 | 2021-04-09 19:08 | 27.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9759 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.218 | 110843.3278 | 307259.7731 | 28.7 | 67.6
90340 | 2021-04-09 19:08 | 28.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9608 | μmol/L | 11.4093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.214 | 110789.8661 | 307190.7051 | 28.7 | 67.6
90349 | 2021-04-09 19:08 | 28.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9222 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.211 | 110733.354 | 307114.5873 | 28.7 | 67.6
90358 | 2021-04-09 19:09 | 28.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9886 | μmol/L | 11.4215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.208 | 110678.7476 | 307057.6779 | 28.7 | 67.6
90367 | 2021-04-09 19:09 | 29.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9071 | μmol/L | 11.4336 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.207 | 110618.4771 | 306989.1482 | 28.7 | 67.6
90376 | 2021-04-09 19:09 | 29.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8958 | μmol/L | 11.4397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.205 | 110573.4199 | 306904.1476 | 28.7 | 67.6
90385 | 2021-04-09 19:10 | 29.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8882 | μmol/L | 11.4458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.203 | 110514.1523 | 306831.3581 | 28.7 | 67.6
90394 | 2021-04-09 19:10 | 30.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9078 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.2 | 110472.6563 | 306785.8435 | 28.7 | 67.6
90403 | 2021-04-09 19:10 | 30.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9779 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.197 | 110404.3708 | 306709.9009 | 28.7 | 67.6
90412 | 2021-04-09 19:11 | 30.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8694 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.197 | 110358.3345 | 306631.4439 | 28.7 | 67.6
90421 | 2021-04-09 19:11 | 31.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9824 | μmol/L | 11.464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.192 | 110304.2597 | 306579.4132 | 28.7 | 67.6
90430 | 2021-04-09 19:11 | 31.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8852 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.194 | 110248.106 | 306506.0586 | 28.7 | 67.6
90439 | 2021-04-09 19:12 | 31.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9244 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.19 | 110194.9266 | 306424.9983 | 28.7 | 67.6
90448 | 2021-04-09 19:12 | 32.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.929 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.185 | 110140.3292 | 306354.9855 | 28.7 | 67.6
90457 | 2021-04-09 19:12 | 32.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9683 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.181 | 110095.9079 | 306308.4678 | 28.7 | 67.6
90466 | 2021-04-09 19:13 | 32.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0384 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.178 | 110038.653 | 306231.4655 | 28.7 | 67.6
90475 | 2021-04-09 19:13 | 33.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9374 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.18 | 109986.6397 | 306177.5535 | 28.7 | 67.6
90484 | 2021-04-09 19:13 | 33.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9767 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.176 | 109936.8051 | 306124.5231 | 28.7 | 67.6
90493 | 2021-04-09 19:14 | 33.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0777 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.174 | 109880.5272 | 306043.6661 | 28.7 | 67.6
90502 | 2021-04-09 19:14 | 34.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9926 | μmol/L | 11.5125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.173 | 109835.8998 | 305974.8935 | 28.7 | 67.6
90511 | 2021-04-09 19:14 | 34.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9617 | μmol/L | 11.5186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.172 | 109788.4176 | 305913.1298 | 28.7 | 67.6
90520 | 2021-04-09 19:15 | 34.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1452 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.162 | 109744.6949 | 305854.2498 | 28.7 | 67.6
90529 | 2021-04-09 19:15 | 35.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1218 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.163 | 109697.9849 | 305793.7957 | 28.7 | 67.6
90538 | 2021-04-09 19:15 | 35.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0403 | μmol/L | 11.5307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.164 | 109644.4007 | 305719.5411 | 28.7 | 67.6
90547 | 2021-04-09 19:16 | 35.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0835 | μmol/L | 11.5368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.16 | 109596.2047 | 305669.9332 | 28.7 | 67.6
90556 | 2021-04-09 19:16 | 36.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0601 | μmol/L | 11.5368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.161 | 109555.7442 | 305605.2607 | 28.7 | 67.6
90565 | 2021-04-09 19:16 | 36.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0994 | μmol/L | 11.5429 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.157 | 109500.1846 | 305550.61 | 28.7 | 67.6
90574 | 2021-04-09 19:17 | 36.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.933 | μmol/L | 11.5611 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.157 | 109448.6842 | 305470.7625 | 28.7 | 67.6
90583 | 2021-04-09 19:17 | 37.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0808 | μmol/L | 11.555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.153 | 109414.4872 | 305422.5217 | 28.7 | 67.6
90592 | 2021-04-09 19:17 | 37.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0968 | μmol/L | 11.5611 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 109352.2278 | 305350.8291 | 28.7 | 67.6
90601 | 2021-04-09 19:18 | 37.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0932 | μmol/L | 11.5671 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 109307.071 | 305298.1063 | 28.7 | 67.6
90610 | 2021-04-09 19:18 | 38.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2336 | μmol/L | 11.5671 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.142 | 109259.4961 | 305238.2712 | 28.7 | 67.6
90619 | 2021-04-09 19:18 | 38.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1916 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 109215.4394 | 305183.7341 | 28.7 | 67.6
90628 | 2021-04-09 19:19 | 38.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2224 | μmol/L | 11.5732 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 109167.1001 | 305127.7669 | 28.7 | 67.6
90637 | 2021-04-09 19:19 | 39.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2384 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 109131.9102 | 305079.4576 | 28.7 | 67.6
90646 | 2021-04-09 19:19 | 39.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2002 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 109089.0003 | 305004.8992 | 28.7 | 67.6
90655 | 2021-04-09 19:20 | 39.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.13 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 109045.2215 | 304964.0758 | 28.7 | 67.6
90664 | 2021-04-09 19:20 | 40.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2002 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 108997.6544 | 304900.3984 | 28.7 | 67.6
90673 | 2021-04-09 19:20 | 40.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1226 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 108967.1996 | 304841.8447 | 28.7 | 67.6
90682 | 2021-04-09 19:21 | 40.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1226 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 108929.6539 | 304785.6753 | 28.7 | 67.6
90691 | 2021-04-09 19:21 | 41.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1621 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 108898.8868 | 304736.6147 | 28.7 | 67.6
90700 | 2021-04-09 19:21 | 41.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9835 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 108852.3204 | 304680.727 | 28.7 | 67.6
90709 | 2021-04-09 19:22 | 41.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0537 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 108817.3329 | 304626.6753 | 28.7 | 67.6
90718 | 2021-04-09 19:22 | 42.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1474 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 108776.2499 | 304556.8498 | 28.7 | 67.6
90727 | 2021-04-09 19:22 | 42.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.023 | μmol/L | 11.6218 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 108735.9137 | 304509.4687 | 28.7 | 67.6
90736 | 2021-04-09 19:23 | 42.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9688 | μmol/L | 11.6278 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 108703.8701 | 304467.8983 | 28.7 | 67.6
90745 | 2021-04-09 19:23 | 43.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0625 | μmol/L | 11.6278 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.126 | 108662.1805 | 304401.1569 | 28.7 | 67.6
90754 | 2021-04-09 19:23 | 43.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0083 | μmol/L | 11.6339 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.126 | 108635.2244 | 304351.4114 | 28.7 | 67.6
90763 | 2021-04-09 19:24 | 43.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9615 | μmol/L | 11.6339 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.128 | 108605.2168 | 304303.5075 | 28.7 | 67.6
90772 | 2021-04-09 19:24 | 44.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8606 | μmol/L | 11.64 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 108572.6617 | 304249.5303 | 28.7 | 67.6
90781 | 2021-04-09 19:24 | 44.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8299 | μmol/L | 11.6461 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 108543.3158 | 304193.1655 | 28.7 | 67.6
90790 | 2021-04-09 19:25 | 44.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8372 | μmol/L | 11.64 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 108515.3496 | 304160.7536 | 28.7 | 67.6
90799 | 2021-04-09 19:25 | 45.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8694 | μmol/L | 11.6521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.125 | 108485.3123 | 304089.785 | 28.7 | 67.6
90808 | 2021-04-09 19:25 | 45.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8065 | μmol/L | 11.6461 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 108462.6491 | 304048.1828 | 28.7 | 67.6
90817 | 2021-04-09 19:26 | 45.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7145 | μmol/L | 11.6643 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 108432.1471 | 304018.6079 | 28.7 | 67.6
90826 | 2021-04-09 19:26 | 46.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8694 | μmol/L | 11.6521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.125 | 108398.2336 | 303952.7529 | 28.7 | 67.6
90835 | 2021-04-09 19:26 | 46.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7685 | μmol/L | 11.6582 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 108357.9266 | 303909.3133 | 28.7 | 67.6
90844 | 2021-04-09 19:27 | 46.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7145 | μmol/L | 11.6643 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 108328.1027 | 303859.6998 | 28.7 | 67.6
90853 | 2021-04-09 19:27 | 47.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.808 | μmol/L | 11.6643 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.123 | 108303.9924 | 303820.6387 | 28.7 | 67.6
90862 | 2021-04-09 19:27 | 47.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6298 | μmol/L | 11.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.126 | 108266.7035 | 303767.4102 | 28.7 | 67.6
90871 | 2021-04-09 19:28 | 47.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6838 | μmol/L | 11.6703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.126 | 108237.7037 | 303711.7734 | 28.7 | 67.6
90880 | 2021-04-09 19:28 | 48.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6531 | μmol/L | 11.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.125 | 108208.7801 | 303673.9 | 28.7 | 67.6
90889 | 2021-04-09 19:28 | 48.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6999 | μmol/L | 11.6764 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.123 | 108178.7569 | 303629.8645 | 28.7 | 67.6
90898 | 2021-04-09 19:29 | 48.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.716 | μmol/L | 11.6825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.12 | 108152.7135 | 303579.702 | 28.7 | 67.6
90907 | 2021-04-09 19:29 | 49.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5451 | μmol/L | 11.6885 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.125 | 108114.9577 | 303539.4377 | 28.7 | 67.6
90916 | 2021-04-09 19:29 | 49.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5685 | μmol/L | 11.6885 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.124 | 108088.2019 | 303503.0804 | 28.7 | 67.6
90925 | 2021-04-09 19:30 | 49.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7482 | μmol/L | 11.6946 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.114 | 108051.379 | 303445.1093 | 28.7 | 67.6
90934 | 2021-04-09 19:30 | 50.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6547 | μmol/L | 11.6946 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.118 | 108005.9068 | 303390.8962 | 28.7 | 67.6
90943 | 2021-04-09 19:30 | 50.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6241 | μmol/L | 11.7007 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.117 | 107974.8878 | 303363.3807 | 28.7 | 67.6
90952 | 2021-04-09 19:31 | 50.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7248 | μmol/L | 11.6946 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.115 | 107943.1125 | 303320.1809 | 28.7 | 67.6
90961 | 2021-04-09 19:31 | 51.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6708 | μmol/L | 11.7007 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.115 | 107906.3026 | 303289.5598 | 28.7 | 67.6
90970 | 2021-04-09 19:31 | 51.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6636 | μmol/L | 11.7068 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.113 | 107875.6932 | 303241.4376 | 28.7 | 67.6
90979 | 2021-04-09 19:32 | 51.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7409 | μmol/L | 11.7007 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.112 | 107848.4313 | 303201.3422 | 28.7 | 67.6
90988 | 2021-04-09 19:32 | 52.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6257 | μmol/L | 11.7189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.11 | 107812.4742 | 303148.4797 | 28.7 | 67.6
90997 | 2021-04-09 19:32 | 52.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7498 | μmol/L | 11.7128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.107 | 107777.7752 | 303101.9056 | 28.7 | 67.6
91006 | 2021-04-09 19:33 | 52.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.766 | μmol/L | 11.7189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.104 | 107749.3818 | 303059.4067 | 28.7 | 67.6
91015 | 2021-04-09 19:33 | 53.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6886 | μmol/L | 11.725 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.105 | 107714.5917 | 303036.9881 | 28.7 | 67.6
91024 | 2021-04-09 19:33 | 53.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8128 | μmol/L | 11.7189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.102 | 107686.459 | 302992.5124 | 28.7 | 67.6
91033 | 2021-04-09 19:34 | 53.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7354 | μmol/L | 11.725 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.103 | 107645.589 | 302948.4289 | 28.7 | 67.6
91042 | 2021-04-09 19:34 | 54.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7821 | μmol/L | 11.725 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.101 | 107619.3472 | 302903.369 | 28.7 | 67.6
91051 | 2021-04-09 19:34 | 54.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6975 | μmol/L | 11.7371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.1 | 107586.0967 | 302851.8301 | 28.7 | 67.6
91060 | 2021-04-09 19:35 | 54.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7983 | μmol/L | 11.731 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.098 | 107562.0088 | 302852.2011 | 28.7 | 67.6
91069 | 2021-04-09 19:35 | 55.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7515 | μmol/L | 11.731 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.1 | 107525.0484 | 302790.9385 | 28.7 | 67.6
91078 | 2021-04-09 19:35 | 55.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7137 | μmol/L | 11.7432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.097 | 107509.6214 | 302754.7645 | 28.7 | 67.6
91087 | 2021-04-09 19:36 | 55.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8145 | μmol/L | 11.7371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.095 | 107473.8217 | 302709.9473 | 28.7 | 67.6
91096 | 2021-04-09 19:36 | 56.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7065 | μmol/L | 11.7492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.095 | 107442.4707 | 302667.7595 | 28.7 | 67.6
91105 | 2021-04-09 19:36 | 56.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7839 | μmol/L | 11.7432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.094 | 107419.5329 | 302631.7242 | 28.7 | 67.6
91114 | 2021-04-09 19:37 | 56.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7299 | μmol/L | 11.7492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.094 | 107396.6499 | 302610.4825 | 28.7 | 67.6
91123 | 2021-04-09 19:37 | 57.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6453 | μmol/L | 11.7614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.093 | 107365.4664 | 302561.9769 | 28.7 | 67.6
91132 | 2021-04-09 19:37 | 57.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6759 | μmol/L | 11.7553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.094 | 107354.0668 | 302530.0275 | 28.7 | 67.6
91141 | 2021-04-09 19:38 | 57.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.622 | μmol/L | 11.7614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.094 | 107320.4139 | 302484.6096 | 28.7 | 67.6
91150 | 2021-04-09 19:38 | 58.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5752 | μmol/L | 11.7614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.096 | 107289.5719 | 302457.4428 | 28.7 | 67.6
91159 | 2021-04-09 19:38 | 58.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7155 | μmol/L | 11.7614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.09 | 107273.8231 | 302423.35 | 28.7 | 67.6