## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 08:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
72892 | 2021-04-07 07:50 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9638 | μmol/L | 12.3068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.688 | 132264.5834 | 275441.7039 | 32.55 | 27.7
72901 | 2021-04-07 07:50 | 0.32854 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.0042 | μmol/L | 12.3129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 132260.8214 | 275421.6248 | 32.55 | 27.7
72910 | 2021-04-07 07:51 | 0.66233 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.0042 | μmol/L | 12.3129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 132252.8674 | 275395.1559 | 32.55 | 27.7
72919 | 2021-04-07 07:51 | 0.99521 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9803 | μmol/L | 12.3129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 132240.5607 | 275376.843 | 32.55 | 27.7
72928 | 2021-04-07 07:51 | 1.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9415 | μmol/L | 12.3251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 132223.1932 | 275371.3965 | 32.55 | 27.7
72937 | 2021-04-07 07:52 | 1.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9011 | μmol/L | 12.319 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.686 | 132213.9741 | 275350.9431 | 32.55 | 27.7
72946 | 2021-04-07 07:52 | 1.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7114 | μmol/L | 12.3373 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.687 | 132194.4255 | 275324.0601 | 32.55 | 27.7
72955 | 2021-04-07 07:52 | 2.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8533 | μmol/L | 12.319 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.688 | 132190.1224 | 275305.3762 | 32.55 | 27.7
72964 | 2021-04-07 07:53 | 2.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7667 | μmol/L | 12.3312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.687 | 132177.1267 | 275301.6978 | 32.55 | 27.7
72973 | 2021-04-07 07:53 | 2.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8697 | μmol/L | 12.3251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 132162.8202 | 275287.0452 | 32.55 | 27.7
72982 | 2021-04-07 07:53 | 3.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.807 | μmol/L | 12.3373 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 132151.8026 | 275275.4697 | 32.55 | 27.7
72991 | 2021-04-07 07:54 | 3.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6653 | μmol/L | 12.3557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 132134.0066 | 275258.3004 | 32.55 | 27.7
73000 | 2021-04-07 07:54 | 3.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6562 | μmol/L | 12.3435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.687 | 132128.5454 | 275253.1383 | 32.55 | 27.7
73009 | 2021-04-07 07:54 | 4.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6727 | μmol/L | 12.3496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 132108.7561 | 275245.8604 | 32.55 | 27.7
73018 | 2021-04-07 07:55 | 4.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6653 | μmol/L | 12.3557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 132086.6005 | 275208.6074 | 32.55 | 27.7
73027 | 2021-04-07 07:55 | 4.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7205 | μmol/L | 12.3496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 132077.737 | 275209.3387 | 32.55 | 27.7
73036 | 2021-04-07 07:55 | 5.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7205 | μmol/L | 12.3496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 132063.1647 | 275201.2201 | 32.55 | 27.7
73045 | 2021-04-07 07:56 | 5.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7131 | μmol/L | 12.3557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.68 | 132044.9332 | 275188.3263 | 32.55 | 27.7
73054 | 2021-04-07 07:56 | 5.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6027 | μmol/L | 12.3679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.68 | 132026.8569 | 275157.9243 | 32.55 | 27.7
73063 | 2021-04-07 07:56 | 6.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5953 | μmol/L | 12.374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.678 | 132013.7642 | 275172.8826 | 32.55 | 27.7
73072 | 2021-04-07 07:57 | 6.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7056 | μmol/L | 12.3618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.678 | 131985.7681 | 275173.8231 | 32.55 | 27.7
73081 | 2021-04-07 07:57 | 6.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.746 | μmol/L | 12.3679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.674 | 131972.8479 | 275148.1189 | 32.55 | 27.7
73090 | 2021-04-07 07:57 | 7.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.746 | μmol/L | 12.3679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.674 | 131954.914 | 275144.6376 | 32.55 | 27.7
73099 | 2021-04-07 07:58 | 7.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7147 | μmol/L | 12.374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.673 | 131935.2106 | 275124.7144 | 32.55 | 27.7
73108 | 2021-04-07 07:58 | 7.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8178 | μmol/L | 12.3679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.671 | 131926.4173 | 275117.7636 | 32.55 | 27.7
73117 | 2021-04-07 07:58 | 8.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6357 | μmol/L | 12.3801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.674 | 131904.5774 | 275114.9509 | 32.55 | 27.7
73126 | 2021-04-07 07:59 | 8.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7625 | μmol/L | 12.374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.671 | 131894.6036 | 275109.7276 | 32.55 | 27.7
73135 | 2021-04-07 07:59 | 8.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7 | μmol/L | 12.3862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 131880.8201 | 275093.9213 | 32.55 | 27.7
73144 | 2021-04-07 07:59 | 9.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8508 | μmol/L | 12.3801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.665 | 131870.4159 | 275090.9841 | 32.55 | 27.7
73153 | 2021-04-07 08:00 | 9.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9447 | μmol/L | 12.3618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131856.6819 | 275084.3401 | 32.55 | 27.7
73162 | 2021-04-07 08:00 | 9.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7791 | μmol/L | 12.3801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131844.8733 | 275068.2722 | 32.55 | 27.7
73171 | 2021-04-07 08:00 | 10.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6448 | μmol/L | 12.3923 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 131841.7401 | 275065.5424 | 32.55 | 27.7
73180 | 2021-04-07 08:01 | 10.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7239 | μmol/L | 12.3862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131837.9987 | 275053.6704 | 32.55 | 27.7
73189 | 2021-04-07 08:01 | 10.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6209 | μmol/L | 12.3923 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.67 | 131828.2943 | 275044.3668 | 32.55 | 27.7
73198 | 2021-04-07 08:01 | 11.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7313 | μmol/L | 12.3801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.67 | 131813.527 | 275036.726 | 32.55 | 27.7
73207 | 2021-04-07 08:02 | 11.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7239 | μmol/L | 12.3862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131811.3357 | 275035.1053 | 32.55 | 27.7
73216 | 2021-04-07 08:02 | 11.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7239 | μmol/L | 12.3862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131809.176 | 275023.9274 | 32.55 | 27.7
73225 | 2021-04-07 08:02 | 12.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7791 | μmol/L | 12.3801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131795.0839 | 275004.2164 | 32.55 | 27.7
73234 | 2021-04-07 08:03 | 12.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7 | μmol/L | 12.3862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 131787.3337 | 275007.2285 | 32.55 | 27.7
73243 | 2021-04-07 08:03 | 12.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6835 | μmol/L | 12.3801 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.672 | 131783.4718 | 274988.7549 | 32.55 | 27.7
73252 | 2021-04-07 08:03 | 13.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.518 | μmol/L | 12.3984 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.672 | 131782.1121 | 274988.3154 | 32.55 | 27.7
73261 | 2021-04-07 08:04 | 13.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5731 | μmol/L | 12.3923 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.672 | 131776.4012 | 274976.1199 | 32.55 | 27.7
73270 | 2021-04-07 08:04 | 13.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6687 | μmol/L | 12.3923 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 131785.6312 | 274983.5493 | 32.55 | 27.7
73279 | 2021-04-07 08:04 | 14.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5492 | μmol/L | 12.3923 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.673 | 131783.7797 | 274973.5314 | 32.55 | 27.7
73288 | 2021-04-07 08:05 | 14.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4629 | μmol/L | 12.4045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.672 | 131777.7208 | 274957.2132 | 32.55 | 27.7
73297 | 2021-04-07 08:05 | 14.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.3912 | μmol/L | 12.4045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.675 | 131776.3154 | 274954.3242 | 32.55 | 27.7
73306 | 2021-04-07 08:05 | 15.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.439 | μmol/L | 12.4045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.673 | 131767.363 | 274938.3126 | 32.55 | 27.7
73315 | 2021-04-07 08:06 | 15.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.3123 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.676 | 131771.2094 | 274915.4849 | 32.55 | 27.7
73324 | 2021-04-07 08:06 | 15.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2572 | μmol/L | 12.4167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.676 | 131772.6586 | 274921.8806 | 32.55 | 27.7
73333 | 2021-04-07 08:06 | 16.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2884 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.677 | 131761.9035 | 274934.5557 | 32.55 | 27.7
73342 | 2021-04-07 08:07 | 16.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.3361 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.675 | 131762.941 | 274903.8569 | 32.55 | 27.7
73351 | 2021-04-07 08:07 | 16.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2958 | μmol/L | 12.4045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.679 | 131761.6688 | 274908.8034 | 32.55 | 27.7
73360 | 2021-04-07 08:07 | 17.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2646 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.678 | 131762.1105 | 274904.8357 | 32.55 | 27.7
73369 | 2021-04-07 08:08 | 17.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2646 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.678 | 131766.3199 | 274901.101 | 32.55 | 27.7
73378 | 2021-04-07 08:08 | 17.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.1618 | μmol/L | 12.4167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.68 | 131762.5086 | 274884.5435 | 32.55 | 27.7
73387 | 2021-04-07 08:08 | 18.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2481 | μmol/L | 12.4045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.681 | 131767.7314 | 274895.9957 | 32.55 | 27.7
73396 | 2021-04-07 08:09 | 18.662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.0664 | μmol/L | 12.4167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 131765.1523 | 274872.7326 | 32.55 | 27.7
73405 | 2021-04-07 08:09 | 18.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.1141 | μmol/L | 12.4167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 131766.2073 | 274879.654 | 32.55 | 27.7
73414 | 2021-04-07 08:09 | 19.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.0352 | μmol/L | 12.4228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 131764.7789 | 274868.9047 | 32.55 | 27.7
73423 | 2021-04-07 08:10 | 19.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.9326 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 131772.1362 | 274860.5364 | 32.55 | 27.7
73432 | 2021-04-07 08:10 | 19.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.9564 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 131772.1265 | 274869.9586 | 32.55 | 27.7
73441 | 2021-04-07 08:10 | 20.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.9876 | μmol/L | 12.4228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 131761.6086 | 274865.1854 | 32.55 | 27.7
73450 | 2021-04-07 08:11 | 20.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.9637 | μmol/L | 12.4228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.686 | 131763.8756 | 274858.8086 | 32.55 | 27.7
73459 | 2021-04-07 08:11 | 20.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.0738 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.686 | 131756.4926 | 274864.0474 | 32.55 | 27.7
73468 | 2021-04-07 08:11 | 21.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.0664 | μmol/L | 12.4167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 131749.1037 | 274846.3558 | 32.55 | 27.7
73477 | 2021-04-07 08:12 | 21.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.0738 | μmol/L | 12.4106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.686 | 131744.7771 | 274843.15 | 32.55 | 27.7
73486 | 2021-04-07 08:12 | 21.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8299 | μmol/L | 12.435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.687 | 131732.2073 | 274853.1013 | 32.55 | 27.7
73495 | 2021-04-07 08:12 | 22.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8702 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 131722.039 | 274830.7283 | 32.55 | 27.7
73504 | 2021-04-07 08:13 | 22.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8702 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 131721.5073 | 274831.4206 | 32.55 | 27.7
73513 | 2021-04-07 08:13 | 22.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8464 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 131712.1199 | 274825.7895 | 32.55 | 27.7
73522 | 2021-04-07 08:13 | 23.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8153 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 131710.4262 | 274831.4037 | 32.55 | 27.7
73531 | 2021-04-07 08:14 | 23.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.6651 | μmol/L | 12.4533 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.687 | 131715.6769 | 274820.9429 | 32.55 | 27.7
73540 | 2021-04-07 08:14 | 23.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.7438 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.686 | 131711.8152 | 274805.3837 | 32.55 | 27.7
73549 | 2021-04-07 08:14 | 24.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.6962 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.688 | 131718.4157 | 274805.7514 | 32.55 | 27.7
73558 | 2021-04-07 08:15 | 24.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8226 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 131724.454 | 274797.397 | 32.55 | 27.7
73567 | 2021-04-07 08:15 | 24.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8061 | μmol/L | 12.435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.688 | 131717.2643 | 274796.6691 | 32.55 | 27.7
73576 | 2021-04-07 08:15 | 25.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8611 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.688 | 131724.2283 | 274798.7312 | 32.55 | 27.7
73585 | 2021-04-07 08:16 | 25.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.7035 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.69 | 131726.6616 | 274782.6694 | 32.55 | 27.7
73594 | 2021-04-07 08:16 | 25.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.7035 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.69 | 131743.3189 | 274787.9963 | 32.55 | 27.7
73603 | 2021-04-07 08:16 | 26.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.6633 | μmol/L | 12.435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.694 | 131752.3482 | 274774.6551 | 32.55 | 27.7
73612 | 2021-04-07 08:17 | 26.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.4894 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.699 | 131768.2473 | 274767.3606 | 32.55 | 27.7
73621 | 2021-04-07 08:17 | 26.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.2681 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.706 | 131803.9195 | 274769.583 | 32.55 | 27.7
73630 | 2021-04-07 08:17 | 27.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.9923 | μmol/L | 12.4594 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.713 | 131863.1931 | 274779.1795 | 32.55 | 27.7
73639 | 2021-04-07 08:18 | 27.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.881 | μmol/L | 12.4533 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.72 | 131909.6578 | 274771.9432 | 32.55 | 27.7
73648 | 2021-04-07 08:18 | 27.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.6038 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.734 | 131970.8697 | 274768.5059 | 32.55 | 27.7
73657 | 2021-04-07 08:18 | 28.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.3907 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.743 | 132025.7289 | 274761.3263 | 32.55 | 27.7
73666 | 2021-04-07 08:19 | 28.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.3034 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.749 | 132096.2075 | 274762.3196 | 32.55 | 27.7
73675 | 2021-04-07 08:19 | 28.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.129 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.761 | 132160.7499 | 274753.5638 | 32.55 | 27.7
73684 | 2021-04-07 08:19 | 29.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8691 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.772 | 132229.7914 | 274756.7346 | 32.55 | 27.7
73693 | 2021-04-07 08:20 | 29.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.6184 | μmol/L | 12.4411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.778 | 132298.6357 | 274753.8141 | 32.55 | 27.7
73702 | 2021-04-07 08:20 | 29.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.4372 | μmol/L | 12.435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.788 | 132366.8598 | 274750.4832 | 32.55 | 27.7
73711 | 2021-04-07 08:20 | 30.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.9987 | μmol/L | 12.4472 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.802 | 132435.977 | 274739.3792 | 32.55 | 27.7
73720 | 2021-04-07 08:21 | 30.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.9033 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.813 | 132493.9175 | 274736.3235 | 32.55 | 27.7
73729 | 2021-04-07 08:21 | 30.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.7079 | μmol/L | 12.435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.819 | 132557.6661 | 274746.5262 | 32.55 | 27.7
73738 | 2021-04-07 08:21 | 31.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.4571 | μmol/L | 12.4289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.832 | 132607.8218 | 274722.3682 | 32.55 | 27.7
73744 | 2021-04-07 08:22 | 31.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.2621 | μmol/L | 12.435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.838 | 132665.9139 | 274730.1601 | 32.55 | 27.7