## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 10:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
73745 | 2021-04-07 09:43 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.6898 | μmol/L | 11.1007 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.841 | 139984.3968 | 308099.2738 | 59.9307 | 38.1
73754 | 2021-04-07 09:43 | 0.33907 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.6574 | μmol/L | 11.1068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.84 | 139970.7846 | 308089.6374 | 59.9307 | 38.1
73763 | 2021-04-07 09:44 | 0.67168 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.5925 | μmol/L | 11.119 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.838 | 139941.4865 | 308085.3523 | 59.9307 | 38.1
73772 | 2021-04-07 09:44 | 1.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.6334 | μmol/L | 11.1251 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.834 | 139915.0219 | 308063.0703 | 59.9307 | 38.1
73781 | 2021-04-07 09:44 | 1.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.6175 | μmol/L | 11.1373 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 139884.0854 | 308036.6812 | 59.9307 | 38.1
73790 | 2021-04-07 09:45 | 1.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.5607 | μmol/L | 11.1434 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 139860.8241 | 308021.8841 | 59.9307 | 38.1
73799 | 2021-04-07 09:45 | 2.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.634 | μmol/L | 11.1434 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.827 | 139828.6696 | 308011.6636 | 59.9307 | 38.1
73808 | 2021-04-07 09:45 | 2.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.6261 | μmol/L | 11.1494 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 139809.216 | 307988.9898 | 59.9307 | 38.1
73817 | 2021-04-07 09:46 | 2.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.5858 | μmol/L | 11.1616 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 139785.9503 | 307960.3614 | 59.9307 | 38.1
73826 | 2021-04-07 09:46 | 3.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.5534 | μmol/L | 11.1677 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.821 | 139761.736 | 307933.331 | 59.9307 | 38.1
73835 | 2021-04-07 09:46 | 3.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.521 | μmol/L | 11.1738 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.82 | 139731.9814 | 307910.5301 | 59.9307 | 38.1
73844 | 2021-04-07 09:47 | 3.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.5376 | μmol/L | 11.1799 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.817 | 139706.8749 | 307899.3272 | 59.9307 | 38.1
73853 | 2021-04-07 09:47 | 4.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4973 | μmol/L | 11.1921 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.814 | 139680.827 | 307879.2985 | 59.9307 | 38.1
73862 | 2021-04-07 09:47 | 4.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4729 | μmol/L | 11.1921 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.815 | 139658.3128 | 307871.0774 | 59.9307 | 38.1
73871 | 2021-04-07 09:48 | 4.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4816 | μmol/L | 11.2043 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.81 | 139639.1581 | 307838.2135 | 59.9307 | 38.1
73880 | 2021-04-07 09:48 | 5.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4248 | μmol/L | 11.2104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.81 | 139612.1388 | 307838.9489 | 59.9307 | 38.1
73889 | 2021-04-07 09:48 | 5.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4982 | μmol/L | 11.2104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.807 | 139594.6248 | 307806.6782 | 59.9307 | 38.1
73898 | 2021-04-07 09:49 | 5.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4982 | μmol/L | 11.2104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.807 | 139572.311 | 307788.131 | 59.9307 | 38.1
73907 | 2021-04-07 09:49 | 6.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.3603 | μmol/L | 11.2226 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.808 | 139547.4211 | 307778.7464 | 59.9307 | 38.1
73916 | 2021-04-07 09:49 | 6.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.3768 | μmol/L | 11.2286 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.805 | 139526.6891 | 307748.057 | 59.9307 | 38.1
73925 | 2021-04-07 09:50 | 6.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2713 | μmol/L | 11.2347 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.807 | 139509.7008 | 307727.4564 | 59.9307 | 38.1
73934 | 2021-04-07 09:50 | 7.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2635 | μmol/L | 11.2408 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.805 | 139503.448 | 307725.481 | 59.9307 | 38.1
73943 | 2021-04-07 09:50 | 7.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2801 | μmol/L | 11.2469 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.802 | 139480.1275 | 307694.6748 | 59.9307 | 38.1
73952 | 2021-04-07 09:51 | 7.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1745 | μmol/L | 11.253 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.804 | 139472.9501 | 307696.8971 | 59.9307 | 38.1
73961 | 2021-04-07 09:51 | 8.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1179 | μmol/L | 11.2591 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.804 | 139449.3792 | 307676.579 | 59.9307 | 38.1
73970 | 2021-04-07 09:51 | 8.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1833 | μmol/L | 11.2652 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.799 | 139433.8645 | 307657.5126 | 59.9307 | 38.1
73979 | 2021-04-07 09:52 | 8.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2156 | μmol/L | 11.2591 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.8 | 139417.6882 | 307632.5052 | 59.9307 | 38.1
73988 | 2021-04-07 09:52 | 9.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1267 | μmol/L | 11.2713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.799 | 139394.1679 | 307614.5551 | 59.9307 | 38.1
73997 | 2021-04-07 09:52 | 9.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1189 | μmol/L | 11.2774 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.797 | 139380.87 | 307600.0266 | 59.9307 | 38.1
74006 | 2021-04-07 09:53 | 9.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1433 | μmol/L | 11.2774 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.796 | 139358.5084 | 307583.5783 | 59.9307 | 38.1
74015 | 2021-04-07 09:53 | 10.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0623 | μmol/L | 11.2835 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.797 | 139342.2859 | 307565.9577 | 59.9307 | 38.1
74024 | 2021-04-07 09:53 | 10.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.079 | μmol/L | 11.2896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.794 | 139324.5229 | 307557.6801 | 59.9307 | 38.1
74033 | 2021-04-07 09:54 | 10.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9902 | μmol/L | 11.3018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 139305.5664 | 307546.9078 | 59.9307 | 38.1
74042 | 2021-04-07 09:54 | 11.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0468 | μmol/L | 11.2957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 139295.805 | 307528.246 | 59.9307 | 38.1
74051 | 2021-04-07 09:54 | 11.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.039 | μmol/L | 11.3018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.791 | 139264.591 | 307494.5385 | 59.9307 | 38.1
74060 | 2021-04-07 09:55 | 11.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.958 | μmol/L | 11.3079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 139252.3415 | 307486.3287 | 59.9307 | 38.1
74069 | 2021-04-07 09:55 | 12.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0313 | μmol/L | 11.3079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 139245.4487 | 307487.9098 | 59.9307 | 38.1
74078 | 2021-04-07 09:55 | 12.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8937 | μmol/L | 11.32 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 139238.0664 | 307475.6816 | 59.9307 | 38.1
74087 | 2021-04-07 09:56 | 12.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8206 | μmol/L | 11.32 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 139218.5723 | 307454.433 | 59.9307 | 38.1
74096 | 2021-04-07 09:56 | 13.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9503 | μmol/L | 11.314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 139204.3863 | 307435.8615 | 59.9307 | 38.1
74105 | 2021-04-07 09:56 | 13.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7884 | μmol/L | 11.3261 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 139188.784 | 307412.4931 | 59.9307 | 38.1
74114 | 2021-04-07 09:57 | 13.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8295 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 139177.4838 | 307409.9066 | 59.9307 | 38.1
74123 | 2021-04-07 09:57 | 14.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.773 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 139166.8339 | 307388.6012 | 59.9307 | 38.1
74132 | 2021-04-07 09:57 | 14.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7319 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 139162.3476 | 307377.6328 | 59.9307 | 38.1
74141 | 2021-04-07 09:58 | 14.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7974 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 139140.0606 | 307368.7393 | 59.9307 | 38.1
74150 | 2021-04-07 09:58 | 15.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7088 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.786 | 139127.463 | 307342.5035 | 59.9307 | 38.1
74159 | 2021-04-07 09:58 | 15.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8141 | μmol/L | 11.3444 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.784 | 139107.2233 | 307333.2295 | 59.9307 | 38.1
74168 | 2021-04-07 09:59 | 15.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6844 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 139090.1471 | 307302.8704 | 59.9307 | 38.1
74177 | 2021-04-07 09:59 | 16.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6279 | μmol/L | 11.3566 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 139074.9565 | 307288.9895 | 59.9307 | 38.1
74186 | 2021-04-07 09:59 | 16.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.669 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.783 | 139049.1413 | 307295.4522 | 59.9307 | 38.1
74195 | 2021-04-07 10:00 | 16.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7178 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.781 | 139043.4785 | 307283.1434 | 59.9307 | 38.1
74204 | 2021-04-07 10:00 | 17.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6049 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.781 | 139027.5165 | 307246.0665 | 59.9307 | 38.1
74213 | 2021-04-07 10:00 | 17.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6293 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.78 | 139012.0998 | 307237.5054 | 59.9307 | 38.1
74222 | 2021-04-07 10:01 | 17.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6293 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.78 | 138991.8645 | 307228.2595 | 59.9307 | 38.1
74231 | 2021-04-07 10:01 | 18.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5972 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.779 | 138981.1072 | 307219.7171 | 59.9307 | 38.1
74240 | 2021-04-07 10:01 | 18.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.419 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.784 | 138975.6968 | 307198.3015 | 59.9307 | 38.1
74249 | 2021-04-07 10:02 | 18.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3626 | μmol/L | 11.3932 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.784 | 138989.9348 | 307194.4053 | 59.9307 | 38.1
74258 | 2021-04-07 10:02 | 19.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3459 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138980.9094 | 307160.4919 | 59.9307 | 38.1
74267 | 2021-04-07 10:02 | 19.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.4113 | μmol/L | 11.3932 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.782 | 138982.2799 | 307172.4846 | 59.9307 | 38.1
74276 | 2021-04-07 10:03 | 19.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2819 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.785 | 138968.4809 | 307158.3818 | 59.9307 | 38.1
74285 | 2021-04-07 10:03 | 20.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2255 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.785 | 138971.4889 | 307142.4505 | 59.9307 | 38.1
74294 | 2021-04-07 10:03 | 20.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1845 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138961.2665 | 307117.4511 | 59.9307 | 38.1
74303 | 2021-04-07 10:04 | 20.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1525 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138970.6958 | 307118.6294 | 59.9307 | 38.1
74312 | 2021-04-07 10:04 | 21.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0475 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138955.4514 | 307097.7703 | 59.9307 | 38.1
74321 | 2021-04-07 10:04 | 21.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0719 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138948.4791 | 307085.5872 | 59.9307 | 38.1
74330 | 2021-04-07 10:05 | 21.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0719 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138934.6793 | 307071.3394 | 59.9307 | 38.1
74339 | 2021-04-07 10:05 | 22.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0566 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.785 | 138923.1306 | 307052.8385 | 59.9307 | 38.1
74348 | 2021-04-07 10:05 | 22.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.935 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138909.911 | 307049.6459 | 59.9307 | 38.1
74357 | 2021-04-07 10:06 | 22.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9593 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138891.3924 | 307030.2821 | 59.9307 | 38.1
74366 | 2021-04-07 10:06 | 23.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9836 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138887.9843 | 307024.5751 | 59.9307 | 38.1
74375 | 2021-04-07 10:06 | 23.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9836 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138873.4723 | 307009.8212 | 59.9307 | 38.1
74384 | 2021-04-07 10:07 | 23.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9198 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.786 | 138860.7864 | 306990.536 | 59.9307 | 38.1
74393 | 2021-04-07 10:07 | 24.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9198 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.786 | 138846.0232 | 306973.4844 | 59.9307 | 38.1
74402 | 2021-04-07 10:07 | 24.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9122 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.784 | 138843.2442 | 306977.4014 | 59.9307 | 38.1
74411 | 2021-04-07 10:08 | 24.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8392 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138826.8953 | 306951.6569 | 59.9307 | 38.1
74420 | 2021-04-07 10:08 | 25.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8392 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138821.6962 | 306946.8771 | 59.9307 | 38.1
74429 | 2021-04-07 10:08 | 25.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8316 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.785 | 138809.5394 | 306935.587 | 59.9307 | 38.1
74438 | 2021-04-07 10:09 | 25.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8878 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.785 | 138796.0398 | 306907.1952 | 59.9307 | 38.1
74447 | 2021-04-07 10:09 | 26.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.622 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138778.7948 | 306901.9306 | 59.9307 | 38.1
74456 | 2021-04-07 10:09 | 26.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7025 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138782.8337 | 306891.6114 | 59.9307 | 38.1
74465 | 2021-04-07 10:10 | 26.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6145 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138781.169 | 306880.3841 | 59.9307 | 38.1
74474 | 2021-04-07 10:10 | 27.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6706 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138779.4238 | 306875.6049 | 59.9307 | 38.1
74483 | 2021-04-07 10:10 | 27.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6706 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138765.374 | 306863.2165 | 59.9307 | 38.1
74492 | 2021-04-07 10:11 | 27.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6145 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138762.9623 | 306850.2321 | 59.9307 | 38.1
74501 | 2021-04-07 10:11 | 28.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.622 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138753.8403 | 306842.99 | 59.9307 | 38.1
74510 | 2021-04-07 10:11 | 28.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.493 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 138735.6016 | 306822.4855 | 59.9307 | 38.1
74519 | 2021-04-07 10:12 | 28.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6387 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.786 | 138730.9743 | 306821.0587 | 59.9307 | 38.1
74528 | 2021-04-07 10:12 | 29.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5097 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138714.8768 | 306800.6394 | 59.9307 | 38.1
74537 | 2021-04-07 10:12 | 29.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5265 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.786 | 138706.1536 | 306798.3459 | 59.9307 | 38.1
74546 | 2021-04-07 10:13 | 29.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.534 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138701.3272 | 306774.7622 | 59.9307 | 38.1
74555 | 2021-04-07 10:13 | 30.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3975 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138695.4542 | 306768.3661 | 59.9307 | 38.1
74564 | 2021-04-07 10:13 | 30.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4779 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138686.4419 | 306763.3794 | 59.9307 | 38.1
74573 | 2021-04-07 10:14 | 30.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4461 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138681.6593 | 306743.3803 | 59.9307 | 38.1
74582 | 2021-04-07 10:14 | 31.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.39 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138660.1648 | 306725.3534 | 59.9307 | 38.1
74591 | 2021-04-07 10:14 | 31.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3414 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138645.9922 | 306712.7361 | 59.9307 | 38.1
74600 | 2021-04-07 10:15 | 31.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3657 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138648.2981 | 306711.1671 | 59.9307 | 38.1
74609 | 2021-04-07 10:15 | 32.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1883 | μmol/L | 11.4967 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 138634.0827 | 306686.3733 | 59.9307 | 38.1
74618 | 2021-04-07 10:15 | 32.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2853 | μmol/L | 11.4967 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138631.19 | 306695.908 | 59.9307 | 38.1
74627 | 2021-04-07 10:16 | 32.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3414 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138622.8518 | 306673.4767 | 59.9307 | 38.1
74636 | 2021-04-07 10:16 | 33.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1565 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 138612.5 | 306673.2268 | 59.9307 | 38.1
74645 | 2021-04-07 10:16 | 33.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2778 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.787 | 138604.6767 | 306650.4589 | 59.9307 | 38.1
74654 | 2021-04-07 10:17 | 33.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1808 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.791 | 138593.7948 | 306635.1556 | 59.9307 | 38.1
74663 | 2021-04-07 10:17 | 34.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1172 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138584.5058 | 306619.4222 | 59.9307 | 38.1
74672 | 2021-04-07 10:17 | 34.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1415 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138584.312 | 306599.8132 | 59.9307 | 38.1
74681 | 2021-04-07 10:18 | 34.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1172 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138574.0778 | 306603.5069 | 59.9307 | 38.1
74690 | 2021-04-07 10:18 | 35.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0687 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.791 | 138560.3926 | 306590.5023 | 59.9307 | 38.1
74699 | 2021-04-07 10:18 | 35.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0854 | μmol/L | 11.5211 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138545.4703 | 306573.5408 | 59.9307 | 38.1
74708 | 2021-04-07 10:19 | 35.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.093 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138537.6213 | 306566.8658 | 59.9307 | 38.1
74717 | 2021-04-07 10:19 | 36.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1415 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138532.1835 | 306553.2145 | 59.9307 | 38.1
74726 | 2021-04-07 10:19 | 36.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.981 | μmol/L | 11.5272 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138531.1956 | 306537.7301 | 59.9307 | 38.1
74735 | 2021-04-07 10:20 | 36.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9642 | μmol/L | 11.5211 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 138526.1145 | 306537.699 | 59.9307 | 38.1
74744 | 2021-04-07 10:20 | 37.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.981 | μmol/L | 11.5272 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138519.3583 | 306520.5977 | 59.9307 | 38.1
74753 | 2021-04-07 10:20 | 37.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9492 | μmol/L | 11.5333 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138513.837 | 306510.4625 | 59.9307 | 38.1
74762 | 2021-04-07 10:21 | 37.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9325 | μmol/L | 11.5272 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 138496.8938 | 306499.3502 | 59.9307 | 38.1
74771 | 2021-04-07 10:21 | 38.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.925 | μmol/L | 11.5333 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138483.1404 | 306485.2903 | 59.9307 | 38.1
74780 | 2021-04-07 10:21 | 38.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9735 | μmol/L | 11.5333 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.788 | 138482.8386 | 306472.3487 | 59.9307 | 38.1
74789 | 2021-04-07 10:22 | 38.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.869 | μmol/L | 11.5394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138469.5789 | 306468.9113 | 59.9307 | 38.1
74798 | 2021-04-07 10:22 | 39.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.869 | μmol/L | 11.5394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.79 | 138471.0807 | 306452.5468 | 59.9307 | 38.1
74807 | 2021-04-07 10:22 | 39.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9492 | μmol/L | 11.5333 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.789 | 138455.9844 | 306452.618 | 59.9307 | 38.1
74816 | 2021-04-07 10:23 | 39.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8206 | μmol/L | 11.5394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.792 | 138448.4255 | 306432.2714 | 59.9307 | 38.1
74825 | 2021-04-07 10:23 | 40.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7721 | μmol/L | 11.5394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.794 | 138445.3478 | 306425.6176 | 59.9307 | 38.1
74834 | 2021-04-07 10:23 | 40.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7162 | μmol/L | 11.5455 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.794 | 138450.0318 | 306419.5279 | 59.9307 | 38.1
74843 | 2021-04-07 10:24 | 40.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7404 | μmol/L | 11.5455 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 138447.7886 | 306395.1596 | 59.9307 | 38.1
74852 | 2021-04-07 10:24 | 41.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7404 | μmol/L | 11.5455 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.793 | 138456.1652 | 306395.8781 | 59.9307 | 38.1
74861 | 2021-04-07 10:24 | 41.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7721 | μmol/L | 11.5394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.794 | 138445.6363 | 306393.2947 | 59.9307 | 38.1
74870 | 2021-04-07 10:25 | 41.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6753 | μmol/L | 11.5394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.798 | 138441.8789 | 306373.0777 | 59.9307 | 38.1
74879 | 2021-04-07 10:25 | 42.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5393 | μmol/L | 11.5516 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.799 | 138440.5538 | 306368.2376 | 59.9307 | 38.1
74888 | 2021-04-07 10:25 | 42.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5151 | μmol/L | 11.5516 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.8 | 138434.1417 | 306367.6467 | 59.9307 | 38.1
74897 | 2021-04-07 10:26 | 42.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5151 | μmol/L | 11.5516 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.8 | 138432.8535 | 306358.7722 | 59.9307 | 38.1
74906 | 2021-04-07 10:26 | 43.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5635 | μmol/L | 11.5516 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.798 | 138417.4873 | 306351.9982 | 59.9307 | 38.1
74915 | 2021-04-07 10:26 | 43.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4592 | μmol/L | 11.5577 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.8 | 138424.5459 | 306346.4983 | 59.9307 | 38.1
74924 | 2021-04-07 10:27 | 43.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4592 | μmol/L | 11.5577 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.8 | 138410.6504 | 306329.5996 | 59.9307 | 38.1
74933 | 2021-04-07 10:27 | 44.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.355 | μmol/L | 11.5638 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.802 | 138427.4876 | 306315.4413 | 59.9307 | 38.1