## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 10:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
73746 | 2021-04-07 09:43 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.4454 | μmol/L | 11.1365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.965 | 115157.986 | 221381.0625 | 27.3 | 43.4
73755 | 2021-04-07 09:43 | 0.33556 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.5468 | μmol/L | 11.1426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.959 | 115137.1187 | 221378.7723 | 27.3 | 43.4
73764 | 2021-04-07 09:44 | 0.66944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.3965 | μmol/L | 11.1487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.962 | 115105.4985 | 221371.6913 | 27.3 | 43.4
73773 | 2021-04-07 09:44 | 1.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.3581 | μmol/L | 11.1547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.961 | 115072.4986 | 221365.4277 | 27.3 | 43.4
73782 | 2021-04-07 09:44 | 1.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.6202 | μmol/L | 11.1487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.954 | 115034.5545 | 221353.4601 | 27.3 | 43.4
73791 | 2021-04-07 09:45 | 1.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.477 | μmol/L | 11.1669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.952 | 115006.9782 | 221346.0622 | 27.3 | 43.4
73800 | 2021-04-07 09:45 | 2.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.4666 | μmol/L | 11.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.95 | 114974.3306 | 221336.9392 | 27.3 | 43.4
73809 | 2021-04-07 09:45 | 2.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.5681 | μmol/L | 11.1791 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.944 | 114938.7145 | 221316.047 | 27.3 | 43.4
73818 | 2021-04-07 09:46 | 2.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.4354 | μmol/L | 11.1913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.944 | 114913.4657 | 221303.024 | 27.3 | 43.4
73827 | 2021-04-07 09:46 | 3.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.5753 | μmol/L | 11.1913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.939 | 114886.6443 | 221294.4503 | 27.3 | 43.4
73836 | 2021-04-07 09:46 | 3.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.3308 | μmol/L | 11.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.943 | 114862.7592 | 221282.9795 | 27.3 | 43.4
73845 | 2021-04-07 09:47 | 3.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.5265 | μmol/L | 11.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.936 | 114838.2476 | 221269.3831 | 27.3 | 43.4
73854 | 2021-04-07 09:47 | 4.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.338 | μmol/L | 11.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.938 | 114820.0878 | 221259.3918 | 27.3 | 43.4
73863 | 2021-04-07 09:47 | 4.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.4499 | μmol/L | 11.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.934 | 114798.0564 | 221247.2331 | 27.3 | 43.4
73872 | 2021-04-07 09:48 | 4.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.3836 | μmol/L | 11.2218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.934 | 114782.4399 | 221250.5364 | 27.3 | 43.4
73881 | 2021-04-07 09:48 | 5.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.3836 | μmol/L | 11.2218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.934 | 114766.6015 | 221223.8831 | 27.3 | 43.4
73890 | 2021-04-07 09:48 | 5.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.3349 | μmol/L | 11.234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.931 | 114746.0833 | 221217.247 | 27.3 | 43.4
73899 | 2021-04-07 09:49 | 5.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.1951 | μmol/L | 11.234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.936 | 114733.1383 | 221205.9714 | 27.3 | 43.4
73908 | 2021-04-07 09:49 | 6.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.0451 | μmol/L | 11.2401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.939 | 114727.0036 | 221195.0426 | 27.3 | 43.4
73917 | 2021-04-07 09:49 | 6.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.9686 | μmol/L | 11.2523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.937 | 114712.4922 | 221182.3241 | 27.3 | 43.4
73926 | 2021-04-07 09:50 | 6.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.923 | μmol/L | 11.2462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.941 | 114712.4027 | 221168.9981 | 27.3 | 43.4
73935 | 2021-04-07 09:50 | 7.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.8466 | μmol/L | 11.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.939 | 114700.6208 | 221168.0713 | 27.3 | 43.4
73944 | 2021-04-07 09:50 | 7.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.7526 | μmol/L | 11.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.94 | 114697.2252 | 221162.4082 | 27.3 | 43.4
73953 | 2021-04-07 09:51 | 7.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.7981 | μmol/L | 11.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.936 | 114684.1481 | 221150.6853 | 27.3 | 43.4
73962 | 2021-04-07 09:51 | 8.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.6762 | μmol/L | 11.2767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.938 | 114675.3275 | 221143.0976 | 27.3 | 43.4
73971 | 2021-04-07 09:51 | 8.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.5264 | μmol/L | 11.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.941 | 114664.2621 | 221133.0007 | 27.3 | 43.4
73980 | 2021-04-07 09:52 | 8.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.5264 | μmol/L | 11.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.941 | 114655.3003 | 221126.6573 | 27.3 | 43.4
73989 | 2021-04-07 09:52 | 9.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.5543 | μmol/L | 11.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.94 | 114639.919 | 221118.8075 | 27.3 | 43.4
73998 | 2021-04-07 09:52 | 9.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.5441 | μmol/L | 11.2889 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.938 | 114633.423 | 221101.1177 | 27.3 | 43.4
74007 | 2021-04-07 09:53 | 9.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.3944 | μmol/L | 11.2949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.941 | 114618.3384 | 221106.6491 | 27.3 | 43.4
74016 | 2021-04-07 09:53 | 10.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.412 | μmol/L | 11.301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.938 | 114598.2447 | 221077.6402 | 27.3 | 43.4
74025 | 2021-04-07 09:53 | 10.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.3181 | μmol/L | 11.3071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.939 | 114596.8042 | 221089.3853 | 27.3 | 43.4
74034 | 2021-04-07 09:54 | 10.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.346 | μmol/L | 11.3071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.938 | 114581.1595 | 221063.3072 | 27.3 | 43.4
74043 | 2021-04-07 09:54 | 11.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.3358 | μmol/L | 11.3132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.936 | 114571.3364 | 221058.9757 | 27.3 | 43.4
74052 | 2021-04-07 09:54 | 11.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.3358 | μmol/L | 11.3132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.936 | 114558.9536 | 221048.9575 | 27.3 | 43.4
74061 | 2021-04-07 09:55 | 11.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.3813 | μmol/L | 11.3193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.932 | 114525.6281 | 221037.0255 | 27.3 | 43.4
74070 | 2021-04-07 09:55 | 12.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.3535 | μmol/L | 11.3193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.933 | 114513.4598 | 221020.9705 | 27.3 | 43.4
74079 | 2021-04-07 09:55 | 12.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1937 | μmol/L | 11.3315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.934 | 114500.5758 | 221011.7731 | 27.3 | 43.4
74088 | 2021-04-07 09:56 | 12.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.2114 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.931 | 114477.9876 | 221006.167 | 27.3 | 43.4
74097 | 2021-04-07 09:56 | 13.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.2114 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.931 | 114461.1349 | 220998.4782 | 27.3 | 43.4
74106 | 2021-04-07 09:56 | 13.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1733 | μmol/L | 11.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.93 | 114449.9106 | 220982.824 | 27.3 | 43.4
74115 | 2021-04-07 09:57 | 13.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.153 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.926 | 114427.3867 | 220970.7009 | 27.3 | 43.4
74124 | 2021-04-07 09:57 | 14.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.2189 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.926 | 114412.8035 | 220970.7851 | 27.3 | 43.4
74133 | 2021-04-07 09:57 | 14.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1809 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.925 | 114409.3782 | 220950.7426 | 27.3 | 43.4
74142 | 2021-04-07 09:58 | 14.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0415 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.93 | 114399.8432 | 220944.1751 | 27.3 | 43.4
74151 | 2021-04-07 09:58 | 15.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.9757 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.93 | 114391.0897 | 220942.8411 | 27.3 | 43.4
74160 | 2021-04-07 09:58 | 15.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1707 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.923 | 114375.0567 | 220930.8072 | 27.3 | 43.4
74169 | 2021-04-07 09:59 | 15.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1327 | μmol/L | 11.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.922 | 114357.8589 | 220919.4402 | 27.3 | 43.4
74178 | 2021-04-07 09:59 | 16.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0668 | μmol/L | 11.3742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.922 | 114338.6447 | 220903.1905 | 27.3 | 43.4
74187 | 2021-04-07 09:59 | 16.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0668 | μmol/L | 11.3742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.922 | 114329.6702 | 220892.4062 | 27.3 | 43.4
74196 | 2021-04-07 10:00 | 16.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0288 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.921 | 114314.7906 | 220896.7809 | 27.3 | 43.4
74205 | 2021-04-07 10:00 | 17.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.963 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.921 | 114298.8828 | 220893.456 | 27.3 | 43.4
74214 | 2021-04-07 10:00 | 17.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1403 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.917 | 114275.7246 | 220885.8403 | 27.3 | 43.4
74223 | 2021-04-07 10:01 | 17.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0466 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.918 | 114260.9981 | 220869.514 | 27.3 | 43.4
74232 | 2021-04-07 10:01 | 18.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1023 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.916 | 114253.4538 | 220867.4621 | 27.3 | 43.4
74241 | 2021-04-07 10:01 | 18.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0643 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.915 | 114236.301 | 220850.4406 | 27.3 | 43.4
74250 | 2021-04-07 10:02 | 18.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0264 | μmol/L | 11.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.914 | 114230.6889 | 220846.1661 | 27.3 | 43.4
74259 | 2021-04-07 10:02 | 19.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.9985 | μmol/L | 11.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.915 | 114220.0078 | 220830.9605 | 27.3 | 43.4
74268 | 2021-04-07 10:02 | 19.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.9428 | μmol/L | 11.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.917 | 114208.0884 | 220822.8512 | 27.3 | 43.4
74277 | 2021-04-07 10:03 | 19.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.9327 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.915 | 114198.6501 | 220820.5677 | 27.3 | 43.4
74286 | 2021-04-07 10:03 | 20.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.877 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.917 | 114186.9029 | 220802.9252 | 27.3 | 43.4
74295 | 2021-04-07 10:03 | 20.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.7834 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.918 | 114183.287 | 220795.934 | 27.3 | 43.4
74304 | 2021-04-07 10:04 | 20.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.829 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.914 | 114173.3088 | 220809.2608 | 27.3 | 43.4
74313 | 2021-04-07 10:04 | 21.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.7454 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.917 | 114167.0468 | 220782.8873 | 27.3 | 43.4
74322 | 2021-04-07 10:04 | 21.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.7733 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.916 | 114172.9588 | 220788.283 | 27.3 | 43.4
74331 | 2021-04-07 10:05 | 21.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.7354 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.915 | 114158.007 | 220771.2419 | 27.3 | 43.4
74340 | 2021-04-07 10:05 | 22.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.624 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.919 | 114144.6153 | 220772.5481 | 27.3 | 43.4
74349 | 2021-04-07 10:05 | 22.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6418 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.916 | 114134.1668 | 220757.7248 | 27.3 | 43.4
74358 | 2021-04-07 10:06 | 22.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6418 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.916 | 114125.1433 | 220745.5535 | 27.3 | 43.4
74367 | 2021-04-07 10:06 | 23.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6596 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.913 | 114108.2147 | 220729.2283 | 27.3 | 43.4
74376 | 2021-04-07 10:06 | 23.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5382 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.915 | 114091.4496 | 220735.4467 | 27.3 | 43.4
74385 | 2021-04-07 10:07 | 23.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5939 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.913 | 114085.4686 | 220728.0617 | 27.3 | 43.4
74394 | 2021-04-07 10:07 | 24.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6217 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.912 | 114067.8604 | 220709.6016 | 27.3 | 43.4
74403 | 2021-04-07 10:07 | 24.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6217 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.912 | 114059.0893 | 220714.6946 | 27.3 | 43.4
74412 | 2021-04-07 10:08 | 24.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.556 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.912 | 114046.0454 | 220699.1836 | 27.3 | 43.4
74421 | 2021-04-07 10:08 | 25.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6395 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.909 | 114037.077 | 220687.937 | 27.3 | 43.4
74430 | 2021-04-07 10:08 | 25.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6395 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.909 | 114015.6439 | 220677.9183 | 27.3 | 43.4
74439 | 2021-04-07 10:09 | 25.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6017 | μmol/L | 11.4534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.908 | 114004.2028 | 220680.5341 | 27.3 | 43.4
74448 | 2021-04-07 10:09 | 26.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6017 | μmol/L | 11.4534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.908 | 113988.0885 | 220672.6382 | 27.3 | 43.4
74457 | 2021-04-07 10:09 | 26.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6473 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113969.6454 | 220657.4732 | 27.3 | 43.4
74466 | 2021-04-07 10:10 | 26.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.4803 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.91 | 113949.8409 | 220648.4394 | 27.3 | 43.4
74475 | 2021-04-07 10:10 | 27.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.6473 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113948.6635 | 220638.9769 | 27.3 | 43.4
74484 | 2021-04-07 10:10 | 27.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5438 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113930.1226 | 220635.6871 | 27.3 | 43.4
74493 | 2021-04-07 10:11 | 27.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.4603 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.906 | 113922.4539 | 220618.7221 | 27.3 | 43.4
74502 | 2021-04-07 10:11 | 28.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5717 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.902 | 113910.947 | 220616.6208 | 27.3 | 43.4
74511 | 2021-04-07 10:11 | 28.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5817 | μmol/L | 11.4656 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113898.2394 | 220615.4611 | 27.3 | 43.4
74520 | 2021-04-07 10:12 | 28.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.516 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113876.5423 | 220592.9374 | 27.3 | 43.4
74529 | 2021-04-07 10:12 | 29.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.4504 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113870.8625 | 220591.6463 | 27.3 | 43.4
74538 | 2021-04-07 10:12 | 29.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5617 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.9 | 113864.3185 | 220588.7073 | 27.3 | 43.4
74547 | 2021-04-07 10:13 | 29.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5339 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.901 | 113855.6559 | 220586.3594 | 27.3 | 43.4
74556 | 2021-04-07 10:13 | 30.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.4404 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.902 | 113847.1942 | 220576.4169 | 27.3 | 43.4
74565 | 2021-04-07 10:13 | 30.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5339 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.901 | 113837.9756 | 220568.6337 | 27.3 | 43.4
74574 | 2021-04-07 10:14 | 30.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.496 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.9 | 113834.3728 | 220564.3967 | 27.3 | 43.4
74583 | 2021-04-07 10:14 | 31.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.496 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.9 | 113820.6214 | 220554.8379 | 27.3 | 43.4
74592 | 2021-04-07 10:14 | 31.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3191 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113810.9029 | 220554.0745 | 27.3 | 43.4
74601 | 2021-04-07 10:15 | 31.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3191 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113806.7886 | 220539.2418 | 27.3 | 43.4
74610 | 2021-04-07 10:15 | 32.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5139 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.897 | 113802.0992 | 220529.3426 | 27.3 | 43.4
74619 | 2021-04-07 10:15 | 32.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.3926 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.899 | 113807.8896 | 220530.6764 | 27.3 | 43.4
74628 | 2021-04-07 10:16 | 32.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2814 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113789.9509 | 220524.0914 | 27.3 | 43.4
74637 | 2021-04-07 10:16 | 33.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.337 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.901 | 113785.7321 | 220519.2372 | 27.3 | 43.4
74646 | 2021-04-07 10:16 | 33.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2158 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113777.4014 | 220501.5402 | 27.3 | 43.4
74655 | 2021-04-07 10:17 | 33.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.188 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113771.1031 | 220496.7858 | 27.3 | 43.4
74664 | 2021-04-07 10:17 | 34.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.188 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113771.708 | 220492.8397 | 27.3 | 43.4
74673 | 2021-04-07 10:17 | 34.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1503 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113767.9643 | 220494.7546 | 27.3 | 43.4
74682 | 2021-04-07 10:18 | 34.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.9736 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.907 | 113762.0428 | 220485.5596 | 27.3 | 43.4
74691 | 2021-04-07 10:18 | 35.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0291 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.905 | 113745.4993 | 220461.8989 | 27.3 | 43.4
74700 | 2021-04-07 10:18 | 35.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0014 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.906 | 113739.0029 | 220466.2141 | 27.3 | 43.4
74709 | 2021-04-07 10:19 | 35.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0569 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.904 | 113728.5437 | 220465.805 | 27.3 | 43.4
74718 | 2021-04-07 10:19 | 36.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0192 | μmol/L | 11.5205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113725.408 | 220456.6075 | 27.3 | 43.4
74727 | 2021-04-07 10:19 | 36.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.9537 | μmol/L | 11.5266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.903 | 113710.4037 | 220425.0742 | 27.3 | 43.4
74736 | 2021-04-07 10:20 | 36.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0649 | μmol/L | 11.5266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.899 | 113699.4976 | 220431.2446 | 27.3 | 43.4
74745 | 2021-04-07 10:20 | 37.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.047 | μmol/L | 11.5205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.902 | 113688.8374 | 220417.5218 | 27.3 | 43.4
74754 | 2021-04-07 10:20 | 37.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.8982 | μmol/L | 11.5266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.905 | 113677.2701 | 220416.9576 | 27.3 | 43.4
74763 | 2021-04-07 10:21 | 37.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0371 | μmol/L | 11.5266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.9 | 113656.1365 | 220410.307 | 27.3 | 43.4
74772 | 2021-04-07 10:21 | 38.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0828 | μmol/L | 11.5327 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.896 | 113646.8624 | 220402.4044 | 27.3 | 43.4
74781 | 2021-04-07 10:21 | 38.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0927 | μmol/L | 11.5266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.898 | 113637.3269 | 220395.5566 | 27.3 | 43.4
74790 | 2021-04-07 10:22 | 38.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.055 | μmol/L | 11.5327 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.897 | 113628.0046 | 220390.1927 | 27.3 | 43.4
74799 | 2021-04-07 10:22 | 39.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0173 | μmol/L | 11.5388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.896 | 113610.325 | 220384.9154 | 27.3 | 43.4
74808 | 2021-04-07 10:22 | 39.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.9895 | μmol/L | 11.5388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.897 | 113600.3715 | 220377.2259 | 27.3 | 43.4
74817 | 2021-04-07 10:23 | 39.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1285 | μmol/L | 11.5388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.892 | 113580.3148 | 220368.8839 | 27.3 | 43.4
74826 | 2021-04-07 10:23 | 40.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.9895 | μmol/L | 11.5388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.897 | 113566.9431 | 220366.885 | 27.3 | 43.4
74835 | 2021-04-07 10:23 | 40.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0451 | μmol/L | 11.5388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.895 | 113560.0871 | 220362.2855 | 27.3 | 43.4
74844 | 2021-04-07 10:24 | 40.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1007 | μmol/L | 11.5388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.893 | 113554.3957 | 220336.5962 | 27.3 | 43.4
74853 | 2021-04-07 10:24 | 41.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1464 | μmol/L | 11.5449 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.889 | 113541.0669 | 220332.106 | 27.3 | 43.4
74862 | 2021-04-07 10:24 | 41.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.1464 | μmol/L | 11.5449 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.889 | 113539.5312 | 220342.5451 | 27.3 | 43.4
74871 | 2021-04-07 10:25 | 41.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0253 | μmol/L | 11.551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.891 | 113533.6578 | 220328.1046 | 27.3 | 43.4
74880 | 2021-04-07 10:25 | 42.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.8864 | μmol/L | 11.551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.896 | 113539.214 | 220326.8875 | 27.3 | 43.4
74889 | 2021-04-07 10:25 | 42.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.0531 | μmol/L | 11.551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.89 | 113534.8204 | 220318.5107 | 27.3 | 43.4
74898 | 2021-04-07 10:26 | 42.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.8586 | μmol/L | 11.551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.897 | 113534.2556 | 220321.4555 | 27.3 | 43.4
74907 | 2021-04-07 10:26 | 43.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.803 | μmol/L | 11.551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.899 | 113535.5517 | 220310.5212 | 27.3 | 43.4
74916 | 2021-04-07 10:26 | 43.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.7098 | μmol/L | 11.5571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.9 | 113540.5764 | 220303.0332 | 27.3 | 43.4
74925 | 2021-04-07 10:27 | 43.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.7098 | μmol/L | 11.5571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.9 | 113548.4035 | 220305.1771 | 27.3 | 43.4
74934 | 2021-04-07 10:27 | 44.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.6364 | μmol/L | 11.551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.905 | 113492.9417 | 220287.3489 | 27.3 | 43.4