## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89585 | 2021-04-09 18:40 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3575 | μmol/L | 10.3273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.968 | 141285.9 | 286869.341 | 36.4 | 83.1
89594 | 2021-04-09 18:40 | 0.33083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5175 | μmol/L | 10.3517 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 141231.6057 | 286788.1731 | 36.4 | 83.1
89603 | 2021-04-09 18:41 | 0.66354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5729 | μmol/L | 10.3761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.94 | 141110.0802 | 286732.3842 | 36.4 | 83.1
89612 | 2021-04-09 18:41 | 0.99705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7335 | μmol/L | 10.4006 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.924 | 140969.1519 | 286655.7457 | 36.4 | 83.1
89621 | 2021-04-09 18:41 | 1.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.555 | μmol/L | 10.4372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.916 | 140872.0542 | 286569.1421 | 36.4 | 83.1
89630 | 2021-04-09 18:42 | 1.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7929 | μmol/L | 10.4494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.902 | 140777.3924 | 286486.0798 | 36.4 | 83.1
89639 | 2021-04-09 18:42 | 1.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6936 | μmol/L | 10.4861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 140686.7859 | 286405.7278 | 36.4 | 83.1
89648 | 2021-04-09 18:42 | 2.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.853 | μmol/L | 10.4983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.88 | 140592.1639 | 286326.288 | 36.4 | 83.1
89657 | 2021-04-09 18:43 | 2.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8187 | μmol/L | 10.5289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.869 | 140488.039 | 286251.9121 | 36.4 | 83.1
89666 | 2021-04-09 18:43 | 2.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9017 | μmol/L | 10.5533 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.856 | 140386.3175 | 286158.5496 | 36.4 | 83.1
89675 | 2021-04-09 18:43 | 3.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9445 | μmol/L | 10.5716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.847 | 140298.0055 | 286070.6071 | 36.4 | 83.1
89684 | 2021-04-09 18:44 | 3.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9633 | μmol/L | 10.6022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.834 | 140194.6052 | 285984.5019 | 36.4 | 83.1
89693 | 2021-04-09 18:44 | 3.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0589 | μmol/L | 10.6205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.823 | 140107.1663 | 285908.5135 | 36.4 | 83.1
89702 | 2021-04-09 18:44 | 4.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9967 | μmol/L | 10.6388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.818 | 140025.6736 | 285835.1141 | 36.4 | 83.1
89711 | 2021-04-09 18:45 | 4.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9754 | μmol/L | 10.6633 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.809 | 139930.6521 | 285745.7377 | 36.4 | 83.1
89720 | 2021-04-09 18:45 | 4.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0187 | μmol/L | 10.6816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.8 | 139837.9197 | 285664.0618 | 36.4 | 83.1
89729 | 2021-04-09 18:45 | 5.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0094 | μmol/L | 10.6999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.793 | 139751.3755 | 285576.123 | 36.4 | 83.1
89738 | 2021-04-09 18:46 | 5.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0266 | μmol/L | 10.7183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.785 | 139671.4923 | 285482.3041 | 36.4 | 83.1
89747 | 2021-04-09 18:46 | 5.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9676 | μmol/L | 10.7488 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.775 | 139587.1861 | 285418.4926 | 36.4 | 83.1
89756 | 2021-04-09 18:46 | 6.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9704 | μmol/L | 10.761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.77 | 139508.6045 | 285320.4347 | 36.4 | 83.1
89765 | 2021-04-09 18:47 | 6.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9498 | μmol/L | 10.7855 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.761 | 139414.2349 | 285246.2104 | 36.4 | 83.1
89774 | 2021-04-09 18:47 | 6.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0054 | μmol/L | 10.7977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.754 | 139345.5435 | 285158.4892 | 36.4 | 83.1
89783 | 2021-04-09 18:47 | 7.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0347 | μmol/L | 10.8099 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.748 | 139252.9998 | 285077.0305 | 36.4 | 83.1
89792 | 2021-04-09 18:48 | 7.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.988 | μmol/L | 10.8344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.74 | 139161.2756 | 284979.1263 | 36.4 | 83.1
89801 | 2021-04-09 18:48 | 7.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9151 | μmol/L | 10.8588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.733 | 139085.2194 | 284905.4248 | 36.4 | 83.1
89810 | 2021-04-09 18:48 | 8.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9183 | μmol/L | 10.871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.728 | 139004.7817 | 284819.1298 | 36.4 | 83.1
89819 | 2021-04-09 18:49 | 8.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9099 | μmol/L | 10.8894 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.721 | 138925.6724 | 284735.8086 | 36.4 | 83.1
89828 | 2021-04-09 18:49 | 8.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9394 | μmol/L | 10.9016 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.715 | 138839.0473 | 284655.2845 | 36.4 | 83.1
89837 | 2021-04-09 18:49 | 9.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9576 | μmol/L | 10.9199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.707 | 138752.4665 | 284569.275 | 36.4 | 83.1
89846 | 2021-04-09 18:50 | 9.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9873 | μmol/L | 10.9321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.701 | 138663.6032 | 284498.1804 | 36.4 | 83.1
89855 | 2021-04-09 18:50 | 9.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9528 | μmol/L | 10.9505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.695 | 138595.6103 | 284410.4271 | 36.4 | 83.1
89864 | 2021-04-09 18:50 | 10.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8393 | μmol/L | 10.9688 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.692 | 138513.2245 | 284331.4733 | 36.4 | 83.1
89873 | 2021-04-09 18:51 | 10.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9219 | μmol/L | 10.981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 138426.5017 | 284254.6522 | 36.4 | 83.1
89882 | 2021-04-09 18:51 | 10.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9632 | μmol/L | 10.9871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.68 | 138349.7207 | 284177.7495 | 36.4 | 83.1
89891 | 2021-04-09 18:51 | 11.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8648 | μmol/L | 11.0116 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.674 | 138272.4293 | 284095.0229 | 36.4 | 83.1
89900 | 2021-04-09 18:52 | 11.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8157 | μmol/L | 11.0238 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.671 | 138199.9658 | 284012.9061 | 36.4 | 83.1
89909 | 2021-04-09 18:52 | 11.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8457 | μmol/L | 11.036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.665 | 138121.8902 | 283928.9206 | 36.4 | 83.1
89918 | 2021-04-09 18:52 | 12.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8757 | μmol/L | 11.0482 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.659 | 138038.2256 | 283848.9656 | 36.4 | 83.1
89927 | 2021-04-09 18:53 | 12.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.789 | μmol/L | 11.0666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.655 | 137954.7446 | 283776.1317 | 36.4 | 83.1
89936 | 2021-04-09 18:53 | 12.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.74 | μmol/L | 11.0788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.652 | 137885.5546 | 283703.8576 | 36.4 | 83.1
89945 | 2021-04-09 18:53 | 13.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7174 | μmol/L | 11.091 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.648 | 137787.7061 | 283609.7901 | 36.4 | 83.1
89954 | 2021-04-09 18:54 | 13.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5782 | μmol/L | 11.1093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.646 | 137713.5914 | 283524.8499 | 36.4 | 83.1
89963 | 2021-04-09 18:54 | 13.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7515 | μmol/L | 11.1155 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.637 | 137622.3221 | 283455.5932 | 36.4 | 83.1
89972 | 2021-04-09 18:54 | 14.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7555 | μmol/L | 11.1277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.632 | 137537.1979 | 283378.5825 | 36.4 | 83.1
89981 | 2021-04-09 18:55 | 14.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6539 | μmol/L | 11.1399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.631 | 137454.9545 | 283304.7666 | 36.4 | 83.1
89990 | 2021-04-09 18:55 | 14.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6203 | μmol/L | 11.1582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.625 | 137370.0409 | 283223.0539 | 36.4 | 83.1
89999 | 2021-04-09 18:55 | 15.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5036 | μmol/L | 11.1643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.627 | 137297.5326 | 283138.5274 | 36.4 | 83.1
90008 | 2021-04-09 18:56 | 15.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5868 | μmol/L | 11.1766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.619 | 137217.6627 | 283072.1172 | 36.4 | 83.1
90017 | 2021-04-09 18:56 | 15.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.459 | μmol/L | 11.1888 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.619 | 137138.9322 | 283008.5445 | 36.4 | 83.1
90026 | 2021-04-09 18:56 | 16.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4895 | μmol/L | 11.201 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.613 | 137067.3951 | 282927.2833 | 36.4 | 83.1
90035 | 2021-04-09 18:57 | 16.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4409 | μmol/L | 11.2132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.61 | 136992.0062 | 282865.9017 | 36.4 | 83.1
90044 | 2021-04-09 18:57 | 16.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2868 | μmol/L | 11.2255 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.611 | 136919.1539 | 282775.2313 | 36.4 | 83.1
90053 | 2021-04-09 18:57 | 17.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2647 | μmol/L | 11.2377 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.607 | 136833.9671 | 282696.129 | 36.4 | 83.1
90062 | 2021-04-09 18:58 | 17.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4008 | μmol/L | 11.2499 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.597 | 136741.9669 | 282638.417 | 36.4 | 83.1
90071 | 2021-04-09 18:58 | 17.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3634 | μmol/L | 11.256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.596 | 136666.9771 | 282570.1542 | 36.4 | 83.1
90080 | 2021-04-09 18:58 | 18.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3941 | μmol/L | 11.2682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.59 | 136577.6457 | 282484.4862 | 36.4 | 83.1
90089 | 2021-04-09 18:59 | 18.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3567 | μmol/L | 11.2743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.589 | 136493.1734 | 282420.7926 | 36.4 | 83.1
90098 | 2021-04-09 18:59 | 18.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3984 | μmol/L | 11.2805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.585 | 136415.4819 | 282342.0897 | 36.4 | 83.1
90107 | 2021-04-09 18:59 | 19.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3918 | μmol/L | 11.2988 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.578 | 136323.6686 | 282275.3754 | 36.4 | 83.1
90116 | 2021-04-09 19:00 | 19.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4668 | μmol/L | 11.2988 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.575 | 136252.1834 | 282208.7593 | 36.4 | 83.1
90125 | 2021-04-09 19:00 | 19.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3019 | μmol/L | 11.3171 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.574 | 136173.4734 | 282131.6644 | 36.4 | 83.1
90134 | 2021-04-09 19:00 | 20.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4271 | μmol/L | 11.3232 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.567 | 136087.8107 | 282058.2081 | 36.4 | 83.1
90143 | 2021-04-09 19:01 | 20.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3218 | μmol/L | 11.3355 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.566 | 136003.6225 | 281982.7777 | 36.4 | 83.1
90152 | 2021-04-09 19:01 | 20.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3 | μmol/L | 11.3477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.562 | 135931.3318 | 281935.8044 | 36.4 | 83.1
90161 | 2021-04-09 19:01 | 21.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3792 | μmol/L | 11.3477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.559 | 135860.3875 | 281856.8438 | 36.4 | 83.1
90170 | 2021-04-09 19:02 | 21.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4739 | μmol/L | 11.3538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.553 | 135771.6452 | 281783.9091 | 36.4 | 83.1
90179 | 2021-04-09 19:02 | 21.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.362 | μmol/L | 11.3721 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.55 | 135709.398 | 281719.1747 | 36.4 | 83.1
90188 | 2021-04-09 19:02 | 22.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3247 | μmol/L | 11.3782 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.549 | 135627.8118 | 281664.7597 | 36.4 | 83.1
90197 | 2021-04-09 19:03 | 22.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2238 | μmol/L | 11.3905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.548 | 135567.3258 | 281586.7124 | 36.4 | 83.1
90206 | 2021-04-09 19:03 | 22.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3822 | μmol/L | 11.3905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.542 | 135489.0897 | 281541.1514 | 36.4 | 83.1
90215 | 2021-04-09 19:03 | 23.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3605 | μmol/L | 11.4027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.538 | 135416.8113 | 281460.7642 | 36.4 | 83.1
90224 | 2021-04-09 19:04 | 23.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3497 | μmol/L | 11.4088 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.536 | 135340.3218 | 281374.2594 | 36.4 | 83.1
90233 | 2021-04-09 19:04 | 23.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2333 | μmol/L | 11.4149 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.538 | 135276.7474 | 281330.7248 | 36.4 | 83.1
90242 | 2021-04-09 19:04 | 24.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3701 | μmol/L | 11.4271 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.528 | 135207.2756 | 281276.5463 | 36.4 | 83.1
90251 | 2021-04-09 19:05 | 24.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3857 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.525 | 135129.382 | 281203.8623 | 36.4 | 83.1
90260 | 2021-04-09 19:05 | 24.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4121 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.524 | 135069.1943 | 281145.6536 | 36.4 | 83.1
90269 | 2021-04-09 19:05 | 25.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3642 | μmol/L | 11.4455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.521 | 135000.9414 | 281082.243 | 36.4 | 83.1
90278 | 2021-04-09 19:06 | 25.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2634 | μmol/L | 11.4577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.52 | 134928.1641 | 281010.9428 | 36.4 | 83.1
90287 | 2021-04-09 19:06 | 25.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4219 | μmol/L | 11.4577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.514 | 134857.0739 | 280945.1302 | 36.4 | 83.1
90296 | 2021-04-09 19:06 | 26.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3212 | μmol/L | 11.4699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.513 | 134789.9428 | 280885.969 | 36.4 | 83.1
90305 | 2021-04-09 19:07 | 26.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3476 | μmol/L | 11.4699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.512 | 134724.3791 | 280839.9916 | 36.4 | 83.1
90314 | 2021-04-09 19:07 | 26.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3104 | μmol/L | 11.476 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.511 | 134669.9904 | 280755.6417 | 36.4 | 83.1
90323 | 2021-04-09 19:07 | 27.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2997 | μmol/L | 11.4821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.509 | 134604.607 | 280697.194 | 36.4 | 83.1
90332 | 2021-04-09 19:08 | 27.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1726 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.509 | 134542.0398 | 280642.2731 | 36.4 | 83.1
90341 | 2021-04-09 19:08 | 27.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2519 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.506 | 134469.1871 | 280579.5123 | 36.4 | 83.1
90350 | 2021-04-09 19:08 | 28.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1248 | μmol/L | 11.5066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.506 | 134404.9211 | 280525.9298 | 36.4 | 83.1
90359 | 2021-04-09 19:09 | 28.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.167 | μmol/L | 11.5127 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.502 | 134342.89 | 280474.7114 | 36.4 | 83.1
90368 | 2021-04-09 19:09 | 28.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2355 | μmol/L | 11.5188 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.497 | 134279.9699 | 280415.9329 | 36.4 | 83.1
90377 | 2021-04-09 19:09 | 29.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.172 | μmol/L | 11.5249 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.497 | 134222.1294 | 280351.7184 | 36.4 | 83.1
90386 | 2021-04-09 19:10 | 29.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1878 | μmol/L | 11.531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.494 | 134162.5042 | 280275.9704 | 36.4 | 83.1
90395 | 2021-04-09 19:10 | 29.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1507 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.493 | 134094.8735 | 280218.7339 | 36.4 | 83.1
90404 | 2021-04-09 19:10 | 30.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2036 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.491 | 134035.0019 | 280180.0141 | 36.4 | 83.1
90413 | 2021-04-09 19:11 | 30.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1665 | μmol/L | 11.5432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.49 | 133971.7657 | 280124.5229 | 36.4 | 83.1
90422 | 2021-04-09 19:11 | 30.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1717 | μmol/L | 11.5555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.485 | 133910.7455 | 280060.1619 | 36.4 | 83.1
90431 | 2021-04-09 19:11 | 31.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2245 | μmol/L | 11.5555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.483 | 133854.1921 | 280025.5051 | 36.4 | 83.1
90440 | 2021-04-09 19:12 | 31.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.1875 | μmol/L | 11.5616 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.482 | 133786.9097 | 279961.7474 | 36.4 | 83.1
90449 | 2021-04-09 19:12 | 31.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2932 | μmol/L | 11.5616 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.478 | 133734.1249 | 279902.8496 | 36.4 | 83.1
90458 | 2021-04-09 19:12 | 32.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2192 | μmol/L | 11.5738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.476 | 133673.9514 | 279839.4573 | 36.4 | 83.1
90467 | 2021-04-09 19:13 | 32.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2456 | μmol/L | 11.5738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.475 | 133618.7768 | 279784.7497 | 36.4 | 83.1
90476 | 2021-04-09 19:13 | 32.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.235 | μmol/L | 11.5799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.473 | 133564.871 | 279727.1197 | 36.4 | 83.1
90485 | 2021-04-09 19:13 | 33.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2614 | μmol/L | 11.5799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.472 | 133512.9951 | 279694.2148 | 36.4 | 83.1
90494 | 2021-04-09 19:14 | 33.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2139 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133469.9106 | 279627.3036 | 36.4 | 83.1
90503 | 2021-04-09 19:14 | 33.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2403 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133403.7561 | 279567.3893 | 36.4 | 83.1
90512 | 2021-04-09 19:14 | 34.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.0447 | μmol/L | 11.5982 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.473 | 133365.1036 | 279517.4 | 36.4 | 83.1
90521 | 2021-04-09 19:15 | 34.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.0765 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133314.4756 | 279470.2847 | 36.4 | 83.1
90530 | 2021-04-09 19:15 | 34.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.0501 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133270.6302 | 279424.9134 | 36.4 | 83.1
90539 | 2021-04-09 19:15 | 35.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.0765 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133218.6605 | 279373.8053 | 36.4 | 83.1
90548 | 2021-04-09 19:16 | 35.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9233 | μmol/L | 11.6227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133168.9116 | 279314.1383 | 36.4 | 83.1
90557 | 2021-04-09 19:16 | 35.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.0026 | μmol/L | 11.6227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.465 | 133120.5395 | 279265.3018 | 36.4 | 83.1
90566 | 2021-04-09 19:16 | 36.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9392 | μmol/L | 11.6288 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.465 | 133073.8889 | 279218.872 | 36.4 | 83.1
90575 | 2021-04-09 19:17 | 36.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.839 | μmol/L | 11.641 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.464 | 133037.3087 | 279156.5716 | 36.4 | 83.1
90584 | 2021-04-09 19:17 | 36.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9816 | μmol/L | 11.6349 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.461 | 132991.7488 | 279113.9771 | 36.4 | 83.1
90593 | 2021-04-09 19:17 | 37.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9023 | μmol/L | 11.6349 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.464 | 132945.7039 | 279076.8406 | 36.4 | 83.1
90602 | 2021-04-09 19:18 | 37.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8285 | μmol/L | 11.6471 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.462 | 132897.6973 | 279017.6582 | 36.4 | 83.1
90611 | 2021-04-09 19:18 | 37.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.9342 | μmol/L | 11.6471 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.458 | 132845.5545 | 278975.8573 | 36.4 | 83.1
90620 | 2021-04-09 19:18 | 38.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8708 | μmol/L | 11.6532 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.458 | 132796.6749 | 278920.3442 | 36.4 | 83.1
90629 | 2021-04-09 19:19 | 38.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7707 | μmol/L | 11.6655 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.457 | 132750.3423 | 278865.5933 | 36.4 | 83.1
90638 | 2021-04-09 19:19 | 38.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.834 | μmol/L | 11.6594 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.457 | 132710.7718 | 278814.8556 | 36.4 | 83.1
90647 | 2021-04-09 19:19 | 39.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8763 | μmol/L | 11.6655 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.453 | 132653.395 | 278771.7776 | 36.4 | 83.1
90656 | 2021-04-09 19:20 | 39.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.681 | μmol/L | 11.6716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.458 | 132612.404 | 278728.5406 | 36.4 | 83.1
90665 | 2021-04-09 19:20 | 39.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7498 | μmol/L | 11.6777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.453 | 132571.8731 | 278684.9307 | 36.4 | 83.1
90674 | 2021-04-09 19:20 | 40.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7762 | μmol/L | 11.6777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.452 | 132526.2228 | 278647.4068 | 36.4 | 83.1
90683 | 2021-04-09 19:21 | 40.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8818 | μmol/L | 11.6777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.448 | 132487.3676 | 278601.6312 | 36.4 | 83.1
90692 | 2021-04-09 19:21 | 40.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7921 | μmol/L | 11.6838 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.449 | 132431.8292 | 278551.6558 | 36.4 | 83.1
90701 | 2021-04-09 19:21 | 41.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7921 | μmol/L | 11.6838 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.449 | 132390.6371 | 278506.083 | 36.4 | 83.1
90710 | 2021-04-09 19:22 | 41.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7817 | μmol/L | 11.6899 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.447 | 132347.0134 | 278447.0557 | 36.4 | 83.1
90719 | 2021-04-09 19:22 | 41.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7873 | μmol/L | 11.7021 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.442 | 132306.0865 | 278425.4468 | 36.4 | 83.1
90728 | 2021-04-09 19:22 | 42.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7185 | μmol/L | 11.696 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.447 | 132261.5423 | 278367.696 | 36.4 | 83.1
90737 | 2021-04-09 19:23 | 42.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7081 | μmol/L | 11.7021 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.445 | 132221.6704 | 278327.1543 | 36.4 | 83.1
90746 | 2021-04-09 19:23 | 42.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7081 | μmol/L | 11.7021 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.445 | 132185.9157 | 278288.0707 | 36.4 | 83.1
90755 | 2021-04-09 19:23 | 43.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7505 | μmol/L | 11.7083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.441 | 132132.5054 | 278229.1405 | 36.4 | 83.1
90764 | 2021-04-09 19:24 | 43.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.8561 | μmol/L | 11.7083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.437 | 132095.074 | 278209.4352 | 36.4 | 83.1
90773 | 2021-04-09 19:24 | 43.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6241 | μmol/L | 11.7205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.441 | 132043.4975 | 278151.4788 | 36.4 | 83.1
90782 | 2021-04-09 19:24 | 44.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7297 | μmol/L | 11.7205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.437 | 132001.4275 | 278121.552 | 36.4 | 83.1
90791 | 2021-04-09 19:25 | 44.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6769 | μmol/L | 11.7205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.439 | 131955.4762 | 278069.3512 | 36.4 | 83.1
90800 | 2021-04-09 19:25 | 44.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7033 | μmol/L | 11.7205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.438 | 131906.3488 | 278020.9765 | 36.4 | 83.1
90809 | 2021-04-09 19:25 | 45.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7618 | μmol/L | 11.7327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.431 | 131862.6793 | 278002.0877 | 36.4 | 83.1
90818 | 2021-04-09 19:26 | 45.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5665 | μmol/L | 11.7388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.436 | 131821.6691 | 277958.6045 | 36.4 | 83.1
90827 | 2021-04-09 19:26 | 45.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5929 | μmol/L | 11.7388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.435 | 131777.0752 | 277918.684 | 36.4 | 83.1
90836 | 2021-04-09 19:26 | 46.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6882 | μmol/L | 11.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.429 | 131726.6155 | 277880.7447 | 36.4 | 83.1
90845 | 2021-04-09 19:27 | 46.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7146 | μmol/L | 11.7449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.428 | 131681.1056 | 277840.1075 | 36.4 | 83.1
90854 | 2021-04-09 19:27 | 46.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7043 | μmol/L | 11.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.426 | 131640.8107 | 277810.3138 | 36.4 | 83.1
90863 | 2021-04-09 19:27 | 47.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7307 | μmol/L | 11.751 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.425 | 131600.3902 | 277782.9942 | 36.4 | 83.1
90872 | 2021-04-09 19:28 | 47.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6147 | μmol/L | 11.7572 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.427 | 131569.2724 | 277744.8744 | 36.4 | 83.1
90881 | 2021-04-09 19:28 | 47.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6939 | μmol/L | 11.7572 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.424 | 131521.6977 | 277699.0801 | 36.4 | 83.1
90890 | 2021-04-09 19:28 | 48.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6044 | μmol/L | 11.7633 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.425 | 131479.1319 | 277651.2121 | 36.4 | 83.1
90899 | 2021-04-09 19:29 | 48.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.71 | μmol/L | 11.7633 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.421 | 131449.4016 | 277621.9507 | 36.4 | 83.1
90908 | 2021-04-09 19:29 | 48.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.7204 | μmol/L | 11.7572 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.423 | 131417.2202 | 277583.6987 | 36.4 | 83.1
90917 | 2021-04-09 19:29 | 49.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6469 | μmol/L | 11.7694 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.421 | 131381.8067 | 277550.0446 | 36.4 | 83.1
90926 | 2021-04-09 19:30 | 49.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6044 | μmol/L | 11.7633 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.425 | 131352.8755 | 277497.727 | 36.4 | 83.1
90935 | 2021-04-09 19:30 | 49.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5676 | μmol/L | 11.7694 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.424 | 131315.4418 | 277468.5567 | 36.4 | 83.1
90944 | 2021-04-09 19:30 | 50.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6205 | μmol/L | 11.7694 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.422 | 131285.5863 | 277434.3854 | 36.4 | 83.1
90953 | 2021-04-09 19:31 | 50.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5573 | μmol/L | 11.7755 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.422 | 131250.2071 | 277382.6258 | 36.4 | 83.1
90962 | 2021-04-09 19:31 | 50.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.663 | μmol/L | 11.7755 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.418 | 131211.0923 | 277358.2748 | 36.4 | 83.1
90971 | 2021-04-09 19:31 | 51.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6263 | μmol/L | 11.7816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.417 | 131174.5093 | 277319.5421 | 36.4 | 83.1
90980 | 2021-04-09 19:32 | 51.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4575 | μmol/L | 11.7877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.421 | 131145.8965 | 277284.4233 | 36.4 | 83.1
90989 | 2021-04-09 19:32 | 51.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.616 | μmol/L | 11.7877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.415 | 131106.9037 | 277249.2019 | 36.4 | 83.1
90998 | 2021-04-09 19:32 | 52.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.6321 | μmol/L | 11.7938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.412 | 131076.4477 | 277224.4176 | 36.4 | 83.1
91007 | 2021-04-09 19:33 | 52.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4634 | μmol/L | 11.7999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.416 | 131040.8485 | 277196.3858 | 36.4 | 83.1
91016 | 2021-04-09 19:33 | 52.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4106 | μmol/L | 11.7999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.418 | 130999.3402 | 277158.7672 | 36.4 | 83.1
91025 | 2021-04-09 19:33 | 53.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5 | μmol/L | 11.7938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.417 | 130971.9483 | 277135.9549 | 36.4 | 83.1
91034 | 2021-04-09 19:34 | 53.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5162 | μmol/L | 11.7999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.414 | 130929.7176 | 277093.3393 | 36.4 | 83.1
91043 | 2021-04-09 19:34 | 53.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4898 | μmol/L | 11.7999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.415 | 130903.354 | 277069.102 | 36.4 | 83.1
91052 | 2021-04-09 19:34 | 54.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4898 | μmol/L | 11.7999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.415 | 130860.9433 | 277031.1796 | 36.4 | 83.1
91061 | 2021-04-09 19:35 | 54.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4956 | μmol/L | 11.8122 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.41 | 130822.3889 | 276980.998 | 36.4 | 83.1
91070 | 2021-04-09 19:35 | 54.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4428 | μmol/L | 11.8122 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.412 | 130794.2225 | 276957.1016 | 36.4 | 83.1
91079 | 2021-04-09 19:35 | 55.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4428 | μmol/L | 11.8122 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.412 | 130770.872 | 276922.152 | 36.4 | 83.1
91088 | 2021-04-09 19:36 | 55.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4428 | μmol/L | 11.8122 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.412 | 130735.5017 | 276895.712 | 36.4 | 83.1
91097 | 2021-04-09 19:36 | 55.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3167 | μmol/L | 11.8244 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.412 | 130710.0853 | 276867.3889 | 36.4 | 83.1
91106 | 2021-04-09 19:36 | 56.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.4062 | μmol/L | 11.8183 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.411 | 130676.6243 | 276828.2123 | 36.4 | 83.1
91115 | 2021-04-09 19:37 | 56.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.459 | μmol/L | 11.8183 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.409 | 130651.0692 | 276810.0598 | 36.4 | 83.1
91124 | 2021-04-09 19:37 | 56.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3959 | μmol/L | 11.8244 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.409 | 130623.427 | 276770.4689 | 36.4 | 83.1
91133 | 2021-04-09 19:37 | 57.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3959 | μmol/L | 11.8244 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.409 | 130587.1171 | 276746.9504 | 36.4 | 83.1
91142 | 2021-04-09 19:38 | 57.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3227 | μmol/L | 11.8366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.407 | 130566.2206 | 276703.4741 | 36.4 | 83.1
91151 | 2021-04-09 19:38 | 57.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.5177 | μmol/L | 11.8305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.402 | 130542.5327 | 276684.2393 | 36.4 | 83.1
91160 | 2021-04-09 19:38 | 58.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 311.3593 | μmol/L | 11.8305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.408 | 130512.7772 | 276660.7295 | 36.4 | 83.1