## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 10:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
73748 | 2021-04-07 09:43 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7397 | μmol/L | 11.1582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.545 | 134921.8504 | 279850.5637 | 36.4 | 83.1
73757 | 2021-04-07 09:44 | 0.33431 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7551 | μmol/L | 11.1643 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.542 | 134917.4595 | 279835.7727 | 36.4 | 83.1
73766 | 2021-04-07 09:44 | 0.66778 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5998 | μmol/L | 11.1766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.543 | 134908.3341 | 279831.6913 | 36.4 | 83.1
73775 | 2021-04-07 09:44 | 1.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5621 | μmol/L | 11.1827 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.542 | 134886.4977 | 279823.2136 | 36.4 | 83.1
73784 | 2021-04-07 09:45 | 1.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5244 | μmol/L | 11.1888 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.541 | 134872.5349 | 279802.6811 | 36.4 | 83.1
73793 | 2021-04-07 09:45 | 1.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5664 | μmol/L | 11.1949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.537 | 134839.5269 | 279795.4623 | 36.4 | 83.1
73802 | 2021-04-07 09:45 | 2.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5553 | μmol/L | 11.201 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.535 | 134818.7435 | 279782.97 | 36.4 | 83.1
73811 | 2021-04-07 09:46 | 2.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.715 | μmol/L | 11.201 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.529 | 134788.6163 | 279758.2079 | 36.4 | 83.1
73820 | 2021-04-07 09:46 | 2.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5708 | μmol/L | 11.2071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.532 | 134768.8091 | 279744.755 | 36.4 | 83.1
73829 | 2021-04-07 09:46 | 3.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5863 | μmol/L | 11.2132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.529 | 134736.0805 | 279731.7673 | 36.4 | 83.1
73838 | 2021-04-07 09:47 | 3.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4312 | μmol/L | 11.2255 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.53 | 134708.9249 | 279710.5512 | 36.4 | 83.1
73847 | 2021-04-07 09:47 | 3.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6706 | μmol/L | 11.2255 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.521 | 134669.0658 | 279692.6618 | 36.4 | 83.1
73856 | 2021-04-07 09:47 | 4.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4623 | μmol/L | 11.2377 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.524 | 134637.0523 | 279680.4329 | 36.4 | 83.1
73865 | 2021-04-07 09:48 | 4.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4512 | μmol/L | 11.2438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.522 | 134609.8995 | 279657.7214 | 36.4 | 83.1
73874 | 2021-04-07 09:48 | 4.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6641 | μmol/L | 11.2438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.514 | 134572.5682 | 279645.2769 | 36.4 | 83.1
73883 | 2021-04-07 09:48 | 5.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7705 | μmol/L | 11.2438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.51 | 134534.1602 | 279612.4491 | 36.4 | 83.1
73892 | 2021-04-07 09:49 | 5.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6686 | μmol/L | 11.256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.509 | 134509.2862 | 279615.3741 | 36.4 | 83.1
73901 | 2021-04-07 09:49 | 5.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.631 | μmol/L | 11.2621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.508 | 134484.0423 | 279598.0556 | 36.4 | 83.1
73910 | 2021-04-07 09:49 | 6.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6466 | μmol/L | 11.2682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.505 | 134449.155 | 279566.9214 | 36.4 | 83.1
73919 | 2021-04-07 09:50 | 6.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6622 | μmol/L | 11.2743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.502 | 134427.7885 | 279570.2216 | 36.4 | 83.1
73928 | 2021-04-07 09:50 | 6.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5713 | μmol/L | 11.2805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.503 | 134414.9328 | 279568.4296 | 36.4 | 83.1
73937 | 2021-04-07 09:50 | 7.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5337 | μmol/L | 11.2866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.502 | 134393.0612 | 279537.3775 | 36.4 | 83.1
73946 | 2021-04-07 09:51 | 7.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6935 | μmol/L | 11.2866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.496 | 134373.8964 | 279518.3686 | 36.4 | 83.1
73955 | 2021-04-07 09:51 | 7.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.576 | μmol/L | 11.2927 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.498 | 134360.5417 | 279492.1902 | 36.4 | 83.1
73964 | 2021-04-07 09:51 | 8.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4742 | μmol/L | 11.3049 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.497 | 134332.9068 | 279490.5318 | 36.4 | 83.1
73973 | 2021-04-07 09:52 | 8.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5008 | μmol/L | 11.3049 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.496 | 134300.0747 | 279479.6372 | 36.4 | 83.1
73982 | 2021-04-07 09:52 | 8.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5431 | μmol/L | 11.311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.492 | 134266.7417 | 279465.9895 | 36.4 | 83.1
73991 | 2021-04-07 09:52 | 9.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.612 | μmol/L | 11.3171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.487 | 134235.1973 | 279456.1902 | 36.4 | 83.1
74000 | 2021-04-07 09:53 | 9.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7186 | μmol/L | 11.3171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.483 | 134199.5971 | 279437.8048 | 36.4 | 83.1
74009 | 2021-04-07 09:53 | 9.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6387 | μmol/L | 11.3171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.486 | 134186.1785 | 279426.3212 | 36.4 | 83.1
74018 | 2021-04-07 09:53 | 10.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7719 | μmol/L | 11.3171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.481 | 134159.619 | 279414.0601 | 36.4 | 83.1
74027 | 2021-04-07 09:54 | 10.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6967 | μmol/L | 11.3293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.479 | 134140.0858 | 279403.4227 | 36.4 | 83.1
74036 | 2021-04-07 09:54 | 10.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6059 | μmol/L | 11.3355 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.48 | 134121.3825 | 279382.7547 | 36.4 | 83.1
74045 | 2021-04-07 09:54 | 11.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5309 | μmol/L | 11.3477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.478 | 134111.2405 | 279380.1733 | 36.4 | 83.1
74054 | 2021-04-07 09:55 | 11.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5684 | μmol/L | 11.3416 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.479 | 134106.2256 | 279375.0406 | 36.4 | 83.1
74063 | 2021-04-07 09:55 | 11.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4667 | μmol/L | 11.3538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.478 | 134097.2795 | 279356.2615 | 36.4 | 83.1
74072 | 2021-04-07 09:55 | 12.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4776 | μmol/L | 11.3477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.48 | 134085.1904 | 279350.2259 | 36.4 | 83.1
74081 | 2021-04-07 09:56 | 12.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4135 | μmol/L | 11.3538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.48 | 134072.345 | 279329.1509 | 36.4 | 83.1
74090 | 2021-04-07 09:56 | 12.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4667 | μmol/L | 11.3538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.478 | 134056.0514 | 279318.7782 | 36.4 | 83.1
74099 | 2021-04-07 09:56 | 13.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3119 | μmol/L | 11.366 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.479 | 134030.9409 | 279292.363 | 36.4 | 83.1
74108 | 2021-04-07 09:57 | 13.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3543 | μmol/L | 11.3721 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.475 | 134018.6107 | 279286.989 | 36.4 | 83.1
74117 | 2021-04-07 09:57 | 13.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3809 | μmol/L | 11.3721 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.474 | 134000.1681 | 279265.3098 | 36.4 | 83.1
74126 | 2021-04-07 09:57 | 14.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.2636 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.476 | 133987.374 | 279258.6613 | 36.4 | 83.1
74135 | 2021-04-07 09:58 | 14.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.1887 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.474 | 133964.9429 | 279253.1698 | 36.4 | 83.1
74144 | 2021-04-07 09:58 | 14.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.1887 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.474 | 133942.3668 | 279234.0356 | 36.4 | 83.1
74153 | 2021-04-07 09:58 | 15.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3592 | μmol/L | 11.3843 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.47 | 133912.3137 | 279230.3945 | 36.4 | 83.1
74162 | 2021-04-07 09:59 | 15.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.2843 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133890.8021 | 279201.207 | 36.4 | 83.1
74171 | 2021-04-07 09:59 | 15.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4706 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.461 | 133854.4284 | 279192.791 | 36.4 | 83.1
74180 | 2021-04-07 09:59 | 16.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.444 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.462 | 133829.9099 | 279174.1533 | 36.4 | 83.1
74189 | 2021-04-07 10:00 | 16.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3957 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.459 | 133805.1051 | 279167.6833 | 36.4 | 83.1
74198 | 2021-04-07 10:00 | 16.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3533 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.463 | 133781.361 | 279145.904 | 36.4 | 83.1
74207 | 2021-04-07 10:00 | 17.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4066 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.461 | 133770.8272 | 279136.8432 | 36.4 | 83.1
74216 | 2021-04-07 10:01 | 17.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3159 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.462 | 133770.3248 | 279135.476 | 36.4 | 83.1
74225 | 2021-04-07 10:01 | 17.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3317 | μmol/L | 11.4149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.459 | 133771.9718 | 279114.2938 | 36.4 | 83.1
74234 | 2021-04-07 10:01 | 18.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.2252 | μmol/L | 11.4149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.463 | 133771.5517 | 279112.2294 | 36.4 | 83.1
74243 | 2021-04-07 10:02 | 18.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.1346 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.464 | 133771.2602 | 279094.9587 | 36.4 | 83.1
74252 | 2021-04-07 10:02 | 18.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.0707 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.464 | 133783.0342 | 279086.4866 | 36.4 | 83.1
74261 | 2021-04-07 10:02 | 19.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9909 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133771.7151 | 279069.3791 | 36.4 | 83.1
74270 | 2021-04-07 10:03 | 19.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8738 | μmol/L | 11.4332 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133764.4101 | 279058.9322 | 36.4 | 83.1
74279 | 2021-04-07 10:03 | 19.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8099 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133768.6115 | 279053.9759 | 36.4 | 83.1
74288 | 2021-04-07 10:03 | 20.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7036 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.473 | 133748.354 | 279033.1659 | 36.4 | 83.1
74297 | 2021-04-07 10:04 | 20.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7725 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133746.7735 | 279022.6286 | 36.4 | 83.1
74306 | 2021-04-07 10:04 | 20.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7833 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.47 | 133724.4993 | 279014.572 | 36.4 | 83.1
74315 | 2021-04-07 10:04 | 21.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7991 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133696.3205 | 279007.4941 | 36.4 | 83.1
74324 | 2021-04-07 10:05 | 21.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8149 | μmol/L | 11.4516 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.464 | 133684.2092 | 278995.5367 | 36.4 | 83.1
74333 | 2021-04-07 10:05 | 21.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.6872 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.464 | 133662.8916 | 278972.4466 | 36.4 | 83.1
74342 | 2021-04-07 10:05 | 22.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7403 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.462 | 133647.9278 | 278962.0526 | 36.4 | 83.1
74351 | 2021-04-07 10:06 | 22.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.82 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.459 | 133621.8909 | 278963.4176 | 36.4 | 83.1
74360 | 2021-04-07 10:06 | 22.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7827 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.458 | 133592.9115 | 278956.7184 | 36.4 | 83.1
74369 | 2021-04-07 10:06 | 23.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8998 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.456 | 133572.0851 | 278938.4541 | 36.4 | 83.1
74378 | 2021-04-07 10:07 | 23.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9529 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.454 | 133556.1193 | 278927.9674 | 36.4 | 83.1
74387 | 2021-04-07 10:07 | 23.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8252 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.454 | 133538.1511 | 278911.6552 | 36.4 | 83.1
74396 | 2021-04-07 10:07 | 24.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8783 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.452 | 133520.0139 | 278894.6481 | 36.4 | 83.1
74405 | 2021-04-07 10:08 | 24.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7986 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.455 | 133500.6767 | 278887.114 | 36.4 | 83.1
74414 | 2021-04-07 10:08 | 24.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8252 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.454 | 133489.1274 | 278880.4836 | 36.4 | 83.1
74423 | 2021-04-07 10:08 | 25.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8038 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.45 | 133471.4496 | 278856.4293 | 36.4 | 83.1
74432 | 2021-04-07 10:09 | 25.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8676 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.45 | 133450.7156 | 278856.6135 | 36.4 | 83.1
74441 | 2021-04-07 10:09 | 25.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7772 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.451 | 133419.1323 | 278836.0211 | 36.4 | 83.1
74450 | 2021-04-07 10:09 | 26.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.9101 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.446 | 133402.5738 | 278840.3279 | 36.4 | 83.1
74459 | 2021-04-07 10:10 | 26.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8355 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.444 | 133386.3689 | 278825.505 | 36.4 | 83.1
74468 | 2021-04-07 10:10 | 26.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.926 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.443 | 133364.6458 | 278812.0394 | 36.4 | 83.1
74477 | 2021-04-07 10:10 | 27.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8621 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.443 | 133353.7663 | 278792.3801 | 36.4 | 83.1
74486 | 2021-04-07 10:11 | 27.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.8249 | μmol/L | 11.5066 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.442 | 133350.0904 | 278792.2627 | 36.4 | 83.1
74495 | 2021-04-07 10:11 | 27.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7983 | μmol/L | 11.5066 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.443 | 133337.875 | 278775.0327 | 36.4 | 83.1
74504 | 2021-04-07 10:11 | 28.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.7717 | μmol/L | 11.5066 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.444 | 133328.9274 | 278762.623 | 36.4 | 83.1
74513 | 2021-04-07 10:12 | 28.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.6547 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.446 | 133320.411 | 278755.1642 | 36.4 | 83.1
74522 | 2021-04-07 10:12 | 28.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.5644 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.447 | 133320.3672 | 278753.7 | 36.4 | 83.1
74531 | 2021-04-07 10:12 | 29.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.6175 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.445 | 133316.2611 | 278728.7367 | 36.4 | 83.1
74540 | 2021-04-07 10:13 | 29.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.5378 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.448 | 133332.4122 | 278742.5607 | 36.4 | 83.1
74549 | 2021-04-07 10:13 | 29.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.421 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.45 | 133336.5886 | 278702.3062 | 36.4 | 83.1
74558 | 2021-04-07 10:13 | 30.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.3785 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.454 | 133344.7728 | 278696.8065 | 36.4 | 83.1
74567 | 2021-04-07 10:14 | 30.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.2087 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.458 | 133344.8005 | 278685.6369 | 36.4 | 83.1
74576 | 2021-04-07 10:14 | 30.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.2617 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.456 | 133352.5705 | 278685.4413 | 36.4 | 83.1
74585 | 2021-04-07 10:14 | 31.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1556 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.46 | 133344.2955 | 278657.3836 | 36.4 | 83.1
74594 | 2021-04-07 10:15 | 31.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0654 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.461 | 133368.5051 | 278651.8921 | 36.4 | 83.1
74603 | 2021-04-07 10:15 | 31.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7369 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.471 | 133373.9575 | 278644.3388 | 36.4 | 83.1
74612 | 2021-04-07 10:15 | 32.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7633 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.47 | 133385.2242 | 278650.9271 | 36.4 | 83.1
74621 | 2021-04-07 10:16 | 32.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7369 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.471 | 133372.0331 | 278638.3979 | 36.4 | 83.1
74630 | 2021-04-07 10:16 | 32.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8163 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133365.9629 | 278626.438 | 36.4 | 83.1
74639 | 2021-04-07 10:16 | 33.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.827 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.47 | 133358.3479 | 278607.4002 | 36.4 | 83.1
74648 | 2021-04-07 10:17 | 33.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6998 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.47 | 133342.6632 | 278607.3867 | 36.4 | 83.1
74657 | 2021-04-07 10:17 | 33.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6733 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.471 | 133346.8402 | 278589.1654 | 36.4 | 83.1
74666 | 2021-04-07 10:17 | 34.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5939 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.474 | 133325.7696 | 278583.2667 | 36.4 | 83.1
74675 | 2021-04-07 10:18 | 34.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6627 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133312.7261 | 278568.241 | 36.4 | 83.1
74684 | 2021-04-07 10:18 | 34.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6097 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.471 | 133290.5191 | 278560.6415 | 36.4 | 83.1
74693 | 2021-04-07 10:18 | 35.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7421 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.466 | 133264.4411 | 278552.6126 | 36.4 | 83.1
74702 | 2021-04-07 10:19 | 35.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5885 | μmol/L | 11.5616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133262.1609 | 278552.0835 | 36.4 | 83.1
74711 | 2021-04-07 10:19 | 35.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.705 | μmol/L | 11.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.465 | 133257.3007 | 278540.3793 | 36.4 | 83.1
74720 | 2021-04-07 10:19 | 36.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5885 | μmol/L | 11.5616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133252.4378 | 278517.5046 | 36.4 | 83.1
74729 | 2021-04-07 10:20 | 36.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.562 | μmol/L | 11.5616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.468 | 133256.7535 | 278522.3206 | 36.4 | 83.1
74738 | 2021-04-07 10:20 | 36.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4721 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133259.7366 | 278502.8804 | 36.4 | 83.1
74747 | 2021-04-07 10:20 | 37.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3927 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.472 | 133250.8881 | 278502.5679 | 36.4 | 83.1
74756 | 2021-04-07 10:21 | 37.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3927 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.472 | 133245.1799 | 278505.4305 | 36.4 | 83.1
74765 | 2021-04-07 10:21 | 37.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3663 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.473 | 133243.4842 | 278479.8379 | 36.4 | 83.1
74774 | 2021-04-07 10:21 | 38.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3028 | μmol/L | 11.5738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.473 | 133225.178 | 278475.4864 | 36.4 | 83.1
74783 | 2021-04-07 10:22 | 38.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3451 | μmol/L | 11.5799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133209.6906 | 278458.5586 | 36.4 | 83.1
74792 | 2021-04-07 10:22 | 38.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.4086 | μmol/L | 11.5738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133200.6654 | 278453.1685 | 36.4 | 83.1
74801 | 2021-04-07 10:22 | 39.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3557 | μmol/L | 11.5738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.471 | 133194.3814 | 278440.6718 | 36.4 | 83.1
74810 | 2021-04-07 10:23 | 39.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.3028 | μmol/L | 11.5738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.473 | 133184.2412 | 278437.5619 | 36.4 | 83.1
74819 | 2021-04-07 10:23 | 39.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.2658 | μmol/L | 11.5799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.472 | 133185.4448 | 278414.884 | 36.4 | 83.1
74828 | 2021-04-07 10:23 | 40.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.398 | μmol/L | 11.5799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.467 | 133165.7932 | 278411.7832 | 36.4 | 83.1
74837 | 2021-04-07 10:24 | 40.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.361 | μmol/L | 11.586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.466 | 133132.0936 | 278391.6249 | 36.4 | 83.1
74846 | 2021-04-07 10:24 | 40.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.5832 | μmol/L | 11.5799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.46 | 133092.066 | 278387.9848 | 36.4 | 83.1
74855 | 2021-04-07 10:24 | 41.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.6521 | μmol/L | 11.586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.455 | 133038.5704 | 278385.9516 | 36.4 | 83.1
74864 | 2021-04-07 10:25 | 41.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.7845 | μmol/L | 11.586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.45 | 132991.3761 | 278375.0436 | 36.4 | 83.1
74873 | 2021-04-07 10:25 | 41.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.8905 | μmol/L | 11.586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.446 | 132961.0739 | 278372.2939 | 36.4 | 83.1
74882 | 2021-04-07 10:25 | 42.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0125 | μmol/L | 11.5921 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.439 | 132928.2793 | 278358.6131 | 36.4 | 83.1
74891 | 2021-04-07 10:26 | 42.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 312.9754 | μmol/L | 11.5982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.438 | 132894.2703 | 278341.7673 | 36.4 | 83.1
74900 | 2021-04-07 10:26 | 42.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1186 | μmol/L | 11.5921 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.435 | 132874.6846 | 278335.3967 | 36.4 | 83.1
74909 | 2021-04-07 10:26 | 43.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.2353 | μmol/L | 11.586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.433 | 132844.7282 | 278322.531 | 36.4 | 83.1
74918 | 2021-04-07 10:27 | 43.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.0815 | μmol/L | 11.5982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.434 | 132829.536 | 278311.3076 | 36.4 | 83.1
74927 | 2021-04-07 10:27 | 43.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.1717 | μmol/L | 11.5921 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.433 | 132812.6087 | 278307.9781 | 36.4 | 83.1
74936 | 2021-04-07 10:27 | 44.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 313.055 | μmol/L | 11.5982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.435 | 132755.6547 | 278301.7044 | 36.4 | 83.1