## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 10:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
73749 | 2021-04-07 09:43 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3275 | μmol/L | 11.1492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.166 | 113026.9422 | 308440.1115 | 30.45 | 114.2
73758 | 2021-04-07 09:44 | 0.32732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4137 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.16 | 113007.8035 | 308431.0572 | 30.45 | 114.2
73767 | 2021-04-07 09:44 | 0.66078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4137 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.16 | 112979.4601 | 308438.6631 | 30.45 | 114.2
73776 | 2021-04-07 09:44 | 0.99366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4054 | μmol/L | 11.1615 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.158 | 112953.0074 | 308420.1199 | 30.45 | 114.2
73785 | 2021-04-07 09:45 | 1.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.429 | μmol/L | 11.1615 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.157 | 112927.2605 | 308384.6548 | 30.45 | 114.2
73794 | 2021-04-07 09:45 | 1.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3651 | μmol/L | 11.1737 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.155 | 112893.9207 | 308377.6711 | 30.45 | 114.2
73803 | 2021-04-07 09:45 | 1.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3248 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.152 | 112883.3108 | 308358.7775 | 30.45 | 114.2
73812 | 2021-04-07 09:46 | 2.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3363 | μmol/L | 11.1921 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.149 | 112855.9393 | 308346.2529 | 30.45 | 114.2
73821 | 2021-04-07 09:46 | 2.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3318 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 112823.9765 | 308313.7664 | 30.45 | 114.2
73830 | 2021-04-07 09:46 | 2.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2762 | μmol/L | 11.2044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 112798.1226 | 308298.9104 | 30.45 | 114.2
73839 | 2021-04-07 09:47 | 3.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4654 | μmol/L | 11.2044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 112780.3805 | 308273.5193 | 30.45 | 114.2
73848 | 2021-04-07 09:47 | 3.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5281 | μmol/L | 11.2105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 112743.2554 | 308256.7682 | 30.45 | 114.2
73857 | 2021-04-07 09:47 | 3.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4252 | μmol/L | 11.2166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 112732.1992 | 308247.8186 | 30.45 | 114.2
73866 | 2021-04-07 09:48 | 4.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.385 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 112701.8084 | 308232.0739 | 30.45 | 114.2
73875 | 2021-04-07 09:48 | 4.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4086 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 112679.6701 | 308211.5914 | 30.45 | 114.2
73884 | 2021-04-07 09:48 | 4.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3767 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 112654.5063 | 308211.6466 | 30.45 | 114.2
73893 | 2021-04-07 09:49 | 5.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4477 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.128 | 112634.2898 | 308181.3411 | 30.45 | 114.2
73902 | 2021-04-07 09:49 | 5.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3756 | μmol/L | 11.2534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.124 | 112605.9873 | 308165.7032 | 30.45 | 114.2
73911 | 2021-04-07 09:49 | 5.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.423 | μmol/L | 11.2534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.122 | 112592.9559 | 308147.3507 | 30.45 | 114.2
73920 | 2021-04-07 09:50 | 6.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3911 | μmol/L | 11.2595 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.121 | 112564.8433 | 308129.5243 | 30.45 | 114.2
73929 | 2021-04-07 09:50 | 6.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.411 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.12 | 112544.493 | 308111.7949 | 30.45 | 114.2
73938 | 2021-04-07 09:50 | 6.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3828 | μmol/L | 11.2657 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.119 | 112517.5451 | 308087.9705 | 30.45 | 114.2
73947 | 2021-04-07 09:51 | 7.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3901 | μmol/L | 11.2779 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.114 | 112499.238 | 308078.837 | 30.45 | 114.2
73956 | 2021-04-07 09:51 | 7.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4374 | μmol/L | 11.2779 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.112 | 112481.658 | 308074.2041 | 30.45 | 114.2
73965 | 2021-04-07 09:51 | 7.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4573 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.111 | 112464.7472 | 308049.0034 | 30.45 | 114.2
73974 | 2021-04-07 09:52 | 8.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4529 | μmol/L | 11.2841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.109 | 112437.9474 | 308031.7969 | 30.45 | 114.2
73983 | 2021-04-07 09:52 | 8.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5476 | μmol/L | 11.2841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.105 | 112421.7398 | 308008.4078 | 30.45 | 114.2
73992 | 2021-04-07 09:52 | 8.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5713 | μmol/L | 11.2841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.104 | 112405.732 | 308000.5221 | 30.45 | 114.2
74001 | 2021-04-07 09:53 | 9.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6187 | μmol/L | 11.2841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.102 | 112377.343 | 307982.2829 | 30.45 | 114.2
74010 | 2021-04-07 09:53 | 9.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4757 | μmol/L | 11.3025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.101 | 112356.9757 | 307959.1737 | 30.45 | 114.2
74019 | 2021-04-07 09:53 | 9.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4757 | μmol/L | 11.3025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.101 | 112347.8288 | 307953.668 | 30.45 | 114.2
74028 | 2021-04-07 09:54 | 10.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5467 | μmol/L | 11.3025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.098 | 112324.5917 | 307935.8683 | 30.45 | 114.2
74037 | 2021-04-07 09:54 | 10.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4357 | μmol/L | 11.3147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.098 | 112308.2305 | 307910.3937 | 30.45 | 114.2
74046 | 2021-04-07 09:54 | 10.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.443 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.093 | 112288.8259 | 307905.5684 | 30.45 | 114.2
74055 | 2021-04-07 09:55 | 11.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5541 | μmol/L | 11.3147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.093 | 112271.4189 | 307880.6005 | 30.45 | 114.2
74064 | 2021-04-07 09:55 | 11.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3402 | μmol/L | 11.3331 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.095 | 112257.3139 | 307873.4856 | 30.45 | 114.2
74073 | 2021-04-07 09:55 | 11.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5378 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.089 | 112236.8673 | 307851.3361 | 30.45 | 114.2
74082 | 2021-04-07 09:56 | 12.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4667 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.092 | 112222.7143 | 307851.2875 | 30.45 | 114.2
74091 | 2021-04-07 09:56 | 12.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4349 | μmol/L | 11.3331 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.091 | 112207.8895 | 307819.9893 | 30.45 | 114.2
74100 | 2021-04-07 09:56 | 12.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.466 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.085 | 112189.8304 | 307808.4881 | 30.45 | 114.2
74109 | 2021-04-07 09:57 | 13.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3631 | μmol/L | 11.3515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.087 | 112171.9473 | 307794.2146 | 30.45 | 114.2
74118 | 2021-04-07 09:57 | 13.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5371 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 112153.4563 | 307780.5775 | 30.45 | 114.2
74127 | 2021-04-07 09:57 | 13.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.466 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.085 | 112147.0697 | 307767.1179 | 30.45 | 114.2
74136 | 2021-04-07 09:58 | 14.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4816 | μmol/L | 11.3515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 112129.1844 | 307751.6879 | 30.45 | 114.2
74145 | 2021-04-07 09:58 | 14.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4261 | μmol/L | 11.3576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 112107.1464 | 307731.4739 | 30.45 | 114.2
74154 | 2021-04-07 09:58 | 14.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3943 | μmol/L | 11.3638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.081 | 112101.0059 | 307716.0504 | 30.45 | 114.2
74163 | 2021-04-07 09:59 | 15.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.418 | μmol/L | 11.3638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.08 | 112076.2352 | 307688.3298 | 30.45 | 114.2
74172 | 2021-04-07 09:59 | 15.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4809 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.075 | 112063.3166 | 307673.1461 | 30.45 | 114.2
74181 | 2021-04-07 09:59 | 15.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5202 | μmol/L | 11.376 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 112053.847 | 307672.9145 | 30.45 | 114.2
74190 | 2021-04-07 10:00 | 16.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4809 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.075 | 112034.1651 | 307655.4506 | 30.45 | 114.2
74199 | 2021-04-07 10:00 | 16.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4965 | μmol/L | 11.376 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.072 | 112023.3712 | 307649.3231 | 30.45 | 114.2
74208 | 2021-04-07 10:00 | 16.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4093 | μmol/L | 11.3883 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 112002.6177 | 307634.8704 | 30.45 | 114.2
74217 | 2021-04-07 10:01 | 17.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5913 | μmol/L | 11.376 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.068 | 111986.2362 | 307608.003 | 30.45 | 114.2
74226 | 2021-04-07 10:01 | 17.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4093 | μmol/L | 11.3883 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 111964.4341 | 307599.7511 | 30.45 | 114.2
74235 | 2021-04-07 10:01 | 17.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4168 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.066 | 111941.5064 | 307585.6481 | 30.45 | 114.2
74244 | 2021-04-07 10:02 | 18.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6544 | μmol/L | 11.3821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.063 | 111926.8213 | 307579.7466 | 30.45 | 114.2
74253 | 2021-04-07 10:02 | 18.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5116 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.062 | 111908.633 | 307557.8666 | 30.45 | 114.2
74262 | 2021-04-07 10:02 | 18.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6382 | μmol/L | 11.3944 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.059 | 111890.987 | 307548.1641 | 30.45 | 114.2
74271 | 2021-04-07 10:03 | 19.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.559 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.06 | 111874.0602 | 307529.7489 | 30.45 | 114.2
74280 | 2021-04-07 10:03 | 19.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5827 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.059 | 111860.1846 | 307524.761 | 30.45 | 114.2
74289 | 2021-04-07 10:03 | 19.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5984 | μmol/L | 11.4067 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.056 | 111843.24 | 307505.9203 | 30.45 | 114.2
74298 | 2021-04-07 10:04 | 20.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7013 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.054 | 111822.2275 | 307497.1132 | 30.45 | 114.2
74307 | 2021-04-07 10:04 | 20.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7488 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.052 | 111822.1908 | 307485.1978 | 30.45 | 114.2
74316 | 2021-04-07 10:04 | 20.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5903 | μmol/L | 11.4128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.054 | 111808.467 | 307459.3691 | 30.45 | 114.2
74325 | 2021-04-07 10:05 | 21.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6852 | μmol/L | 11.4128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.05 | 111791.3752 | 307445.0231 | 30.45 | 114.2
74334 | 2021-04-07 10:05 | 21.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5031 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.053 | 111790.1187 | 307447.8279 | 30.45 | 114.2
74343 | 2021-04-07 10:05 | 21.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5586 | μmol/L | 11.4189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.053 | 111773.7079 | 307425.7566 | 30.45 | 114.2
74352 | 2021-04-07 10:06 | 22.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4557 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.055 | 111770.7128 | 307418.1866 | 30.45 | 114.2
74361 | 2021-04-07 10:06 | 22.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5031 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.053 | 111756.5224 | 307391.248 | 30.45 | 114.2
74370 | 2021-04-07 10:06 | 22.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4714 | μmol/L | 11.4312 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.052 | 111747.3595 | 307391.1383 | 30.45 | 114.2
74379 | 2021-04-07 10:07 | 23.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4397 | μmol/L | 11.4373 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111741.311 | 307361.4864 | 30.45 | 114.2
74388 | 2021-04-07 10:07 | 23.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5506 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111736.8757 | 307363.1083 | 30.45 | 114.2
74397 | 2021-04-07 10:07 | 23.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4951 | μmol/L | 11.4312 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111729.6319 | 307351.2357 | 30.45 | 114.2
74406 | 2021-04-07 10:08 | 24.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5108 | μmol/L | 11.4373 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.048 | 111720.0931 | 307326.4238 | 30.45 | 114.2
74415 | 2021-04-07 10:08 | 24.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4317 | μmol/L | 11.4434 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.049 | 111700.8905 | 307316.628 | 30.45 | 114.2
74424 | 2021-04-07 10:08 | 24.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4317 | μmol/L | 11.4434 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.049 | 111684.8179 | 307309.7582 | 30.45 | 114.2
74433 | 2021-04-07 10:09 | 25.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3289 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111678.1738 | 307292.9206 | 30.45 | 114.2
74442 | 2021-04-07 10:09 | 25.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.408 | μmol/L | 11.4434 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.05 | 111663.4572 | 307275.4843 | 30.45 | 114.2
74451 | 2021-04-07 10:09 | 25.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4237 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111656.5749 | 307268.8942 | 30.45 | 114.2
74460 | 2021-04-07 10:10 | 26.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.392 | μmol/L | 11.4557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.046 | 111644.5998 | 307258.8555 | 30.45 | 114.2
74469 | 2021-04-07 10:10 | 26.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2735 | μmol/L | 11.4557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.051 | 111644.8754 | 307242.0035 | 30.45 | 114.2
74478 | 2021-04-07 10:10 | 26.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3683 | μmol/L | 11.4557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111645.189 | 307239.1613 | 30.45 | 114.2
74487 | 2021-04-07 10:11 | 27.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3603 | μmol/L | 11.4618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.045 | 111623.8156 | 307211.2262 | 30.45 | 114.2
74496 | 2021-04-07 10:11 | 27.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2892 | μmol/L | 11.4618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.048 | 111621.7418 | 307193.2883 | 30.45 | 114.2
74505 | 2021-04-07 10:11 | 27.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2892 | μmol/L | 11.4618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.048 | 111612.2879 | 307196.309 | 30.45 | 114.2
74514 | 2021-04-07 10:12 | 28.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3446 | μmol/L | 11.4557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.048 | 111603.029 | 307169.1886 | 30.45 | 114.2
74523 | 2021-04-07 10:12 | 28.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2812 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.046 | 111597.4244 | 307164.3088 | 30.45 | 114.2
74532 | 2021-04-07 10:12 | 28.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2101 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.049 | 111588.7351 | 307138.0804 | 30.45 | 114.2
74541 | 2021-04-07 10:13 | 29.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2338 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.048 | 111578.6595 | 307140.4854 | 30.45 | 114.2
74550 | 2021-04-07 10:13 | 29.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2022 | μmol/L | 11.4741 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111567.3589 | 307124.5973 | 30.45 | 114.2
74559 | 2021-04-07 10:13 | 29.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3997 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.041 | 111556.9415 | 307121.0445 | 30.45 | 114.2
74568 | 2021-04-07 10:14 | 30.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2495 | μmol/L | 11.4741 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.045 | 111549.6965 | 307093.7537 | 30.45 | 114.2
74577 | 2021-04-07 10:14 | 30.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2969 | μmol/L | 11.4741 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.043 | 111534.9224 | 307087.281 | 30.45 | 114.2
74586 | 2021-04-07 10:14 | 30.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2969 | μmol/L | 11.4741 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.043 | 111521.5534 | 307081.8356 | 30.45 | 114.2
74595 | 2021-04-07 10:15 | 31.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2653 | μmol/L | 11.4802 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.042 | 111514.6687 | 307059.3634 | 30.45 | 114.2
74604 | 2021-04-07 10:15 | 31.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2573 | μmol/L | 11.4864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.04 | 111509.3763 | 307049.5147 | 30.45 | 114.2
74613 | 2021-04-07 10:15 | 31.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0915 | μmol/L | 11.4864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111494.8279 | 307031.1957 | 30.45 | 114.2
74622 | 2021-04-07 10:16 | 32.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1389 | μmol/L | 11.4864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.045 | 111496.5488 | 307008.6267 | 30.45 | 114.2
74631 | 2021-04-07 10:16 | 32.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2336 | μmol/L | 11.4864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.041 | 111485.5051 | 307009.7524 | 30.45 | 114.2
74640 | 2021-04-07 10:16 | 32.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.123 | μmol/L | 11.4986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.041 | 111485.4308 | 307005.9695 | 30.45 | 114.2
74649 | 2021-04-07 10:17 | 33.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1783 | μmol/L | 11.4925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.041 | 111480.4829 | 306984.8389 | 30.45 | 114.2
74658 | 2021-04-07 10:17 | 33.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0836 | μmol/L | 11.4925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.045 | 111476.2715 | 306970.0002 | 30.45 | 114.2
74667 | 2021-04-07 10:17 | 33.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1546 | μmol/L | 11.4925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.042 | 111457.4588 | 306966.9702 | 30.45 | 114.2
74676 | 2021-04-07 10:18 | 34.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1783 | μmol/L | 11.4925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.041 | 111456.0145 | 306958.3565 | 30.45 | 114.2
74685 | 2021-04-07 10:18 | 34.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0283 | μmol/L | 11.4986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.045 | 111445.1949 | 306932.3326 | 30.45 | 114.2
74694 | 2021-04-07 10:18 | 34.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0283 | μmol/L | 11.4986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.045 | 111438.1184 | 306920.5501 | 30.45 | 114.2
74703 | 2021-04-07 10:19 | 35.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1546 | μmol/L | 11.4925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.042 | 111430.9631 | 306897.2063 | 30.45 | 114.2
74712 | 2021-04-07 10:19 | 35.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9887 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.042 | 111426.1074 | 306899.416 | 30.45 | 114.2
74721 | 2021-04-07 10:19 | 35.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8941 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.046 | 111431.6501 | 306883.1729 | 30.45 | 114.2
74730 | 2021-04-07 10:20 | 36.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8704 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111422.2244 | 306889.8991 | 30.45 | 114.2
74739 | 2021-04-07 10:20 | 36.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8704 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111425.3719 | 306852.1155 | 30.45 | 114.2
74748 | 2021-04-07 10:20 | 36.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8704 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.047 | 111425.4982 | 306838.8295 | 30.45 | 114.2
74757 | 2021-04-07 10:21 | 37.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7915 | μmol/L | 11.517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.048 | 111424.0301 | 306817.6726 | 30.45 | 114.2
74766 | 2021-04-07 10:21 | 37.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7679 | μmol/L | 11.517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.049 | 111423.3772 | 306819.6579 | 30.45 | 114.2
74775 | 2021-04-07 10:21 | 37.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7522 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.052 | 111415.8194 | 306808.0085 | 30.45 | 114.2
74784 | 2021-04-07 10:22 | 38.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6813 | μmol/L | 11.5109 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.055 | 111425.3158 | 306797.1763 | 30.45 | 114.2
74793 | 2021-04-07 10:22 | 38.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6261 | μmol/L | 11.517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.055 | 111434.3928 | 306779.5754 | 30.45 | 114.2
74802 | 2021-04-07 10:22 | 38.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.5472 | μmol/L | 11.5231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.056 | 111441.1679 | 306784.5348 | 30.45 | 114.2
74811 | 2021-04-07 10:23 | 39.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4764 | μmol/L | 11.5231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.059 | 111437.7402 | 306762.129 | 30.45 | 114.2
74820 | 2021-04-07 10:23 | 39.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4764 | μmol/L | 11.5231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.059 | 111436.6585 | 306756.0752 | 30.45 | 114.2
74829 | 2021-04-07 10:23 | 39.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4212 | μmol/L | 11.5293 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.059 | 111431.9601 | 306743.7476 | 30.45 | 114.2
74838 | 2021-04-07 10:24 | 40.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3976 | μmol/L | 11.5293 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.06 | 111430.8313 | 306730.6981 | 30.45 | 114.2
74847 | 2021-04-07 10:24 | 40.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3583 | μmol/L | 11.5231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.064 | 111435.8844 | 306726.5253 | 30.45 | 114.2
74856 | 2021-04-07 10:24 | 40.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3032 | μmol/L | 11.5293 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.064 | 111429.8407 | 306703.183 | 30.45 | 114.2
74865 | 2021-04-07 10:25 | 41.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.374 | μmol/L | 11.5293 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.061 | 111433.6326 | 306699.7814 | 30.45 | 114.2
74874 | 2021-04-07 10:25 | 41.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.2953 | μmol/L | 11.5354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.062 | 111424.9101 | 306698.1928 | 30.45 | 114.2
74883 | 2021-04-07 10:25 | 41.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.2245 | μmol/L | 11.5354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.065 | 111426.3108 | 306687.1656 | 30.45 | 114.2
74892 | 2021-04-07 10:26 | 42.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.1694 | μmol/L | 11.5415 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.065 | 111422.0664 | 306678.8148 | 30.45 | 114.2
74901 | 2021-04-07 10:26 | 42.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.2481 | μmol/L | 11.5354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.064 | 111415.6719 | 306658.8467 | 30.45 | 114.2
74910 | 2021-04-07 10:26 | 42.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.0672 | μmol/L | 11.5477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 111416.3039 | 306658.4438 | 30.45 | 114.2
74919 | 2021-04-07 10:27 | 43.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.0751 | μmol/L | 11.5415 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 111419.4699 | 306633.6194 | 30.45 | 114.2
74928 | 2021-04-07 10:27 | 43.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.0515 | μmol/L | 11.5415 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.07 | 111425.0133 | 306631.3195 | 30.45 | 114.2
74937 | 2021-04-07 10:27 | 43.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.9965 | μmol/L | 11.5477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.07 | 111440.9947 | 306615.6455 | 30.45 | 114.2