## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89586 | 2021-04-09 18:40 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0509 | μmol/L | 10.2238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.796 | 115422.0337 | 316729.9714 | 30.45 | 114.2
89595 | 2021-04-09 18:40 | 0.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.1179 | μmol/L | 10.2544 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.781 | 115282.377 | 316662.7625 | 30.45 | 114.2
89604 | 2021-04-09 18:41 | 0.67175 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.2309 | μmol/L | 10.2851 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.764 | 115162.5653 | 316577.3434 | 30.45 | 114.2
89613 | 2021-04-09 18:41 | 1.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.3766 | μmol/L | 10.3096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.748 | 115023.8234 | 316497.1264 | 30.45 | 114.2
89622 | 2021-04-09 18:41 | 1.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4443 | μmol/L | 10.3402 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.733 | 114909.172 | 316412.3287 | 30.45 | 114.2
89631 | 2021-04-09 18:42 | 1.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4572 | μmol/L | 10.377 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.718 | 114786.6513 | 316312.3887 | 30.45 | 114.2
89640 | 2021-04-09 18:42 | 2.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.544 | μmol/L | 10.3954 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.707 | 114662.1091 | 316226.1107 | 30.45 | 114.2
89649 | 2021-04-09 18:42 | 2.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4942 | μmol/L | 10.426 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.697 | 114547.4995 | 316137.2214 | 30.45 | 114.2
89658 | 2021-04-09 18:43 | 2.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7132 | μmol/L | 10.4505 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.678 | 114422.5139 | 316036.8196 | 30.45 | 114.2
89667 | 2021-04-09 18:43 | 3.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6673 | μmol/L | 10.4812 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.668 | 114322.3564 | 315942.7494 | 30.45 | 114.2
89676 | 2021-04-09 18:43 | 3.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6077 | μmol/L | 10.5057 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.661 | 114188.8442 | 315859.9227 | 30.45 | 114.2
89685 | 2021-04-09 18:44 | 3.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6825 | μmol/L | 10.5302 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.648 | 114095.1684 | 315771.5628 | 30.45 | 114.2
89694 | 2021-04-09 18:44 | 4.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6461 | μmol/L | 10.5547 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.64 | 113962.2151 | 315641.39 | 30.45 | 114.2
89703 | 2021-04-09 18:44 | 4.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7741 | μmol/L | 10.5792 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.625 | 113861.7457 | 315555.83 | 30.45 | 114.2
89712 | 2021-04-09 18:45 | 4.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7804 | μmol/L | 10.6037 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.615 | 113740.9188 | 315453.738 | 30.45 | 114.2
89721 | 2021-04-09 18:45 | 5.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8259 | μmol/L | 10.6221 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.606 | 113630.8799 | 315367.1709 | 30.45 | 114.2
89730 | 2021-04-09 18:45 | 5.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8234 | μmol/L | 10.6528 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.594 | 113526.9298 | 315260.3535 | 30.45 | 114.2
89739 | 2021-04-09 18:46 | 5.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9576 | μmol/L | 10.6712 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.581 | 113411.2198 | 315173.9895 | 30.45 | 114.2
89748 | 2021-04-09 18:46 | 6.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9077 | μmol/L | 10.6895 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.576 | 113312.0971 | 315070.5122 | 30.45 | 114.2
89757 | 2021-04-09 18:46 | 6.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0422 | μmol/L | 10.7079 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.563 | 113201.178 | 314974.3703 | 30.45 | 114.2
89766 | 2021-04-09 18:47 | 6.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9375 | μmol/L | 10.7324 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.558 | 113099.5662 | 314862.5163 | 30.45 | 114.2
89775 | 2021-04-09 18:47 | 7.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0172 | μmol/L | 10.757 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.545 | 112992.085 | 314755.5932 | 30.45 | 114.2
89784 | 2021-04-09 18:47 | 7.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0634 | μmol/L | 10.7753 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.536 | 112894.6778 | 314677.0157 | 30.45 | 114.2
89793 | 2021-04-09 18:48 | 7.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9785 | μmol/L | 10.7999 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 112805.5342 | 314575.5899 | 30.45 | 114.2
89802 | 2021-04-09 18:48 | 8.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0761 | μmol/L | 10.8121 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.521 | 112710.0299 | 314471.1948 | 30.45 | 114.2
89811 | 2021-04-09 18:48 | 8.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8654 | μmol/L | 10.8305 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.523 | 112664.7034 | 314392.8579 | 30.45 | 114.2
89820 | 2021-04-09 18:49 | 8.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8392 | μmol/L | 10.8489 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.517 | 112583.3944 | 314279.8934 | 30.45 | 114.2
89829 | 2021-04-09 18:49 | 9.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6661 | μmol/L | 10.8734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.515 | 112485.3295 | 314205.1163 | 30.45 | 114.2
89838 | 2021-04-09 18:49 | 9.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.856 | μmol/L | 10.8857 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.502 | 112392.6266 | 314103.5837 | 30.45 | 114.2
89847 | 2021-04-09 18:50 | 9.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8069 | μmol/L | 10.904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.497 | 112301.2704 | 314017.3351 | 30.45 | 114.2
89856 | 2021-04-09 18:50 | 10.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9278 | μmol/L | 10.9163 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.487 | 112200.3627 | 313906.4296 | 30.45 | 114.2
89865 | 2021-04-09 18:50 | 10.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9018 | μmol/L | 10.9347 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.481 | 112104.6107 | 313815.353 | 30.45 | 114.2
89874 | 2021-04-09 18:51 | 10.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8443 | μmol/L | 10.9592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.474 | 112013.2889 | 313721.4547 | 30.45 | 114.2
89883 | 2021-04-09 18:51 | 11.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0346 | μmol/L | 10.9715 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.461 | 111920.5779 | 313616.935 | 30.45 | 114.2
89892 | 2021-04-09 18:51 | 11.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0319 | μmol/L | 10.9899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.454 | 111821.5345 | 313517.1089 | 30.45 | 114.2
89901 | 2021-04-09 18:52 | 11.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1387 | μmol/L | 10.996 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.447 | 111734.1018 | 313427.614 | 30.45 | 114.2
89910 | 2021-04-09 18:52 | 12.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9344 | μmol/L | 11.0266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.444 | 111645.3254 | 313332.4797 | 30.45 | 114.2
89919 | 2021-04-09 18:52 | 12.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.949 | μmol/L | 11.0328 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.441 | 111569.35 | 313246.6277 | 30.45 | 114.2
89928 | 2021-04-09 18:53 | 12.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0242 | μmol/L | 11.045 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.433 | 111500.3781 | 313147.2113 | 30.45 | 114.2
89937 | 2021-04-09 18:53 | 13.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9149 | μmol/L | 11.0573 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.433 | 111426.86 | 313058.3118 | 30.45 | 114.2
89946 | 2021-04-09 18:53 | 13.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9356 | μmol/L | 11.0757 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.425 | 111352.1472 | 312967.0333 | 30.45 | 114.2
89955 | 2021-04-09 18:54 | 13.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9733 | μmol/L | 11.0818 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.421 | 111274.4364 | 312878.957 | 30.45 | 114.2
89964 | 2021-04-09 18:54 | 14.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9248 | μmol/L | 11.1002 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.416 | 111202.2308 | 312792.0339 | 30.45 | 114.2
89973 | 2021-04-09 18:54 | 14.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8764 | μmol/L | 11.1186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.411 | 111106.5246 | 312698.2354 | 30.45 | 114.2
89982 | 2021-04-09 18:55 | 14.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0065 | μmol/L | 11.1247 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.403 | 111036.4043 | 312616.4843 | 30.45 | 114.2
89991 | 2021-04-09 18:55 | 15.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9582 | μmol/L | 11.1431 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.398 | 110948.8342 | 312530.7915 | 30.45 | 114.2
90000 | 2021-04-09 18:55 | 15.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0191 | μmol/L | 11.1492 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.393 | 110878.316 | 312440.0804 | 30.45 | 114.2
90009 | 2021-04-09 18:56 | 15.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8323 | μmol/L | 11.1676 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.394 | 110829.3401 | 312345.2415 | 30.45 | 114.2
90018 | 2021-04-09 18:56 | 16.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7316 | μmol/L | 11.1737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 110773.6936 | 312262.3243 | 30.45 | 114.2
90027 | 2021-04-09 18:56 | 16.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.738 | μmol/L | 11.186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.391 | 110701.0816 | 312170.0632 | 30.45 | 114.2
90036 | 2021-04-09 18:57 | 16.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8053 | μmol/L | 11.2044 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.381 | 110619.8529 | 312071.6156 | 30.45 | 114.2
90045 | 2021-04-09 18:57 | 17.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9503 | μmol/L | 11.2166 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 110533.9272 | 311997.383 | 30.45 | 114.2
90054 | 2021-04-09 18:57 | 17.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8875 | μmol/L | 11.2289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.368 | 110459.7946 | 311911.7197 | 30.45 | 114.2
90063 | 2021-04-09 18:58 | 17.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9023 | μmol/L | 11.235 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.365 | 110361.6156 | 311811.6267 | 30.45 | 114.2
90072 | 2021-04-09 18:58 | 18.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0012 | μmol/L | 11.2473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.356 | 110288.3517 | 311723.2726 | 30.45 | 114.2
90081 | 2021-04-09 18:58 | 18.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9929 | μmol/L | 11.2534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.354 | 110208.7499 | 311650.4409 | 30.45 | 114.2
90090 | 2021-04-09 18:59 | 18.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1151 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.344 | 110131.7204 | 311568.2862 | 30.45 | 114.2
90099 | 2021-04-09 18:59 | 19.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1449 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.338 | 110055.5807 | 311473.2098 | 30.45 | 114.2
90108 | 2021-04-09 18:59 | 19.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0739 | μmol/L | 11.2963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.334 | 109982.9498 | 311405.1529 | 30.45 | 114.2
90117 | 2021-04-09 19:00 | 19.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0971 | μmol/L | 11.2963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.333 | 109906.7971 | 311309.7496 | 30.45 | 114.2
90126 | 2021-04-09 19:00 | 20.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1418 | μmol/L | 11.3147 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.324 | 109843.0447 | 311229.5301 | 30.45 | 114.2
90135 | 2021-04-09 19:00 | 20.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3121 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.319 | 109771.334 | 311161.6228 | 30.45 | 114.2
90144 | 2021-04-09 19:01 | 20.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1799 | μmol/L | 11.3208 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.32 | 109705.7305 | 311072.2126 | 30.45 | 114.2
90153 | 2021-04-09 19:01 | 21.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1554 | μmol/L | 11.3392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.314 | 109637.3796 | 310985.1294 | 30.45 | 114.2
90162 | 2021-04-09 19:01 | 21.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1322 | μmol/L | 11.3392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.315 | 109580.9785 | 310896.9742 | 30.45 | 114.2
90171 | 2021-04-09 19:02 | 21.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1853 | μmol/L | 11.3515 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.308 | 109522.5824 | 310833.3188 | 30.45 | 114.2
90180 | 2021-04-09 19:02 | 22.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1077 | μmol/L | 11.3576 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.309 | 109454.1584 | 310747.7665 | 30.45 | 114.2
90189 | 2021-04-09 19:02 | 22.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0915 | μmol/L | 11.3699 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.305 | 109387.0494 | 310668.7595 | 30.45 | 114.2
90198 | 2021-04-09 19:03 | 22.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0289 | μmol/L | 11.3821 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 109325.5053 | 310582.5997 | 30.45 | 114.2
90207 | 2021-04-09 19:03 | 23.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.2141 | μmol/L | 11.3821 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.295 | 109271.0583 | 310505.8511 | 30.45 | 114.2
90216 | 2021-04-09 19:03 | 23.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.206 | μmol/L | 11.3883 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.293 | 109203.3087 | 310432.197 | 30.45 | 114.2
90225 | 2021-04-09 19:04 | 23.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3056 | μmol/L | 11.4005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 109147.9004 | 310374.8148 | 30.45 | 114.2
90234 | 2021-04-09 19:04 | 24.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.2048 | μmol/L | 11.4067 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 109084.0166 | 310290.6975 | 30.45 | 114.2
90243 | 2021-04-09 19:04 | 24.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1806 | μmol/L | 11.4251 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.28 | 109017.6482 | 310218.8935 | 30.45 | 114.2
90252 | 2021-04-09 19:05 | 24.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3357 | μmol/L | 11.4128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.278 | 108956.3671 | 310154.691 | 30.45 | 114.2
90261 | 2021-04-09 19:05 | 25.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3427 | μmol/L | 11.4251 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.273 | 108899.7828 | 310052.9564 | 30.45 | 114.2
90270 | 2021-04-09 19:05 | 25.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3498 | μmol/L | 11.4373 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 108841.6805 | 309988.6235 | 30.45 | 114.2
90279 | 2021-04-09 19:06 | 25.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.2722 | μmol/L | 11.4434 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.269 | 108773.7675 | 309909.9131 | 30.45 | 114.2
90288 | 2021-04-09 19:06 | 26.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3105 | μmol/L | 11.4496 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 108723.5534 | 309848.0625 | 30.45 | 114.2
90297 | 2021-04-09 19:06 | 26.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3952 | μmol/L | 11.4557 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.259 | 108669.2537 | 309776.5118 | 30.45 | 114.2
90306 | 2021-04-09 19:07 | 26.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1937 | μmol/L | 11.468 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.263 | 108621.0246 | 309704.347 | 30.45 | 114.2
90315 | 2021-04-09 19:07 | 27.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.2632 | μmol/L | 11.468 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.26 | 108570.6122 | 309624.1597 | 30.45 | 114.2
90324 | 2021-04-09 19:07 | 27.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1233 | μmol/L | 11.4864 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.259 | 108527.6481 | 309544.2933 | 30.45 | 114.2
90333 | 2021-04-09 19:08 | 27.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.224 | μmol/L | 11.4802 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.257 | 108477.6435 | 309487.2749 | 30.45 | 114.2
90342 | 2021-04-09 19:08 | 28.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1385 | μmol/L | 11.4925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.256 | 108447.6315 | 309413.9723 | 30.45 | 114.2
90351 | 2021-04-09 19:08 | 28.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9453 | μmol/L | 11.4986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.262 | 108419.8163 | 309340.1004 | 30.45 | 114.2
90360 | 2021-04-09 19:09 | 28.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.9221 | μmol/L | 11.4986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.263 | 108407.1879 | 309283.5177 | 30.45 | 114.2
90369 | 2021-04-09 19:09 | 29.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6366 | μmol/L | 11.5047 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.273 | 108379.4049 | 309208.2584 | 30.45 | 114.2
90378 | 2021-04-09 19:09 | 29.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5975 | μmol/L | 11.517 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.27 | 108338.9867 | 309149.8378 | 30.45 | 114.2
90387 | 2021-04-09 19:10 | 29.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6437 | μmol/L | 11.517 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 108298.9391 | 309069.6176 | 30.45 | 114.2
90396 | 2021-04-09 19:10 | 30.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6126 | μmol/L | 11.5231 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.267 | 108257.6769 | 309005.5439 | 30.45 | 114.2
90405 | 2021-04-09 19:10 | 30.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5736 | μmol/L | 11.5354 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.264 | 108207.7643 | 308934.2977 | 30.45 | 114.2
90414 | 2021-04-09 19:11 | 30.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4963 | μmol/L | 11.5415 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 108162.7843 | 308854.0713 | 30.45 | 114.2
90423 | 2021-04-09 19:11 | 31.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4653 | μmol/L | 11.5477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.264 | 108110.7611 | 308804.8557 | 30.45 | 114.2
90432 | 2021-04-09 19:11 | 31.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.604 | μmol/L | 11.5477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.258 | 108064.616 | 308741.1136 | 30.45 | 114.2
90441 | 2021-04-09 19:12 | 31.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6271 | μmol/L | 11.5477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.257 | 108008.3019 | 308678.0103 | 30.45 | 114.2
90450 | 2021-04-09 19:12 | 32.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6423 | μmol/L | 11.5538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.254 | 107957.5916 | 308596.9426 | 30.45 | 114.2
90459 | 2021-04-09 19:12 | 32.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7117 | μmol/L | 11.5538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.251 | 107901.2287 | 308536.9203 | 30.45 | 114.2
90468 | 2021-04-09 19:13 | 32.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6727 | μmol/L | 11.566 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.248 | 107852.1574 | 308477.9193 | 30.45 | 114.2
90477 | 2021-04-09 19:13 | 33.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6416 | μmol/L | 11.5722 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.247 | 107795.7944 | 308404.1324 | 30.45 | 114.2
90486 | 2021-04-09 19:13 | 33.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.842 | μmol/L | 11.5783 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.236 | 107735.3711 | 308337.7177 | 30.45 | 114.2
90495 | 2021-04-09 19:14 | 33.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7263 | μmol/L | 11.5783 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.241 | 107684.6396 | 308285.6074 | 30.45 | 114.2
90504 | 2021-04-09 19:14 | 34.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7184 | μmol/L | 11.5844 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.239 | 107642.1523 | 308218.1742 | 30.45 | 114.2
90513 | 2021-04-09 19:14 | 34.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7105 | μmol/L | 11.5906 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.237 | 107608.4694 | 308168.0117 | 30.45 | 114.2
90522 | 2021-04-09 19:15 | 34.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7489 | μmol/L | 11.5967 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.233 | 107556.3641 | 308095.4628 | 30.45 | 114.2
90531 | 2021-04-09 19:15 | 35.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8725 | μmol/L | 11.5906 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.23 | 107509.1831 | 308034.9496 | 30.45 | 114.2
90540 | 2021-04-09 19:15 | 35.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6716 | μmol/L | 11.6028 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.234 | 107457.0157 | 307965.3763 | 30.45 | 114.2
90549 | 2021-04-09 19:16 | 35.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6406 | μmol/L | 11.609 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.233 | 107411.5155 | 307915.0239 | 30.45 | 114.2
90558 | 2021-04-09 19:16 | 36.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.872 | μmol/L | 11.609 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.223 | 107355.4479 | 307855.2411 | 30.45 | 114.2
90567 | 2021-04-09 19:16 | 36.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8873 | μmol/L | 11.6151 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.22 | 107325.831 | 307803.1219 | 30.45 | 114.2
90576 | 2021-04-09 19:17 | 36.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8642 | μmol/L | 11.6151 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.221 | 107268.3935 | 307727.9008 | 30.45 | 114.2
90585 | 2021-04-09 19:17 | 37.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7559 | μmol/L | 11.6273 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.221 | 107220.1259 | 307667.3218 | 30.45 | 114.2
90594 | 2021-04-09 19:17 | 37.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.949 | μmol/L | 11.6212 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 107181.9653 | 307629.6168 | 30.45 | 114.2
90603 | 2021-04-09 19:18 | 37.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8948 | μmol/L | 11.6273 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 107141.1132 | 307569.3802 | 30.45 | 114.2
90612 | 2021-04-09 19:18 | 38.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8406 | μmol/L | 11.6335 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 107105.95 | 307523.131 | 30.45 | 114.2
90621 | 2021-04-09 19:18 | 38.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7865 | μmol/L | 11.6396 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 107063.9315 | 307457.642 | 30.45 | 114.2
90630 | 2021-04-09 19:19 | 38.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8713 | μmol/L | 11.6457 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 107024.9929 | 307399.1118 | 30.45 | 114.2
90639 | 2021-04-09 19:19 | 39.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8097 | μmol/L | 11.6396 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.214 | 106975.5217 | 307340.3829 | 30.45 | 114.2
90648 | 2021-04-09 19:19 | 39.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8172 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 106940.797 | 307287.3439 | 30.45 | 114.2
90657 | 2021-04-09 19:20 | 39.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8635 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 106909.273 | 307225.2751 | 30.45 | 114.2
90666 | 2021-04-09 19:20 | 40.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.8867 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 106874.4152 | 307170.7865 | 30.45 | 114.2
90675 | 2021-04-09 19:20 | 40.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.902 | μmol/L | 11.658 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 106832.1553 | 307121.9553 | 30.45 | 114.2
90684 | 2021-04-09 19:21 | 40.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7474 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.205 | 106802.4608 | 307069.1226 | 30.45 | 114.2
90693 | 2021-04-09 19:21 | 41.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7784 | μmol/L | 11.6641 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 106775.2098 | 307008.4031 | 30.45 | 114.2
90702 | 2021-04-09 19:21 | 41.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.7243 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 106730.3891 | 306953.6339 | 30.45 | 114.2
90711 | 2021-04-09 19:22 | 41.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.6548 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 106717.2666 | 306904.7336 | 30.45 | 114.2
90720 | 2021-04-09 19:22 | 42.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.516 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 106726.6213 | 306850.9312 | 30.45 | 114.2
90729 | 2021-04-09 19:22 | 42.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.3695 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.219 | 106725.7452 | 306804.2764 | 30.45 | 114.2
90738 | 2021-04-09 19:23 | 42.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0845 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.229 | 106723.561 | 306747.4642 | 30.45 | 114.2
90747 | 2021-04-09 19:23 | 43.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0767 | μmol/L | 11.6886 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.227 | 106713.3293 | 306702.111 | 30.45 | 114.2
90756 | 2021-04-09 19:23 | 43.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0767 | μmol/L | 11.6886 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.227 | 106677.1707 | 306637.8701 | 30.45 | 114.2
90765 | 2021-04-09 19:24 | 43.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0074 | μmol/L | 11.6886 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.23 | 106643.575 | 306585.3382 | 30.45 | 114.2
90774 | 2021-04-09 19:24 | 44.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0689 | μmol/L | 11.6948 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 106610.8359 | 306547.2166 | 30.45 | 114.2
90783 | 2021-04-09 19:24 | 44.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0689 | μmol/L | 11.6948 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 106568.4171 | 306496.671 | 30.45 | 114.2
90792 | 2021-04-09 19:25 | 44.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9457 | μmol/L | 11.7009 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.228 | 106549.9159 | 306451.8674 | 30.45 | 114.2
90801 | 2021-04-09 19:25 | 45.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.938 | μmol/L | 11.707 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.226 | 106507.4982 | 306397.9555 | 30.45 | 114.2
90810 | 2021-04-09 19:25 | 45.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0303 | μmol/L | 11.707 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.222 | 106474.2645 | 306346.2003 | 30.45 | 114.2
90819 | 2021-04-09 19:26 | 45.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0381 | μmol/L | 11.7009 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.224 | 106439.2126 | 306307.8571 | 30.45 | 114.2
90828 | 2021-04-09 19:26 | 46.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9533 | μmol/L | 11.7132 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.223 | 106407.1509 | 306252.4377 | 30.45 | 114.2
90837 | 2021-04-09 19:26 | 46.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9302 | μmol/L | 11.7132 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.224 | 106385.3099 | 306203.7256 | 30.45 | 114.2
90846 | 2021-04-09 19:27 | 46.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9302 | μmol/L | 11.7132 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.224 | 106366.9317 | 306167.4742 | 30.45 | 114.2
90855 | 2021-04-09 19:27 | 47.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.8763 | μmol/L | 11.7193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.224 | 106347.0418 | 306122.1682 | 30.45 | 114.2
90864 | 2021-04-09 19:27 | 47.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.7302 | μmol/L | 11.7254 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.228 | 106332.1706 | 306071.2593 | 30.45 | 114.2
90873 | 2021-04-09 19:28 | 47.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.8532 | μmol/L | 11.7193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 106309.6843 | 306037.3521 | 30.45 | 114.2
90882 | 2021-04-09 19:28 | 48.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.5841 | μmol/L | 11.7316 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.232 | 106289.0981 | 305992.8393 | 30.45 | 114.2
90891 | 2021-04-09 19:28 | 48.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.5841 | μmol/L | 11.7316 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.232 | 106273.3557 | 305948.3724 | 30.45 | 114.2
90900 | 2021-04-09 19:29 | 48.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.492 | μmol/L | 11.7316 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.236 | 106258.9216 | 305905.5548 | 30.45 | 114.2
90909 | 2021-04-09 19:29 | 49.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.3153 | μmol/L | 11.7438 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.239 | 106245.9725 | 305854.7351 | 30.45 | 114.2
90918 | 2021-04-09 19:29 | 49.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.3921 | μmol/L | 11.7377 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.238 | 106229.4499 | 305806.6575 | 30.45 | 114.2
90927 | 2021-04-09 19:30 | 49.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.3461 | μmol/L | 11.7377 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.24 | 106200.5997 | 305764.1701 | 30.45 | 114.2
90936 | 2021-04-09 19:30 | 50.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.3153 | μmol/L | 11.7438 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.239 | 106190.8052 | 305719.95 | 30.45 | 114.2
90945 | 2021-04-09 19:30 | 50.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.1695 | μmol/L | 11.75 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.243 | 106177.542 | 305685.5771 | 30.45 | 114.2
90954 | 2021-04-09 19:31 | 50.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0698 | μmol/L | 11.7561 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.245 | 106166.8547 | 305633.5914 | 30.45 | 114.2
90963 | 2021-04-09 19:31 | 51.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0315 | μmol/L | 11.75 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.249 | 106168.2319 | 305594.429 | 30.45 | 114.2
90972 | 2021-04-09 19:31 | 51.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.9856 | μmol/L | 11.75 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.251 | 106146.0543 | 305548.4334 | 30.45 | 114.2
90981 | 2021-04-09 19:32 | 51.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.9319 | μmol/L | 11.7561 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.251 | 106133.972 | 305508.6161 | 30.45 | 114.2
90990 | 2021-04-09 19:32 | 52.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.84 | μmol/L | 11.7561 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.255 | 106114.421 | 305468.3101 | 30.45 | 114.2
90999 | 2021-04-09 19:32 | 52.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.9319 | μmol/L | 11.7561 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.251 | 106081.3562 | 305424.496 | 30.45 | 114.2
91008 | 2021-04-09 19:33 | 52.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.7634 | μmol/L | 11.7622 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.256 | 106052.0653 | 305388.1377 | 30.45 | 114.2
91017 | 2021-04-09 19:33 | 53.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.9012 | μmol/L | 11.7622 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.25 | 106026.0125 | 305345.6311 | 30.45 | 114.2
91026 | 2021-04-09 19:33 | 53.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.9472 | μmol/L | 11.7622 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.248 | 105985.7823 | 305313.498 | 30.45 | 114.2
91035 | 2021-04-09 19:34 | 53.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0698 | μmol/L | 11.7561 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.245 | 105946.5113 | 305263.0631 | 30.45 | 114.2
91044 | 2021-04-09 19:34 | 54.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.9318 | μmol/L | 11.7745 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.244 | 105919.0412 | 305226.5406 | 30.45 | 114.2
91053 | 2021-04-09 19:34 | 54.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0927 | μmol/L | 11.7745 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.237 | 105866.7403 | 305181.1057 | 30.45 | 114.2
91062 | 2021-04-09 19:35 | 54.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.1157 | μmol/L | 11.7745 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.236 | 105829.418 | 305146.3795 | 30.45 | 114.2
91071 | 2021-04-09 19:35 | 55.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.1157 | μmol/L | 11.7745 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.236 | 105783.5646 | 305106.9362 | 30.45 | 114.2
91080 | 2021-04-09 19:35 | 55.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.2538 | μmol/L | 11.7745 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.23 | 105735.1461 | 305067.1072 | 30.45 | 114.2
91089 | 2021-04-09 19:36 | 55.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.2845 | μmol/L | 11.7867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.224 | 105694.6697 | 305025.9157 | 30.45 | 114.2
91098 | 2021-04-09 19:36 | 56.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.4073 | μmol/L | 11.7806 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.221 | 105655.4041 | 305009.5399 | 30.45 | 114.2
91107 | 2021-04-09 19:36 | 56.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.4457 | μmol/L | 11.7867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.217 | 105620.7506 | 304967.7541 | 30.45 | 114.2
91116 | 2021-04-09 19:37 | 56.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.4457 | μmol/L | 11.7867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.217 | 105583.0355 | 304917.8655 | 30.45 | 114.2
91125 | 2021-04-09 19:37 | 57.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.5148 | μmol/L | 11.7867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.214 | 105545.0237 | 304889.8957 | 30.45 | 114.2
91134 | 2021-04-09 19:37 | 57.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.438 | μmol/L | 11.7929 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 105506.0282 | 304838.9127 | 30.45 | 114.2
91143 | 2021-04-09 19:38 | 57.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.5532 | μmol/L | 11.7929 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.21 | 105482.409 | 304822.5152 | 30.45 | 114.2
91152 | 2021-04-09 19:38 | 58.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.7454 | μmol/L | 11.7867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.204 | 105456.6544 | 304777.1461 | 30.45 | 114.2
91161 | 2021-04-09 19:38 | 58.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.5456 | μmol/L | 11.799 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.208 | 105432.7566 | 304744.1284 | 30.45 | 114.2