## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 10:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
73752 | 2021-04-07 09:43 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1674 | μmol/L | 11.275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 136311.5389 | 279887.2848 | 26.25 | 74
73761 | 2021-04-07 09:44 | 0.32649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3361 | μmol/L | 11.275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.022 | 136293.1847 | 279881.8315 | 26.25 | 74
73770 | 2021-04-07 09:44 | 0.65994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.255 | μmol/L | 11.281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.023 | 136274.6627 | 279883.2777 | 26.25 | 74
73779 | 2021-04-07 09:44 | 0.99271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2462 | μmol/L | 11.2871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.021 | 136247.9647 | 279855.0426 | 26.25 | 74
73788 | 2021-04-07 09:45 | 1.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2944 | μmol/L | 11.2871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.019 | 136212.7064 | 279840.0864 | 26.25 | 74
73797 | 2021-04-07 09:45 | 1.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1476 | μmol/L | 11.3054 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 136177.4209 | 279818.9269 | 26.25 | 74
73806 | 2021-04-07 09:45 | 1.9927 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2594 | μmol/L | 11.3114 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136152.4745 | 279802.4172 | 26.25 | 74
73815 | 2021-04-07 09:46 | 2.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2594 | μmol/L | 11.3114 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136114.277 | 279771.7158 | 26.25 | 74
73824 | 2021-04-07 09:46 | 2.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1696 | μmol/L | 11.3236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136100.8563 | 279766.6601 | 26.25 | 74
73833 | 2021-04-07 09:46 | 2.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2419 | μmol/L | 11.3236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.007 | 136079.3025 | 279763.8579 | 26.25 | 74
73842 | 2021-04-07 09:47 | 3.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2573 | μmol/L | 11.3297 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136046.2902 | 279734.7846 | 26.25 | 74
73851 | 2021-04-07 09:47 | 3.6593 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2399 | μmol/L | 11.3418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23 | 136008.0267 | 279728.4689 | 26.25 | 74
73860 | 2021-04-07 09:47 | 3.9928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3363 | μmol/L | 11.3418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.996 | 135960.334 | 279696.0452 | 26.25 | 74
73869 | 2021-04-07 09:48 | 4.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.4087 | μmol/L | 11.3418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.993 | 135922.8372 | 279670.2384 | 26.25 | 74
73878 | 2021-04-07 09:48 | 4.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3518 | μmol/L | 11.3479 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.993 | 135901.2497 | 279673.7388 | 26.25 | 74
73887 | 2021-04-07 09:48 | 4.9928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3585 | μmol/L | 11.3601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.988 | 135864.9586 | 279640.6729 | 26.25 | 74
73896 | 2021-04-07 09:49 | 5.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3016 | μmol/L | 11.3661 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.988 | 135845.5844 | 279620.5233 | 26.25 | 74
73905 | 2021-04-07 09:49 | 5.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.317 | μmol/L | 11.3722 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.985 | 135814.6468 | 279602.6381 | 26.25 | 74
73914 | 2021-04-07 09:49 | 5.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3325 | μmol/L | 11.3783 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.982 | 135797.5283 | 279583.0184 | 26.25 | 74
73923 | 2021-04-07 09:50 | 6.3258 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3325 | μmol/L | 11.3783 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.982 | 135773.5433 | 279567.0894 | 26.25 | 74
73932 | 2021-04-07 09:50 | 6.6594 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2032 | μmol/L | 11.3844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.985 | 135752.8078 | 279554.5541 | 26.25 | 74
73941 | 2021-04-07 09:50 | 6.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1705 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.984 | 135741.4445 | 279530.2775 | 26.25 | 74
73950 | 2021-04-07 09:51 | 7.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2101 | μmol/L | 11.3965 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.98 | 135708.8971 | 279525.9809 | 26.25 | 74
73959 | 2021-04-07 09:51 | 7.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1532 | μmol/L | 11.4026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.98 | 135710.6552 | 279500.6494 | 26.25 | 74
73968 | 2021-04-07 09:51 | 7.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1773 | μmol/L | 11.4026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.979 | 135683.1496 | 279483.2498 | 26.25 | 74
73977 | 2021-04-07 09:52 | 8.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2014 | μmol/L | 11.4026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 135661.3438 | 279465.9006 | 26.25 | 74
73986 | 2021-04-07 09:52 | 8.6595 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0877 | μmol/L | 11.4148 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 135652.7024 | 279460.6034 | 26.25 | 74
73995 | 2021-04-07 09:52 | 8.9925 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.055 | μmol/L | 11.4208 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.977 | 135625.2079 | 279450.2971 | 26.25 | 74
74004 | 2021-04-07 09:53 | 9.3262 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0791 | μmol/L | 11.4208 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.976 | 135597.9398 | 279444.8974 | 26.25 | 74
74013 | 2021-04-07 09:53 | 9.6594 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0791 | μmol/L | 11.4208 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.976 | 135583.982 | 279413.3441 | 26.25 | 74
74022 | 2021-04-07 09:53 | 9.993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1429 | μmol/L | 11.4269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.971 | 135553.6625 | 279392.9344 | 26.25 | 74
74031 | 2021-04-07 09:54 | 10.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0378 | μmol/L | 11.433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.973 | 135540.5554 | 279392.0103 | 26.25 | 74
74040 | 2021-04-07 09:54 | 10.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1429 | μmol/L | 11.4269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.971 | 135516.1938 | 279374.7834 | 26.25 | 74
74049 | 2021-04-07 09:54 | 10.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0533 | μmol/L | 11.4391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.97 | 135506.4524 | 279364.7618 | 26.25 | 74
74058 | 2021-04-07 09:55 | 11.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0207 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.969 | 135491.8631 | 279343.3674 | 26.25 | 74
74067 | 2021-04-07 09:55 | 11.6593 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9966 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.97 | 135479.2621 | 279335.4911 | 26.25 | 74
74076 | 2021-04-07 09:55 | 11.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9157 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.971 | 135460.3861 | 279315.6465 | 26.25 | 74
74085 | 2021-04-07 09:56 | 12.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9639 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.969 | 135450.2403 | 279299.9217 | 26.25 | 74
74094 | 2021-04-07 09:56 | 12.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.883 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.97 | 135427.6853 | 279287.9555 | 26.25 | 74
74103 | 2021-04-07 09:56 | 12.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9794 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 135416.9387 | 279259.7678 | 26.25 | 74
74112 | 2021-04-07 09:57 | 13.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8745 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.968 | 135403.176 | 279240.3805 | 26.25 | 74
74121 | 2021-04-07 09:57 | 13.6597 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0276 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.964 | 135396.1324 | 279233.0512 | 26.25 | 74
74130 | 2021-04-07 09:57 | 13.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8333 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.965 | 135372.9094 | 279231.4849 | 26.25 | 74
74139 | 2021-04-07 09:58 | 14.3264 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.89 | μmol/L | 11.4695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.965 | 135357.3847 | 279209.1394 | 26.25 | 74
74148 | 2021-04-07 09:58 | 14.6593 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8815 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.963 | 135338.3493 | 279193.997 | 26.25 | 74
74157 | 2021-04-07 09:58 | 14.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8815 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.963 | 135315.2398 | 279187.6325 | 26.25 | 74
74166 | 2021-04-07 09:59 | 15.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9211 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.959 | 135301.2135 | 279179.1259 | 26.25 | 74
74175 | 2021-04-07 09:59 | 15.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8885 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.958 | 135285.07 | 279158.6088 | 26.25 | 74
74184 | 2021-04-07 09:59 | 15.9928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9126 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.957 | 135264.4627 | 279147.9782 | 26.25 | 74
74193 | 2021-04-07 10:00 | 16.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9041 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.955 | 135236.7224 | 279134.1222 | 26.25 | 74
74202 | 2021-04-07 10:00 | 16.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9367 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.956 | 135215.2301 | 279119.086 | 26.25 | 74
74211 | 2021-04-07 10:00 | 16.9926 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0246 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.95 | 135197.2187 | 279093.406 | 26.25 | 74
74220 | 2021-04-07 10:01 | 17.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9197 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 135174.9936 | 279101.493 | 26.25 | 74
74229 | 2021-04-07 10:01 | 17.6594 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8871 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.951 | 135149.4514 | 279067.1532 | 26.25 | 74
74238 | 2021-04-07 10:01 | 17.9925 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8786 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135138.6226 | 279045.8138 | 26.25 | 74
74247 | 2021-04-07 10:02 | 18.3264 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9268 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 135116.5137 | 279048.469 | 26.25 | 74
74256 | 2021-04-07 10:02 | 18.6596 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9112 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.95 | 135102.2094 | 279035.68 | 26.25 | 74
74265 | 2021-04-07 10:02 | 18.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9991 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135087.0186 | 279031.2236 | 26.25 | 74
74274 | 2021-04-07 10:03 | 19.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0233 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 135061.8743 | 279016.1741 | 26.25 | 74
74283 | 2021-04-07 10:03 | 19.6595 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9183 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 135048.9106 | 279010.6459 | 26.25 | 74
74292 | 2021-04-07 10:03 | 19.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.9183 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 135046.7136 | 278989.5538 | 26.25 | 74
74301 | 2021-04-07 10:04 | 20.3261 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8857 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135042.9614 | 278982.1322 | 26.25 | 74
74310 | 2021-04-07 10:04 | 20.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7567 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 135033.3387 | 278954.0702 | 26.25 | 74
74319 | 2021-04-07 10:04 | 20.9927 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7085 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135022.0334 | 278935.5848 | 26.25 | 74
74328 | 2021-04-07 10:05 | 21.3262 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.8616 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 135025.7854 | 278942.759 | 26.25 | 74
74337 | 2021-04-07 10:05 | 21.6594 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6519 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135013.9101 | 278919.958 | 26.25 | 74
74346 | 2021-04-07 10:05 | 21.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.676 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.948 | 135004.1719 | 278905.7267 | 26.25 | 74
74355 | 2021-04-07 10:06 | 22.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6278 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.95 | 135010.2577 | 278898.3463 | 26.25 | 74
74364 | 2021-04-07 10:06 | 22.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6193 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.948 | 134997.9821 | 278893.868 | 26.25 | 74
74373 | 2021-04-07 10:06 | 22.9928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5471 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.951 | 134999.1849 | 278870.1223 | 26.25 | 74
74382 | 2021-04-07 10:07 | 23.3261 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4664 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 134991.6743 | 278866.6322 | 26.25 | 74
74391 | 2021-04-07 10:07 | 23.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.523 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 134980.2968 | 278848.2432 | 26.25 | 74
74400 | 2021-04-07 10:07 | 23.9927 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4664 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 134968.0547 | 278825.2517 | 26.25 | 74
74409 | 2021-04-07 10:08 | 24.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5543 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134950.1616 | 278798.9552 | 26.25 | 74
74418 | 2021-04-07 10:08 | 24.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5627 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.948 | 134939.8589 | 278808.4062 | 26.25 | 74
74427 | 2021-04-07 10:08 | 24.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5386 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 134926.7057 | 278787.6525 | 26.25 | 74
74436 | 2021-04-07 10:09 | 25.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5543 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134909.4295 | 278779.8207 | 26.25 | 74
74445 | 2021-04-07 10:09 | 25.6594 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4736 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134902.8822 | 278760.1088 | 26.25 | 74
74454 | 2021-04-07 10:09 | 25.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5699 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134877.5337 | 278754.3256 | 26.25 | 74
74463 | 2021-04-07 10:10 | 26.326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5458 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 134863.4798 | 278737.2531 | 26.25 | 74
74472 | 2021-04-07 10:10 | 26.6596 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5784 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 134848.6867 | 278729.1304 | 26.25 | 74
74481 | 2021-04-07 10:10 | 26.9927 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6181 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.941 | 134838.4261 | 278720.8353 | 26.25 | 74
74490 | 2021-04-07 10:11 | 27.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.417 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134828.0687 | 278714.1704 | 26.25 | 74
74499 | 2021-04-07 10:11 | 27.6593 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5218 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 134824.6702 | 278696.6801 | 26.25 | 74
74508 | 2021-04-07 10:11 | 27.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4411 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134814.8297 | 278679.0289 | 26.25 | 74
74517 | 2021-04-07 10:12 | 28.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4568 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134804.4018 | 278682.682 | 26.25 | 74
74526 | 2021-04-07 10:12 | 28.6597 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5374 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.942 | 134801.5161 | 278671.102 | 26.25 | 74
74535 | 2021-04-07 10:12 | 28.9928 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4327 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 134795.0978 | 278646.0987 | 26.25 | 74
74544 | 2021-04-07 10:13 | 29.3258 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5049 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.941 | 134787.0561 | 278645.9025 | 26.25 | 74
74553 | 2021-04-07 10:13 | 29.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4243 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.942 | 134778.6278 | 278630.4819 | 26.25 | 74
74562 | 2021-04-07 10:13 | 29.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4808 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.942 | 134764.7778 | 278620.671 | 26.25 | 74
74571 | 2021-04-07 10:14 | 30.3262 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3521 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 134757.5225 | 278604.9808 | 26.25 | 74
74580 | 2021-04-07 10:14 | 30.6597 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3039 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134740.7248 | 278594.1619 | 26.25 | 74
74589 | 2021-04-07 10:14 | 30.9926 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.215 | μmol/L | 11.5911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134738.1821 | 278578.0127 | 26.25 | 74
74598 | 2021-04-07 10:15 | 31.3262 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3039 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134725.7003 | 278567.9184 | 26.25 | 74
74607 | 2021-04-07 10:15 | 31.6595 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3039 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134721.5581 | 278551.034 | 26.25 | 74
74616 | 2021-04-07 10:15 | 31.993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3352 | μmol/L | 11.5911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.941 | 134715.8647 | 278545.4354 | 26.25 | 74
74625 | 2021-04-07 10:16 | 32.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3437 | μmol/L | 11.585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134711.9352 | 278544.1962 | 26.25 | 74
74634 | 2021-04-07 10:16 | 32.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2631 | μmol/L | 11.5911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 134707.1332 | 278539.3299 | 26.25 | 74
74643 | 2021-04-07 10:16 | 32.993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2955 | μmol/L | 11.585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 134695.2922 | 278516.5715 | 26.25 | 74
74652 | 2021-04-07 10:17 | 33.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4002 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134678.4501 | 278517.1179 | 26.25 | 74
74661 | 2021-04-07 10:17 | 33.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2547 | μmol/L | 11.5971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.942 | 134679.7227 | 278496.132 | 26.25 | 74
74670 | 2021-04-07 10:17 | 33.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.3437 | μmol/L | 11.585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134668.6314 | 278478.2364 | 26.25 | 74
74679 | 2021-04-07 10:18 | 34.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2715 | μmol/L | 11.585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134664.6354 | 278467.9818 | 26.25 | 74
74688 | 2021-04-07 10:18 | 34.6595 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1585 | μmol/L | 11.5971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134657.8755 | 278447.6476 | 26.25 | 74
74697 | 2021-04-07 10:18 | 34.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1344 | μmol/L | 11.5971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134655.4845 | 278444.3081 | 26.25 | 74
74706 | 2021-04-07 10:19 | 35.3261 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2631 | μmol/L | 11.5911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 134658.3212 | 278436.1611 | 26.25 | 74
74715 | 2021-04-07 10:19 | 35.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1344 | μmol/L | 11.5971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.947 | 134642.3502 | 278418.7538 | 26.25 | 74
74724 | 2021-04-07 10:19 | 35.9927 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.102 | μmol/L | 11.6032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134650.5496 | 278407.7136 | 26.25 | 74
74733 | 2021-04-07 10:20 | 36.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0539 | μmol/L | 11.6032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.948 | 134651.904 | 278397.4729 | 26.25 | 74
74742 | 2021-04-07 10:20 | 36.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9013 | μmol/L | 11.6093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 134640.5024 | 278386.5431 | 26.25 | 74
74751 | 2021-04-07 10:20 | 36.9927 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0623 | μmol/L | 11.5971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.95 | 134651.2158 | 278385.7903 | 26.25 | 74
74760 | 2021-04-07 10:21 | 37.3264 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9578 | μmol/L | 11.6032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 134650.7347 | 278368.3033 | 26.25 | 74
74769 | 2021-04-07 10:21 | 37.6594 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9337 | μmol/L | 11.6032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.953 | 134658.3758 | 278355.3707 | 26.25 | 74
74778 | 2021-04-07 10:21 | 37.9929 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8053 | μmol/L | 11.6093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.956 | 134660.021 | 278352.3247 | 26.25 | 74
74787 | 2021-04-07 10:22 | 38.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8857 | μmol/L | 11.6032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.955 | 134657.5076 | 278333.9661 | 26.25 | 74
74796 | 2021-04-07 10:22 | 38.6596 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6852 | μmol/L | 11.6093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.961 | 134668.0718 | 278340.1103 | 26.25 | 74
74805 | 2021-04-07 10:22 | 38.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7092 | μmol/L | 11.6093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.96 | 134664.42 | 278311.1592 | 26.25 | 74
74814 | 2021-04-07 10:23 | 39.3261 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6049 | μmol/L | 11.6154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.962 | 134659.847 | 278294.2359 | 26.25 | 74
74823 | 2021-04-07 10:23 | 39.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6528 | μmol/L | 11.6154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.96 | 134670.0582 | 278294.2383 | 26.25 | 74
74832 | 2021-04-07 10:23 | 39.993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5329 | μmol/L | 11.6154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.965 | 134668.9815 | 278281.696 | 26.25 | 74
74841 | 2021-04-07 10:24 | 40.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5005 | μmol/L | 11.6215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.964 | 134669.1805 | 278270.5213 | 26.25 | 74
74850 | 2021-04-07 10:24 | 40.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4526 | μmol/L | 11.6215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 134666.7328 | 278261.9053 | 26.25 | 74
74859 | 2021-04-07 10:24 | 40.993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4609 | μmol/L | 11.6154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.968 | 134670.7228 | 278254.2026 | 26.25 | 74
74868 | 2021-04-07 10:25 | 41.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5005 | μmol/L | 11.6215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.964 | 134659.2694 | 278240.1195 | 26.25 | 74
74877 | 2021-04-07 10:25 | 41.6595 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3004 | μmol/L | 11.6275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.97 | 134649.2308 | 278228.9139 | 26.25 | 74
74886 | 2021-04-07 10:25 | 41.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4609 | μmol/L | 11.6154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.968 | 134655.8883 | 278225.661 | 26.25 | 74
74895 | 2021-04-07 10:26 | 42.3261 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4682 | μmol/L | 11.6275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.963 | 134633.7944 | 278215.9182 | 26.25 | 74
74904 | 2021-04-07 10:26 | 42.6597 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4046 | μmol/L | 11.6215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.968 | 134632.7996 | 278220.6677 | 26.25 | 74
74913 | 2021-04-07 10:26 | 42.9925 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3243 | μmol/L | 11.6275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.969 | 134620.0111 | 278205.6162 | 26.25 | 74
74922 | 2021-04-07 10:27 | 43.3263 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3243 | μmol/L | 11.6275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.969 | 134604.5277 | 278185.8608 | 26.25 | 74
74931 | 2021-04-07 10:27 | 43.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4526 | μmol/L | 11.6215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 134521.4492 | 278175.3371 | 26.25 | 74
74940 | 2021-04-07 10:27 | 43.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3962 | μmol/L | 11.6275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 134517.4228 | 278162.3799 | 26.25 | 74