## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74972 | 2021-04-07 11:19 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5224 | μmol/L | 11.2104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.847 | 138018.4683 | 306204.8394 | 59.9307 | 38.1
74981 | 2021-04-07 11:19 | 0.34022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.4659 | μmol/L | 11.2165 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.847 | 138016.2884 | 306199.5839 | 59.9307 | 38.1
74990 | 2021-04-07 11:19 | 0.67323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5876 | μmol/L | 11.2165 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.842 | 138001.3317 | 306195.4126 | 59.9307 | 38.1
74999 | 2021-04-07 11:20 | 1.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.4258 | μmol/L | 11.2286 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.844 | 137992.3019 | 306190.885 | 59.9307 | 38.1
75008 | 2021-04-07 11:20 | 1.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.4502 | μmol/L | 11.2286 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.843 | 137981.2646 | 306174.1709 | 59.9307 | 38.1
75017 | 2021-04-07 11:20 | 1.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.4258 | μmol/L | 11.2286 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.844 | 137982.8014 | 306168.622 | 59.9307 | 38.1
75026 | 2021-04-07 11:21 | 2.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3207 | μmol/L | 11.2347 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.846 | 137963.508 | 306142.6219 | 59.9307 | 38.1
75035 | 2021-04-07 11:21 | 2.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2885 | μmol/L | 11.2408 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.845 | 137961.2003 | 306131.3408 | 59.9307 | 38.1
75044 | 2021-04-07 11:21 | 2.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3858 | μmol/L | 11.2408 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.841 | 137943.4797 | 306129.9898 | 59.9307 | 38.1
75053 | 2021-04-07 11:22 | 3.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3536 | μmol/L | 11.2469 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.84 | 137914.103 | 306102.0514 | 59.9307 | 38.1
75062 | 2021-04-07 11:22 | 3.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2893 | μmol/L | 11.2591 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.838 | 137895.4761 | 306102.532 | 59.9307 | 38.1
75071 | 2021-04-07 11:22 | 3.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3623 | μmol/L | 11.2591 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137877.6244 | 306073.3436 | 59.9307 | 38.1
75080 | 2021-04-07 11:23 | 4.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.338 | μmol/L | 11.2591 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.836 | 137854.783 | 306065.9405 | 59.9307 | 38.1
75089 | 2021-04-07 11:23 | 4.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3058 | μmol/L | 11.2652 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137845.9604 | 306058.6303 | 59.9307 | 38.1
75098 | 2021-04-07 11:23 | 4.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1929 | μmol/L | 11.2774 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137835.3527 | 306024.5657 | 59.9307 | 38.1
75107 | 2021-04-07 11:24 | 5.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3058 | μmol/L | 11.2652 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137824.4971 | 306028.4028 | 59.9307 | 38.1
75116 | 2021-04-07 11:24 | 5.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1929 | μmol/L | 11.2774 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137823.8675 | 306021.1007 | 59.9307 | 38.1
75125 | 2021-04-07 11:24 | 5.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1365 | μmol/L | 11.2835 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137822.2501 | 306023.4488 | 59.9307 | 38.1
75134 | 2021-04-07 11:25 | 6.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0879 | μmol/L | 11.2835 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.837 | 137807.2449 | 305997.0823 | 59.9307 | 38.1
75143 | 2021-04-07 11:25 | 6.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0558 | μmol/L | 11.2896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.836 | 137805.6156 | 305989.4975 | 59.9307 | 38.1
75152 | 2021-04-07 11:25 | 6.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0801 | μmol/L | 11.2896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137803.0828 | 305984.2565 | 59.9307 | 38.1
75161 | 2021-04-07 11:26 | 7.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9994 | μmol/L | 11.2957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.836 | 137793.6639 | 305962.5525 | 59.9307 | 38.1
75170 | 2021-04-07 11:26 | 7.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9994 | μmol/L | 11.2957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.836 | 137784.8953 | 305948.3379 | 59.9307 | 38.1
75179 | 2021-04-07 11:26 | 7.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8789 | μmol/L | 11.314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.834 | 137783.8086 | 305952.583 | 59.9307 | 38.1
75188 | 2021-04-07 11:27 | 8.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0159 | μmol/L | 11.3018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.833 | 137777.1345 | 305946.8829 | 59.9307 | 38.1
75197 | 2021-04-07 11:27 | 8.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8944 | μmol/L | 11.3018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.838 | 137765.3271 | 305932.5524 | 59.9307 | 38.1
75206 | 2021-04-07 11:27 | 8.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8546 | μmol/L | 11.314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137747.3203 | 305924.9531 | 59.9307 | 38.1
75215 | 2021-04-07 11:28 | 9.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8546 | μmol/L | 11.314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137743.2231 | 305896.7911 | 59.9307 | 38.1
75224 | 2021-04-07 11:28 | 9.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9275 | μmol/L | 11.314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.832 | 137730.5329 | 305912.7135 | 59.9307 | 38.1
75233 | 2021-04-07 11:28 | 9.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8634 | μmol/L | 11.3261 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 137715.834 | 305908.187 | 59.9307 | 38.1
75242 | 2021-04-07 11:29 | 10.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.88 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.827 | 137691.4321 | 305883.7686 | 59.9307 | 38.1
75251 | 2021-04-07 11:29 | 10.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8557 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.828 | 137682.2116 | 305877.7414 | 59.9307 | 38.1
75260 | 2021-04-07 11:29 | 10.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8314 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.829 | 137662.4267 | 305870.5931 | 59.9307 | 38.1
75269 | 2021-04-07 11:30 | 11.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7828 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.831 | 137652.5676 | 305857.0008 | 59.9307 | 38.1
75278 | 2021-04-07 11:30 | 11.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8237 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.827 | 137646.1175 | 305853.0032 | 59.9307 | 38.1
75287 | 2021-04-07 11:30 | 11.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.88 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.827 | 137618.4627 | 305845.9073 | 59.9307 | 38.1
75296 | 2021-04-07 11:31 | 12.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.848 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137622.1831 | 305832.6349 | 59.9307 | 38.1
75305 | 2021-04-07 11:31 | 12.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8402 | μmol/L | 11.3444 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137603.0736 | 305826.2425 | 59.9307 | 38.1
75314 | 2021-04-07 11:31 | 12.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8888 | μmol/L | 11.3444 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 137591.724 | 305804.5588 | 59.9307 | 38.1
75323 | 2021-04-07 11:32 | 13.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8325 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 137585.9731 | 305805.9298 | 59.9307 | 38.1
75332 | 2021-04-07 11:32 | 13.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7928 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.819 | 137573.6918 | 305804.5006 | 59.9307 | 38.1
75341 | 2021-04-07 11:32 | 13.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8325 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 137560.3954 | 305790.8126 | 59.9307 | 38.1
75350 | 2021-04-07 11:33 | 14.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7199 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 137557.718 | 305796.275 | 59.9307 | 38.1
75359 | 2021-04-07 11:33 | 14.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5666 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137561.0348 | 305772.8053 | 59.9307 | 38.1
75368 | 2021-04-07 11:33 | 14.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5909 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137559.9051 | 305754.3031 | 59.9307 | 38.1
75377 | 2021-04-07 11:34 | 15.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5666 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137566.4767 | 305765.9051 | 59.9307 | 38.1
75386 | 2021-04-07 11:34 | 15.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4376 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.829 | 137569.6065 | 305744.9211 | 59.9307 | 38.1
75395 | 2021-04-07 11:34 | 15.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4938 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.829 | 137571.3972 | 305739.9125 | 59.9307 | 38.1
75404 | 2021-04-07 11:35 | 16.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5666 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137564.1593 | 305741.1161 | 59.9307 | 38.1
75413 | 2021-04-07 11:35 | 16.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4784 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137551.2638 | 305723.8085 | 59.9307 | 38.1
75422 | 2021-04-07 11:35 | 16.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3814 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.829 | 137538.6391 | 305700.1088 | 59.9307 | 38.1
75431 | 2021-04-07 11:36 | 17.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3495 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.828 | 137528.1214 | 305704.2682 | 59.9307 | 38.1
75440 | 2021-04-07 11:36 | 17.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4542 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137519.376 | 305705.3501 | 59.9307 | 38.1
75449 | 2021-04-07 11:36 | 17.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.398 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137519.3003 | 305689.6268 | 59.9307 | 38.1
75458 | 2021-04-07 11:37 | 18.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4465 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137506.1312 | 305693.6712 | 59.9307 | 38.1
75467 | 2021-04-07 11:37 | 18.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.366 | μmol/L | 11.3932 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137503.3227 | 305679.2515 | 59.9307 | 38.1
75476 | 2021-04-07 11:37 | 18.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2933 | μmol/L | 11.3932 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.828 | 137498.1246 | 305684.0737 | 59.9307 | 38.1
75485 | 2021-04-07 11:38 | 19.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.181 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.828 | 137488.8141 | 305666.1663 | 59.9307 | 38.1
75494 | 2021-04-07 11:38 | 19.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.375 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.82 | 137479.7801 | 305667.0299 | 59.9307 | 38.1
75503 | 2021-04-07 11:38 | 19.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2537 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137472.364 | 305654.1141 | 59.9307 | 38.1
75512 | 2021-04-07 11:39 | 20.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2218 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137465.096 | 305631.7485 | 59.9307 | 38.1
75521 | 2021-04-07 11:39 | 20.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.278 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137453.5465 | 305617.6236 | 59.9307 | 38.1
75530 | 2021-04-07 11:39 | 20.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.3265 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 137442.3035 | 305614.6312 | 59.9307 | 38.1
75539 | 2021-04-07 11:40 | 21.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.2703 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.822 | 137453.0262 | 305612.1077 | 59.9307 | 38.1
75548 | 2021-04-07 11:40 | 21.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1415 | μmol/L | 11.4175 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137455.2043 | 305619.85 | 59.9307 | 38.1
75557 | 2021-04-07 11:40 | 21.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0612 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137446.5014 | 305608.71 | 59.9307 | 38.1
75566 | 2021-04-07 11:41 | 22.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0854 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137441.3743 | 305595.499 | 59.9307 | 38.1
75575 | 2021-04-07 11:41 | 22.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1096 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137430.2555 | 305581.1855 | 59.9307 | 38.1
75584 | 2021-04-07 11:41 | 22.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0051 | μmol/L | 11.4297 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137429.2673 | 305586.672 | 59.9307 | 38.1
75593 | 2021-04-07 11:42 | 23.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.1338 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.823 | 137415.1188 | 305576.5179 | 59.9307 | 38.1
75602 | 2021-04-07 11:42 | 23.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0854 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137398.2092 | 305555.0068 | 59.9307 | 38.1
75611 | 2021-04-07 11:42 | 23.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9975 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137387.058 | 305548.6572 | 59.9307 | 38.1
75620 | 2021-04-07 11:43 | 24.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0535 | μmol/L | 11.4297 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137369.8004 | 305544.8939 | 59.9307 | 38.1
75629 | 2021-04-07 11:43 | 24.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0141 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.821 | 137369.3052 | 305546.9155 | 59.9307 | 38.1
75638 | 2021-04-07 11:43 | 24.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0141 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.821 | 137364.3345 | 305551.6648 | 59.9307 | 38.1
75647 | 2021-04-07 11:44 | 25.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0383 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.82 | 137345.4713 | 305526.9845 | 59.9307 | 38.1
75656 | 2021-04-07 11:44 | 25.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0868 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.818 | 137342.7366 | 305528.4545 | 59.9307 | 38.1
75665 | 2021-04-07 11:44 | 25.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.111 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.817 | 137329.7718 | 305517.5677 | 59.9307 | 38.1
75674 | 2021-04-07 11:45 | 26.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0307 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.818 | 137334.6851 | 305508.8374 | 59.9307 | 38.1
75683 | 2021-04-07 11:45 | 26.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9822 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.82 | 137335.047 | 305502.1773 | 59.9307 | 38.1
75692 | 2021-04-07 11:45 | 26.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0141 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.821 | 137323.9794 | 305485.7209 | 59.9307 | 38.1
75701 | 2021-04-07 11:46 | 27.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.0307 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.818 | 137316.6757 | 305488.0469 | 59.9307 | 38.1
75710 | 2021-04-07 11:46 | 27.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9746 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.818 | 137305.3219 | 305495.0372 | 59.9307 | 38.1
75719 | 2021-04-07 11:46 | 27.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9504 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.819 | 137302.7013 | 305481.5667 | 59.9307 | 38.1
75728 | 2021-04-07 11:47 | 28.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8051 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137297.7062 | 305461.5044 | 59.9307 | 38.1
75737 | 2021-04-07 11:47 | 28.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8142 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.82 | 137311.898 | 305475.2673 | 59.9307 | 38.1
75746 | 2021-04-07 11:47 | 28.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.8702 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.82 | 137301.9992 | 305466.5763 | 59.9307 | 38.1
75755 | 2021-04-07 11:48 | 29.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7733 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137305.1576 | 305454.4163 | 59.9307 | 38.1
75764 | 2021-04-07 11:48 | 29.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7173 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.824 | 137312.2116 | 305453.2911 | 59.9307 | 38.1
75773 | 2021-04-07 11:48 | 29.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6689 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.826 | 137310.9138 | 305452.7924 | 59.9307 | 38.1
75782 | 2021-04-07 11:49 | 30.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4921 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.831 | 137309.1815 | 305432.1063 | 59.9307 | 38.1
75791 | 2021-04-07 11:49 | 30.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5722 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 137319.766 | 305430.6127 | 59.9307 | 38.1
75800 | 2021-04-07 11:49 | 30.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5888 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.827 | 137322.7379 | 305420.042 | 59.9307 | 38.1
75809 | 2021-04-07 11:50 | 31.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5162 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 137330.2756 | 305430.5017 | 59.9307 | 38.1
75818 | 2021-04-07 11:50 | 31.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4603 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.83 | 137331.1131 | 305415.2513 | 59.9307 | 38.1
75827 | 2021-04-07 11:50 | 31.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4437 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.833 | 137340.6473 | 305404.0129 | 59.9307 | 38.1
75836 | 2021-04-07 11:51 | 32.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3395 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.835 | 137349.7379 | 305404.3305 | 59.9307 | 38.1
75845 | 2021-04-07 11:51 | 32.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2912 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.837 | 137357.443 | 305391.7797 | 59.9307 | 38.1
75854 | 2021-04-07 11:51 | 32.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2594 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.836 | 137369.589 | 305387.1618 | 59.9307 | 38.1
75863 | 2021-04-07 11:52 | 33.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1628 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.84 | 137361.7111 | 305377.4825 | 59.9307 | 38.1
75872 | 2021-04-07 11:52 | 33.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1704 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.842 | 137361.7313 | 305357.6715 | 59.9307 | 38.1
75881 | 2021-04-07 11:52 | 33.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0346 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.843 | 137372.9347 | 305352.032 | 59.9307 | 38.1
75890 | 2021-04-07 11:53 | 34.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9939 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.847 | 137383.261 | 305374.6372 | 59.9307 | 38.1
75899 | 2021-04-07 11:53 | 34.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0104 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.844 | 137373.1223 | 305343.8289 | 59.9307 | 38.1
75908 | 2021-04-07 11:53 | 34.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0029 | μmol/L | 11.4967 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.842 | 137381.0806 | 305352.7795 | 59.9307 | 38.1