## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74973 | 2021-04-07 11:19 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3885 | μmol/L | 11.1365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.075 | 112407.7992 | 220170.0588 | 27.3 | 43.4
74982 | 2021-04-07 11:19 | 0.32741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4437 | μmol/L | 11.1365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.073 | 112392.8309 | 220173.875 | 27.3 | 43.4
74991 | 2021-04-07 11:19 | 0.66033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3503 | μmol/L | 11.1426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.074 | 112379.4399 | 220165.187 | 27.3 | 43.4
75000 | 2021-04-07 11:20 | 0.99413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2294 | μmol/L | 11.1487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.076 | 112359.0572 | 220161.1834 | 27.3 | 43.4
75009 | 2021-04-07 11:20 | 1.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3951 | μmol/L | 11.1487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.07 | 112340.5189 | 220152.2842 | 27.3 | 43.4
75018 | 2021-04-07 11:20 | 1.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3122 | μmol/L | 11.1487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.073 | 112319.8768 | 220146.6763 | 27.3 | 43.4
75027 | 2021-04-07 11:21 | 1.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3189 | μmol/L | 11.1608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.068 | 112303.3429 | 220150.7465 | 27.3 | 43.4
75036 | 2021-04-07 11:21 | 2.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2427 | μmol/L | 11.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.066 | 112291.6428 | 220131.6723 | 27.3 | 43.4
75045 | 2021-04-07 11:21 | 2.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3256 | μmol/L | 11.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.063 | 112263.9179 | 220146.0356 | 27.3 | 43.4
75054 | 2021-04-07 11:22 | 2.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2427 | μmol/L | 11.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.066 | 112233.8522 | 220123.5191 | 27.3 | 43.4
75063 | 2021-04-07 11:22 | 3.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2046 | μmol/L | 11.1791 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.065 | 112223.7088 | 220105.7329 | 27.3 | 43.4
75072 | 2021-04-07 11:22 | 3.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3047 | μmol/L | 11.1852 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.059 | 112210.1513 | 220111.3103 | 27.3 | 43.4
75081 | 2021-04-07 11:23 | 3.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2942 | μmol/L | 11.1913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.057 | 112194.4383 | 220107.4358 | 27.3 | 43.4
75090 | 2021-04-07 11:23 | 4.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1837 | μmol/L | 11.1913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.061 | 112180.1602 | 220095.3347 | 27.3 | 43.4
75099 | 2021-04-07 11:23 | 4.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.239 | μmol/L | 11.1913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.059 | 112170.4663 | 220091.9176 | 27.3 | 43.4
75108 | 2021-04-07 11:24 | 4.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1076 | μmol/L | 11.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.059 | 112155.8426 | 220084.775 | 27.3 | 43.4
75117 | 2021-04-07 11:24 | 5.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1629 | μmol/L | 11.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.057 | 112139.9959 | 220082.2831 | 27.3 | 43.4
75126 | 2021-04-07 11:24 | 5.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1801 | μmol/L | 11.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.054 | 112121.0134 | 220080.0976 | 27.3 | 43.4
75135 | 2021-04-07 11:25 | 5.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1801 | μmol/L | 11.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.054 | 112116.2631 | 220075.0201 | 27.3 | 43.4
75144 | 2021-04-07 11:25 | 6.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1041 | μmol/L | 11.2218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.052 | 112090.8968 | 220061.2882 | 27.3 | 43.4
75153 | 2021-04-07 11:25 | 6.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1144 | μmol/L | 11.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.054 | 112084.4897 | 220044.1351 | 27.3 | 43.4
75162 | 2021-04-07 11:26 | 6.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0384 | μmol/L | 11.2279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.052 | 112069.9925 | 220053.2537 | 27.3 | 43.4
75171 | 2021-04-07 11:26 | 7.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1593 | μmol/L | 11.2218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.05 | 112055.0056 | 220046.997 | 27.3 | 43.4
75180 | 2021-04-07 11:26 | 7.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0557 | μmol/L | 11.234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.049 | 112048.1262 | 220045.7922 | 27.3 | 43.4
75189 | 2021-04-07 11:27 | 7.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9349 | μmol/L | 11.2401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.051 | 112038.7116 | 220032.9209 | 27.3 | 43.4
75198 | 2021-04-07 11:27 | 8.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1006 | μmol/L | 11.2401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.045 | 112023.6247 | 220034.4184 | 27.3 | 43.4
75207 | 2021-04-07 11:27 | 8.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.859 | μmol/L | 11.2523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.049 | 112008.1138 | 220022.7017 | 27.3 | 43.4
75216 | 2021-04-07 11:28 | 8.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.035 | μmol/L | 11.2462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.045 | 111996.7984 | 220014.1813 | 27.3 | 43.4
75225 | 2021-04-07 11:28 | 9.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0522 | μmol/L | 11.2523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.042 | 111988.0078 | 220011.8184 | 27.3 | 43.4
75234 | 2021-04-07 11:28 | 9.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7831 | μmol/L | 11.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.047 | 111973.2534 | 220008.8516 | 27.3 | 43.4
75243 | 2021-04-07 11:29 | 9.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0695 | μmol/L | 11.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.039 | 111961.9061 | 220002.6061 | 27.3 | 43.4
75252 | 2021-04-07 11:29 | 10.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8556 | μmol/L | 11.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.042 | 111943.638 | 219995.8497 | 27.3 | 43.4
75261 | 2021-04-07 11:29 | 10.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8935 | μmol/L | 11.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.043 | 111937.7404 | 219987.457 | 27.3 | 43.4
75270 | 2021-04-07 11:30 | 10.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8729 | μmol/L | 11.2767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.039 | 111917.9396 | 219979.8859 | 27.3 | 43.4
75279 | 2021-04-07 11:30 | 11.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7901 | μmol/L | 11.2767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.042 | 111908.0129 | 219962.2267 | 27.3 | 43.4
75288 | 2021-04-07 11:30 | 11.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0489 | μmol/L | 11.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.035 | 111905.1292 | 219964.1062 | 27.3 | 43.4
75297 | 2021-04-07 11:31 | 11.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.835 | μmol/L | 11.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.038 | 111887.9967 | 219969.2941 | 27.3 | 43.4
75306 | 2021-04-07 11:31 | 12.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0006 | μmol/L | 11.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.032 | 111876.7125 | 219963.7108 | 27.3 | 43.4
75315 | 2021-04-07 11:31 | 12.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.0006 | μmol/L | 11.2828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.032 | 111866.2402 | 219955.3003 | 27.3 | 43.4
75324 | 2021-04-07 11:32 | 12.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7765 | μmol/L | 11.301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.033 | 111852.6167 | 219942.6852 | 27.3 | 43.4
75333 | 2021-04-07 11:32 | 13.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8041 | μmol/L | 11.301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.032 | 111848.876 | 219956.3316 | 27.3 | 43.4
75342 | 2021-04-07 11:32 | 13.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9248 | μmol/L | 11.2949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.03 | 111836.4609 | 219941.9764 | 27.3 | 43.4
75351 | 2021-04-07 11:33 | 13.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8112 | μmol/L | 11.3132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.027 | 111826.8891 | 219943.5637 | 27.3 | 43.4
75360 | 2021-04-07 11:33 | 14.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9422 | μmol/L | 11.301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.027 | 111800.8023 | 219937.3482 | 27.3 | 43.4
75369 | 2021-04-07 11:33 | 14.6605 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.894 | μmol/L | 11.3132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.024 | 111803.1457 | 219926.6709 | 27.3 | 43.4
75378 | 2021-04-07 11:34 | 14.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9043 | μmol/L | 11.3071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.026 | 111789.4575 | 219909.7199 | 27.3 | 43.4
75387 | 2021-04-07 11:34 | 15.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8664 | μmol/L | 11.3132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.025 | 111791.0036 | 219918.2472 | 27.3 | 43.4
75396 | 2021-04-07 11:34 | 15.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9114 | μmol/L | 11.3193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.021 | 111776.9561 | 219908.5102 | 27.3 | 43.4
75405 | 2021-04-07 11:35 | 15.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8838 | μmol/L | 11.3193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.022 | 111764.8766 | 219914.667 | 27.3 | 43.4
75414 | 2021-04-07 11:35 | 16.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8285 | μmol/L | 11.3193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.024 | 111749.4376 | 219900.9729 | 27.3 | 43.4
75423 | 2021-04-07 11:35 | 16.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7907 | μmol/L | 11.3254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.023 | 111736.8441 | 219889.1097 | 27.3 | 43.4
75432 | 2021-04-07 11:36 | 16.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8183 | μmol/L | 11.3254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.022 | 111743.7868 | 219884.1242 | 27.3 | 43.4
75441 | 2021-04-07 11:36 | 17.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7253 | μmol/L | 11.3315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.023 | 111726.5188 | 219887.9686 | 27.3 | 43.4
75450 | 2021-04-07 11:36 | 17.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6977 | μmol/L | 11.3315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.024 | 111710.2029 | 219886.8851 | 27.3 | 43.4
75459 | 2021-04-07 11:37 | 17.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.715 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.021 | 111708.3401 | 219873.5067 | 27.3 | 43.4
75468 | 2021-04-07 11:37 | 18.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.8081 | μmol/L | 11.3315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.02 | 111692.1107 | 219871.4182 | 27.3 | 43.4
75477 | 2021-04-07 11:37 | 18.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7979 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.018 | 111693.0213 | 219851.2716 | 27.3 | 43.4
75486 | 2021-04-07 11:38 | 18.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5566 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.022 | 111687.8012 | 219851.4214 | 27.3 | 43.4
75495 | 2021-04-07 11:38 | 19.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7979 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.018 | 111682.5989 | 219857.4559 | 27.3 | 43.4
75504 | 2021-04-07 11:38 | 19.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6292 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111671.6633 | 219851.8392 | 27.3 | 43.4
75513 | 2021-04-07 11:39 | 19.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6118 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.02 | 111661.9863 | 219848.6193 | 27.3 | 43.4
75522 | 2021-04-07 11:39 | 20.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.574 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.019 | 111653.7677 | 219839.0983 | 27.3 | 43.4
75531 | 2021-04-07 11:39 | 20.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6016 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.018 | 111640.854 | 219834.0738 | 27.3 | 43.4
75540 | 2021-04-07 11:40 | 20.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6292 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111639.8346 | 219831.8473 | 27.3 | 43.4
75549 | 2021-04-07 11:40 | 21.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7018 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.012 | 111636.4191 | 219836.8125 | 27.3 | 43.4
75558 | 2021-04-07 11:40 | 21.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.619 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.015 | 111631.0218 | 219824.1573 | 27.3 | 43.4
75567 | 2021-04-07 11:41 | 21.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.619 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.015 | 111628.9727 | 219816.5435 | 27.3 | 43.4
75576 | 2021-04-07 11:41 | 22.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5812 | μmol/L | 11.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111625.2079 | 219817.4216 | 27.3 | 43.4
75585 | 2021-04-07 11:41 | 22.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5537 | μmol/L | 11.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.015 | 111612.2 | 219809.3361 | 27.3 | 43.4
75594 | 2021-04-07 11:42 | 22.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5812 | μmol/L | 11.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111608.509 | 219794.6856 | 27.3 | 43.4
75603 | 2021-04-07 11:42 | 23.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.423 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.015 | 111603.8332 | 219788.5955 | 27.3 | 43.4
75612 | 2021-04-07 11:42 | 23.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5057 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.012 | 111592.6657 | 219793.8843 | 27.3 | 43.4
75621 | 2021-04-07 11:43 | 23.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3954 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.016 | 111589.7683 | 219774.4113 | 27.3 | 43.4
75630 | 2021-04-07 11:43 | 24.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.5333 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.011 | 111592.5916 | 219783.4283 | 27.3 | 43.4
75639 | 2021-04-07 11:43 | 24.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.4128 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.013 | 111579.4773 | 219763.6343 | 27.3 | 43.4
75648 | 2021-04-07 11:44 | 24.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3852 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111576.3668 | 219763.0165 | 27.3 | 43.4
75657 | 2021-04-07 11:44 | 25.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2648 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.016 | 111565.8276 | 219768.9849 | 27.3 | 43.4
75666 | 2021-04-07 11:44 | 25.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3475 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.013 | 111575.2966 | 219761.6661 | 27.3 | 43.4
75675 | 2021-04-07 11:45 | 25.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2648 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.016 | 111579.4 | 219757.1046 | 27.3 | 43.4
75684 | 2021-04-07 11:45 | 26.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3475 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.013 | 111564.9118 | 219755.4297 | 27.3 | 43.4
75693 | 2021-04-07 11:45 | 26.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.3199 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111555.6167 | 219750.5367 | 27.3 | 43.4
75702 | 2021-04-07 11:46 | 26.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2445 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.012 | 111554.3632 | 219751.2757 | 27.3 | 43.4
75711 | 2021-04-07 11:46 | 27.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.2372 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111544.8205 | 219728.8223 | 27.3 | 43.4
75720 | 2021-04-07 11:46 | 27.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1444 | μmol/L | 11.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.018 | 111551.5374 | 219742.0745 | 27.3 | 43.4
75729 | 2021-04-07 11:47 | 27.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1517 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.013 | 111544.5979 | 219746.4663 | 27.3 | 43.4
75738 | 2021-04-07 11:47 | 28.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.1242 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111535.5482 | 219728.2075 | 27.3 | 43.4
75747 | 2021-04-07 11:47 | 28.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0691 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.016 | 111533.3034 | 219728.9856 | 27.3 | 43.4
75756 | 2021-04-07 11:48 | 28.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0415 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111525.8387 | 219725.1522 | 27.3 | 43.4
75765 | 2021-04-07 11:48 | 29.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0691 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.016 | 111525.3362 | 219729.8689 | 27.3 | 43.4
75774 | 2021-04-07 11:48 | 29.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0314 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.015 | 111523.9274 | 219716.5328 | 27.3 | 43.4
75783 | 2021-04-07 11:49 | 29.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0589 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.014 | 111519.3179 | 219713.8968 | 27.3 | 43.4
75792 | 2021-04-07 11:49 | 30.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.9111 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111518.816 | 219714.1008 | 27.3 | 43.4
75801 | 2021-04-07 11:49 | 30.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.0314 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.015 | 111522.2784 | 219698.4034 | 27.3 | 43.4
75810 | 2021-04-07 11:50 | 30.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.9111 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111522.1207 | 219683.9046 | 27.3 | 43.4
75819 | 2021-04-07 11:50 | 31.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.856 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.019 | 111517.1222 | 219691.0777 | 27.3 | 43.4
75828 | 2021-04-07 11:50 | 31.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.7083 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.022 | 111511.0627 | 219684.9733 | 27.3 | 43.4
75837 | 2021-04-07 11:51 | 31.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.856 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.019 | 111518.6383 | 219691.0156 | 27.3 | 43.4
75846 | 2021-04-07 11:51 | 32.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.8184 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.018 | 111513.0001 | 219681.7462 | 27.3 | 43.4
75855 | 2021-04-07 11:51 | 32.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.7808 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.017 | 111509.2455 | 219681.8408 | 27.3 | 43.4
75864 | 2021-04-07 11:52 | 32.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.7083 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.022 | 111509.8738 | 219674.9723 | 27.3 | 43.4
75873 | 2021-04-07 11:52 | 33.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.5882 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.024 | 111503.0556 | 219668.5211 | 27.3 | 43.4
75882 | 2021-04-07 11:52 | 33.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.6331 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.02 | 111497.8228 | 219668.3037 | 27.3 | 43.4
75891 | 2021-04-07 11:53 | 33.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.5781 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.022 | 111510.1959 | 219647.2254 | 27.3 | 43.4
75900 | 2021-04-07 11:53 | 34.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.6157 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.023 | 111498.5876 | 219639.6117 | 27.3 | 43.4
75909 | 2021-04-07 11:53 | 34.6605 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 321.5332 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.026 | 111505.9228 | 219643.8572 | 27.3 | 43.4