## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74974 | 2021-04-07 11:19 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3246 | μmol/L | 11.2394 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108960.3322 | 304126.7225 | 28.7 | 67.6
74983 | 2021-04-07 11:19 | 0.33408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2452 | μmol/L | 11.2455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108959.3767 | 304122.7407 | 28.7 | 67.6
74992 | 2021-04-07 11:19 | 0.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1497 | μmol/L | 11.2455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108965.8892 | 304130.6924 | 28.7 | 67.6
75001 | 2021-04-07 11:20 | 1.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2691 | μmol/L | 11.2455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108948.9519 | 304123.1895 | 28.7 | 67.6
75010 | 2021-04-07 11:20 | 1.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.142 | μmol/L | 11.2515 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108955.718 | 304119.8756 | 28.7 | 67.6
75019 | 2021-04-07 11:20 | 1.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1658 | μmol/L | 11.2515 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108937.2443 | 304108.8832 | 28.7 | 67.6
75028 | 2021-04-07 11:21 | 2.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0865 | μmol/L | 11.2576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108946.5115 | 304108.8607 | 28.7 | 67.6
75037 | 2021-04-07 11:21 | 2.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0311 | μmol/L | 11.2637 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108933.5903 | 304094.1241 | 28.7 | 67.6
75046 | 2021-04-07 11:21 | 2.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0788 | μmol/L | 11.2637 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108922.0055 | 304075.8969 | 28.7 | 67.6
75055 | 2021-04-07 11:22 | 3.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0311 | μmol/L | 11.2637 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108914.0854 | 304068.0762 | 28.7 | 67.6
75064 | 2021-04-07 11:22 | 3.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9203 | μmol/L | 11.2758 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108911.7657 | 304063.8543 | 28.7 | 67.6
75073 | 2021-04-07 11:22 | 3.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8964 | μmol/L | 11.2758 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108897.9306 | 304045.6548 | 28.7 | 67.6
75082 | 2021-04-07 11:23 | 4.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8887 | μmol/L | 11.2819 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108888.6789 | 304039.849 | 28.7 | 67.6
75091 | 2021-04-07 11:23 | 4.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9287 | μmol/L | 11.288 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108875.7642 | 304039.6523 | 28.7 | 67.6
75100 | 2021-04-07 11:23 | 4.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8572 | μmol/L | 11.288 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108855.7365 | 304020.7841 | 28.7 | 67.6
75109 | 2021-04-07 11:24 | 5.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8733 | μmol/L | 11.294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108848.9952 | 304013.9945 | 28.7 | 67.6
75118 | 2021-04-07 11:24 | 5.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9449 | μmol/L | 11.294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108834.6483 | 303994.3593 | 28.7 | 67.6
75127 | 2021-04-07 11:24 | 5.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.921 | μmol/L | 11.294 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 108815.8283 | 303993.7761 | 28.7 | 67.6
75136 | 2021-04-07 11:25 | 6.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9372 | μmol/L | 11.3001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108809.5188 | 303981.9123 | 28.7 | 67.6
75145 | 2021-04-07 11:25 | 6.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9057 | μmol/L | 11.3062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108778.1874 | 303951.3621 | 28.7 | 67.6
75154 | 2021-04-07 11:25 | 6.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.858 | μmol/L | 11.3062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 108780.9125 | 303966.4178 | 28.7 | 67.6
75163 | 2021-04-07 11:26 | 7.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9057 | μmol/L | 11.3062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108765.7867 | 303964.6035 | 28.7 | 67.6
75172 | 2021-04-07 11:26 | 7.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8665 | μmol/L | 11.3183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108756.1887 | 303934.9101 | 28.7 | 67.6
75181 | 2021-04-07 11:26 | 7.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8112 | μmol/L | 11.3244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108753.7176 | 303928.7392 | 28.7 | 67.6
75190 | 2021-04-07 11:27 | 8.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8112 | μmol/L | 11.3244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108739.8808 | 303925.8739 | 28.7 | 67.6
75199 | 2021-04-07 11:27 | 8.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7397 | μmol/L | 11.3244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108723.4878 | 303915.4322 | 28.7 | 67.6
75208 | 2021-04-07 11:27 | 8.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.732 | μmol/L | 11.3304 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108730.3805 | 303917.1943 | 28.7 | 67.6
75217 | 2021-04-07 11:28 | 9.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7797 | μmol/L | 11.3304 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108728.1547 | 303900.9941 | 28.7 | 67.6
75226 | 2021-04-07 11:28 | 9.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7797 | μmol/L | 11.3304 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108715.7046 | 303889.6227 | 28.7 | 67.6
75235 | 2021-04-07 11:28 | 9.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6767 | μmol/L | 11.3365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108708.2694 | 303867.6671 | 28.7 | 67.6
75244 | 2021-04-07 11:29 | 10.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4785 | μmol/L | 11.3426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 108710.9427 | 303865.5079 | 28.7 | 67.6
75253 | 2021-04-07 11:29 | 10.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6138 | μmol/L | 11.3486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108696.376 | 303859.371 | 28.7 | 67.6
75262 | 2021-04-07 11:29 | 10.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5976 | μmol/L | 11.3426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 108683.5119 | 303834.4227 | 28.7 | 67.6
75271 | 2021-04-07 11:30 | 11.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5586 | μmol/L | 11.3547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108691.7295 | 303834.9553 | 28.7 | 67.6
75280 | 2021-04-07 11:30 | 11.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5033 | μmol/L | 11.3608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108677.4523 | 303808.5961 | 28.7 | 67.6
75289 | 2021-04-07 11:30 | 11.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5347 | μmol/L | 11.3547 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108671.2693 | 303822.1555 | 28.7 | 67.6
75298 | 2021-04-07 11:31 | 12.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4795 | μmol/L | 11.3608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108669.1442 | 303812.9868 | 28.7 | 67.6
75307 | 2021-04-07 11:31 | 12.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.329 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108670.4738 | 303798.4014 | 28.7 | 67.6
75316 | 2021-04-07 11:31 | 12.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.329 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108667.3254 | 303808.4306 | 28.7 | 67.6
75325 | 2021-04-07 11:32 | 13.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4004 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108667.7071 | 303787.3265 | 28.7 | 67.6
75334 | 2021-04-07 11:32 | 13.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3052 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 108660.947 | 303791.0544 | 28.7 | 67.6
75343 | 2021-04-07 11:32 | 13.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.25 | μmol/L | 11.3729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 108652.2089 | 303779.6039 | 28.7 | 67.6
75352 | 2021-04-07 11:33 | 14.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3139 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108653.092 | 303768.9216 | 28.7 | 67.6
75361 | 2021-04-07 11:33 | 14.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1711 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108647.8366 | 303749.1182 | 28.7 | 67.6
75370 | 2021-04-07 11:33 | 14.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1711 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108645.2438 | 303734.1333 | 28.7 | 67.6
75379 | 2021-04-07 11:34 | 15.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2663 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 108651.9303 | 303736.3617 | 28.7 | 67.6
75388 | 2021-04-07 11:34 | 15.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1635 | μmol/L | 11.3851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108647.7461 | 303736.5968 | 28.7 | 67.6
75397 | 2021-04-07 11:34 | 15.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0846 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 108645.2827 | 303729.0702 | 28.7 | 67.6
75406 | 2021-04-07 11:35 | 16.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1559 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 108630.9397 | 303712.8549 | 28.7 | 67.6
75415 | 2021-04-07 11:35 | 16.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0608 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108633.1472 | 303699.4293 | 28.7 | 67.6
75424 | 2021-04-07 11:35 | 16.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9106 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 108634.0895 | 303686.0497 | 28.7 | 67.6
75433 | 2021-04-07 11:36 | 17.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8631 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108630.2424 | 303671.3789 | 28.7 | 67.6
75442 | 2021-04-07 11:36 | 17.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8318 | μmol/L | 11.4033 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108633.9624 | 303682.464 | 28.7 | 67.6
75451 | 2021-04-07 11:36 | 17.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7367 | μmol/L | 11.4033 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108639.007 | 303673.9406 | 28.7 | 67.6
75460 | 2021-04-07 11:37 | 18.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8318 | μmol/L | 11.4033 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108631.6833 | 303655.1454 | 28.7 | 67.6
75469 | 2021-04-07 11:37 | 18.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8004 | μmol/L | 11.4093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 108630.1735 | 303662.4572 | 28.7 | 67.6
75478 | 2021-04-07 11:37 | 18.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6817 | μmol/L | 11.4093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108630.6054 | 303644.4857 | 28.7 | 67.6
75487 | 2021-04-07 11:38 | 19.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6504 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108623.1554 | 303636.3508 | 28.7 | 67.6
75496 | 2021-04-07 11:38 | 19.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5717 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108631.4334 | 303625.6259 | 28.7 | 67.6
75505 | 2021-04-07 11:38 | 19.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6742 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108628.7773 | 303616.7788 | 28.7 | 67.6
75514 | 2021-04-07 11:39 | 20.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5954 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108617.3697 | 303603.2267 | 28.7 | 67.6
75523 | 2021-04-07 11:39 | 20.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5479 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108622.8993 | 303610.1287 | 28.7 | 67.6
75532 | 2021-04-07 11:39 | 20.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5641 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108612.0224 | 303587.5126 | 28.7 | 67.6
75541 | 2021-04-07 11:40 | 21.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5879 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108607.4685 | 303598.1615 | 28.7 | 67.6
75550 | 2021-04-07 11:40 | 21.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.438 | μmol/L | 11.4336 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108611.1071 | 303572.1238 | 28.7 | 67.6
75559 | 2021-04-07 11:40 | 21.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5641 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108604.6592 | 303574.2563 | 28.7 | 67.6
75568 | 2021-04-07 11:41 | 22.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5641 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108608.0454 | 303554.9939 | 28.7 | 67.6
75577 | 2021-04-07 11:41 | 22.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.4142 | μmol/L | 11.4336 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108600.6873 | 303557.958 | 28.7 | 67.6
75586 | 2021-04-07 11:41 | 22.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.4779 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108598.9159 | 303556.755 | 28.7 | 67.6
75595 | 2021-04-07 11:42 | 23.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3356 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108586.9265 | 303537.8236 | 28.7 | 67.6
75604 | 2021-04-07 11:42 | 23.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3593 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108581.9745 | 303522.2658 | 28.7 | 67.6
75613 | 2021-04-07 11:42 | 23.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2806 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108583.3353 | 303519.0758 | 28.7 | 67.6
75622 | 2021-04-07 11:43 | 24.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3518 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108585.39 | 303532.6594 | 28.7 | 67.6
75631 | 2021-04-07 11:43 | 24.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3755 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108580.1456 | 303523.079 | 28.7 | 67.6
75640 | 2021-04-07 11:43 | 24.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2569 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 108568.9493 | 303504.5942 | 28.7 | 67.6
75649 | 2021-04-07 11:44 | 25.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.328 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108562.0097 | 303507.2925 | 28.7 | 67.6
75658 | 2021-04-07 11:44 | 25.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2731 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108565.5814 | 303492.1791 | 28.7 | 67.6
75667 | 2021-04-07 11:44 | 25.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2419 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108561.9247 | 303487.1839 | 28.7 | 67.6
75676 | 2021-04-07 11:45 | 26.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2257 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108546.6943 | 303459.2154 | 28.7 | 67.6
75685 | 2021-04-07 11:45 | 26.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2893 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108545.0989 | 303477.3486 | 28.7 | 67.6
75694 | 2021-04-07 11:45 | 26.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1546 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 108539.5362 | 303473.4573 | 28.7 | 67.6
75703 | 2021-04-07 11:46 | 27.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2344 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108538.6479 | 303463.435 | 28.7 | 67.6
75712 | 2021-04-07 11:46 | 27.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1159 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108528.3795 | 303448.78 | 28.7 | 67.6
75721 | 2021-04-07 11:46 | 27.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1396 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108530.9321 | 303446.8857 | 28.7 | 67.6
75730 | 2021-04-07 11:47 | 28.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0847 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108531.7543 | 303426.9342 | 28.7 | 67.6
75739 | 2021-04-07 11:47 | 28.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1084 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108518.9661 | 303419.9074 | 28.7 | 67.6
75748 | 2021-04-07 11:47 | 28.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.187 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 108526.6323 | 303422.8759 | 28.7 | 67.6
75757 | 2021-04-07 11:48 | 29.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.061 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108514.1232 | 303398.5897 | 28.7 | 67.6
75766 | 2021-04-07 11:48 | 29.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.975 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108508.8704 | 303415.7735 | 28.7 | 67.6
75775 | 2021-04-07 11:48 | 29.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0062 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108504.2194 | 303395.6695 | 28.7 | 67.6
75784 | 2021-04-07 11:49 | 30.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.172 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108495.3535 | 303392.8574 | 28.7 | 67.6
75793 | 2021-04-07 11:49 | 30.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9987 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108496.1794 | 303384.7312 | 28.7 | 67.6
75802 | 2021-04-07 11:49 | 30.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1246 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108496.9594 | 303380.3624 | 28.7 | 67.6
75811 | 2021-04-07 11:50 | 31.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0536 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108495.09 | 303372.2993 | 28.7 | 67.6
75820 | 2021-04-07 11:50 | 31.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.975 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108487.5237 | 303357.0888 | 28.7 | 67.6
75829 | 2021-04-07 11:50 | 31.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9987 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108479.7378 | 303369.3246 | 28.7 | 67.6
75838 | 2021-04-07 11:51 | 32.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.975 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108479.5091 | 303350.2847 | 28.7 | 67.6
75847 | 2021-04-07 11:51 | 32.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.818 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 108464.8954 | 303329.9147 | 28.7 | 67.6
75856 | 2021-04-07 11:51 | 32.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8417 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108461.7902 | 303351.6861 | 28.7 | 67.6
75865 | 2021-04-07 11:52 | 33.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9364 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108464.2003 | 303331.6215 | 28.7 | 67.6
75874 | 2021-04-07 11:52 | 33.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8891 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108460.7133 | 303317.5789 | 28.7 | 67.6
75883 | 2021-04-07 11:52 | 33.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7396 | μmol/L | 11.5004 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 108461.3752 | 303317.8949 | 28.7 | 67.6
75892 | 2021-04-07 11:53 | 34.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7869 | μmol/L | 11.5004 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108453.5346 | 303298.0634 | 28.7 | 67.6
75901 | 2021-04-07 11:53 | 34.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8816 | μmol/L | 11.5004 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108460.3257 | 303300.7097 | 28.7 | 67.6
75910 | 2021-04-07 11:53 | 34.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7707 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 108459.9134 | 303292.1802 | 28.7 | 67.6