## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74975 | 2021-04-07 11:19 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7612 | μmol/L | 11.201 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.717 | 138312.1616 | 278183.9264 | 36.4 | 83.1
74984 | 2021-04-07 11:19 | 0.32645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8805 | μmol/L | 11.2071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.71 | 138277.0088 | 278164.8343 | 36.4 | 83.1
74993 | 2021-04-07 11:19 | 0.66034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.78 | μmol/L | 11.2193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.709 | 138276.8578 | 278179.1307 | 36.4 | 83.1
75002 | 2021-04-07 11:20 | 0.99309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7539 | μmol/L | 11.2193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.71 | 138253.7013 | 278161.3776 | 36.4 | 83.1
75011 | 2021-04-07 11:20 | 1.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6906 | μmol/L | 11.2255 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.71 | 138242.253 | 278147.4075 | 36.4 | 83.1
75020 | 2021-04-07 11:20 | 1.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6534 | μmol/L | 11.2316 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.709 | 138229.9687 | 278129.8495 | 36.4 | 83.1
75029 | 2021-04-07 11:21 | 1.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6162 | μmol/L | 11.2377 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.708 | 138220.0204 | 278134.603 | 36.4 | 83.1
75038 | 2021-04-07 11:21 | 2.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6423 | μmol/L | 11.2377 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.707 | 138196.2149 | 278124.3862 | 36.4 | 83.1
75047 | 2021-04-07 11:21 | 2.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5791 | μmol/L | 11.2438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.707 | 138187.6394 | 278097.5756 | 36.4 | 83.1
75056 | 2021-04-07 11:22 | 2.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7467 | μmol/L | 11.2377 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.703 | 138181.1814 | 278103.1523 | 36.4 | 83.1
75065 | 2021-04-07 11:22 | 3.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7617 | μmol/L | 11.2438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.7 | 138165.8257 | 278092.2779 | 36.4 | 83.1
75074 | 2021-04-07 11:22 | 3.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.583 | μmol/L | 11.256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.702 | 138152.0884 | 278068.3528 | 36.4 | 83.1
75083 | 2021-04-07 11:23 | 3.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5048 | μmol/L | 11.256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.705 | 138136.1438 | 278065.7855 | 36.4 | 83.1
75092 | 2021-04-07 11:23 | 4.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4155 | μmol/L | 11.2621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.706 | 138125.4721 | 278067.2125 | 36.4 | 83.1
75101 | 2021-04-07 11:23 | 4.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4827 | μmol/L | 11.2682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.701 | 138108.342 | 278054.3214 | 36.4 | 83.1
75110 | 2021-04-07 11:24 | 4.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4566 | μmol/L | 11.2682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.702 | 138097.2627 | 278046.6896 | 36.4 | 83.1
75119 | 2021-04-07 11:24 | 5.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4977 | μmol/L | 11.2743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.698 | 138084.7015 | 278028.5979 | 36.4 | 83.1
75128 | 2021-04-07 11:24 | 5.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4084 | μmol/L | 11.2805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.699 | 138067.5521 | 278029.3542 | 36.4 | 83.1
75137 | 2021-04-07 11:25 | 5.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4084 | μmol/L | 11.2805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.699 | 138056.6482 | 278029.9475 | 36.4 | 83.1
75146 | 2021-04-07 11:25 | 6.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3714 | μmol/L | 11.2866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.698 | 138032.1674 | 278009.5993 | 36.4 | 83.1
75155 | 2021-04-07 11:25 | 6.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4606 | μmol/L | 11.2805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.697 | 138025.5731 | 277997.122 | 36.4 | 83.1
75164 | 2021-04-07 11:26 | 6.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3864 | μmol/L | 11.2927 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.695 | 138005.281 | 277984.9488 | 36.4 | 83.1
75173 | 2021-04-07 11:26 | 7.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4386 | μmol/L | 11.2927 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.693 | 137990.0462 | 277993.4509 | 36.4 | 83.1
75182 | 2021-04-07 11:26 | 7.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2862 | μmol/L | 11.3049 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.694 | 137977.4287 | 277974.052 | 36.4 | 83.1
75191 | 2021-04-07 11:27 | 7.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3273 | μmol/L | 11.311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.69 | 137959.4299 | 277957.6476 | 36.4 | 83.1
75200 | 2021-04-07 11:27 | 8.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.197 | μmol/L | 11.311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.695 | 137946.991 | 277954.9112 | 36.4 | 83.1
75209 | 2021-04-07 11:27 | 8.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2903 | μmol/L | 11.3171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.689 | 137922.58 | 277935.3465 | 36.4 | 83.1
75218 | 2021-04-07 11:28 | 8.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3795 | μmol/L | 11.311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.688 | 137913.9044 | 277941.5736 | 36.4 | 83.1
75227 | 2021-04-07 11:28 | 9.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3946 | μmol/L | 11.3171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 137894.8763 | 277930.8143 | 36.4 | 83.1
75236 | 2021-04-07 11:28 | 9.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2011 | μmol/L | 11.3232 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.69 | 137872.0928 | 277930.5553 | 36.4 | 83.1
75245 | 2021-04-07 11:29 | 9.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3575 | μmol/L | 11.3232 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 137868.7354 | 277922.7159 | 36.4 | 83.1
75254 | 2021-04-07 11:29 | 10.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2944 | μmol/L | 11.3293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 137849.0362 | 277910.846 | 36.4 | 83.1
75263 | 2021-04-07 11:29 | 10.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2793 | μmol/L | 11.3232 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.687 | 137837.3639 | 277893.2148 | 36.4 | 83.1
75272 | 2021-04-07 11:30 | 10.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2944 | μmol/L | 11.3293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.684 | 137820.7856 | 277884.9705 | 36.4 | 83.1
75281 | 2021-04-07 11:30 | 11.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2574 | μmol/L | 11.3355 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 137813.6078 | 277888.3471 | 36.4 | 83.1
75290 | 2021-04-07 11:30 | 11.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2574 | μmol/L | 11.3355 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 137808.2366 | 277885.1092 | 36.4 | 83.1
75299 | 2021-04-07 11:31 | 11.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1313 | μmol/L | 11.3477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.683 | 137792.9237 | 277872.1019 | 36.4 | 83.1
75308 | 2021-04-07 11:31 | 12.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1573 | μmol/L | 11.3477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.682 | 137776.2439 | 277863.295 | 36.4 | 83.1
75317 | 2021-04-07 11:31 | 12.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1203 | μmol/L | 11.3538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.681 | 137768.9353 | 277865.0163 | 36.4 | 83.1
75326 | 2021-04-07 11:32 | 12.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1876 | μmol/L | 11.3599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.676 | 137745.4892 | 277855.2084 | 36.4 | 83.1
75335 | 2021-04-07 11:32 | 13.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1725 | μmol/L | 11.3538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.679 | 137733.477 | 277848.7973 | 36.4 | 83.1
75344 | 2021-04-07 11:32 | 13.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1725 | μmol/L | 11.3538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.679 | 137732.6351 | 277836.5653 | 36.4 | 83.1
75353 | 2021-04-07 11:33 | 13.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1876 | μmol/L | 11.3599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.676 | 137704.5404 | 277824.2975 | 36.4 | 83.1
75362 | 2021-04-07 11:33 | 14.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1506 | μmol/L | 11.366 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.675 | 137695.041 | 277810.0632 | 36.4 | 83.1
75371 | 2021-04-07 11:33 | 14.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2549 | μmol/L | 11.366 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.671 | 137667.7642 | 277807.6953 | 36.4 | 83.1
75380 | 2021-04-07 11:34 | 14.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1137 | μmol/L | 11.3721 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.674 | 137657.4772 | 277803.0067 | 36.4 | 83.1
75389 | 2021-04-07 11:34 | 15.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0767 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.673 | 137645.7528 | 277802.9098 | 36.4 | 83.1
75398 | 2021-04-07 11:34 | 15.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.207 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 137617.759 | 277766.6997 | 36.4 | 83.1
75407 | 2021-04-07 11:35 | 15.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.181 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 137616.6033 | 277782.0333 | 36.4 | 83.1
75416 | 2021-04-07 11:35 | 16.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1071 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.667 | 137603.0656 | 277774.639 | 36.4 | 83.1
75425 | 2021-04-07 11:35 | 16.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0549 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 137582.2852 | 277762.2865 | 36.4 | 83.1
75434 | 2021-04-07 11:36 | 16.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.018 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 137570.7773 | 277752.7335 | 36.4 | 83.1
75443 | 2021-04-07 11:36 | 17.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0549 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 137562.5584 | 277760.3502 | 36.4 | 83.1
75452 | 2021-04-07 11:36 | 17.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1114 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.662 | 137542.046 | 277741.4033 | 36.4 | 83.1
75461 | 2021-04-07 11:37 | 17.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0962 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.665 | 137523.8873 | 277740.3162 | 36.4 | 83.1
75470 | 2021-04-07 11:37 | 18.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0332 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.665 | 137520.5199 | 277728.1196 | 36.4 | 83.1
75479 | 2021-04-07 11:37 | 18.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2635 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.661 | 137517.5872 | 277738.2465 | 36.4 | 83.1
75488 | 2021-04-07 11:38 | 18.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0332 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.665 | 137499.8633 | 277727.2299 | 36.4 | 83.1
75497 | 2021-04-07 11:38 | 19.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1114 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.662 | 137504.5251 | 277709.8194 | 36.4 | 83.1
75506 | 2021-04-07 11:38 | 19.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0224 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.663 | 137477.1925 | 277696.4691 | 36.4 | 83.1
75515 | 2021-04-07 11:39 | 19.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0484 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.662 | 137467.1891 | 277682.6305 | 36.4 | 83.1
75524 | 2021-04-07 11:39 | 20.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9486 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.661 | 137464.094 | 277686.7381 | 36.4 | 83.1
75533 | 2021-04-07 11:39 | 20.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0376 | μmol/L | 11.4149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.66 | 137456.9962 | 277687.3716 | 36.4 | 83.1
75542 | 2021-04-07 11:40 | 20.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0007 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.659 | 137445.4403 | 277681.0687 | 36.4 | 83.1
75551 | 2021-04-07 11:40 | 21.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0115 | μmol/L | 11.4149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.661 | 137439.9446 | 277676.1091 | 36.4 | 83.1
75560 | 2021-04-07 11:40 | 21.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0528 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.657 | 137430.1406 | 277650.0871 | 36.4 | 83.1
75569 | 2021-04-07 11:41 | 21.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9117 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.66 | 137416.402 | 277645.8285 | 36.4 | 83.1
75578 | 2021-04-07 11:41 | 22.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9898 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.657 | 137398.5709 | 277638.5342 | 36.4 | 83.1
75587 | 2021-04-07 11:41 | 22.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9377 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.659 | 137387.429 | 277637.1094 | 36.4 | 83.1
75596 | 2021-04-07 11:42 | 22.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.979 | μmol/L | 11.4332 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.655 | 137370.6616 | 277633.4525 | 36.4 | 83.1
75605 | 2021-04-07 11:42 | 23.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9161 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.655 | 137361.9525 | 277613.8895 | 36.4 | 83.1
75614 | 2021-04-07 11:42 | 23.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9422 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.654 | 137340.8165 | 277625.3695 | 36.4 | 83.1
75623 | 2021-04-07 11:43 | 23.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0572 | μmol/L | 11.4332 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.652 | 137330.6024 | 277627.3142 | 36.4 | 83.1
75632 | 2021-04-07 11:43 | 24.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9835 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.65 | 137309.3221 | 277613.8283 | 36.4 | 83.1
75641 | 2021-04-07 11:43 | 24.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0095 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.649 | 137291.5084 | 277606.5027 | 36.4 | 83.1
75650 | 2021-04-07 11:44 | 24.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9206 | μmol/L | 11.4516 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.65 | 137273.1029 | 277601.1895 | 36.4 | 83.1
75659 | 2021-04-07 11:44 | 25.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0878 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.646 | 137265.7321 | 277586.3545 | 36.4 | 83.1
75668 | 2021-04-07 11:44 | 25.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0617 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.647 | 137271.0025 | 277597.6005 | 36.4 | 83.1
75677 | 2021-04-07 11:45 | 25.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9358 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.647 | 137250.7341 | 277578.4445 | 36.4 | 83.1
75686 | 2021-04-07 11:45 | 26.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.103 | μmol/L | 11.4516 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.643 | 137239.7623 | 277565.3335 | 36.4 | 83.1
75695 | 2021-04-07 11:45 | 26.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0662 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.642 | 137233.4982 | 277570.6056 | 36.4 | 83.1
75704 | 2021-04-07 11:46 | 26.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0923 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 137240.1285 | 277567.5029 | 36.4 | 83.1
75713 | 2021-04-07 11:46 | 27.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.014 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.644 | 137229.6513 | 277567.9708 | 36.4 | 83.1
75722 | 2021-04-07 11:46 | 27.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8622 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.645 | 137221.0189 | 277552.8154 | 36.4 | 83.1
75731 | 2021-04-07 11:47 | 27.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9511 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.644 | 137211.6192 | 277550.5287 | 36.4 | 83.1
75740 | 2021-04-07 11:47 | 28.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9143 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.643 | 137205.3115 | 277537.431 | 36.4 | 83.1
75749 | 2021-04-07 11:47 | 28.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7993 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.645 | 137202.4024 | 277532.3643 | 36.4 | 83.1
75758 | 2021-04-07 11:48 | 28.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9035 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 137182.4893 | 277524.1364 | 36.4 | 83.1
75767 | 2021-04-07 11:48 | 29.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8514 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.643 | 137183.0895 | 277521.6812 | 36.4 | 83.1
75776 | 2021-04-07 11:48 | 29.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6951 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.649 | 137170.6655 | 277505.2718 | 36.4 | 83.1
75785 | 2021-04-07 11:49 | 29.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9035 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 137166.2795 | 277508.4352 | 36.4 | 83.1
75794 | 2021-04-07 11:49 | 30.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7886 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.643 | 137161.8679 | 277507.686 | 36.4 | 83.1
75803 | 2021-04-07 11:49 | 30.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8146 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.642 | 137152.3529 | 277494.2084 | 36.4 | 83.1
75812 | 2021-04-07 11:50 | 30.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7257 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.643 | 137140.1612 | 277497.8502 | 36.4 | 83.1
75821 | 2021-04-07 11:50 | 31.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8146 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.642 | 137130.6466 | 277493.6281 | 36.4 | 83.1
75830 | 2021-04-07 11:50 | 31.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7778 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 137118.3955 | 277487.3204 | 36.4 | 83.1
75839 | 2021-04-07 11:51 | 31.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8667 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.64 | 137103.6681 | 277465.2973 | 36.4 | 83.1
75848 | 2021-04-07 11:51 | 32.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.715 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 137089.9506 | 277452.6037 | 36.4 | 83.1
75857 | 2021-04-07 11:51 | 32.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7824 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.636 | 137073.2206 | 277455.9484 | 36.4 | 83.1
75866 | 2021-04-07 11:52 | 32.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.856 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.638 | 137069.997 | 277451.8322 | 36.4 | 83.1
75875 | 2021-04-07 11:52 | 33.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7671 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.639 | 137052.1555 | 277442.236 | 36.4 | 83.1
75884 | 2021-04-07 11:52 | 33.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8085 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.635 | 137047.2585 | 277446.3774 | 36.4 | 83.1
75893 | 2021-04-07 11:53 | 33.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8085 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.635 | 137029.9816 | 277438.4198 | 36.4 | 83.1
75902 | 2021-04-07 11:53 | 34.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8606 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.633 | 137024.8854 | 277435.5131 | 36.4 | 83.1
75911 | 2021-04-07 11:53 | 34.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8606 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.633 | 137011.4759 | 277421.6429 | 36.4 | 83.1