## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74976 | 2021-04-07 11:19 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7733 | μmol/L | 11.2044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.126 | 111709.9541 | 306435.9452 | 30.45 | 114.2
74985 | 2021-04-07 11:19 | 0.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7093 | μmol/L | 11.2166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.124 | 111704.9793 | 306450.7739 | 30.45 | 114.2
74994 | 2021-04-07 11:20 | 0.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7721 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.119 | 111684.1274 | 306430.0351 | 30.45 | 114.2
75003 | 2021-04-07 11:20 | 0.99683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6774 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.123 | 111670.5632 | 306420.9741 | 30.45 | 114.2
75012 | 2021-04-07 11:20 | 1.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6454 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.122 | 111652.4264 | 306417.2422 | 30.45 | 114.2
75021 | 2021-04-07 11:21 | 1.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6608 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.119 | 111638.5589 | 306398.6051 | 30.45 | 114.2
75030 | 2021-04-07 11:21 | 1.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5898 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.122 | 111618.7464 | 306385.4345 | 30.45 | 114.2
75039 | 2021-04-07 11:21 | 2.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5578 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.121 | 111600.0973 | 306378.9217 | 30.45 | 114.2
75048 | 2021-04-07 11:22 | 2.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6763 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.116 | 111598.3068 | 306369.6148 | 30.45 | 114.2
75057 | 2021-04-07 11:22 | 2.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6763 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.116 | 111580.2607 | 306375.6608 | 30.45 | 114.2
75066 | 2021-04-07 11:22 | 3.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.565 | μmol/L | 11.2534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.116 | 111567.4856 | 306357.9602 | 30.45 | 114.2
75075 | 2021-04-07 11:23 | 3.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7154 | μmol/L | 11.2473 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.112 | 111554.9562 | 306350.8843 | 30.45 | 114.2
75084 | 2021-04-07 11:23 | 3.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7391 | μmol/L | 11.2473 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.111 | 111540.9893 | 306327.7646 | 30.45 | 114.2
75093 | 2021-04-07 11:23 | 4.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6598 | μmol/L | 11.2534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.112 | 111524.251 | 306315.4307 | 30.45 | 114.2
75102 | 2021-04-07 11:24 | 4.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5959 | μmol/L | 11.2657 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.11 | 111507.4921 | 306307.2077 | 30.45 | 114.2
75111 | 2021-04-07 11:24 | 4.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6279 | μmol/L | 11.2595 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.111 | 111494.8809 | 306303.3217 | 30.45 | 114.2
75120 | 2021-04-07 11:24 | 5.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6351 | μmol/L | 11.2718 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.106 | 111476.8918 | 306280.8065 | 30.45 | 114.2
75129 | 2021-04-07 11:25 | 5.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6351 | μmol/L | 11.2718 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.106 | 111471.8689 | 306289.2069 | 30.45 | 114.2
75138 | 2021-04-07 11:25 | 5.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.564 | μmol/L | 11.2718 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.109 | 111455.9644 | 306268.4571 | 30.45 | 114.2
75147 | 2021-04-07 11:25 | 6.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6032 | μmol/L | 11.2779 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.105 | 111450.5008 | 306242.7502 | 30.45 | 114.2
75156 | 2021-04-07 11:26 | 6.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5877 | μmol/L | 11.2718 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.108 | 111434.3661 | 306248.5718 | 30.45 | 114.2
75165 | 2021-04-07 11:26 | 6.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4684 | μmol/L | 11.2902 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.106 | 111428.8215 | 306235.5398 | 30.45 | 114.2
75174 | 2021-04-07 11:26 | 7.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6816 | μmol/L | 11.2902 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.097 | 111406.6849 | 306224.1651 | 30.45 | 114.2
75183 | 2021-04-07 11:27 | 7.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4839 | μmol/L | 11.2963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.103 | 111398.716 | 306205.923 | 30.45 | 114.2
75192 | 2021-04-07 11:27 | 7.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5076 | μmol/L | 11.2963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.102 | 111387.9438 | 306203.7636 | 30.45 | 114.2
75201 | 2021-04-07 11:27 | 8.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4438 | μmol/L | 11.3086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.1 | 111381.8998 | 306194.7838 | 30.45 | 114.2
75210 | 2021-04-07 11:28 | 8.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6023 | μmol/L | 11.2963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.098 | 111367.7272 | 306184.814 | 30.45 | 114.2
75219 | 2021-04-07 11:28 | 8.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4357 | μmol/L | 11.3147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.098 | 111353.474 | 306169.7302 | 30.45 | 114.2
75228 | 2021-04-07 11:28 | 9.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5386 | μmol/L | 11.3086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.096 | 111338.7671 | 306158.6539 | 30.45 | 114.2
75237 | 2021-04-07 11:29 | 9.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6652 | μmol/L | 11.3025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.093 | 111333.6593 | 306154.5369 | 30.45 | 114.2
75246 | 2021-04-07 11:29 | 9.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5067 | μmol/L | 11.3147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.095 | 111322.7782 | 306155.7314 | 30.45 | 114.2
75255 | 2021-04-07 11:29 | 10.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4512 | μmol/L | 11.3208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.095 | 111314.5505 | 306142.9765 | 30.45 | 114.2
75264 | 2021-04-07 11:30 | 10.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4194 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.094 | 111290.5842 | 306137.0665 | 30.45 | 114.2
75273 | 2021-04-07 11:30 | 10.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5378 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.089 | 111293.042 | 306123.5621 | 30.45 | 114.2
75282 | 2021-04-07 11:30 | 11.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.443 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.093 | 111280.2927 | 306110.4643 | 30.45 | 114.2
75291 | 2021-04-07 11:31 | 11.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5378 | μmol/L | 11.327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.089 | 111263.8938 | 306112.0815 | 30.45 | 114.2
75300 | 2021-04-07 11:31 | 11.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4823 | μmol/L | 11.3331 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.089 | 111263.0203 | 306100.2106 | 30.45 | 114.2
75309 | 2021-04-07 11:31 | 12.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5533 | μmol/L | 11.3331 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.086 | 111247.4813 | 306082.2658 | 30.45 | 114.2
75318 | 2021-04-07 11:32 | 12.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4978 | μmol/L | 11.3392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.086 | 111239.9598 | 306075.1299 | 30.45 | 114.2
75327 | 2021-04-07 11:32 | 12.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3476 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.09 | 111226.4153 | 306080.9533 | 30.45 | 114.2
75336 | 2021-04-07 11:32 | 13.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4423 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.086 | 111222.9126 | 306066.4932 | 30.45 | 114.2
75345 | 2021-04-07 11:33 | 13.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.466 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.085 | 111210.2599 | 306055.8454 | 30.45 | 114.2
75354 | 2021-04-07 11:33 | 13.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3631 | μmol/L | 11.3515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.087 | 111202.7834 | 306052.966 | 30.45 | 114.2
75363 | 2021-04-07 11:33 | 14.3299 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5371 | μmol/L | 11.3454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 111184.7065 | 306044.5696 | 30.45 | 114.2
75372 | 2021-04-07 11:34 | 14.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4816 | μmol/L | 11.3515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 111185.5916 | 306036.1173 | 30.45 | 114.2
75381 | 2021-04-07 11:34 | 14.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4734 | μmol/L | 11.3576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.08 | 111166.0783 | 306018.3227 | 30.45 | 114.2
75390 | 2021-04-07 11:34 | 15.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4261 | μmol/L | 11.3576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.082 | 111155.0999 | 306018.7697 | 30.45 | 114.2
75399 | 2021-04-07 11:35 | 15.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5127 | μmol/L | 11.3638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.076 | 111148.2058 | 306006.7819 | 30.45 | 114.2
75408 | 2021-04-07 11:35 | 15.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5127 | μmol/L | 11.3638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.076 | 111132.5136 | 305995.4481 | 30.45 | 114.2
75417 | 2021-04-07 11:35 | 16.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5046 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.074 | 111116.1528 | 305968.4531 | 30.45 | 114.2
75426 | 2021-04-07 11:36 | 16.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5601 | μmol/L | 11.3638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.074 | 111113.7512 | 305979.9358 | 30.45 | 114.2
75435 | 2021-04-07 11:36 | 16.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5046 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.074 | 111109.2808 | 305961.8886 | 30.45 | 114.2
75444 | 2021-04-07 11:36 | 17.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4335 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.077 | 111110.3627 | 305961.3979 | 30.45 | 114.2
75453 | 2021-04-07 11:37 | 17.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4491 | μmol/L | 11.376 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.074 | 111092.436 | 305950.2655 | 30.45 | 114.2
75462 | 2021-04-07 11:37 | 17.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4809 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.075 | 111100.0281 | 305941.469 | 30.45 | 114.2
75471 | 2021-04-07 11:37 | 18.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4809 | μmol/L | 11.3699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.075 | 111091.8229 | 305946.6435 | 30.45 | 114.2
75480 | 2021-04-07 11:38 | 18.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4018 | μmol/L | 11.376 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.076 | 111083.965 | 305934.9745 | 30.45 | 114.2
75489 | 2021-04-07 11:38 | 18.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.37 | μmol/L | 11.3821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.075 | 111069.4099 | 305923.3703 | 30.45 | 114.2
75498 | 2021-04-07 11:38 | 19.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4411 | μmol/L | 11.3821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.072 | 111067.7644 | 305918.1351 | 30.45 | 114.2
75507 | 2021-04-07 11:39 | 19.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3145 | μmol/L | 11.3883 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.075 | 111061.2109 | 305896.7918 | 30.45 | 114.2
75516 | 2021-04-07 11:39 | 19.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4411 | μmol/L | 11.3821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.072 | 111058.1848 | 305900.7302 | 30.45 | 114.2
75525 | 2021-04-07 11:39 | 20.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3538 | μmol/L | 11.3944 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 111045.1108 | 305888.8521 | 30.45 | 114.2
75534 | 2021-04-07 11:40 | 20.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4168 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.066 | 111044.4755 | 305885.7826 | 30.45 | 114.2
75543 | 2021-04-07 11:40 | 20.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3302 | μmol/L | 11.3944 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.072 | 111036.3161 | 305879.6957 | 30.45 | 114.2
75552 | 2021-04-07 11:40 | 21.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2747 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.072 | 111021.0859 | 305860.4955 | 30.45 | 114.2
75561 | 2021-04-07 11:41 | 21.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.243 | μmol/L | 11.4067 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 111015.3384 | 305856.4918 | 30.45 | 114.2
75570 | 2021-04-07 11:41 | 21.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3458 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 111006.2832 | 305849.0533 | 30.45 | 114.2
75579 | 2021-04-07 11:41 | 22.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3695 | μmol/L | 11.4005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.068 | 111009.6081 | 305827.3098 | 30.45 | 114.2
75588 | 2021-04-07 11:42 | 22.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2903 | μmol/L | 11.4067 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110997.5876 | 305854.9358 | 30.45 | 114.2
75597 | 2021-04-07 11:42 | 22.9966 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1876 | μmol/L | 11.4128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 111005.4058 | 305831.9562 | 30.45 | 114.2
75606 | 2021-04-07 11:42 | 23.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2903 | μmol/L | 11.4067 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110994.123 | 305826.3476 | 30.45 | 114.2
75615 | 2021-04-07 11:43 | 23.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2823 | μmol/L | 11.4128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110989.6671 | 305814.0676 | 30.45 | 114.2
75624 | 2021-04-07 11:43 | 23.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2349 | μmol/L | 11.4128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110981.8657 | 305803.3663 | 30.45 | 114.2
75633 | 2021-04-07 11:43 | 24.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2586 | μmol/L | 11.4128 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.068 | 110981.669 | 305795.7292 | 30.45 | 114.2
75642 | 2021-04-07 11:44 | 24.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1322 | μmol/L | 11.4189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 110974.159 | 305807.9924 | 30.45 | 114.2
75651 | 2021-04-07 11:44 | 24.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1795 | μmol/L | 11.4189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110963.1066 | 305768.5335 | 30.45 | 114.2
75660 | 2021-04-07 11:44 | 25.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2662 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.063 | 110960.1972 | 305782.6108 | 30.45 | 114.2
75669 | 2021-04-07 11:45 | 25.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1715 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110955.451 | 305771.447 | 30.45 | 114.2
75678 | 2021-04-07 11:45 | 25.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2032 | μmol/L | 11.4189 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.068 | 110947.1074 | 305763.5772 | 30.45 | 114.2
75687 | 2021-04-07 11:45 | 26.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1242 | μmol/L | 11.4251 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110943.7269 | 305752.0579 | 30.45 | 114.2
75696 | 2021-04-07 11:46 | 26.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1161 | μmol/L | 11.4312 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110936.7427 | 305747.2701 | 30.45 | 114.2
75705 | 2021-04-07 11:46 | 26.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0135 | μmol/L | 11.4373 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110936.0833 | 305738.1948 | 30.45 | 114.2
75714 | 2021-04-07 11:46 | 27.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0844 | μmol/L | 11.4373 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.066 | 110933.3534 | 305747.1563 | 30.45 | 114.2
75723 | 2021-04-07 11:47 | 27.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9818 | μmol/L | 11.4434 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.068 | 110922.2004 | 305718.4594 | 30.45 | 114.2
75732 | 2021-04-07 11:47 | 27.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1081 | μmol/L | 11.4373 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.065 | 110921.262 | 305724.7981 | 30.45 | 114.2
75741 | 2021-04-07 11:47 | 28.33 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0054 | μmol/L | 11.4434 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110917.0221 | 305716.3649 | 30.45 | 114.2
75750 | 2021-04-07 11:48 | 28.6632 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9501 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110915.057 | 305693.7538 | 30.45 | 114.2
75759 | 2021-04-07 11:48 | 28.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0211 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.064 | 110913.3933 | 305701.8017 | 30.45 | 114.2
75768 | 2021-04-07 11:48 | 29.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9501 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110912.5719 | 305685.6446 | 30.45 | 114.2
75777 | 2021-04-07 11:49 | 29.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9028 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110906.6634 | 305686.7609 | 30.45 | 114.2
75786 | 2021-04-07 11:49 | 29.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0211 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.064 | 110899.5733 | 305676.147 | 30.45 | 114.2
75795 | 2021-04-07 11:49 | 30.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0211 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.064 | 110899.7691 | 305682.9381 | 30.45 | 114.2
75804 | 2021-04-07 11:50 | 30.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9421 | μmol/L | 11.4557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.065 | 110895.4799 | 305673.4307 | 30.45 | 114.2
75813 | 2021-04-07 11:50 | 30.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8948 | μmol/L | 11.4557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.067 | 110887.1451 | 305657.0804 | 30.45 | 114.2
75822 | 2021-04-07 11:50 | 31.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7923 | μmol/L | 11.4618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110893.8047 | 305649.0664 | 30.45 | 114.2
75831 | 2021-04-07 11:51 | 31.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7923 | μmol/L | 11.4618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110878.8931 | 305640.9172 | 30.45 | 114.2
75840 | 2021-04-07 11:51 | 31.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.737 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110887.4526 | 305637.127 | 30.45 | 114.2
75849 | 2021-04-07 11:51 | 32.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7923 | μmol/L | 11.4618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.069 | 110879.158 | 305625.7965 | 30.45 | 114.2
75858 | 2021-04-07 11:52 | 32.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7606 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.068 | 110868.7634 | 305630.4086 | 30.45 | 114.2
75867 | 2021-04-07 11:52 | 32.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8079 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.066 | 110863.8633 | 305609.7466 | 30.45 | 114.2
75876 | 2021-04-07 11:52 | 33.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6897 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.071 | 110859.7173 | 305618.4363 | 30.45 | 114.2
75885 | 2021-04-07 11:53 | 33.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8079 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.066 | 110844.2646 | 305597.8271 | 30.45 | 114.2
75894 | 2021-04-07 11:53 | 33.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9025 | μmol/L | 11.468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.062 | 110840.3264 | 305600.5175 | 30.45 | 114.2
75903 | 2021-04-07 11:53 | 34.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7763 | μmol/L | 11.4741 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.065 | 110833.9214 | 305592.9669 | 30.45 | 114.2
75912 | 2021-04-07 11:54 | 34.6633 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7526 | μmol/L | 11.4741 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.066 | 110825.2565 | 305581.9589 | 30.45 | 114.2