## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74978 | 2021-04-07 11:19 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.845 | μmol/L | 11.3281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.001 | 158790.9845 | 315776.324 | 33.25 | 68.6
74987 | 2021-04-07 11:19 | 0.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9832 | μmol/L | 11.3281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.995 | 158764.7982 | 315794.6585 | 33.25 | 68.6
74996 | 2021-04-07 11:20 | 0.66026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9832 | μmol/L | 11.3281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.995 | 158728.112 | 315773.9695 | 33.25 | 68.6
75005 | 2021-04-07 11:20 | 0.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.8801 | μmol/L | 11.3342 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.997 | 158715.2849 | 315791.2459 | 33.25 | 68.6
75014 | 2021-04-07 11:20 | 1.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.9032 | μmol/L | 11.3342 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.996 | 158706.9845 | 315768.3423 | 33.25 | 68.6
75023 | 2021-04-07 11:21 | 1.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.628 | μmol/L | 11.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.003 | 158721.8676 | 315757.7158 | 33.25 | 68.6
75032 | 2021-04-07 11:21 | 1.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.5711 | μmol/L | 11.3524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.003 | 158737.4944 | 315754.9521 | 33.25 | 68.6
75041 | 2021-04-07 11:21 | 2.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4791 | μmol/L | 11.3524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.007 | 158761.3006 | 315730.514 | 33.25 | 68.6
75050 | 2021-04-07 11:22 | 2.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3992 | μmol/L | 11.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.008 | 158765.7404 | 315715.7678 | 33.25 | 68.6
75059 | 2021-04-07 11:22 | 2.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2504 | μmol/L | 11.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.012 | 158770.9213 | 315714.1412 | 33.25 | 68.6
75068 | 2021-04-07 11:22 | 3.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3302 | μmol/L | 11.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.011 | 158765.3987 | 315699.6145 | 33.25 | 68.6
75077 | 2021-04-07 11:23 | 3.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2274 | μmol/L | 11.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.013 | 158748.3082 | 315677.2304 | 33.25 | 68.6
75086 | 2021-04-07 11:23 | 3.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2625 | μmol/L | 11.3706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.009 | 158725.5705 | 315660.0787 | 33.25 | 68.6
75095 | 2021-04-07 11:23 | 4.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1367 | μmol/L | 11.3767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.012 | 158704.1081 | 315639.5465 | 33.25 | 68.6
75104 | 2021-04-07 11:24 | 4.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1718 | μmol/L | 11.3828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.008 | 158679.0968 | 315638.8771 | 33.25 | 68.6
75113 | 2021-04-07 11:24 | 4.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2516 | μmol/L | 11.3767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.007 | 158651.2022 | 315628.6621 | 33.25 | 68.6
75122 | 2021-04-07 11:24 | 5.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3326 | μmol/L | 11.3828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.001 | 158622.9652 | 315623.4148 | 33.25 | 68.6
75131 | 2021-04-07 11:25 | 5.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2758 | μmol/L | 11.3888 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.001 | 158601.4319 | 315596.9765 | 33.25 | 68.6
75140 | 2021-04-07 11:25 | 5.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2649 | μmol/L | 11.3949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.999 | 158567.7992 | 315588.9413 | 33.25 | 68.6
75149 | 2021-04-07 11:25 | 6.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3339 | μmol/L | 11.3949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.996 | 158531.1374 | 315580.2496 | 33.25 | 68.6
75158 | 2021-04-07 11:26 | 6.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.4488 | μmol/L | 11.3949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.991 | 158512.5959 | 315559.6877 | 33.25 | 68.6
75167 | 2021-04-07 11:26 | 6.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.346 | μmol/L | 11.401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.993 | 158491.6711 | 315559.2795 | 33.25 | 68.6
75176 | 2021-04-07 11:26 | 7.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3121 | μmol/L | 11.4071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.992 | 158471.3499 | 315549.4028 | 33.25 | 68.6
75185 | 2021-04-07 11:27 | 7.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2892 | μmol/L | 11.4071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.993 | 158455.6631 | 315526.3763 | 33.25 | 68.6
75194 | 2021-04-07 11:27 | 7.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3013 | μmol/L | 11.4131 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.99 | 158436.7041 | 315516.9562 | 33.25 | 68.6
75203 | 2021-04-07 11:27 | 8.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.3013 | μmol/L | 11.4131 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.99 | 158428.8204 | 315519.3151 | 33.25 | 68.6
75212 | 2021-04-07 11:28 | 8.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2675 | μmol/L | 11.4192 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.989 | 158423.0314 | 315504.4383 | 33.25 | 68.6
75221 | 2021-04-07 11:28 | 8.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2445 | μmol/L | 11.4192 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.99 | 158408.5006 | 315492.1206 | 33.25 | 68.6
75230 | 2021-04-07 11:28 | 9.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2675 | μmol/L | 11.4192 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.989 | 158406.0237 | 315475.0883 | 33.25 | 68.6
75239 | 2021-04-07 11:29 | 9.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2107 | μmol/L | 11.4253 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.989 | 158386.7186 | 315481.0636 | 33.25 | 68.6
75248 | 2021-04-07 11:29 | 9.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2796 | μmol/L | 11.4253 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.986 | 158381.5187 | 315466.2405 | 33.25 | 68.6
75257 | 2021-04-07 11:29 | 10.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.166 | μmol/L | 11.4374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.986 | 158364.5612 | 315456.9652 | 33.25 | 68.6
75266 | 2021-04-07 11:30 | 10.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1769 | μmol/L | 11.4313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.988 | 158343.5384 | 315433.2316 | 33.25 | 68.6
75275 | 2021-04-07 11:30 | 10.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.166 | μmol/L | 11.4374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.986 | 158345.7654 | 315424.7508 | 33.25 | 68.6
75284 | 2021-04-07 11:30 | 11.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1782 | μmol/L | 11.4435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.983 | 158318.4967 | 315423.9163 | 33.25 | 68.6
75293 | 2021-04-07 11:31 | 11.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1782 | μmol/L | 11.4435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.983 | 158311.026 | 315417.5644 | 33.25 | 68.6
75302 | 2021-04-07 11:31 | 11.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1323 | μmol/L | 11.4435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.985 | 158285.3431 | 315404.8152 | 33.25 | 68.6
75311 | 2021-04-07 11:31 | 12.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1552 | μmol/L | 11.4435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.984 | 158269.5723 | 315377.6031 | 33.25 | 68.6
75320 | 2021-04-07 11:32 | 12.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.2134 | μmol/L | 11.4496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 158255.0484 | 315384.7883 | 33.25 | 68.6
75329 | 2021-04-07 11:32 | 12.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1107 | μmol/L | 11.4556 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.981 | 158239.4821 | 315375.6602 | 33.25 | 68.6
75338 | 2021-04-07 11:32 | 13.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1107 | μmol/L | 11.4556 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.981 | 158235.1854 | 315371.7451 | 33.25 | 68.6
75347 | 2021-04-07 11:33 | 13.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.1336 | μmol/L | 11.4556 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.98 | 158227.813 | 315364.9412 | 33.25 | 68.6
75356 | 2021-04-07 11:33 | 13.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.985 | μmol/L | 11.4617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.984 | 158233.5755 | 315345.7539 | 33.25 | 68.6
75365 | 2021-04-07 11:33 | 14.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 279.031 | μmol/L | 11.4617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.982 | 158235.8427 | 315348.5764 | 33.25 | 68.6
75374 | 2021-04-07 11:34 | 14.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9513 | μmol/L | 11.4678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.983 | 158234.6085 | 315336.1117 | 33.25 | 68.6
75383 | 2021-04-07 11:34 | 14.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8716 | μmol/L | 11.4738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.984 | 158222.4953 | 315320.4907 | 33.25 | 68.6
75392 | 2021-04-07 11:34 | 15.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9283 | μmol/L | 11.4678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.984 | 158215.2934 | 315319.8891 | 33.25 | 68.6
75401 | 2021-04-07 11:35 | 15.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9175 | μmol/L | 11.4738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.982 | 158216.3026 | 315307.7248 | 33.25 | 68.6
75410 | 2021-04-07 11:35 | 15.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7798 | μmol/L | 11.4738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.988 | 158204.7485 | 315299.2055 | 33.25 | 68.6
75419 | 2021-04-07 11:35 | 16.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7812 | μmol/L | 11.486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.983 | 158189.4757 | 315285.9348 | 33.25 | 68.6
75428 | 2021-04-07 11:36 | 16.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8379 | μmol/L | 11.4799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.983 | 158176.8106 | 315272.1319 | 33.25 | 68.6
75437 | 2021-04-07 11:36 | 16.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8838 | μmol/L | 11.4799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.981 | 158168.5499 | 315262.0552 | 33.25 | 68.6
75446 | 2021-04-07 11:36 | 17.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7812 | μmol/L | 11.486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.983 | 158144.5286 | 315263.8733 | 33.25 | 68.6
75455 | 2021-04-07 11:37 | 17.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8042 | μmol/L | 11.486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.982 | 158129.8772 | 315255.9269 | 33.25 | 68.6
75464 | 2021-04-07 11:37 | 17.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.896 | μmol/L | 11.486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.978 | 158114.5254 | 315246.351 | 33.25 | 68.6
75473 | 2021-04-07 11:37 | 18.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.896 | μmol/L | 11.486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.978 | 158108.5523 | 315237.1747 | 33.25 | 68.6
75482 | 2021-04-07 11:38 | 18.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8164 | μmol/L | 11.4921 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 158087.2021 | 315229.8915 | 33.25 | 68.6
75491 | 2021-04-07 11:38 | 18.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7597 | μmol/L | 11.4981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 158076.9846 | 315214.7306 | 33.25 | 68.6
75500 | 2021-04-07 11:38 | 19.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8516 | μmol/L | 11.4981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 158066.8902 | 315204.9433 | 33.25 | 68.6
75509 | 2021-04-07 11:39 | 19.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8516 | μmol/L | 11.4981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 158062.9399 | 315210.1372 | 33.25 | 68.6
75518 | 2021-04-07 11:39 | 19.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8056 | μmol/L | 11.4981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.977 | 158044.9004 | 315196.8913 | 33.25 | 68.6
75527 | 2021-04-07 11:39 | 20.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7949 | μmol/L | 11.5042 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 158028.0432 | 315177.6966 | 33.25 | 68.6
75536 | 2021-04-07 11:40 | 20.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8516 | μmol/L | 11.4981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 158023.5835 | 315164.3647 | 33.25 | 68.6
75545 | 2021-04-07 11:40 | 20.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8179 | μmol/L | 11.5042 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157998.6578 | 315148.0559 | 33.25 | 68.6
75554 | 2021-04-07 11:40 | 21.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.8179 | μmol/L | 11.5042 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 158000.4212 | 315152.5441 | 33.25 | 68.6
75563 | 2021-04-07 11:41 | 21.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7842 | μmol/L | 11.5103 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 157985.2197 | 315142.0375 | 33.25 | 68.6
75572 | 2021-04-07 11:41 | 21.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.9097 | μmol/L | 11.5042 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.97 | 157988.8716 | 315133.4368 | 33.25 | 68.6
75581 | 2021-04-07 11:41 | 22.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7842 | μmol/L | 11.5103 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 157984.5645 | 315127.9428 | 33.25 | 68.6
75590 | 2021-04-07 11:42 | 22.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7842 | μmol/L | 11.5103 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 157989.5072 | 315134.2961 | 33.25 | 68.6
75599 | 2021-04-07 11:42 | 22.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.7046 | μmol/L | 11.5163 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157992.8162 | 315120.9177 | 33.25 | 68.6
75608 | 2021-04-07 11:42 | 23.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6587 | μmol/L | 11.5163 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.976 | 157986.5712 | 315117.3363 | 33.25 | 68.6
75617 | 2021-04-07 11:43 | 23.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6358 | μmol/L | 11.5163 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.977 | 157976.589 | 315082.761 | 33.25 | 68.6
75626 | 2021-04-07 11:43 | 23.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6021 | μmol/L | 11.5224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.976 | 157984.9178 | 315078.2033 | 33.25 | 68.6
75635 | 2021-04-07 11:43 | 24.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5333 | μmol/L | 11.5224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 157964.6202 | 315064.5261 | 33.25 | 68.6
75644 | 2021-04-07 11:44 | 24.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6144 | μmol/L | 11.5285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 157944.2906 | 315068.4707 | 33.25 | 68.6
75653 | 2021-04-07 11:44 | 24.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.648 | μmol/L | 11.5224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157929.5333 | 315059.571 | 33.25 | 68.6
75662 | 2021-04-07 11:44 | 25.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5685 | μmol/L | 11.5285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 157923.9698 | 315025.1733 | 33.25 | 68.6
75671 | 2021-04-07 11:45 | 25.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5578 | μmol/L | 11.5346 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 157913.1991 | 315051.5813 | 33.25 | 68.6
75680 | 2021-04-07 11:45 | 25.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.6373 | μmol/L | 11.5285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.972 | 157909.0824 | 315026.2368 | 33.25 | 68.6
75689 | 2021-04-07 11:45 | 26.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5914 | μmol/L | 11.5285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157879.5148 | 315014.4202 | 33.25 | 68.6
75698 | 2021-04-07 11:46 | 26.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5685 | μmol/L | 11.5285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 157874.8232 | 315014.6591 | 33.25 | 68.6
75707 | 2021-04-07 11:46 | 26.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5471 | μmol/L | 11.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.971 | 157859.8626 | 315009.5476 | 33.25 | 68.6
75716 | 2021-04-07 11:46 | 27.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4783 | μmol/L | 11.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157863.089 | 314995.6574 | 33.25 | 68.6
75725 | 2021-04-07 11:47 | 27.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.4783 | μmol/L | 11.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157873.6704 | 314986.0269 | 33.25 | 68.6
75734 | 2021-04-07 11:47 | 27.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.5242 | μmol/L | 11.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.972 | 157871.2997 | 314987.9881 | 33.25 | 68.6
75743 | 2021-04-07 11:47 | 28.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3759 | μmol/L | 11.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.976 | 157874.4264 | 314968.2449 | 33.25 | 68.6
75752 | 2021-04-07 11:48 | 28.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3759 | μmol/L | 11.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.976 | 157877.9444 | 314965.2018 | 33.25 | 68.6
75761 | 2021-04-07 11:48 | 28.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3759 | μmol/L | 11.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.976 | 157875.7388 | 314968.583 | 33.25 | 68.6
75770 | 2021-04-07 11:48 | 29.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2614 | μmol/L | 11.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.981 | 157864.4229 | 314961.1427 | 33.25 | 68.6
75779 | 2021-04-07 11:49 | 29.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3423 | μmol/L | 11.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 157854.9549 | 314950.4108 | 33.25 | 68.6
75788 | 2021-04-07 11:49 | 29.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3087 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157853.6815 | 314943.8713 | 33.25 | 68.6
75797 | 2021-04-07 11:49 | 30.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.1942 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 157839.7041 | 314945.3281 | 33.25 | 68.6
75806 | 2021-04-07 11:50 | 30.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3072 | μmol/L | 11.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 157832.3985 | 314921.9439 | 33.25 | 68.6
75815 | 2021-04-07 11:50 | 30.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.1942 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.979 | 157830.9454 | 314911.8931 | 33.25 | 68.6
75824 | 2021-04-07 11:50 | 31.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2858 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 157828.7395 | 314916.5906 | 33.25 | 68.6
75833 | 2021-04-07 11:51 | 31.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3194 | μmol/L | 11.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.976 | 157800.5917 | 314898.4445 | 33.25 | 68.6
75842 | 2021-04-07 11:51 | 31.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.1835 | μmol/L | 11.5649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.977 | 157789.1577 | 314883.5865 | 33.25 | 68.6
75851 | 2021-04-07 11:51 | 32.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2293 | μmol/L | 11.5649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 157772.6908 | 314885.3216 | 33.25 | 68.6
75860 | 2021-04-07 11:52 | 32.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2858 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 157771.327 | 314878.5453 | 33.25 | 68.6
75869 | 2021-04-07 11:52 | 32.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3317 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 157757.0512 | 314866.7899 | 33.25 | 68.6
75878 | 2021-04-07 11:52 | 33.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2523 | μmol/L | 11.5649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157754.9337 | 314870.7785 | 33.25 | 68.6
75887 | 2021-04-07 11:53 | 33.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2523 | μmol/L | 11.5649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.974 | 157733.6419 | 314868.8702 | 33.25 | 68.6
75896 | 2021-04-07 11:53 | 33.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.3439 | μmol/L | 11.5649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.97 | 157721.3721 | 314858.8866 | 33.25 | 68.6
75905 | 2021-04-07 11:53 | 34.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.321 | μmol/L | 11.5649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.971 | 157711.5109 | 314849.5951 | 33.25 | 68.6
75914 | 2021-04-07 11:54 | 34.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 278.2645 | μmol/L | 11.571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.971 | 157711.1614 | 314843.1865 | 33.25 | 68.6