## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74979 | 2021-04-07 11:19 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5606 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 137278.4794 | 278012.4962 | 26.25 | 74
74988 | 2021-04-07 11:19 | 0.33146 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.665 | μmol/L | 11.3844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 137271.7525 | 278009.4555 | 26.25 | 74
74997 | 2021-04-07 11:20 | 0.66519 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5845 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 137261.3107 | 277998.0647 | 26.25 | 74
75006 | 2021-04-07 11:20 | 0.99831 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4801 | μmol/L | 11.3965 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 137244.4039 | 278000.1017 | 26.25 | 74
75015 | 2021-04-07 11:20 | 1.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6151 | μmol/L | 11.4026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 137251.093 | 277987.9019 | 26.25 | 74
75024 | 2021-04-07 11:21 | 1.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5519 | μmol/L | 11.3965 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 137223.4749 | 277977.0806 | 26.25 | 74
75033 | 2021-04-07 11:21 | 1.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5346 | μmol/L | 11.4087 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 137205.7024 | 277957.1057 | 26.25 | 74
75042 | 2021-04-07 11:21 | 2.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5586 | μmol/L | 11.4087 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 137194.9287 | 277962.0733 | 26.25 | 74
75051 | 2021-04-07 11:22 | 2.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4063 | μmol/L | 11.4148 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 137182.1026 | 277944.7099 | 26.25 | 74
75060 | 2021-04-07 11:22 | 2.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6065 | μmol/L | 11.4087 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 137159.9025 | 277925.6755 | 26.25 | 74
75069 | 2021-04-07 11:22 | 3.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.526 | μmol/L | 11.4148 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 137145.763 | 277921.0115 | 26.25 | 74
75078 | 2021-04-07 11:23 | 3.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4934 | μmol/L | 11.4208 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 137128.8955 | 277897.5984 | 26.25 | 74
75087 | 2021-04-07 11:23 | 3.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5413 | μmol/L | 11.4208 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 137122.0959 | 277897.9641 | 26.25 | 74
75096 | 2021-04-07 11:23 | 4.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4043 | μmol/L | 11.433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 137103.7306 | 277881.347 | 26.25 | 74
75105 | 2021-04-07 11:24 | 4.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4043 | μmol/L | 11.433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 137088.7765 | 277877.2981 | 26.25 | 74
75114 | 2021-04-07 11:24 | 4.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4283 | μmol/L | 11.433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 137078.4787 | 277868.3094 | 26.25 | 74
75123 | 2021-04-07 11:24 | 5.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4197 | μmol/L | 11.4391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 137063.1237 | 277860.7358 | 26.25 | 74
75132 | 2021-04-07 11:25 | 5.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5241 | μmol/L | 11.433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.036 | 137057.2154 | 277838.8858 | 26.25 | 74
75141 | 2021-04-07 11:25 | 5.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4762 | μmol/L | 11.433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 137032.8555 | 277828.5989 | 26.25 | 74
75150 | 2021-04-07 11:25 | 6.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5155 | μmol/L | 11.4391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 137022.1183 | 277826.9643 | 26.25 | 74
75159 | 2021-04-07 11:26 | 6.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5394 | μmol/L | 11.4391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 137014.933 | 277813.0147 | 26.25 | 74
75168 | 2021-04-07 11:26 | 6.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4829 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 136996.3936 | 277801.3513 | 26.25 | 74
75177 | 2021-04-07 11:26 | 7.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5787 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 136982.7585 | 277796.7556 | 26.25 | 74
75186 | 2021-04-07 11:27 | 7.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5222 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 136975.3289 | 277793.3596 | 26.25 | 74
75195 | 2021-04-07 11:27 | 7.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4504 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.032 | 136958.8702 | 277787.2969 | 26.25 | 74
75204 | 2021-04-07 11:27 | 8.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4178 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.031 | 136957.0069 | 277782.0386 | 26.25 | 74
75213 | 2021-04-07 11:28 | 8.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5462 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.028 | 136936.5738 | 277766.5536 | 26.25 | 74
75222 | 2021-04-07 11:28 | 8.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4418 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.03 | 136925.0827 | 277746.9682 | 26.25 | 74
75231 | 2021-04-07 11:28 | 9.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4983 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.03 | 136912.7354 | 277742.4861 | 26.25 | 74
75240 | 2021-04-07 11:29 | 9.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4657 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 136914.8224 | 277742.3555 | 26.25 | 74
75249 | 2021-04-07 11:29 | 9.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.5051 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.025 | 136896.5536 | 277717.8529 | 26.25 | 74
75258 | 2021-04-07 11:29 | 10.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4572 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.027 | 136890.908 | 277722.7133 | 26.25 | 74
75267 | 2021-04-07 11:30 | 10.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4725 | μmol/L | 11.4695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.024 | 136876.3865 | 277714.6955 | 26.25 | 74
75276 | 2021-04-07 11:30 | 10.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4486 | μmol/L | 11.4695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.025 | 136863.8471 | 277709.3582 | 26.25 | 74
75285 | 2021-04-07 11:30 | 11.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.44 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.023 | 136846.7845 | 277701.6633 | 26.25 | 74
75294 | 2021-04-07 11:31 | 11.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4075 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.022 | 136844.623 | 277679.9817 | 26.25 | 74
75303 | 2021-04-07 11:31 | 11.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3443 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.027 | 136826.3035 | 277671.5035 | 26.25 | 74
75312 | 2021-04-07 11:31 | 12.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3357 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.025 | 136813.3991 | 277670.0438 | 26.25 | 74
75321 | 2021-04-07 11:32 | 12.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.44 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.023 | 136803.152 | 277669.481 | 26.25 | 74
75330 | 2021-04-07 11:32 | 12.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4554 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 136800.6412 | 277641.2821 | 26.25 | 74
75339 | 2021-04-07 11:32 | 13.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4554 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 136787.4013 | 277632.0603 | 26.25 | 74
75348 | 2021-04-07 11:33 | 13.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.375 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.021 | 136770.2283 | 277631.667 | 26.25 | 74
75357 | 2021-04-07 11:33 | 13.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4794 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.019 | 136763.8215 | 277623.8282 | 26.25 | 74
75366 | 2021-04-07 11:33 | 14.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.399 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 136764.2923 | 277617.453 | 26.25 | 74
75375 | 2021-04-07 11:34 | 14.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.399 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 136763.6252 | 277620.9336 | 26.25 | 74
75384 | 2021-04-07 11:34 | 14.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4144 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136740.1694 | 277602.5694 | 26.25 | 74
75393 | 2021-04-07 11:34 | 15.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4383 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136740.7288 | 277603.4881 | 26.25 | 74
75402 | 2021-04-07 11:35 | 15.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3904 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 136730.105 | 277593.9864 | 26.25 | 74
75411 | 2021-04-07 11:35 | 15.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4623 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136724.3306 | 277584.0625 | 26.25 | 74
75420 | 2021-04-07 11:35 | 16.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.334 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 136713.4302 | 277575.7562 | 26.25 | 74
75429 | 2021-04-07 11:36 | 16.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4059 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136706.38 | 277562.0553 | 26.25 | 74
75438 | 2021-04-07 11:36 | 16.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2861 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 136701.9001 | 277557.239 | 26.25 | 74
75447 | 2021-04-07 11:36 | 17.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3016 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136697.4412 | 277556.3778 | 26.25 | 74
75456 | 2021-04-07 11:37 | 17.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.358 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136690.4283 | 277537.3193 | 26.25 | 74
75465 | 2021-04-07 11:37 | 17.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2776 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 136684.9692 | 277525.5431 | 26.25 | 74
75474 | 2021-04-07 11:37 | 18.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2691 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136671.6259 | 277526.9874 | 26.25 | 74
75483 | 2021-04-07 11:38 | 18.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3973 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.013 | 136660.7309 | 277519.01 | 26.25 | 74
75492 | 2021-04-07 11:38 | 18.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2691 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136658.6121 | 277500.648 | 26.25 | 74
75501 | 2021-04-07 11:38 | 19.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2452 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.017 | 136653.4243 | 277512.6731 | 26.25 | 74
75510 | 2021-04-07 11:39 | 19.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3085 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.012 | 136649.3634 | 277496.5356 | 26.25 | 74
75519 | 2021-04-07 11:39 | 19.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2606 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136634.826 | 277489.8571 | 26.25 | 74
75528 | 2021-04-07 11:39 | 20.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.317 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136630.9286 | 277479.768 | 26.25 | 74
75537 | 2021-04-07 11:40 | 20.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3409 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.013 | 136626.893 | 277478.8881 | 26.25 | 74
75546 | 2021-04-07 11:40 | 20.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1803 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136617.1651 | 277465.9975 | 26.25 | 74
75555 | 2021-04-07 11:40 | 21.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1564 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136610.6664 | 277457.2236 | 26.25 | 74
75564 | 2021-04-07 11:41 | 21.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1564 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136607.9353 | 277451.0446 | 26.25 | 74
75573 | 2021-04-07 11:41 | 21.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2042 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136603.8492 | 277455.0937 | 26.25 | 74
75582 | 2021-04-07 11:41 | 22.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2042 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136600.3579 | 277441.725 | 26.25 | 74
75591 | 2021-04-07 11:42 | 22.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1479 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136592.7071 | 277432.8702 | 26.25 | 74
75600 | 2021-04-07 11:42 | 22.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1718 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.013 | 136587.9886 | 277436.6753 | 26.25 | 74
75609 | 2021-04-07 11:42 | 23.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0113 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136582.5775 | 277421.762 | 26.25 | 74
75618 | 2021-04-07 11:43 | 23.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0915 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136572.4774 | 277404.9627 | 26.25 | 74
75627 | 2021-04-07 11:43 | 23.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.2197 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136568.0678 | 277418.959 | 26.25 | 74
75636 | 2021-04-07 11:43 | 24.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1239 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136567.7533 | 277408.069 | 26.25 | 74
75645 | 2021-04-07 11:44 | 24.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1394 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.012 | 136562.0083 | 277386.5574 | 26.25 | 74
75654 | 2021-04-07 11:44 | 24.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1154 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.013 | 136557.8945 | 277388.7754 | 26.25 | 74
75663 | 2021-04-07 11:44 | 25.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1872 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136544.9721 | 277373.5447 | 26.25 | 74
75672 | 2021-04-07 11:45 | 25.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0267 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.012 | 136544.9751 | 277373.3015 | 26.25 | 74
75681 | 2021-04-07 11:45 | 25.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0113 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136548.9407 | 277377.8063 | 26.25 | 74
75690 | 2021-04-07 11:45 | 26.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0676 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.015 | 136541.3976 | 277363.1886 | 26.25 | 74
75699 | 2021-04-07 11:46 | 26.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9874 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 136535.2748 | 277356.5946 | 26.25 | 74
75708 | 2021-04-07 11:46 | 26.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0352 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136528.0357 | 277334.6707 | 26.25 | 74
75717 | 2021-04-07 11:46 | 27.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0746 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136514.0348 | 277341.6808 | 26.25 | 74
75726 | 2021-04-07 11:47 | 27.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0506 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136495.4196 | 277323.2131 | 26.25 | 74
75735 | 2021-04-07 11:47 | 27.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1618 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136485.4533 | 277317.5989 | 26.25 | 74
75744 | 2021-04-07 11:47 | 28.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0985 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136476.6316 | 277333.3613 | 26.25 | 74
75753 | 2021-04-07 11:48 | 28.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0422 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136480.9392 | 277325.6603 | 26.25 | 74
75762 | 2021-04-07 11:48 | 28.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0746 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136484.5618 | 277306.4917 | 26.25 | 74
75771 | 2021-04-07 11:48 | 29.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0183 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136485.3358 | 277303.2291 | 26.25 | 74
75780 | 2021-04-07 11:49 | 29.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0746 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136471.7607 | 277283.1456 | 26.25 | 74
75789 | 2021-04-07 11:49 | 29.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9943 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 136474.9595 | 277285.9742 | 26.25 | 74
75798 | 2021-04-07 11:49 | 30.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0661 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.008 | 136444.6492 | 277274.1857 | 26.25 | 74
75807 | 2021-04-07 11:50 | 30.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9859 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136444.1811 | 277257.4095 | 26.25 | 74
75816 | 2021-04-07 11:50 | 30.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9859 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136435.4609 | 277271.4272 | 26.25 | 74
75825 | 2021-04-07 11:50 | 31.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.114 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136423.0297 | 277259.9237 | 26.25 | 74
75834 | 2021-04-07 11:51 | 31.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0337 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.007 | 136416.3843 | 277252.6014 | 26.25 | 74
75843 | 2021-04-07 11:51 | 31.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0576 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.006 | 136404.0786 | 277239.5572 | 26.25 | 74
75852 | 2021-04-07 11:51 | 32.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9296 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136411.4231 | 277238.312 | 26.25 | 74
75861 | 2021-04-07 11:52 | 32.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0492 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136403.7858 | 277240.7649 | 26.25 | 74
75870 | 2021-04-07 11:52 | 32.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1055 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.004 | 136414.2646 | 277229.9656 | 26.25 | 74
75879 | 2021-04-07 11:52 | 33.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9296 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136398.4982 | 277229.4151 | 26.25 | 74
75888 | 2021-04-07 11:53 | 33.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8494 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.01 | 136399.2651 | 277228.3669 | 26.25 | 74
75897 | 2021-04-07 11:53 | 33.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9296 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136400.4007 | 277213.0689 | 26.25 | 74
75906 | 2021-04-07 11:53 | 34.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9296 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 136402.942 | 277203.7401 | 26.25 | 74
75915 | 2021-04-07 11:54 | 34.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.7538 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 136401.2979 | 277198.254 | 26.25 | 74