## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 12:03

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
74980 | 2021-04-07 11:19 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.9121 | μmol/L | 11.3609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.803 | 132342.5412 | 276107.6809 | 32.55 | 27.7
74989 | 2021-04-07 11:19 | 0.34048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.0583 | μmol/L | 11.3609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.797 | 132307.1338 | 276107.9616 | 32.55 | 27.7
74998 | 2021-04-07 11:20 | 0.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.0998 | μmol/L | 11.3487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.8 | 132292.2219 | 276071.0696 | 32.55 | 27.7
75007 | 2021-04-07 11:20 | 1.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.1156 | μmol/L | 11.3548 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.797 | 132264.7615 | 276060.3593 | 32.55 | 27.7
75016 | 2021-04-07 11:20 | 1.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.0497 | μmol/L | 11.367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.795 | 132259.6882 | 276033.0964 | 32.55 | 27.7
75025 | 2021-04-07 11:21 | 1.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.107 | μmol/L | 11.3609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.795 | 132237.287 | 276014.2535 | 32.55 | 27.7
75034 | 2021-04-07 11:21 | 2.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.0168 | μmol/L | 11.3731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.794 | 132234.8216 | 275987.8415 | 32.55 | 27.7
75043 | 2021-04-07 11:21 | 2.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.9193 | μmol/L | 11.3731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.798 | 132241.4107 | 275978.6821 | 32.55 | 27.7
75052 | 2021-04-07 11:22 | 2.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8621 | μmol/L | 11.3792 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.798 | 132244.9419 | 275957.8729 | 32.55 | 27.7
75061 | 2021-04-07 11:22 | 3.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8219 | μmol/L | 11.3731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.802 | 132239.8047 | 275950.4531 | 32.55 | 27.7
75070 | 2021-04-07 11:22 | 3.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7647 | μmol/L | 11.3792 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.802 | 132244.6261 | 275932.0551 | 32.55 | 27.7
75079 | 2021-04-07 11:23 | 3.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5773 | μmol/L | 11.3914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.805 | 132243.0363 | 275902.7531 | 32.55 | 27.7
75088 | 2021-04-07 11:23 | 4.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5129 | μmol/L | 11.3853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.81 | 132252.5631 | 275899.9768 | 32.55 | 27.7
75097 | 2021-04-07 11:23 | 4.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4557 | μmol/L | 11.3914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.81 | 132273.1025 | 275900.2413 | 32.55 | 27.7
75106 | 2021-04-07 11:24 | 4.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3828 | μmol/L | 11.3914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.813 | 132282.6008 | 275881.9868 | 32.55 | 27.7
75115 | 2021-04-07 11:24 | 5.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2528 | μmol/L | 11.3975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.816 | 132290.1985 | 275862.3115 | 32.55 | 27.7
75124 | 2021-04-07 11:24 | 5.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.0743 | μmol/L | 11.4036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.821 | 132273.2602 | 275851.4054 | 32.55 | 27.7
75133 | 2021-04-07 11:25 | 5.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2528 | μmol/L | 11.3975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.816 | 132255.932 | 275839.2137 | 32.55 | 27.7
75142 | 2021-04-07 11:25 | 6.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2685 | μmol/L | 11.4036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.813 | 132234.0758 | 275834.5673 | 32.55 | 27.7
75151 | 2021-04-07 11:25 | 6.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3414 | μmol/L | 11.4036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.81 | 132205.319 | 275831.0955 | 32.55 | 27.7
75160 | 2021-04-07 11:26 | 6.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3244 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.806 | 132177.688 | 275820.4074 | 32.55 | 27.7
75169 | 2021-04-07 11:26 | 7.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3244 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.806 | 132151.8475 | 275805.6506 | 32.55 | 27.7
75178 | 2021-04-07 11:26 | 7.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4702 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.8 | 132127.5004 | 275811.3909 | 32.55 | 27.7
75187 | 2021-04-07 11:27 | 7.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4702 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.8 | 132107.5508 | 275809.859 | 32.55 | 27.7
75196 | 2021-04-07 11:27 | 8.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5432 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.797 | 132091.0819 | 275789.633 | 32.55 | 27.7
75205 | 2021-04-07 11:27 | 8.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4617 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.798 | 132072.1916 | 275784.317 | 32.55 | 27.7
75214 | 2021-04-07 11:28 | 8.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5833 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.793 | 132064.7481 | 275782.0147 | 32.55 | 27.7
75223 | 2021-04-07 11:28 | 9.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3961 | μmol/L | 11.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.796 | 132049.5221 | 275777.056 | 32.55 | 27.7
75232 | 2021-04-07 11:28 | 9.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3718 | μmol/L | 11.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.797 | 132048.567 | 275761.5191 | 32.55 | 27.7
75241 | 2021-04-07 11:29 | 9.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3475 | μmol/L | 11.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.798 | 132057.1977 | 275758.9163 | 32.55 | 27.7
75250 | 2021-04-07 11:29 | 10.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2502 | μmol/L | 11.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.802 | 132064.7862 | 275744.8357 | 32.55 | 27.7
75259 | 2021-04-07 11:29 | 10.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1446 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.804 | 132086.5783 | 275711.2209 | 32.55 | 27.7
75268 | 2021-04-07 11:30 | 10.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.0717 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.807 | 132106.7473 | 275737.5921 | 32.55 | 27.7
75277 | 2021-04-07 11:30 | 11.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.9019 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.814 | 132128.6893 | 275711.5536 | 32.55 | 27.7
75286 | 2021-04-07 11:30 | 11.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7479 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.818 | 132140.8295 | 275710.5375 | 32.55 | 27.7
75295 | 2021-04-07 11:31 | 11.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.6994 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.82 | 132144.2302 | 275706.7593 | 32.55 | 27.7
75304 | 2021-04-07 11:31 | 12.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.8206 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132129.5877 | 275703.8321 | 32.55 | 27.7
75313 | 2021-04-07 11:31 | 12.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.8206 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132130.5475 | 275694.9817 | 32.55 | 27.7
75322 | 2021-04-07 11:32 | 12.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7151 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.817 | 132120.7375 | 275692.5955 | 32.55 | 27.7
75331 | 2021-04-07 11:32 | 13.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7636 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132101.4818 | 275686.8664 | 32.55 | 27.7
75340 | 2021-04-07 11:32 | 13.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7636 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132086.922 | 275687.7176 | 32.55 | 27.7
75349 | 2021-04-07 11:33 | 13.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7067 | μmol/L | 11.4585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132078.2458 | 275666.5848 | 32.55 | 27.7
75358 | 2021-04-07 11:33 | 14.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7224 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.812 | 132077.0257 | 275668.2551 | 32.55 | 27.7
75367 | 2021-04-07 11:33 | 14.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.5928 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132071.0048 | 275664.0362 | 32.55 | 27.7
75376 | 2021-04-07 11:34 | 14.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7309 | μmol/L | 11.4585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.814 | 132066.6354 | 275649.722 | 32.55 | 27.7
75385 | 2021-04-07 11:34 | 15.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.6497 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 132067.6933 | 275633.6596 | 32.55 | 27.7
75394 | 2021-04-07 11:34 | 15.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.5528 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.819 | 132079.2361 | 275639.4028 | 32.55 | 27.7
75403 | 2021-04-07 11:35 | 15.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.4232 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.822 | 132100.2206 | 275642.3901 | 32.55 | 27.7
75412 | 2021-04-07 11:35 | 16.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.4232 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.822 | 132112.2945 | 275628.3431 | 32.55 | 27.7
75421 | 2021-04-07 11:35 | 16.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2211 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.828 | 132126.9715 | 275619.9143 | 32.55 | 27.7
75430 | 2021-04-07 11:36 | 16.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.1243 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.832 | 132144.6142 | 275620.989 | 32.55 | 27.7
75439 | 2021-04-07 11:36 | 17.0077 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0191 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.834 | 132157.6702 | 275596.3626 | 32.55 | 27.7
75448 | 2021-04-07 11:36 | 17.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.9225 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.838 | 132166.7448 | 275604.0006 | 32.55 | 27.7
75457 | 2021-04-07 11:37 | 17.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8983 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.839 | 132179.2751 | 275606.8625 | 32.55 | 27.7
75466 | 2021-04-07 11:37 | 18.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8174 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.84 | 132176.4288 | 275601.5075 | 32.55 | 27.7
75475 | 2021-04-07 11:37 | 18.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7606 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.84 | 132175.6665 | 275595.5264 | 32.55 | 27.7
75484 | 2021-04-07 11:38 | 18.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7932 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.841 | 132163.9902 | 275586.0336 | 32.55 | 27.7
75493 | 2021-04-07 11:38 | 19.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.914 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.836 | 132143.0299 | 275591.9055 | 32.55 | 27.7
75502 | 2021-04-07 11:38 | 19.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8005 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.836 | 132123.6168 | 275569.1941 | 32.55 | 27.7
75511 | 2021-04-07 11:39 | 19.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8573 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.836 | 132096.3405 | 275572.9142 | 32.55 | 27.7
75520 | 2021-04-07 11:39 | 20.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0832 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.829 | 132066.9565 | 275563.2067 | 32.55 | 27.7
75529 | 2021-04-07 11:39 | 20.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0506 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.828 | 132041.3638 | 275547.9901 | 32.55 | 27.7
75538 | 2021-04-07 11:40 | 20.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0906 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.824 | 132021.9309 | 275564.6184 | 32.55 | 27.7
75547 | 2021-04-07 11:40 | 21.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2684 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.819 | 131998.9525 | 275551.4349 | 32.55 | 27.7
75556 | 2021-04-07 11:40 | 21.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.1789 | μmol/L | 11.5073 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.818 | 131975.5535 | 275536.012 | 32.55 | 27.7
75565 | 2021-04-07 11:41 | 21.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2357 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.818 | 131956.5126 | 275546.8888 | 32.55 | 27.7
75574 | 2021-04-07 11:41 | 22.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2673 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.812 | 131936.1471 | 275515.152 | 32.55 | 27.7
75583 | 2021-04-07 11:41 | 22.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.341 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.816 | 131925.3369 | 275536.7084 | 32.55 | 27.7
75592 | 2021-04-07 11:42 | 22.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2431 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.813 | 131918.3448 | 275520.2746 | 32.55 | 27.7
75601 | 2021-04-07 11:42 | 23.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.3084 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 131921.8189 | 275518.1379 | 32.55 | 27.7
75610 | 2021-04-07 11:42 | 23.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.1947 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.815 | 131921.8125 | 275505.7511 | 32.55 | 27.7
75619 | 2021-04-07 11:43 | 23.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0495 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.821 | 131941.0761 | 275487.5106 | 32.55 | 27.7
75628 | 2021-04-07 11:43 | 24.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0012 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.823 | 131962.3659 | 275489.227 | 32.55 | 27.7
75637 | 2021-04-07 11:43 | 24.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.832 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.83 | 131999.891 | 275482.8141 | 32.55 | 27.7
75646 | 2021-04-07 11:44 | 24.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5821 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.838 | 132038.6941 | 275484.7593 | 32.55 | 27.7
75655 | 2021-04-07 11:44 | 25.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5989 | μmol/L | 11.5073 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.842 | 132062.3395 | 275465.8952 | 32.55 | 27.7
75664 | 2021-04-07 11:44 | 25.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3565 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.845 | 132090.5749 | 275458.1906 | 32.55 | 27.7
75673 | 2021-04-07 11:45 | 25.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3492 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.85 | 132117.8937 | 275459.5406 | 32.55 | 27.7
75682 | 2021-04-07 11:45 | 26.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.1155 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.855 | 132141.5236 | 275457.986 | 32.55 | 27.7
75691 | 2021-04-07 11:45 | 26.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0914 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.856 | 132167.1905 | 275470.5404 | 32.55 | 27.7
75700 | 2021-04-07 11:46 | 26.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9951 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.86 | 132172.7496 | 275436.0355 | 32.55 | 27.7
75709 | 2021-04-07 11:46 | 27.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8747 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.865 | 132176.8918 | 275445.674 | 32.55 | 27.7
75718 | 2021-04-07 11:46 | 27.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9794 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.863 | 132173.8563 | 275446.4086 | 32.55 | 27.7
75727 | 2021-04-07 11:47 | 27.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.947 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.862 | 132163.0914 | 275441.7176 | 32.55 | 27.7
75736 | 2021-04-07 11:47 | 28.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.947 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.862 | 132167.387 | 275432.1014 | 32.55 | 27.7
75745 | 2021-04-07 11:47 | 28.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8579 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.861 | 132145.6821 | 275431.4398 | 32.55 | 27.7
75754 | 2021-04-07 11:48 | 28.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0265 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.854 | 132134.8152 | 275415.7476 | 32.55 | 27.7
75763 | 2021-04-07 11:48 | 29.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8014 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.861 | 132119.9833 | 275423.3581 | 32.55 | 27.7
75772 | 2021-04-07 11:48 | 29.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9302 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.858 | 132103.9045 | 275407.4768 | 32.55 | 27.7
75781 | 2021-04-07 11:49 | 29.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9542 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.857 | 132106.4025 | 275410.7723 | 32.55 | 27.7
75790 | 2021-04-07 11:49 | 30.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.882 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.86 | 132097.4962 | 275398.4183 | 32.55 | 27.7
75799 | 2021-04-07 11:49 | 30.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8255 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.86 | 132101.5161 | 275400.4087 | 32.55 | 27.7
75808 | 2021-04-07 11:50 | 30.6743 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8014 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.861 | 132096.1268 | 275385.911 | 32.55 | 27.7
75817 | 2021-04-07 11:50 | 31.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7209 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.862 | 132112.7003 | 275402.1368 | 32.55 | 27.7
75826 | 2021-04-07 11:50 | 31.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6812 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.866 | 132124.5064 | 275394.8179 | 32.55 | 27.7
75835 | 2021-04-07 11:51 | 31.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7293 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.864 | 132137.817 | 275381.9403 | 32.55 | 27.7
75844 | 2021-04-07 11:51 | 32.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5285 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.87 | 132153.4246 | 275363.713 | 32.55 | 27.7
75853 | 2021-04-07 11:51 | 32.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4565 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.873 | 132167.9796 | 275366.794 | 32.55 | 27.7
75862 | 2021-04-07 11:52 | 32.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4565 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.873 | 132176.3209 | 275365.4229 | 32.55 | 27.7
75871 | 2021-04-07 11:52 | 33.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3688 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.879 | 132173.6501 | 275364.2189 | 32.55 | 27.7
75880 | 2021-04-07 11:52 | 33.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3604 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.877 | 132176.6531 | 275368.9472 | 32.55 | 27.7
75889 | 2021-04-07 11:53 | 33.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3123 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.879 | 132174.4355 | 275334.4918 | 32.55 | 27.7
75898 | 2021-04-07 11:53 | 34.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2319 | μmol/L | 11.5562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.88 | 132181.0627 | 275326.9655 | 32.55 | 27.7
75907 | 2021-04-07 11:53 | 34.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2079 | μmol/L | 11.5562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.881 | 132191.4194 | 275331.5283 | 32.55 | 27.7
75916 | 2021-04-07 11:54 | 34.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1036 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.883 | 132197.4904 | 275321.6899 | 32.55 | 27.7