## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
75917 | 2021-04-07 12:59 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0064 | μmol/L | 11.3322 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 132266.5294 | 306244.7519 | 59.9307 | 38.1
75926 | 2021-04-07 13:00 | 0.32987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9987 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.944 | 132270.4914 | 306247.6844 | 59.9307 | 38.1
75935 | 2021-04-07 13:00 | 0.66279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9267 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 132271.5753 | 306232.3675 | 59.9307 | 38.1
75944 | 2021-04-07 13:00 | 0.99597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9267 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 132263.467 | 306226.9068 | 59.9307 | 38.1
75953 | 2021-04-07 13:01 | 1.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9507 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 132251.4253 | 306204.7942 | 59.9307 | 38.1
75962 | 2021-04-07 13:01 | 1.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9747 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.945 | 132248.7235 | 306184.8571 | 59.9307 | 38.1
75971 | 2021-04-07 13:01 | 1.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9507 | μmol/L | 11.3383 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 132241.7747 | 306174.7742 | 59.9307 | 38.1
75980 | 2021-04-07 13:02 | 2.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9189 | μmol/L | 11.3444 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.945 | 132239.2065 | 306181.7547 | 59.9307 | 38.1
75989 | 2021-04-07 13:02 | 2.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8872 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.944 | 132238.6382 | 306180.9019 | 59.9307 | 38.1
75998 | 2021-04-07 13:02 | 2.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8392 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 132223.0868 | 306155.2179 | 59.9307 | 38.1
76007 | 2021-04-07 13:03 | 3.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8152 | μmol/L | 11.3505 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 132217.0909 | 306154.525 | 59.9307 | 38.1
76016 | 2021-04-07 13:03 | 3.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7595 | μmol/L | 11.3566 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 132218.5325 | 306134.6925 | 59.9307 | 38.1
76025 | 2021-04-07 13:03 | 3.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7835 | μmol/L | 11.3566 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 132213.3613 | 306120.7641 | 59.9307 | 38.1
76034 | 2021-04-07 13:04 | 4.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8477 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 132197.6706 | 306118.6268 | 59.9307 | 38.1
76043 | 2021-04-07 13:04 | 4.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7758 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.944 | 132185.2791 | 306086.9587 | 59.9307 | 38.1
76052 | 2021-04-07 13:04 | 4.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7758 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.944 | 132184.5932 | 306103.7086 | 59.9307 | 38.1
76061 | 2021-04-07 13:05 | 5.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7998 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.943 | 132178.6215 | 306091.6315 | 59.9307 | 38.1
76070 | 2021-04-07 13:05 | 5.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7441 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.943 | 132170.4505 | 306080.9242 | 59.9307 | 38.1
76079 | 2021-04-07 13:05 | 5.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7518 | μmol/L | 11.3627 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.945 | 132161.9398 | 306056.834 | 59.9307 | 38.1
76088 | 2021-04-07 13:06 | 6.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7882 | μmol/L | 11.3688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 132149.7323 | 306055.7934 | 59.9307 | 38.1
76097 | 2021-04-07 13:06 | 6.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7441 | μmol/L | 11.3688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.943 | 132134.804 | 306034.0383 | 59.9307 | 38.1
76106 | 2021-04-07 13:06 | 6.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6165 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 132140.6708 | 306042.271 | 59.9307 | 38.1
76115 | 2021-04-07 13:07 | 7.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7124 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 132128.8417 | 306021.139 | 59.9307 | 38.1
76124 | 2021-04-07 13:07 | 7.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7603 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 132122.2621 | 306016.3327 | 59.9307 | 38.1
76133 | 2021-04-07 13:07 | 7.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6327 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.943 | 132114.0687 | 306007.5444 | 59.9307 | 38.1
76142 | 2021-04-07 13:08 | 8.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7603 | μmol/L | 11.3749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 132108.6127 | 305992.1826 | 59.9307 | 38.1
76151 | 2021-04-07 13:08 | 8.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7526 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 132099.9239 | 305987.5412 | 59.9307 | 38.1
76160 | 2021-04-07 13:08 | 8.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.649 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 132085.2503 | 305981.698 | 59.9307 | 38.1
76169 | 2021-04-07 13:09 | 9.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6567 | μmol/L | 11.381 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 132078.476 | 305974.5256 | 59.9307 | 38.1
76178 | 2021-04-07 13:09 | 9.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6011 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 132072.7906 | 305959.7628 | 59.9307 | 38.1
76187 | 2021-04-07 13:09 | 9.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5617 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 132059.2683 | 305958.1103 | 59.9307 | 38.1
76196 | 2021-04-07 13:10 | 10.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.673 | μmol/L | 11.3871 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 132053.5762 | 305945.7923 | 59.9307 | 38.1
76205 | 2021-04-07 13:10 | 10.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5138 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 132046.4285 | 305956.0494 | 59.9307 | 38.1
76214 | 2021-04-07 13:10 | 10.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5378 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 132041.3534 | 305932.7508 | 59.9307 | 38.1
76223 | 2021-04-07 13:11 | 11.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5617 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 132026.6431 | 305923.0328 | 59.9307 | 38.1
76232 | 2021-04-07 13:11 | 11.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6816 | μmol/L | 11.3993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.934 | 132020.9035 | 305901.7671 | 59.9307 | 38.1
76241 | 2021-04-07 13:11 | 11.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4822 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 132012.4448 | 305893.8671 | 59.9307 | 38.1
76250 | 2021-04-07 13:12 | 12.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5224 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 132008.6192 | 305891.578 | 59.9307 | 38.1
76259 | 2021-04-07 13:12 | 12.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5301 | μmol/L | 11.4053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131993.7472 | 305878.6784 | 59.9307 | 38.1
76268 | 2021-04-07 13:12 | 12.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5464 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.935 | 131986.819 | 305863.1025 | 59.9307 | 38.1
76277 | 2021-04-07 13:13 | 13.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5464 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.935 | 131983.4863 | 305873.8073 | 59.9307 | 38.1
76286 | 2021-04-07 13:13 | 13.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4908 | μmol/L | 11.4175 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.935 | 131981.0546 | 305865.4624 | 59.9307 | 38.1
76295 | 2021-04-07 13:13 | 13.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4745 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131980.6833 | 305858.5795 | 59.9307 | 38.1
76304 | 2021-04-07 13:14 | 14.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5224 | μmol/L | 11.4114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 131967.2401 | 305851.7576 | 59.9307 | 38.1
76313 | 2021-04-07 13:14 | 14.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4668 | μmol/L | 11.4175 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 131958.8239 | 305840.3239 | 59.9307 | 38.1
76322 | 2021-04-07 13:14 | 14.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4352 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.935 | 131954.2062 | 305830.4736 | 59.9307 | 38.1
76331 | 2021-04-07 13:15 | 15.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3873 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131946.8348 | 305821.3317 | 59.9307 | 38.1
76340 | 2021-04-07 13:15 | 15.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3557 | μmol/L | 11.4297 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 131947.0851 | 305800.0853 | 59.9307 | 38.1
76349 | 2021-04-07 13:15 | 15.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4112 | μmol/L | 11.4236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 131933.6923 | 305785.8464 | 59.9307 | 38.1
76358 | 2021-04-07 13:16 | 16.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4515 | μmol/L | 11.4297 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.932 | 131927.4649 | 305790.8766 | 59.9307 | 38.1
76367 | 2021-04-07 13:16 | 16.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3317 | μmol/L | 11.4297 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131917.0969 | 305791.4692 | 59.9307 | 38.1
76376 | 2021-04-07 13:16 | 16.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2762 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131914.7945 | 305774.2438 | 59.9307 | 38.1
76385 | 2021-04-07 13:17 | 17.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2283 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131909.2589 | 305758.3867 | 59.9307 | 38.1
76394 | 2021-04-07 13:17 | 17.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3078 | μmol/L | 11.4297 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131907.7663 | 305766.6472 | 59.9307 | 38.1
76403 | 2021-04-07 13:17 | 17.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2523 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131895.1455 | 305740.9558 | 59.9307 | 38.1
76412 | 2021-04-07 13:18 | 18.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1968 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131899.7938 | 305737.379 | 59.9307 | 38.1
76421 | 2021-04-07 13:18 | 18.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2762 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131890.3984 | 305735.5542 | 59.9307 | 38.1
76430 | 2021-04-07 13:18 | 18.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1968 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131882.3842 | 305720.8953 | 59.9307 | 38.1
76439 | 2021-04-07 13:19 | 19.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3165 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.933 | 131881.7661 | 305714.2431 | 59.9307 | 38.1
76448 | 2021-04-07 13:19 | 19.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2762 | μmol/L | 11.4358 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131885.0447 | 305707.4663 | 59.9307 | 38.1
76457 | 2021-04-07 13:19 | 19.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1413 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131875.3352 | 305701.0825 | 59.9307 | 38.1
76466 | 2021-04-07 13:20 | 20.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1489 | μmol/L | 11.4419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131868.044 | 305687.1769 | 59.9307 | 38.1
76475 | 2021-04-07 13:20 | 20.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0456 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 131863.5903 | 305692.5561 | 59.9307 | 38.1
76484 | 2021-04-07 13:20 | 20.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1652 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131853.0105 | 305669.57 | 59.9307 | 38.1
76493 | 2021-04-07 13:21 | 21.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1652 | μmol/L | 11.448 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131855.4199 | 305656.04 | 59.9307 | 38.1
76502 | 2021-04-07 13:21 | 21.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0379 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131837.1668 | 305644.8289 | 59.9307 | 38.1
76511 | 2021-04-07 13:21 | 21.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9586 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131835.0403 | 305642.7636 | 59.9307 | 38.1
76520 | 2021-04-07 13:22 | 22.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9901 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 131830.6484 | 305632.2267 | 59.9307 | 38.1
76529 | 2021-04-07 13:22 | 22.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0858 | μmol/L | 11.4541 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131824.4652 | 305622.5819 | 59.9307 | 38.1
76538 | 2021-04-07 13:22 | 22.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9825 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131814.8981 | 305618.6334 | 59.9307 | 38.1
76547 | 2021-04-07 13:23 | 23.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9825 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131810.9817 | 305606.3862 | 59.9307 | 38.1
76556 | 2021-04-07 13:23 | 23.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9509 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131803.726 | 305603.1634 | 59.9307 | 38.1
76565 | 2021-04-07 13:23 | 23.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9586 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131806.4297 | 305603.3956 | 59.9307 | 38.1
76574 | 2021-04-07 13:24 | 24.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0303 | μmol/L | 11.4602 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131789.2153 | 305577.5031 | 59.9307 | 38.1
76583 | 2021-04-07 13:24 | 24.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9988 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131782.1852 | 305575.0962 | 59.9307 | 38.1
76592 | 2021-04-07 13:24 | 24.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8955 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131783.1362 | 305576.0076 | 59.9307 | 38.1
76601 | 2021-04-07 13:25 | 25.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8955 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131761.4311 | 305552.6947 | 59.9307 | 38.1
76610 | 2021-04-07 13:25 | 25.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9031 | μmol/L | 11.4663 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131760.9972 | 305550.2851 | 59.9307 | 38.1
76619 | 2021-04-07 13:25 | 25.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8477 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131753.4789 | 305535.3479 | 59.9307 | 38.1
76628 | 2021-04-07 13:26 | 26.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9194 | μmol/L | 11.4724 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131746.6875 | 305537.5615 | 59.9307 | 38.1
76637 | 2021-04-07 13:26 | 26.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8162 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131736.2695 | 305525.6297 | 59.9307 | 38.1
76646 | 2021-04-07 13:26 | 26.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8401 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131743.1647 | 305517.5197 | 59.9307 | 38.1
76655 | 2021-04-07 13:27 | 27.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7847 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131726.891 | 305508.5606 | 59.9307 | 38.1
76664 | 2021-04-07 13:27 | 27.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8879 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131728.8532 | 305515.9986 | 59.9307 | 38.1
76673 | 2021-04-07 13:27 | 27.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.864 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131720.9227 | 305500.5856 | 59.9307 | 38.1
76682 | 2021-04-07 13:28 | 28.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8564 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 131720.0711 | 305501.0103 | 59.9307 | 38.1
76691 | 2021-04-07 13:28 | 28.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6815 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131716.3955 | 305497.0365 | 59.9307 | 38.1
76700 | 2021-04-07 13:28 | 28.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8401 | μmol/L | 11.4785 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131716.6566 | 305479.6407 | 59.9307 | 38.1
76709 | 2021-04-07 13:29 | 29.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7847 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131710.3463 | 305489.5259 | 59.9307 | 38.1
76718 | 2021-04-07 13:29 | 29.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7847 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131702.3707 | 305479.1808 | 59.9307 | 38.1
76727 | 2021-04-07 13:29 | 29.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7369 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131694.0546 | 305472.7069 | 59.9307 | 38.1
76736 | 2021-04-07 13:30 | 30.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7293 | μmol/L | 11.4907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131696.4519 | 305456.5726 | 59.9307 | 38.1
76745 | 2021-04-07 13:30 | 30.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8325 | μmol/L | 11.4846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131690.1848 | 305471.2731 | 59.9307 | 38.1
76754 | 2021-04-07 13:30 | 30.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.694 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131683.9048 | 305452.3993 | 59.9307 | 38.1
76763 | 2021-04-07 13:31 | 31.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.694 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131680.3784 | 305448.5963 | 59.9307 | 38.1
76772 | 2021-04-07 13:31 | 31.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6023 | μmol/L | 11.4967 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 131672.902 | 305425.6778 | 59.9307 | 38.1
76781 | 2021-04-07 13:31 | 31.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6425 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131660.135 | 305425.3409 | 59.9307 | 38.1
76790 | 2021-04-07 13:32 | 32.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6148 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131666.8194 | 305423.9177 | 59.9307 | 38.1
76799 | 2021-04-07 13:32 | 32.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6664 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131655.1798 | 305409.5546 | 59.9307 | 38.1
76808 | 2021-04-07 13:32 | 32.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.547 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 131653.7671 | 305408.1047 | 59.9307 | 38.1
76817 | 2021-04-07 13:33 | 33.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5909 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131647.8059 | 305394.9411 | 59.9307 | 38.1
76826 | 2021-04-07 13:33 | 33.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6501 | μmol/L | 11.4967 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131649.1319 | 305384.0204 | 59.9307 | 38.1
76835 | 2021-04-07 13:33 | 33.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5947 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131649.6456 | 305398.6339 | 59.9307 | 38.1
76844 | 2021-04-07 13:34 | 34.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.547 | μmol/L | 11.5028 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 131632.3252 | 305389.8415 | 59.9307 | 38.1
76853 | 2021-04-07 13:34 | 34.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6072 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131633.9511 | 305382.6197 | 59.9307 | 38.1
76862 | 2021-04-07 13:34 | 34.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.567 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131627.0688 | 305360.8635 | 59.9307 | 38.1
76871 | 2021-04-07 13:35 | 35.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.694 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131621.9313 | 305372.6679 | 59.9307 | 38.1
76880 | 2021-04-07 13:35 | 35.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5796 | μmol/L | 11.515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 131607.644 | 305342.9339 | 59.9307 | 38.1
76889 | 2021-04-07 13:35 | 35.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5633 | μmol/L | 11.5089 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131615.673 | 305367.3213 | 59.9307 | 38.1
76898 | 2021-04-07 13:36 | 36.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4564 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131608.4116 | 305364.3057 | 59.9307 | 38.1
76907 | 2021-04-07 13:36 | 36.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6072 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131599.903 | 305364.9099 | 59.9307 | 38.1
76916 | 2021-04-07 13:36 | 36.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4488 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131602.9245 | 305335.533 | 59.9307 | 38.1
76925 | 2021-04-07 13:37 | 37.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4564 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131590.8812 | 305342.0261 | 59.9307 | 38.1
76934 | 2021-04-07 13:37 | 37.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4488 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131590.0643 | 305331.1712 | 59.9307 | 38.1
76943 | 2021-04-07 13:37 | 37.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5443 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.935 | 131586.3243 | 305324.6461 | 59.9307 | 38.1
76952 | 2021-04-07 13:38 | 38.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4011 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131578.5104 | 305319.7922 | 59.9307 | 38.1
76961 | 2021-04-07 13:38 | 38.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4727 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131579.8114 | 305334.5676 | 59.9307 | 38.1
76970 | 2021-04-07 13:38 | 38.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4727 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 131576.559 | 305333.8237 | 59.9307 | 38.1
76979 | 2021-04-07 13:39 | 39.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4249 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131579.9099 | 305328.3231 | 59.9307 | 38.1
76988 | 2021-04-07 13:39 | 39.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.489 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.935 | 131576.1551 | 305321.9239 | 59.9307 | 38.1
76997 | 2021-04-07 13:39 | 39.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4011 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131564.9559 | 305313.6841 | 59.9307 | 38.1
77006 | 2021-04-07 13:40 | 40.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4451 | μmol/L | 11.5272 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 131567.1972 | 305305.4321 | 59.9307 | 38.1
77015 | 2021-04-07 13:40 | 40.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3383 | μmol/L | 11.5333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 131561.1057 | 305309.5343 | 59.9307 | 38.1
77024 | 2021-04-07 13:40 | 40.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3735 | μmol/L | 11.5272 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 131558.6726 | 305300.908 | 59.9307 | 38.1
77031 | 2021-04-07 13:41 | 41.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3496 | μmol/L | 11.5272 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.941 | 131588.943 | 305294.0134 | 59.9307 | 38.1