## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
75918 | 2021-04-07 12:59 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.407 | μmol/L | 11.3315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.144 | 113885.0296 | 220175.6034 | 27.3 | 43.4
75927 | 2021-04-07 13:00 | 0.32975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3695 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.143 | 113874.3235 | 220179.4771 | 27.3 | 43.4
75936 | 2021-04-07 13:00 | 0.66376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3967 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.142 | 113883.0111 | 220180.8875 | 27.3 | 43.4
75945 | 2021-04-07 13:00 | 0.99687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1789 | μmol/L | 11.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.15 | 113879.8102 | 220170.2397 | 27.3 | 43.4
75954 | 2021-04-07 13:01 | 1.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2503 | μmol/L | 11.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113889.3291 | 220165.1947 | 27.3 | 43.4
75963 | 2021-04-07 13:01 | 1.663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0597 | μmol/L | 11.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.152 | 113892.0656 | 220158.5161 | 27.3 | 43.4
75972 | 2021-04-07 13:01 | 1.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9407 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.154 | 113890.2067 | 220166.5145 | 27.3 | 43.4
75981 | 2021-04-07 13:02 | 2.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9679 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.153 | 113889.5769 | 220162.2112 | 27.3 | 43.4
75990 | 2021-04-07 13:02 | 2.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0325 | μmol/L | 11.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.153 | 113893.441 | 220152.5885 | 27.3 | 43.4
75999 | 2021-04-07 13:02 | 2.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8863 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.156 | 113884.2971 | 220143.3828 | 27.3 | 43.4
76008 | 2021-04-07 13:03 | 3.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8863 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.156 | 113880.0052 | 220148.737 | 27.3 | 43.4
76017 | 2021-04-07 13:03 | 3.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8863 | μmol/L | 11.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.156 | 113871.0408 | 220147.8182 | 27.3 | 43.4
76026 | 2021-04-07 13:03 | 3.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8488 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.155 | 113854.2941 | 220136.5606 | 27.3 | 43.4
76035 | 2021-04-07 13:04 | 4.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9032 | μmol/L | 11.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.153 | 113839.1891 | 220128.3057 | 27.3 | 43.4
76044 | 2021-04-07 13:04 | 4.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8012 | μmol/L | 11.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.152 | 113835.2585 | 220125.3498 | 27.3 | 43.4
76053 | 2021-04-07 13:04 | 4.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9746 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.148 | 113820.8849 | 220105.5291 | 27.3 | 43.4
76062 | 2021-04-07 13:05 | 5.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7842 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.155 | 113819.6467 | 220112.3341 | 27.3 | 43.4
76071 | 2021-04-07 13:05 | 5.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.893 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.151 | 113814.8787 | 220114.3509 | 27.3 | 43.4
76080 | 2021-04-07 13:05 | 5.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7366 | μmol/L | 11.3742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.152 | 113800.0014 | 220095.8438 | 27.3 | 43.4
76089 | 2021-04-07 13:06 | 6.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9202 | μmol/L | 11.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.15 | 113797.4068 | 220103.1248 | 27.3 | 43.4
76098 | 2021-04-07 13:06 | 6.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7094 | μmol/L | 11.3742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.153 | 113776.7926 | 220088.2916 | 27.3 | 43.4
76107 | 2021-04-07 13:06 | 6.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8827 | μmol/L | 11.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.149 | 113760.6008 | 220085.9815 | 27.3 | 43.4
76116 | 2021-04-07 13:07 | 7.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8623 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113742.7776 | 220085.5323 | 27.3 | 43.4
76125 | 2021-04-07 13:07 | 7.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7535 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.149 | 113739.2893 | 220077.6754 | 27.3 | 43.4
76134 | 2021-04-07 13:07 | 7.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8079 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.147 | 113730.2297 | 220072.3052 | 27.3 | 43.4
76143 | 2021-04-07 13:08 | 8.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8623 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113726.9596 | 220067.77 | 27.3 | 43.4
76152 | 2021-04-07 13:08 | 8.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8351 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.146 | 113713.8044 | 220068.5473 | 27.3 | 43.4
76161 | 2021-04-07 13:08 | 8.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8079 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.147 | 113696.556 | 220073.2382 | 27.3 | 43.4
76170 | 2021-04-07 13:09 | 9.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9609 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.139 | 113672.6629 | 220069.0761 | 27.3 | 43.4
76179 | 2021-04-07 13:09 | 9.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9337 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.14 | 113651.1424 | 220054.0673 | 27.3 | 43.4
76188 | 2021-04-07 13:09 | 9.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0154 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.137 | 113631.7949 | 220052.7779 | 27.3 | 43.4
76197 | 2021-04-07 13:10 | 10.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1617 | μmol/L | 11.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.134 | 113614.6042 | 220047.6208 | 27.3 | 43.4
76206 | 2021-04-07 13:10 | 10.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0426 | μmol/L | 11.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.136 | 113604.3261 | 220031.6565 | 27.3 | 43.4
76215 | 2021-04-07 13:10 | 10.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0324 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.134 | 113597.1042 | 220029.6778 | 27.3 | 43.4
76224 | 2021-04-07 13:11 | 11.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9133 | μmol/L | 11.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.136 | 113600.6941 | 220032.6424 | 27.3 | 43.4
76233 | 2021-04-07 13:11 | 11.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9235 | μmol/L | 11.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.138 | 113601.3904 | 220022.4625 | 27.3 | 43.4
76242 | 2021-04-07 13:11 | 11.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7773 | μmol/L | 11.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.141 | 113596.2264 | 220019.4285 | 27.3 | 43.4
76251 | 2021-04-07 13:12 | 12.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9304 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.133 | 113582.6676 | 220020.3217 | 27.3 | 43.4
76260 | 2021-04-07 13:12 | 12.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8488 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.136 | 113575.7324 | 220015.9494 | 27.3 | 43.4
76269 | 2021-04-07 13:12 | 12.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9032 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.134 | 113566.8388 | 220003.9588 | 27.3 | 43.4
76278 | 2021-04-07 13:13 | 13.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8386 | μmol/L | 11.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.134 | 113551.1137 | 219993.5987 | 27.3 | 43.4
76287 | 2021-04-07 13:13 | 13.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8828 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.13 | 113549.1984 | 220001.5514 | 27.3 | 43.4
76296 | 2021-04-07 13:13 | 13.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.012 | μmol/L | 11.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.13 | 113522.9701 | 219987.0515 | 27.3 | 43.4
76305 | 2021-04-07 13:14 | 14.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8012 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.133 | 113511.3406 | 219975.6461 | 27.3 | 43.4
76314 | 2021-04-07 13:14 | 14.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8284 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.132 | 113503.2006 | 219969.8162 | 27.3 | 43.4
76323 | 2021-04-07 13:14 | 14.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9645 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.127 | 113494.0403 | 219966.7763 | 27.3 | 43.4
76332 | 2021-04-07 13:15 | 15.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8455 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.129 | 113490.5194 | 219958.6654 | 27.3 | 43.4
76341 | 2021-04-07 13:15 | 15.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7367 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.133 | 113488.0135 | 219946.4 | 27.3 | 43.4
76350 | 2021-04-07 13:15 | 15.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6823 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.135 | 113506.5151 | 219941.2657 | 27.3 | 43.4
76359 | 2021-04-07 13:16 | 16.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.5837 | μmol/L | 11.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.141 | 113539.3527 | 219947.2111 | 27.3 | 43.4
76368 | 2021-04-07 13:16 | 16.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.2748 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.15 | 113582.1546 | 219922.9053 | 27.3 | 43.4
76377 | 2021-04-07 13:16 | 16.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.0577 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.158 | 113644.7124 | 219936.5044 | 27.3 | 43.4
76386 | 2021-04-07 13:17 | 17.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7494 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.167 | 113698.4508 | 219926.608 | 27.3 | 43.4
76395 | 2021-04-07 13:17 | 17.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.4245 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.179 | 113753.6953 | 219919.8433 | 27.3 | 43.4
76404 | 2021-04-07 13:17 | 17.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.1102 | μmol/L | 11.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.193 | 113806.5581 | 219915.6718 | 27.3 | 43.4
76413 | 2021-04-07 13:18 | 18.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.7388 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.202 | 113854.4729 | 219906.6911 | 27.3 | 43.4
76422 | 2021-04-07 13:18 | 18.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.4961 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.211 | 113902.8443 | 219908.5125 | 27.3 | 43.4
76431 | 2021-04-07 13:18 | 18.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.3344 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.217 | 113949.4852 | 219897.8046 | 27.3 | 43.4
76440 | 2021-04-07 13:19 | 19.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.9844 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.23 | 113999.9634 | 219894.3187 | 27.3 | 43.4
76449 | 2021-04-07 13:19 | 19.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8601 | μmol/L | 11.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.237 | 114044.8852 | 219885.2882 | 27.3 | 43.4
76458 | 2021-04-07 13:19 | 19.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7155 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.24 | 114072.5775 | 219881.9323 | 27.3 | 43.4
76467 | 2021-04-07 13:20 | 20.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4098 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.249 | 114100.122 | 219882.2339 | 27.3 | 43.4
76476 | 2021-04-07 13:20 | 20.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3127 | μmol/L | 11.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.255 | 114117.32 | 219871.7429 | 27.3 | 43.4
76485 | 2021-04-07 13:20 | 20.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1684 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.258 | 114133.911 | 219865.1441 | 27.3 | 43.4
76494 | 2021-04-07 13:21 | 21.3298 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0778 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.259 | 114148.4212 | 219845.1309 | 27.3 | 43.4
76503 | 2021-04-07 13:21 | 21.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1147 | μmol/L | 11.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.26 | 114155.0951 | 219859.0084 | 27.3 | 43.4
76512 | 2021-04-07 13:21 | 21.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.917 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.265 | 114156.0169 | 219843.5054 | 27.3 | 43.4
76521 | 2021-04-07 13:22 | 22.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0241 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.261 | 114158.8382 | 219844.5054 | 27.3 | 43.4
76530 | 2021-04-07 13:22 | 22.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0778 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.259 | 114144.7337 | 219844.7134 | 27.3 | 43.4
76539 | 2021-04-07 13:22 | 22.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.9872 | μmol/L | 11.4534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.26 | 114135.2827 | 219828.7695 | 27.3 | 43.4
76548 | 2021-04-07 13:23 | 23.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0241 | μmol/L | 11.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.261 | 114119.9324 | 219828.8246 | 27.3 | 43.4
76557 | 2021-04-07 13:23 | 23.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0944 | μmol/L | 11.4534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.256 | 114101.5644 | 219840.4608 | 27.3 | 43.4
76566 | 2021-04-07 13:23 | 23.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0575 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.255 | 114074.5402 | 219818.8809 | 27.3 | 43.4
76575 | 2021-04-07 13:24 | 24.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0575 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.255 | 114038.0981 | 219821.276 | 27.3 | 43.4
76584 | 2021-04-07 13:24 | 24.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1647 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.251 | 114013.3659 | 219806.5046 | 27.3 | 43.4
76593 | 2021-04-07 13:24 | 24.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3794 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.243 | 113982.6474 | 219797.9086 | 27.3 | 43.4
76602 | 2021-04-07 13:25 | 25.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.5137 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.238 | 113952.3541 | 219802.0684 | 27.3 | 43.4
76611 | 2021-04-07 13:25 | 25.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.5405 | μmol/L | 11.4595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.237 | 113924.8251 | 219790.4551 | 27.3 | 43.4
76620 | 2021-04-07 13:25 | 25.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.5573 | μmol/L | 11.4656 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.234 | 113893.3366 | 219787.3735 | 27.3 | 43.4
76629 | 2021-04-07 13:26 | 26.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6445 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.226 | 113876.7217 | 219783.1161 | 27.3 | 43.4
76638 | 2021-04-07 13:26 | 26.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6546 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.228 | 113854.2685 | 219775.3115 | 27.3 | 43.4
76647 | 2021-04-07 13:26 | 26.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8428 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113835.1804 | 219776.1705 | 27.3 | 43.4
76656 | 2021-04-07 13:27 | 27.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8428 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113815.39 | 219768.6677 | 27.3 | 43.4
76665 | 2021-04-07 13:27 | 27.6634 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8428 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113811.6322 | 219769.3919 | 27.3 | 43.4
76674 | 2021-04-07 13:27 | 27.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8428 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113800.9099 | 219764.298 | 27.3 | 43.4
76683 | 2021-04-07 13:28 | 28.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8327 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.219 | 113797.4542 | 219764.0322 | 27.3 | 43.4
76692 | 2021-04-07 13:28 | 28.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8058 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.22 | 113789.8745 | 219761.0029 | 27.3 | 43.4
76701 | 2021-04-07 13:28 | 28.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8697 | μmol/L | 11.4717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.22 | 113799.6166 | 219769.511 | 27.3 | 43.4
76710 | 2021-04-07 13:29 | 29.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7521 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.222 | 113794.7297 | 219747.0362 | 27.3 | 43.4
76719 | 2021-04-07 13:29 | 29.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6882 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.222 | 113791.6294 | 219752.2263 | 27.3 | 43.4
76728 | 2021-04-07 13:29 | 29.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6983 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.224 | 113780.0789 | 219745.5456 | 27.3 | 43.4
76737 | 2021-04-07 13:30 | 30.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7521 | μmol/L | 11.4778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.222 | 113781.2038 | 219738.0131 | 27.3 | 43.4
76746 | 2021-04-07 13:30 | 30.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7689 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.219 | 113787.0221 | 219731.999 | 27.3 | 43.4
76755 | 2021-04-07 13:30 | 30.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7151 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113769.2162 | 219727.3909 | 27.3 | 43.4
76764 | 2021-04-07 13:31 | 31.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6512 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113767.0667 | 219722.9522 | 27.3 | 43.4
76773 | 2021-04-07 13:31 | 31.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6344 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.224 | 113773.8758 | 219727.433 | 27.3 | 43.4
76782 | 2021-04-07 13:31 | 31.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6512 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.221 | 113750.6117 | 219714.3534 | 27.3 | 43.4
76791 | 2021-04-07 13:32 | 32.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7689 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.219 | 113732.356 | 219703.0489 | 27.3 | 43.4
76800 | 2021-04-07 13:32 | 32.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7957 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.218 | 113720.4227 | 219714.5627 | 27.3 | 43.4
76809 | 2021-04-07 13:32 | 32.9966 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8395 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.214 | 113707.1964 | 219707.8955 | 27.3 | 43.4
76818 | 2021-04-07 13:33 | 33.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.9033 | μmol/L | 11.4839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.214 | 113684.9352 | 219702.3835 | 27.3 | 43.4
76827 | 2021-04-07 13:33 | 33.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8126 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.215 | 113659.9676 | 219696.9783 | 27.3 | 43.4
76836 | 2021-04-07 13:33 | 33.9965 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1355 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.203 | 113632.7778 | 219691.2674 | 27.3 | 43.4
76845 | 2021-04-07 13:34 | 34.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1355 | μmol/L | 11.49 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.203 | 113603.3397 | 219689.5725 | 27.3 | 43.4
76854 | 2021-04-07 13:34 | 34.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.2332 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.197 | 113576.8681 | 219681.5831 | 27.3 | 43.4
76863 | 2021-04-07 13:34 | 34.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.4219 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.19 | 113544.8385 | 219678.4758 | 27.3 | 43.4
76872 | 2021-04-07 13:35 | 35.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.3579 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.19 | 113526.0188 | 219685.5 | 27.3 | 43.4
76881 | 2021-04-07 13:35 | 35.6632 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.6107 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.183 | 113502.6095 | 219677.3083 | 27.3 | 43.4
76890 | 2021-04-07 13:35 | 35.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.6107 | μmol/L | 11.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.183 | 113470.7108 | 219666.3078 | 27.3 | 43.4
76899 | 2021-04-07 13:36 | 36.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.6176 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.178 | 113457.865 | 219674.4235 | 27.3 | 43.4
76908 | 2021-04-07 13:36 | 36.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.7626 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.175 | 113429.3967 | 219673.4604 | 27.3 | 43.4
76917 | 2021-04-07 13:36 | 36.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.9517 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.168 | 113397.2739 | 219664.9365 | 27.3 | 43.4
76926 | 2021-04-07 13:37 | 37.3299 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.8977 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.17 | 113380.1671 | 219660.1109 | 27.3 | 43.4
76935 | 2021-04-07 13:37 | 37.6633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.9147 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.167 | 113361.6796 | 219654.0388 | 27.3 | 43.4
76944 | 2021-04-07 13:37 | 37.9964 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.1139 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.162 | 113348.421 | 219642.2596 | 27.3 | 43.4
76953 | 2021-04-07 13:38 | 38.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.0768 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.161 | 113335.9575 | 219652.372 | 27.3 | 43.4
76962 | 2021-04-07 13:38 | 38.6631 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.1139 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.162 | 113326.0438 | 219642.5537 | 27.3 | 43.4
76971 | 2021-04-07 13:38 | 38.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.9957 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.164 | 113318.8136 | 219632.7461 | 27.3 | 43.4
76980 | 2021-04-07 13:39 | 39.33 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.0768 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.161 | 113316.9045 | 219633.3545 | 27.3 | 43.4
76989 | 2021-04-07 13:39 | 39.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.168 | μmol/L | 11.5022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.16 | 113311.6068 | 219643.1075 | 27.3 | 43.4
76998 | 2021-04-07 13:39 | 39.9967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.9316 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.164 | 113322.0626 | 219635.0536 | 27.3 | 43.4
77007 | 2021-04-07 13:40 | 40.3297 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.0228 | μmol/L | 11.5083 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.163 | 113320.2683 | 219634.3883 | 27.3 | 43.4
77016 | 2021-04-07 13:40 | 40.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.9046 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.165 | 113322.2025 | 219637.8712 | 27.3 | 43.4
77025 | 2021-04-07 13:40 | 40.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.9587 | μmol/L | 11.5144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.163 | 113327.8213 | 219631.6204 | 27.3 | 43.4