## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
75919 | 2021-04-07 12:59 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8772 | μmol/L | 11.3669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.064 | 109224.5236 | 304152.9871 | 28.7 | 67.6
75931 | 2021-04-07 13:00 | 0.49986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7898 | μmol/L | 11.3608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 109227.9806 | 304169.1639 | 28.7 | 67.6
75937 | 2021-04-07 13:00 | 0.67052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6797 | μmol/L | 11.3729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 109228.8586 | 304171.6214 | 28.7 | 67.6
75946 | 2021-04-07 13:00 | 1.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8611 | μmol/L | 11.3608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 109218.4564 | 304163.9643 | 28.7 | 67.6
75955 | 2021-04-07 13:01 | 1.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6246 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 109222.4333 | 304150.5056 | 28.7 | 67.6
75964 | 2021-04-07 13:01 | 1.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6958 | μmol/L | 11.379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 109208.4641 | 304141.5055 | 28.7 | 67.6
75973 | 2021-04-07 13:01 | 2.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7509 | μmol/L | 11.3729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 109199.5939 | 304137.5156 | 28.7 | 67.6
75982 | 2021-04-07 13:02 | 2.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7984 | μmol/L | 11.3729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 109193.3049 | 304125.0724 | 28.7 | 67.6
75991 | 2021-04-07 13:02 | 2.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6408 | μmol/L | 11.3851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 109182.8954 | 304109.3951 | 28.7 | 67.6
76000 | 2021-04-07 13:02 | 3.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6882 | μmol/L | 11.3851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 109174.3107 | 304119.9568 | 28.7 | 67.6
76009 | 2021-04-07 13:03 | 3.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6882 | μmol/L | 11.3851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 109173.3561 | 304102.5279 | 28.7 | 67.6
76018 | 2021-04-07 13:03 | 3.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6882 | μmol/L | 11.3851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 109153.0737 | 304091.5159 | 28.7 | 67.6
76027 | 2021-04-07 13:03 | 4.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6569 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.064 | 109149.1932 | 304092.1469 | 28.7 | 67.6
76036 | 2021-04-07 13:04 | 4.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.712 | μmol/L | 11.3851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.064 | 109139.4243 | 304084.1525 | 28.7 | 67.6
76045 | 2021-04-07 13:04 | 4.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7044 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 109133.1056 | 304075.2269 | 28.7 | 67.6
76054 | 2021-04-07 13:04 | 5.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7281 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 109114.5882 | 304067.1603 | 28.7 | 67.6
76063 | 2021-04-07 13:05 | 5.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6655 | μmol/L | 11.4033 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 109107.6677 | 304044.265 | 28.7 | 67.6
76072 | 2021-04-07 13:05 | 5.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6968 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 109089.8069 | 304063.2394 | 28.7 | 67.6
76081 | 2021-04-07 13:05 | 6.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7681 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 109079.4053 | 304019.4622 | 28.7 | 67.6
76090 | 2021-04-07 13:06 | 6.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7281 | μmol/L | 11.3911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 109067.5047 | 304023.9931 | 28.7 | 67.6
76099 | 2021-04-07 13:06 | 6.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7681 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 109059.0044 | 304035.9369 | 28.7 | 67.6
76108 | 2021-04-07 13:06 | 7.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8156 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 109045.3199 | 304015.2099 | 28.7 | 67.6
76117 | 2021-04-07 13:07 | 7.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.713 | μmol/L | 11.4033 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 109033.6029 | 304005.3376 | 28.7 | 67.6
76126 | 2021-04-07 13:07 | 7.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8393 | μmol/L | 11.3972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 109017.316 | 303988.1011 | 28.7 | 67.6
76135 | 2021-04-07 13:07 | 8.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8793 | μmol/L | 11.4033 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 109007.7196 | 303991.1222 | 28.7 | 67.6
76144 | 2021-04-07 13:08 | 8.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8242 | μmol/L | 11.4093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108996.8869 | 303981.7356 | 28.7 | 67.6
76153 | 2021-04-07 13:08 | 8.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8004 | μmol/L | 11.4093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 108994.7595 | 303979.1594 | 28.7 | 67.6
76162 | 2021-04-07 13:08 | 9.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7929 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 108974.932 | 303964.1229 | 28.7 | 67.6
76171 | 2021-04-07 13:09 | 9.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8167 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 108967.7374 | 303958.1729 | 28.7 | 67.6
76180 | 2021-04-07 13:09 | 9.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9117 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108950.2322 | 303941.8053 | 28.7 | 67.6
76189 | 2021-04-07 13:09 | 10.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8879 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108943.2166 | 303946.4319 | 28.7 | 67.6
76198 | 2021-04-07 13:10 | 10.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8879 | μmol/L | 11.4154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108928.5543 | 303928.4498 | 28.7 | 67.6
76207 | 2021-04-07 13:10 | 10.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8329 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108916.4314 | 303933.7507 | 28.7 | 67.6
76216 | 2021-04-07 13:10 | 11.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8491 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108902.1322 | 303917.1172 | 28.7 | 67.6
76225 | 2021-04-07 13:11 | 11.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9279 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108904.0457 | 303920.3641 | 28.7 | 67.6
76234 | 2021-04-07 13:11 | 11.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8729 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108893.0931 | 303904.2245 | 28.7 | 67.6
76243 | 2021-04-07 13:11 | 12.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9517 | μmol/L | 11.4215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108875.0677 | 303884.004 | 28.7 | 67.6
76252 | 2021-04-07 13:12 | 12.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8491 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108872.521 | 303902.4849 | 28.7 | 67.6
76261 | 2021-04-07 13:12 | 12.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9442 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 108874.0723 | 303895.7027 | 28.7 | 67.6
76270 | 2021-04-07 13:12 | 13.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8966 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 108863.2367 | 303868.3729 | 28.7 | 67.6
76279 | 2021-04-07 13:13 | 13.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9204 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 108843.0507 | 303867.1632 | 28.7 | 67.6
76288 | 2021-04-07 13:13 | 13.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9442 | μmol/L | 11.4275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 108840.9358 | 303858.4265 | 28.7 | 67.6
76297 | 2021-04-07 13:13 | 14.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8578 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.037 | 108830.4946 | 303848.506 | 28.7 | 67.6
76306 | 2021-04-07 13:14 | 14.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8578 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.037 | 108811.7182 | 303818.2395 | 28.7 | 67.6
76315 | 2021-04-07 13:14 | 14.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9291 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 108812.7254 | 303823.8955 | 28.7 | 67.6
76324 | 2021-04-07 13:14 | 15.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8891 | μmol/L | 11.4336 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 108805.5297 | 303824.2548 | 28.7 | 67.6
76333 | 2021-04-07 13:15 | 15.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0555 | μmol/L | 11.4336 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.031 | 108800.5414 | 303807.6313 | 28.7 | 67.6
76342 | 2021-04-07 13:15 | 15.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9291 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 108782.5532 | 303787.6051 | 28.7 | 67.6
76351 | 2021-04-07 13:15 | 16.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9216 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.032 | 108776.929 | 303779.5982 | 28.7 | 67.6
76360 | 2021-04-07 13:16 | 16.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9529 | μmol/L | 11.4397 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 108774.1441 | 303783.0584 | 28.7 | 67.6
76369 | 2021-04-07 13:16 | 16.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8741 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 108767.5931 | 303775.092 | 28.7 | 67.6
76378 | 2021-04-07 13:16 | 17.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8978 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 108759.3196 | 303750.2248 | 28.7 | 67.6
76387 | 2021-04-07 13:17 | 17.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8353 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.031 | 108757.3842 | 303748.6606 | 28.7 | 67.6
76396 | 2021-04-07 13:17 | 17.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8978 | μmol/L | 11.4458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 108744.9639 | 303758.8873 | 28.7 | 67.6
76405 | 2021-04-07 13:17 | 18.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8903 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.031 | 108743.4761 | 303734.1498 | 28.7 | 67.6
76414 | 2021-04-07 13:18 | 18.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8666 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.032 | 108734.6043 | 303737.6961 | 28.7 | 67.6
76423 | 2021-04-07 13:18 | 18.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9379 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 108736.7877 | 303719.8373 | 28.7 | 67.6
76432 | 2021-04-07 13:18 | 19.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8428 | μmol/L | 11.4518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 108715.5793 | 303702.6059 | 28.7 | 67.6
76441 | 2021-04-07 13:19 | 19.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7403 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.035 | 108716.0119 | 303705.11 | 28.7 | 67.6
76450 | 2021-04-07 13:19 | 19.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.669 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 108721.9281 | 303693.898 | 28.7 | 67.6
76459 | 2021-04-07 13:19 | 20.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.7878 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 108725.1631 | 303690.7849 | 28.7 | 67.6
76468 | 2021-04-07 13:20 | 20.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6615 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.036 | 108719.1848 | 303667.1076 | 28.7 | 67.6
76477 | 2021-04-07 13:20 | 20.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6615 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.036 | 108716.7642 | 303667.2097 | 28.7 | 67.6
76486 | 2021-04-07 13:20 | 21.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.574 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108717.513 | 303655.8093 | 28.7 | 67.6
76495 | 2021-04-07 13:21 | 21.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.614 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 108709.1215 | 303651.1962 | 28.7 | 67.6
76504 | 2021-04-07 13:21 | 21.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.614 | μmol/L | 11.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 108713.8272 | 303635.6521 | 28.7 | 67.6
76513 | 2021-04-07 13:21 | 22.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.4878 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108721.8109 | 303635.1803 | 28.7 | 67.6
76522 | 2021-04-07 13:22 | 22.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3455 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108716.1025 | 303610.3851 | 28.7 | 67.6
76531 | 2021-04-07 13:22 | 22.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3617 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108731.693 | 303607.3332 | 28.7 | 67.6
76540 | 2021-04-07 13:22 | 23.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3929 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 108727.1334 | 303595.1164 | 28.7 | 67.6
76549 | 2021-04-07 13:23 | 23.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3143 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 108732.0803 | 303587.0292 | 28.7 | 67.6
76558 | 2021-04-07 13:23 | 23.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3455 | μmol/L | 11.47 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108723.2669 | 303592.1299 | 28.7 | 67.6
76567 | 2021-04-07 13:23 | 24.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2431 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 108716.3965 | 303581.1426 | 28.7 | 67.6
76576 | 2021-04-07 13:24 | 24.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2906 | μmol/L | 11.4761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 108704.6045 | 303570.0282 | 28.7 | 67.6
76585 | 2021-04-07 13:24 | 24.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3542 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108691.671 | 303553.317 | 28.7 | 67.6
76594 | 2021-04-07 13:24 | 25.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3305 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 108682.09 | 303559.3302 | 28.7 | 67.6
76603 | 2021-04-07 13:25 | 25.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.378 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 108667.9295 | 303519.6241 | 28.7 | 67.6
76612 | 2021-04-07 13:25 | 25.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3068 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108671.5194 | 303532.2659 | 28.7 | 67.6
76621 | 2021-04-07 13:25 | 26.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3542 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 108649.8453 | 303513.6268 | 28.7 | 67.6
76630 | 2021-04-07 13:26 | 26.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.4254 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 108650.2638 | 303504.9146 | 28.7 | 67.6
76639 | 2021-04-07 13:26 | 26.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.4254 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 108646.4704 | 303490.8353 | 28.7 | 67.6
76648 | 2021-04-07 13:26 | 27.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.3068 | μmol/L | 11.4822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 108645.4092 | 303491.9168 | 28.7 | 67.6
76657 | 2021-04-07 13:27 | 27.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.2756 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 108649.2091 | 303483.114 | 28.7 | 67.6
76666 | 2021-04-07 13:27 | 27.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1571 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 108658.7953 | 303484.2175 | 28.7 | 67.6
76675 | 2021-04-07 13:27 | 28.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0548 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108662.3779 | 303476.6664 | 28.7 | 67.6
76684 | 2021-04-07 13:28 | 28.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0785 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 108667.8151 | 303465.2655 | 28.7 | 67.6
76693 | 2021-04-07 13:28 | 28.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0386 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108681.8847 | 303465.5585 | 28.7 | 67.6
76702 | 2021-04-07 13:28 | 29.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8654 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108691.401 | 303445.3209 | 28.7 | 67.6
76711 | 2021-04-07 13:29 | 29.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8891 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108708.4857 | 303454.1809 | 28.7 | 67.6
76720 | 2021-04-07 13:29 | 29.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7944 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 108704.2515 | 303432.0657 | 28.7 | 67.6
76729 | 2021-04-07 13:29 | 30.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7707 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 108709.658 | 303430.4521 | 28.7 | 67.6
76738 | 2021-04-07 13:30 | 30.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7707 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 108710.4578 | 303433.4676 | 28.7 | 67.6
76747 | 2021-04-07 13:30 | 30.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.747 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.063 | 108700.2594 | 303411.5266 | 28.7 | 67.6
76756 | 2021-04-07 13:30 | 31.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.6139 | μmol/L | 11.5065 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.064 | 108694.8407 | 303418.8837 | 28.7 | 67.6
76765 | 2021-04-07 13:31 | 31.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7321 | μmol/L | 11.5065 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108688.0737 | 303397.7783 | 28.7 | 67.6
76774 | 2021-04-07 13:31 | 31.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7795 | μmol/L | 11.5065 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108678.7949 | 303400.3472 | 28.7 | 67.6
76783 | 2021-04-07 13:31 | 32.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8342 | μmol/L | 11.5004 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 108668.1583 | 303393.1607 | 28.7 | 67.6
76792 | 2021-04-07 13:32 | 32.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7957 | μmol/L | 11.5125 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108661.2936 | 303369.1577 | 28.7 | 67.6
76801 | 2021-04-07 13:32 | 32.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8816 | μmol/L | 11.5004 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108646.2366 | 303373.205 | 28.7 | 67.6
76810 | 2021-04-07 13:32 | 33.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9215 | μmol/L | 11.5065 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 108636.0301 | 303368.5704 | 28.7 | 67.6
76819 | 2021-04-07 13:33 | 33.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9215 | μmol/L | 11.5065 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 108626.5118 | 303358.1295 | 28.7 | 67.6
76828 | 2021-04-07 13:33 | 33.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8667 | μmol/L | 11.5125 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 108618.9612 | 303360.6528 | 28.7 | 67.6
76837 | 2021-04-07 13:33 | 34.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7882 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108610.2783 | 303359.6362 | 28.7 | 67.6
76846 | 2021-04-07 13:34 | 34.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9377 | μmol/L | 11.5125 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 108598.6456 | 303342.0909 | 28.7 | 67.6
76855 | 2021-04-07 13:34 | 34.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8593 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 108592.4553 | 303335.9758 | 28.7 | 67.6
76864 | 2021-04-07 13:34 | 35.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9303 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 108590.886 | 303341.7961 | 28.7 | 67.6
76873 | 2021-04-07 13:35 | 35.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9141 | μmol/L | 11.5125 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 108585.027 | 303339.6611 | 28.7 | 67.6
76882 | 2021-04-07 13:35 | 35.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8829 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 108574.3411 | 303320.125 | 28.7 | 67.6
76891 | 2021-04-07 13:35 | 36.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8593 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 108569.6895 | 303312.2418 | 28.7 | 67.6
76900 | 2021-04-07 13:36 | 36.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8356 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108576.0185 | 303324.0259 | 28.7 | 67.6
76909 | 2021-04-07 13:36 | 36.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7808 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 108574.5098 | 303319.7623 | 28.7 | 67.6
76918 | 2021-04-07 13:36 | 37.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7646 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 108581.924 | 303314.2435 | 28.7 | 67.6
76927 | 2021-04-07 13:37 | 37.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7882 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 108582.7312 | 303311.7734 | 28.7 | 67.6
76936 | 2021-04-07 13:37 | 37.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7409 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108573.0457 | 303284.7433 | 28.7 | 67.6
76945 | 2021-04-07 13:37 | 38.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7409 | μmol/L | 11.5186 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108580.4614 | 303296.8731 | 28.7 | 67.6
76954 | 2021-04-07 13:38 | 38.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.6078 | μmol/L | 11.5307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108583.1689 | 303297.4647 | 28.7 | 67.6
76963 | 2021-04-07 13:38 | 38.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.6625 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 108584.0938 | 303291.744 | 28.7 | 67.6
76972 | 2021-04-07 13:38 | 39.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5443 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 108589.0838 | 303286.7689 | 28.7 | 67.6
76981 | 2021-04-07 13:39 | 39.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5915 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108594.9129 | 303286.8249 | 28.7 | 67.6
76990 | 2021-04-07 13:39 | 39.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.6314 | μmol/L | 11.5307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 108592.0344 | 303278.7513 | 28.7 | 67.6
76999 | 2021-04-07 13:39 | 40.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5443 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 108587.9835 | 303270.4998 | 28.7 | 67.6
77008 | 2021-04-07 13:40 | 40.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5915 | μmol/L | 11.5247 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 108575.1226 | 303262.5318 | 28.7 | 67.6
77017 | 2021-04-07 13:40 | 40.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5132 | μmol/L | 11.5307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108579.3804 | 303258.1491 | 28.7 | 67.6
77026 | 2021-04-07 13:40 | 41.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5132 | μmol/L | 11.5307 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 108565.3153 | 303254.0888 | 28.7 | 67.6