## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
75920 | 2021-04-07 12:59 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 310.0645 | μmol/L | 11.366 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.64 | 146331.0934 | 278166.935 | 36.4 | 83.1
75932 | 2021-04-07 13:00 | 0.47364 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.912 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 146429.7204 | 278167.185 | 36.4 | 83.1
75938 | 2021-04-07 13:00 | 0.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.949 | μmol/L | 11.3721 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.642 | 146426.1294 | 278157.7831 | 36.4 | 83.1
75947 | 2021-04-07 13:00 | 0.99467 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8444 | μmol/L | 11.3721 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.646 | 146443.9352 | 278157.973 | 36.4 | 83.1
75956 | 2021-04-07 13:01 | 1.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7029 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.649 | 146466.0468 | 278149.5854 | 36.4 | 83.1
75965 | 2021-04-07 13:01 | 1.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7029 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.649 | 146478.9841 | 278140.7916 | 36.4 | 83.1
75974 | 2021-04-07 13:01 | 1.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5614 | μmol/L | 11.3843 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.652 | 146488.5168 | 278132.2037 | 36.4 | 83.1
75983 | 2021-04-07 13:02 | 2.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5984 | μmol/L | 11.3782 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.653 | 146498.2552 | 278130.6353 | 36.4 | 83.1
75992 | 2021-04-07 13:02 | 2.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5875 | μmol/L | 11.3843 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.651 | 146488.5445 | 278122.4898 | 36.4 | 83.1
76001 | 2021-04-07 13:02 | 2.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4831 | μmol/L | 11.3843 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.655 | 146474.2241 | 278112.6898 | 36.4 | 83.1
76010 | 2021-04-07 13:03 | 3.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6398 | μmol/L | 11.3843 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.649 | 146451.5171 | 278098.4377 | 36.4 | 83.1
76019 | 2021-04-07 13:03 | 3.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6289 | μmol/L | 11.3905 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.647 | 146424.5682 | 278088.2678 | 36.4 | 83.1
76028 | 2021-04-07 13:03 | 3.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6703 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.643 | 146388.2651 | 278083.0686 | 36.4 | 83.1
76037 | 2021-04-07 13:04 | 4.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6855 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.64 | 146370.1201 | 278086.3307 | 36.4 | 83.1
76046 | 2021-04-07 13:04 | 4.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7748 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.639 | 146341.9299 | 278087.054 | 36.4 | 83.1
76055 | 2021-04-07 13:04 | 4.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8793 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.635 | 146309.9014 | 278070.1104 | 36.4 | 83.1
76064 | 2021-04-07 13:05 | 5.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9578 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.632 | 146277.8119 | 278059.0912 | 36.4 | 83.1
76073 | 2021-04-07 13:05 | 5.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 310.0624 | μmol/L | 11.3966 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.628 | 146269.3039 | 278059.3069 | 36.4 | 83.1
76082 | 2021-04-07 13:05 | 5.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9208 | μmol/L | 11.4027 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.631 | 146260.5431 | 278053.1014 | 36.4 | 83.1
76091 | 2021-04-07 13:06 | 6.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8053 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.633 | 146258.7549 | 278044.112 | 36.4 | 83.1
76100 | 2021-04-07 13:06 | 6.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7269 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.636 | 146276.2815 | 278028.1849 | 36.4 | 83.1
76109 | 2021-04-07 13:06 | 6.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7531 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.635 | 146278.952 | 278017.9001 | 36.4 | 83.1
76118 | 2021-04-07 13:07 | 7.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6116 | μmol/L | 11.4149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.638 | 146291.216 | 278005.1722 | 36.4 | 83.1
76127 | 2021-04-07 13:07 | 7.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7008 | μmol/L | 11.4088 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.637 | 146286.6446 | 278011.9388 | 36.4 | 83.1
76136 | 2021-04-07 13:07 | 7.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6638 | μmol/L | 11.4149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.636 | 146249.2091 | 278007.7257 | 36.4 | 83.1
76145 | 2021-04-07 13:08 | 8.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6008 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.636 | 146226.4377 | 277988.9851 | 36.4 | 83.1
76154 | 2021-04-07 13:08 | 8.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8098 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.628 | 146192.6836 | 277989.92 | 36.4 | 83.1
76163 | 2021-04-07 13:08 | 8.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8621 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.626 | 146163.7913 | 277971.4672 | 36.4 | 83.1
76172 | 2021-04-07 13:09 | 9.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9144 | μmol/L | 11.421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.624 | 146139.6154 | 277974.7592 | 36.4 | 83.1
76181 | 2021-04-07 13:09 | 9.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9298 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 146121.2342 | 277966.0474 | 36.4 | 83.1
76190 | 2021-04-07 13:09 | 9.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9298 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 146107.9382 | 277969.1939 | 36.4 | 83.1
76199 | 2021-04-07 13:10 | 10.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8405 | μmol/L | 11.4332 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.622 | 146089.011 | 277956.0885 | 36.4 | 83.1
76208 | 2021-04-07 13:10 | 10.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9189 | μmol/L | 11.4332 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.619 | 146082.9847 | 277945.7519 | 36.4 | 83.1
76217 | 2021-04-07 13:10 | 10.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.882 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 146068.0764 | 277946.5636 | 36.4 | 83.1
76226 | 2021-04-07 13:11 | 11.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.9081 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.617 | 146061.7113 | 277955.1034 | 36.4 | 83.1
76235 | 2021-04-07 13:11 | 11.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.845 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.617 | 146054.7671 | 277938.7428 | 36.4 | 83.1
76244 | 2021-04-07 13:11 | 11.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8558 | μmol/L | 11.4393 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.619 | 146051.2838 | 277929.7477 | 36.4 | 83.1
76253 | 2021-04-07 13:12 | 12.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8712 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.616 | 146046.6052 | 277922.5785 | 36.4 | 83.1
76262 | 2021-04-07 13:12 | 12.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.8189 | μmol/L | 11.4455 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 146044.1192 | 277934.6985 | 36.4 | 83.1
76271 | 2021-04-07 13:12 | 12.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7558 | μmol/L | 11.4516 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 146030.9913 | 277905.8716 | 36.4 | 83.1
76280 | 2021-04-07 13:13 | 13.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5882 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.622 | 146024.4177 | 277908.2651 | 36.4 | 83.1
76289 | 2021-04-07 13:13 | 13.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7558 | μmol/L | 11.4516 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 146013.5927 | 277896.1629 | 36.4 | 83.1
76298 | 2021-04-07 13:13 | 13.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6927 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 146012.3527 | 277890.9544 | 36.4 | 83.1
76307 | 2021-04-07 13:14 | 14.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.7819 | μmol/L | 11.4516 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.617 | 146015.446 | 277867.7368 | 36.4 | 83.1
76316 | 2021-04-07 13:14 | 14.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6143 | μmol/L | 11.4577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 146017.269 | 277867.8242 | 36.4 | 83.1
76325 | 2021-04-07 13:14 | 14.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5774 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.62 | 146014.6251 | 277856.4061 | 36.4 | 83.1
76334 | 2021-04-07 13:15 | 15.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.6297 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 146013.1025 | 277843.0556 | 36.4 | 83.1
76343 | 2021-04-07 13:15 | 15.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.682 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.616 | 146008.1481 | 277842.2394 | 36.4 | 83.1
76352 | 2021-04-07 13:15 | 15.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4099 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.624 | 145997.5363 | 277834.648 | 36.4 | 83.1
76361 | 2021-04-07 13:16 | 16.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4883 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 145987.2133 | 277839.2829 | 36.4 | 83.1
76370 | 2021-04-07 13:16 | 16.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5774 | μmol/L | 11.4638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.62 | 145976.6304 | 277826.1295 | 36.4 | 83.1
76379 | 2021-04-07 13:16 | 16.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.5144 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.62 | 145974.4301 | 277819.0165 | 36.4 | 83.1
76388 | 2021-04-07 13:17 | 17.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3992 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.622 | 145971.0598 | 277808.9826 | 36.4 | 83.1
76397 | 2021-04-07 13:17 | 17.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.4883 | μmol/L | 11.4699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 145974.4968 | 277803.3428 | 36.4 | 83.1
76406 | 2021-04-07 13:17 | 17.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.3731 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.623 | 145972.099 | 277783.5391 | 36.4 | 83.1
76415 | 2021-04-07 13:18 | 18.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.2426 | μmol/L | 11.476 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.628 | 145972.0489 | 277779.2307 | 36.4 | 83.1
76424 | 2021-04-07 13:18 | 18.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1796 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.628 | 145983.2873 | 277772.135 | 36.4 | 83.1
76433 | 2021-04-07 13:18 | 18.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1014 | μmol/L | 11.4821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.631 | 145991.9604 | 277769.4843 | 36.4 | 83.1
76442 | 2021-04-07 13:19 | 19.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0645 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.63 | 145978.6954 | 277759.6487 | 36.4 | 83.1
76451 | 2021-04-07 13:19 | 19.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0385 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.631 | 145975.8236 | 277764.5822 | 36.4 | 83.1
76460 | 2021-04-07 13:19 | 19.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9495 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.632 | 145968.8317 | 277734.827 | 36.4 | 83.1
76469 | 2021-04-07 13:20 | 20.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0277 | μmol/L | 11.4943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.629 | 145960.1455 | 277734.7706 | 36.4 | 83.1
76478 | 2021-04-07 13:20 | 20.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0645 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.63 | 145943.1736 | 277728.9771 | 36.4 | 83.1
76487 | 2021-04-07 13:20 | 20.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1167 | μmol/L | 11.4882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.628 | 145926.2053 | 277722.6877 | 36.4 | 83.1
76496 | 2021-04-07 13:21 | 21.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0692 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.625 | 145916.5363 | 277716.056 | 36.4 | 83.1
76505 | 2021-04-07 13:21 | 21.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9802 | μmol/L | 11.5066 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.626 | 145899.003 | 277699.5694 | 36.4 | 83.1
76514 | 2021-04-07 13:21 | 21.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0692 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.625 | 145890.4823 | 277687.4884 | 36.4 | 83.1
76523 | 2021-04-07 13:22 | 22.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9434 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.625 | 145878.0328 | 277691.7689 | 36.4 | 83.1
76532 | 2021-04-07 13:22 | 22.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9802 | μmol/L | 11.5066 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.626 | 145869.0005 | 277675.9462 | 36.4 | 83.1
76541 | 2021-04-07 13:22 | 22.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0324 | μmol/L | 11.5066 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.624 | 145862.7562 | 277674.4345 | 36.4 | 83.1
76550 | 2021-04-07 13:23 | 23.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.017 | μmol/L | 11.5005 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.627 | 145849.9022 | 277666.931 | 36.4 | 83.1
76559 | 2021-04-07 13:23 | 23.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8392 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.629 | 145844.2796 | 277658.7392 | 36.4 | 83.1
76568 | 2021-04-07 13:23 | 23.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9174 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.626 | 145840.0448 | 277651.9645 | 36.4 | 83.1
76577 | 2021-04-07 13:24 | 24.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7763 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.629 | 145834.0374 | 277638.2556 | 36.4 | 83.1
76586 | 2021-04-07 13:24 | 24.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8913 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.627 | 145827.684 | 277651.1999 | 36.4 | 83.1
76595 | 2021-04-07 13:24 | 24.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8652 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.628 | 145825.811 | 277643.1886 | 36.4 | 83.1
76604 | 2021-04-07 13:25 | 25.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9588 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.622 | 145800.8848 | 277615.6397 | 36.4 | 83.1
76613 | 2021-04-07 13:25 | 25.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9695 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.624 | 145791.8307 | 277620.0631 | 36.4 | 83.1
76622 | 2021-04-07 13:25 | 25.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9174 | μmol/L | 11.5127 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.626 | 145783.6806 | 277621.7276 | 36.4 | 83.1
76631 | 2021-04-07 13:26 | 26.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7657 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.627 | 145766.7523 | 277610.1951 | 36.4 | 83.1
76640 | 2021-04-07 13:26 | 26.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9849 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 145758.6347 | 277599.5862 | 36.4 | 83.1
76649 | 2021-04-07 13:26 | 26.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9588 | μmol/L | 11.5188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.622 | 145751.4675 | 277577.3801 | 36.4 | 83.1
76658 | 2021-04-07 13:27 | 27.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9742 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.619 | 145736.5007 | 277580.9905 | 36.4 | 83.1
76667 | 2021-04-07 13:27 | 27.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.922 | μmol/L | 11.5249 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.621 | 145728.1639 | 277589.6718 | 36.4 | 83.1
76676 | 2021-04-07 13:27 | 27.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9374 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 145697.4206 | 277564.7291 | 36.4 | 83.1
76685 | 2021-04-07 13:28 | 28.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8853 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.62 | 145685.4522 | 277574.0821 | 36.4 | 83.1
76694 | 2021-04-07 13:28 | 28.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0157 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.615 | 145655.5526 | 277558.2937 | 36.4 | 83.1
76703 | 2021-04-07 13:28 | 28.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0418 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.614 | 145633.9944 | 277558.9242 | 36.4 | 83.1
76712 | 2021-04-07 13:29 | 29.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9528 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.615 | 145622.555 | 277554.3483 | 36.4 | 83.1
76721 | 2021-04-07 13:29 | 29.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9528 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.615 | 145615.3242 | 277552.7934 | 36.4 | 83.1
76730 | 2021-04-07 13:29 | 29.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0679 | μmol/L | 11.531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.613 | 145593.2778 | 277545.0042 | 36.4 | 83.1
76739 | 2021-04-07 13:30 | 30.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.005 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.613 | 145578.0563 | 277538.0871 | 36.4 | 83.1
76748 | 2021-04-07 13:30 | 30.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0465 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145571.8124 | 277523.6731 | 36.4 | 83.1
76757 | 2021-04-07 13:30 | 30.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1094 | μmol/L | 11.5371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145561.9268 | 277522.3469 | 36.4 | 83.1
76766 | 2021-04-07 13:31 | 31.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0987 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.607 | 145555.9416 | 277507.8497 | 36.4 | 83.1
76775 | 2021-04-07 13:31 | 31.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0204 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.61 | 145539.1091 | 277501.7278 | 36.4 | 83.1
76784 | 2021-04-07 13:31 | 31.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0987 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.607 | 145535.1442 | 277504.4389 | 36.4 | 83.1
76793 | 2021-04-07 13:32 | 32.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1509 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.605 | 145521.8866 | 277494.7165 | 36.4 | 83.1
76802 | 2021-04-07 13:32 | 32.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0252 | μmol/L | 11.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.605 | 145516.0716 | 277482.6255 | 36.4 | 83.1
76811 | 2021-04-07 13:32 | 32.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1509 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.605 | 145508.9745 | 277505.8078 | 36.4 | 83.1
76820 | 2021-04-07 13:33 | 33.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.062 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.606 | 145504.4929 | 277496.3021 | 36.4 | 83.1
76829 | 2021-04-07 13:33 | 33.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0726 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.608 | 145492.5896 | 277494.4939 | 36.4 | 83.1
76838 | 2021-04-07 13:33 | 33.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.062 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.606 | 145480.2142 | 277483.9445 | 36.4 | 83.1
76847 | 2021-04-07 13:34 | 34.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.1248 | μmol/L | 11.5432 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.606 | 145486.3092 | 277463.6915 | 36.4 | 83.1
76856 | 2021-04-07 13:34 | 34.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0881 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.605 | 145478.531 | 277472.0403 | 36.4 | 83.1
76865 | 2021-04-07 13:34 | 34.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0359 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.607 | 145474.2745 | 277456.9139 | 36.4 | 83.1
76874 | 2021-04-07 13:35 | 35.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8948 | μmol/L | 11.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.61 | 145469.9702 | 277463.5833 | 36.4 | 83.1
76883 | 2021-04-07 13:35 | 35.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9209 | μmol/L | 11.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145462.9559 | 277454.1099 | 36.4 | 83.1
76892 | 2021-04-07 13:35 | 35.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 309.0881 | μmol/L | 11.5493 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.605 | 145466.9879 | 277443.1368 | 36.4 | 83.1
76901 | 2021-04-07 13:36 | 36.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.8842 | μmol/L | 11.5616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.608 | 145469.8942 | 277440.3105 | 36.4 | 83.1
76910 | 2021-04-07 13:36 | 36.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9209 | μmol/L | 11.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145467.6226 | 277451.5379 | 36.4 | 83.1
76919 | 2021-04-07 13:36 | 36.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.832 | μmol/L | 11.5616 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.61 | 145462.3434 | 277417.6421 | 36.4 | 83.1
76928 | 2021-04-07 13:37 | 37.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7692 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.61 | 145464.829 | 277436.9335 | 36.4 | 83.1
76937 | 2021-04-07 13:37 | 37.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.9209 | μmol/L | 11.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145460.7648 | 277423.9142 | 36.4 | 83.1
76946 | 2021-04-07 13:37 | 37.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7953 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145456.2102 | 277421.5521 | 36.4 | 83.1
76955 | 2021-04-07 13:38 | 38.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7692 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.61 | 145457.5961 | 277417.2085 | 36.4 | 83.1
76964 | 2021-04-07 13:38 | 38.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7171 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.612 | 145461.0972 | 277422.7839 | 36.4 | 83.1
76973 | 2021-04-07 13:38 | 38.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.7171 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.612 | 145453.601 | 277437.5206 | 36.4 | 83.1
76982 | 2021-04-07 13:39 | 39.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6389 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.615 | 145457.2376 | 277411.9206 | 36.4 | 83.1
76991 | 2021-04-07 13:39 | 39.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6389 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.615 | 145459.4339 | 277415.7786 | 36.4 | 83.1
77000 | 2021-04-07 13:39 | 39.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6389 | μmol/L | 11.5677 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.615 | 145456.2716 | 277396.1428 | 36.4 | 83.1
77009 | 2021-04-07 13:40 | 40.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.4981 | μmol/L | 11.5738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.618 | 145463.2696 | 277405.91 | 36.4 | 83.1
77018 | 2021-04-07 13:40 | 40.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.6023 | μmol/L | 11.5738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.614 | 145455.03 | 277401.8135 | 36.4 | 83.1
77027 | 2021-04-07 13:40 | 40.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 308.4875 | μmol/L | 11.5799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.616 | 145450.4306 | 277395.9473 | 36.4 | 83.1