## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89587 | 2021-04-09 18:40 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.2505 | μmol/L | 10.3251 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.319 | 174040.7413 | 308739.3473 | 59.9307 | 49.4
89596 | 2021-04-09 18:40 | 0.32737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4805 | μmol/L | 10.3621 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.295 | 173759.4851 | 308696.6006 | 59.9307 | 49.4
89605 | 2021-04-09 18:41 | 0.66077 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.6007 | μmol/L | 10.3928 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.278 | 173561.8055 | 308614.1961 | 59.9307 | 49.4
89614 | 2021-04-09 18:41 | 0.99414 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.8027 | μmol/L | 10.4175 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.26 | 173337.915 | 308526.2944 | 59.9307 | 49.4
89623 | 2021-04-09 18:41 | 1.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.6736 | μmol/L | 10.4544 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.251 | 173187.2036 | 308462.9979 | 59.9307 | 49.4
89632 | 2021-04-09 18:42 | 1.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.7078 | μmol/L | 10.479 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.24 | 173006.7189 | 308370.8574 | 59.9307 | 49.4
89641 | 2021-04-09 18:42 | 1.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.9252 | μmol/L | 10.5098 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.219 | 172820.7136 | 308303.2706 | 59.9307 | 49.4
89650 | 2021-04-09 18:42 | 2.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.9839 | μmol/L | 10.5344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.207 | 172637.6804 | 308237.973 | 59.9307 | 49.4
89659 | 2021-04-09 18:43 | 2.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0334 | μmol/L | 10.5652 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.193 | 172441.6376 | 308138.6693 | 59.9307 | 49.4
89668 | 2021-04-09 18:43 | 2.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.9051 | μmol/L | 10.6021 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.184 | 172274.7378 | 308058.0981 | 59.9307 | 49.4
89677 | 2021-04-09 18:43 | 3.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0552 | μmol/L | 10.6144 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.173 | 172093.1454 | 307968.8292 | 59.9307 | 49.4
89686 | 2021-04-09 18:44 | 3.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0088 | μmol/L | 10.6452 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.163 | 171942.9463 | 307877.7485 | 59.9307 | 49.4
89695 | 2021-04-09 18:44 | 3.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.9868 | μmol/L | 10.676 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.152 | 171770.7401 | 307792.1653 | 59.9307 | 49.4
89704 | 2021-04-09 18:44 | 4.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0074 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.144 | 171630.6997 | 307704.771 | 59.9307 | 49.4
89713 | 2021-04-09 18:45 | 4.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1728 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.13 | 171445.6456 | 307610.0171 | 59.9307 | 49.4
89722 | 2021-04-09 18:45 | 4.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0788 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.122 | 171275.6855 | 307494.1467 | 59.9307 | 49.4
89731 | 2021-04-09 18:45 | 5.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1721 | μmol/L | 10.7622 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.111 | 171104.4923 | 307420.2615 | 59.9307 | 49.4
89740 | 2021-04-09 18:46 | 5.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1358 | μmol/L | 10.7868 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.103 | 170952.282 | 307328.5958 | 59.9307 | 49.4
89749 | 2021-04-09 18:46 | 5.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.181 | μmol/L | 10.8053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.094 | 170801.6072 | 307234.7999 | 59.9307 | 49.4
89758 | 2021-04-09 18:46 | 6.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1449 | μmol/L | 10.8299 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.086 | 170653.0036 | 307170.1343 | 59.9307 | 49.4
89767 | 2021-04-09 18:47 | 6.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2144 | μmol/L | 10.8484 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.076 | 170504.4588 | 307095.8433 | 59.9307 | 49.4
89776 | 2021-04-09 18:47 | 6.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.3173 | μmol/L | 10.8607 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.067 | 170328.3632 | 307013.1783 | 59.9307 | 49.4
89785 | 2021-04-09 18:47 | 7.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2 | μmol/L | 10.8915 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.06 | 170173.9847 | 306929.8298 | 59.9307 | 49.4
89794 | 2021-04-09 18:48 | 7.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2788 | μmol/L | 10.9038 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.052 | 170033.5552 | 306838.8058 | 59.9307 | 49.4
89803 | 2021-04-09 18:48 | 7.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.3004 | μmol/L | 10.9223 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.044 | 169885.1971 | 306719.5478 | 59.9307 | 49.4
89812 | 2021-04-09 18:48 | 8.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2979 | μmol/L | 10.9407 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.037 | 169743.0009 | 306671.6633 | 59.9307 | 49.4
89821 | 2021-04-09 18:49 | 8.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.3769 | μmol/L | 10.953 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.029 | 169593.1568 | 306594.5408 | 59.9307 | 49.4
89830 | 2021-04-09 18:49 | 8.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.3414 | μmol/L | 10.9777 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.021 | 169446.4379 | 306514.7716 | 59.9307 | 49.4
89839 | 2021-04-09 18:49 | 9.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.3964 | μmol/L | 10.99 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.014 | 169297.6192 | 306427.8551 | 59.9307 | 49.4
89848 | 2021-04-09 18:50 | 9.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.3699 | μmol/L | 11.0084 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.008 | 169175.2256 | 306352.3253 | 59.9307 | 49.4
89857 | 2021-04-09 18:50 | 9.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.271 | μmol/L | 11.0269 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.005 | 169059.8929 | 306262.7817 | 59.9307 | 49.4
89866 | 2021-04-09 18:50 | 10.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2534 | μmol/L | 11.0392 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.001 | 168963.8999 | 306210.3852 | 59.9307 | 49.4
89875 | 2021-04-09 18:51 | 10.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2843 | μmol/L | 11.0515 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.995 | 168828.3695 | 306111.5788 | 59.9307 | 49.4
89884 | 2021-04-09 18:51 | 10.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2426 | μmol/L | 11.0639 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.992 | 168712.4675 | 306058.764 | 59.9307 | 49.4
89893 | 2021-04-09 18:51 | 11.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0626 | μmol/L | 11.0885 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.99 | 168592.8761 | 305983.5703 | 59.9307 | 49.4
89902 | 2021-04-09 18:52 | 11.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0452 | μmol/L | 11.1008 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.986 | 168490.3907 | 305916.6348 | 59.9307 | 49.4
89911 | 2021-04-09 18:52 | 11.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1817 | μmol/L | 11.107 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.978 | 168372.0563 | 305833.096 | 59.9307 | 49.4
89920 | 2021-04-09 18:52 | 12.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1073 | μmol/L | 11.1254 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.974 | 168248.7167 | 305765.5939 | 59.9307 | 49.4
89929 | 2021-04-09 18:53 | 12.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.2196 | μmol/L | 11.1316 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.967 | 168109.8348 | 305672.9901 | 59.9307 | 49.4
89938 | 2021-04-09 18:53 | 12.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1453 | μmol/L | 11.15 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.963 | 167981.4062 | 305615.1662 | 59.9307 | 49.4
89947 | 2021-04-09 18:53 | 13.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1851 | μmol/L | 11.1562 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.959 | 167866.0849 | 305573.5084 | 59.9307 | 49.4
89956 | 2021-04-09 18:54 | 13.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0055 | μmol/L | 11.1808 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.957 | 167745.62 | 305488.8095 | 59.9307 | 49.4
89965 | 2021-04-09 18:54 | 13.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.0609 | μmol/L | 11.1931 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.95 | 167645.3666 | 305414.419 | 59.9307 | 49.4
89974 | 2021-04-09 18:54 | 14.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 284.1008 | μmol/L | 11.1993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 167546.6798 | 305327.3133 | 59.9307 | 49.4
89983 | 2021-04-09 18:55 | 14.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.9057 | μmol/L | 11.2178 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 167439.9288 | 305265.9085 | 59.9307 | 49.4
89992 | 2021-04-09 18:55 | 14.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.8161 | μmol/L | 11.2301 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.946 | 167375.098 | 305180.7116 | 59.9307 | 49.4
90001 | 2021-04-09 18:55 | 15.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.6867 | μmol/L | 11.2362 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.949 | 167310.1136 | 305120.7233 | 59.9307 | 49.4
90010 | 2021-04-09 18:56 | 15.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.6213 | μmol/L | 11.2486 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.947 | 167233.1033 | 305041.9011 | 59.9307 | 49.4
90019 | 2021-04-09 18:56 | 15.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4593 | μmol/L | 11.2609 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.949 | 167145.2989 | 304973.4797 | 59.9307 | 49.4
90028 | 2021-04-09 18:56 | 16.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4339 | μmol/L | 11.2793 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.943 | 167034.0106 | 304907.7942 | 59.9307 | 49.4
90037 | 2021-04-09 18:57 | 16.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4737 | μmol/L | 11.2855 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 166909.3835 | 304809.9184 | 59.9307 | 49.4
90046 | 2021-04-09 18:57 | 16.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4411 | μmol/L | 11.2917 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.938 | 166819.2192 | 304767.1559 | 59.9307 | 49.4
90055 | 2021-04-09 18:57 | 17.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4568 | μmol/L | 11.2978 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.935 | 166719.0161 | 304695.9591 | 59.9307 | 49.4
90064 | 2021-04-09 18:58 | 17.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4399 | μmol/L | 11.3101 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.931 | 166613.037 | 304619.6544 | 59.9307 | 49.4
90073 | 2021-04-09 18:58 | 17.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.4315 | μmol/L | 11.3163 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.929 | 166526.0579 | 304550.5762 | 59.9307 | 49.4
90082 | 2021-04-09 18:58 | 18.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.3747 | μmol/L | 11.3224 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.929 | 166442.4536 | 304493.4266 | 59.9307 | 49.4
90091 | 2021-04-09 18:59 | 18.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.1805 | μmol/L | 11.3409 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.93 | 166380.6603 | 304433.3471 | 59.9307 | 49.4
90100 | 2021-04-09 18:59 | 18.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.2529 | μmol/L | 11.3409 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.927 | 166307.7257 | 304375.7713 | 59.9307 | 49.4
90109 | 2021-04-09 18:59 | 19.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 283.0672 | μmol/L | 11.3532 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.93 | 166232.73 | 304284.96 | 59.9307 | 49.4
90118 | 2021-04-09 19:00 | 19.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.9298 | μmol/L | 11.3655 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.931 | 166161.4282 | 304234.5872 | 59.9307 | 49.4
90127 | 2021-04-09 19:00 | 19.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.8166 | μmol/L | 11.3779 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.931 | 166089.572 | 304178.8138 | 59.9307 | 49.4
90136 | 2021-04-09 19:00 | 20.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.8324 | μmol/L | 11.384 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.928 | 166008.5793 | 304102.6341 | 59.9307 | 49.4
90145 | 2021-04-09 19:01 | 20.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.7276 | μmol/L | 11.3902 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.93 | 165936.244 | 304037.6476 | 59.9307 | 49.4
90154 | 2021-04-09 19:01 | 20.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.5905 | μmol/L | 11.4025 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.931 | 165870.6701 | 303962.0507 | 59.9307 | 49.4
90163 | 2021-04-09 19:01 | 21.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4859 | μmol/L | 11.4086 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.933 | 165810.6745 | 303926.4364 | 59.9307 | 49.4
90172 | 2021-04-09 19:02 | 21.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3572 | μmol/L | 11.4148 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 165756.0112 | 303845.1033 | 59.9307 | 49.4
90181 | 2021-04-09 19:02 | 21.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3572 | μmol/L | 11.4148 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 165711.0072 | 303783.7898 | 59.9307 | 49.4
90190 | 2021-04-09 19:02 | 22.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1722 | μmol/L | 11.4271 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 165644.5689 | 303728.8549 | 59.9307 | 49.4
90199 | 2021-04-09 19:03 | 22.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1158 | μmol/L | 11.4333 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.939 | 165583.1372 | 303686.4946 | 59.9307 | 49.4
90208 | 2021-04-09 19:03 | 22.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.931 | μmol/L | 11.4456 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.942 | 165524.4191 | 303622.7929 | 59.9307 | 49.4
90217 | 2021-04-09 19:03 | 23.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9227 | μmol/L | 11.4517 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 165449.0605 | 303559.3149 | 59.9307 | 49.4
90226 | 2021-04-09 19:04 | 23.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.8664 | μmol/L | 11.4579 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.94 | 165363.5642 | 303497.3491 | 59.9307 | 49.4
90235 | 2021-04-09 19:04 | 23.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.8821 | μmol/L | 11.4641 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.937 | 165287.2824 | 303435.8286 | 59.9307 | 49.4
90244 | 2021-04-09 19:04 | 24.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.8498 | μmol/L | 11.4702 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.936 | 165192.1113 | 303364.5386 | 59.9307 | 49.4
90253 | 2021-04-09 19:05 | 24.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.8656 | μmol/L | 11.4764 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.933 | 165095.9028 | 303307.721 | 59.9307 | 49.4
90262 | 2021-04-09 19:05 | 24.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9858 | μmol/L | 11.4764 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.928 | 164987.3396 | 303239.4727 | 59.9307 | 49.4
90271 | 2021-04-09 19:05 | 25.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9295 | μmol/L | 11.4825 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.928 | 164910.6598 | 303209.325 | 59.9307 | 49.4
90280 | 2021-04-09 19:06 | 25.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0572 | μmol/L | 11.4949 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.918 | 164807.6915 | 303129.463 | 59.9307 | 49.4
90289 | 2021-04-09 19:06 | 25.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9769 | μmol/L | 11.501 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.919 | 164733.4214 | 303086.1262 | 59.9307 | 49.4
90298 | 2021-04-09 19:06 | 26.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9687 | μmol/L | 11.5072 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.917 | 164636.0101 | 303020.3678 | 59.9307 | 49.4
90307 | 2021-04-09 19:07 | 26.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9845 | μmol/L | 11.5133 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.914 | 164553.1912 | 302957.4886 | 59.9307 | 49.4
90316 | 2021-04-09 19:07 | 26.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9441 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.911 | 164473.9597 | 302903.8412 | 59.9307 | 49.4
90325 | 2021-04-09 19:07 | 27.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9763 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.912 | 164382.7755 | 302832.2687 | 59.9307 | 49.4
90334 | 2021-04-09 19:08 | 27.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0884 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.905 | 164298.045 | 302790.4926 | 59.9307 | 49.4
90343 | 2021-04-09 19:08 | 27.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0522 | μmol/L | 11.5318 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.904 | 164219.1414 | 302730.9291 | 59.9307 | 49.4
90352 | 2021-04-09 19:08 | 28.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9676 | μmol/L | 11.5441 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.903 | 164127.2843 | 302671.0441 | 59.9307 | 49.4
90361 | 2021-04-09 19:09 | 28.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0961 | μmol/L | 11.538 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.9 | 164057.0704 | 302626.703 | 59.9307 | 49.4
90370 | 2021-04-09 19:09 | 28.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0638 | μmol/L | 11.5441 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.899 | 163966.3761 | 302563.9162 | 59.9307 | 49.4
90379 | 2021-04-09 19:09 | 29.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9432 | μmol/L | 11.5626 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.897 | 163874.8756 | 302517.7476 | 59.9307 | 49.4
90388 | 2021-04-09 19:10 | 29.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0394 | μmol/L | 11.5626 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.893 | 163788.6197 | 302455.5762 | 59.9307 | 49.4
90397 | 2021-04-09 19:10 | 29.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.9831 | μmol/L | 11.5687 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.893 | 163707.3546 | 302413.3215 | 59.9307 | 49.4
90406 | 2021-04-09 19:10 | 30.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1275 | μmol/L | 11.5687 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.887 | 163617.8522 | 302361.8028 | 59.9307 | 49.4
90415 | 2021-04-09 19:11 | 30.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1112 | μmol/L | 11.5811 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.883 | 163533.4624 | 302308.6554 | 59.9307 | 49.4
90424 | 2021-04-09 19:11 | 30.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1555 | μmol/L | 11.5811 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.881 | 163450.7963 | 302242.4635 | 59.9307 | 49.4
90433 | 2021-04-09 19:11 | 31.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2075 | μmol/L | 11.5811 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.879 | 163361.6136 | 302200.8391 | 59.9307 | 49.4
90442 | 2021-04-09 19:12 | 31.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1431 | μmol/L | 11.5934 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.877 | 163286.7437 | 302162.198 | 59.9307 | 49.4
90451 | 2021-04-09 19:12 | 31.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1874 | μmol/L | 11.5934 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.875 | 163206.6528 | 302092.3675 | 59.9307 | 49.4
90460 | 2021-04-09 19:12 | 32.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.123 | μmol/L | 11.6057 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.873 | 163141.5136 | 302070.5429 | 59.9307 | 49.4
90469 | 2021-04-09 19:13 | 32.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.0948 | μmol/L | 11.6118 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.872 | 163056.4197 | 302017.9059 | 59.9307 | 49.4
90478 | 2021-04-09 19:13 | 32.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1953 | μmol/L | 11.6057 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.87 | 162979.0022 | 301963.1057 | 59.9307 | 49.4
90487 | 2021-04-09 19:13 | 33.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4 | μmol/L | 11.5995 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.864 | 162895.6245 | 301909.2107 | 59.9307 | 49.4
90496 | 2021-04-09 19:14 | 33.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2032 | μmol/L | 11.618 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.865 | 162810.7886 | 301849.1223 | 59.9307 | 49.4
90505 | 2021-04-09 19:14 | 33.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2472 | μmol/L | 11.6242 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.861 | 162729.9617 | 301824.2378 | 59.9307 | 49.4
90514 | 2021-04-09 19:14 | 34.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3638 | μmol/L | 11.6242 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.856 | 162645.2763 | 301769.8553 | 59.9307 | 49.4
90523 | 2021-04-09 19:15 | 34.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4319 | μmol/L | 11.6303 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.851 | 162566.1708 | 301725.0548 | 59.9307 | 49.4
90532 | 2021-04-09 19:15 | 34.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3959 | μmol/L | 11.6365 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.85 | 162492.215 | 301668.3524 | 59.9307 | 49.4
90541 | 2021-04-09 19:15 | 35.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4239 | μmol/L | 11.6365 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.849 | 162422.5025 | 301627.2838 | 59.9307 | 49.4
90550 | 2021-04-09 19:16 | 35.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4158 | μmol/L | 11.6426 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.847 | 162333.8568 | 301577.4698 | 59.9307 | 49.4
90559 | 2021-04-09 19:16 | 35.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3596 | μmol/L | 11.6488 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.847 | 162267.8874 | 301515.7743 | 59.9307 | 49.4
90568 | 2021-04-09 19:16 | 36.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.5605 | μmol/L | 11.6426 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.841 | 162200.7511 | 301493.2244 | 59.9307 | 49.4
90577 | 2021-04-09 19:17 | 36.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.456 | μmol/L | 11.6488 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.843 | 162143.3614 | 301447.2716 | 59.9307 | 49.4
90586 | 2021-04-09 19:17 | 36.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2953 | μmol/L | 11.6611 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.845 | 162071.019 | 301411.8562 | 59.9307 | 49.4
90595 | 2021-04-09 19:17 | 37.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4923 | μmol/L | 11.655 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.839 | 162011.1351 | 301359.1422 | 59.9307 | 49.4
90604 | 2021-04-09 19:18 | 37.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.44 | μmol/L | 11.6611 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.839 | 161948.9668 | 301315.9754 | 59.9307 | 49.4
90613 | 2021-04-09 19:18 | 37.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.5203 | μmol/L | 11.655 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 22.838 | 161880.4486 | 301259.3086 | 59.9307 | 49.4
90622 | 2021-04-09 19:18 | 38.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.5084 | μmol/L | 11.6611 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.836 | 161822.1071 | 301205.6263 | 59.9307 | 49.4
90631 | 2021-04-09 19:19 | 38.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.428 | μmol/L | 11.6673 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.837 | 161763.2746 | 301171.0599 | 59.9307 | 49.4
90640 | 2021-04-09 19:19 | 38.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.428 | μmol/L | 11.6673 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.837 | 161702.2087 | 301118.0745 | 59.9307 | 49.4
90649 | 2021-04-09 19:19 | 39.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3477 | μmol/L | 11.6734 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.838 | 161650.5449 | 301098.2207 | 59.9307 | 49.4
90658 | 2021-04-09 19:20 | 39.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.42 | μmol/L | 11.6734 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.835 | 161597.1737 | 301045.0606 | 59.9307 | 49.4
90667 | 2021-04-09 19:20 | 39.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3156 | μmol/L | 11.6796 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.837 | 161554.614 | 301021.7424 | 59.9307 | 49.4
90676 | 2021-04-09 19:20 | 40.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.412 | μmol/L | 11.6796 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.833 | 161487.7642 | 300962.1529 | 59.9307 | 49.4
90685 | 2021-04-09 19:21 | 40.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3558 | μmol/L | 11.6857 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.833 | 161432.3857 | 300928.161 | 59.9307 | 49.4
90694 | 2021-04-09 19:21 | 40.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2916 | μmol/L | 11.6981 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.831 | 161378.0675 | 300897.9662 | 59.9307 | 49.4
90703 | 2021-04-09 19:21 | 41.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3719 | μmol/L | 11.6919 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.83 | 161325.5232 | 300848.4184 | 59.9307 | 49.4
90712 | 2021-04-09 19:22 | 41.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3157 | μmol/L | 11.6981 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.83 | 161262.122 | 300810.7711 | 59.9307 | 49.4
90721 | 2021-04-09 19:22 | 41.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3881 | μmol/L | 11.6981 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.827 | 161198.6264 | 300762.3184 | 59.9307 | 49.4
90730 | 2021-04-09 19:22 | 42.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4122 | μmol/L | 11.6981 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.826 | 161126.4884 | 300713.847 | 59.9307 | 49.4
90739 | 2021-04-09 19:23 | 42.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4042 | μmol/L | 11.7042 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.824 | 161058.7074 | 300694.3197 | 59.9307 | 49.4
90748 | 2021-04-09 19:23 | 42.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3159 | μmol/L | 11.7165 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.823 | 160989.4146 | 300634.6681 | 59.9307 | 49.4
90757 | 2021-04-09 19:23 | 43.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4445 | μmol/L | 11.7104 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.82 | 160918.8215 | 300597.03 | 59.9307 | 49.4
90766 | 2021-04-09 19:24 | 43.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4927 | μmol/L | 11.7104 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.818 | 160860.2009 | 300548.407 | 59.9307 | 49.4
90775 | 2021-04-09 19:24 | 43.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4606 | μmol/L | 11.7165 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.817 | 160796.0646 | 300522.8493 | 59.9307 | 49.4
90784 | 2021-04-09 19:24 | 44.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4606 | μmol/L | 11.7165 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.817 | 160747.0098 | 300473.4999 | 59.9307 | 49.4
90793 | 2021-04-09 19:25 | 44.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4768 | μmol/L | 11.7227 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.814 | 160691.9533 | 300458.8601 | 59.9307 | 49.4
90802 | 2021-04-09 19:25 | 44.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4206 | μmol/L | 11.7288 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.814 | 160631.4137 | 300391.3677 | 59.9307 | 49.4
90811 | 2021-04-09 19:25 | 45.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4447 | μmol/L | 11.7288 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.813 | 160586.8425 | 300378.9424 | 59.9307 | 49.4
90820 | 2021-04-09 19:26 | 45.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4048 | μmol/L | 11.7412 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.81 | 160531.3464 | 300321.3991 | 59.9307 | 49.4
90829 | 2021-04-09 19:26 | 45.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2842 | μmol/L | 11.7412 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.815 | 160487.429 | 300293.5137 | 59.9307 | 49.4
90838 | 2021-04-09 19:26 | 46.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3806 | μmol/L | 11.7412 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.811 | 160423.7382 | 300249.3601 | 59.9307 | 49.4
90847 | 2021-04-09 19:27 | 46.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3727 | μmol/L | 11.7473 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.809 | 160380.1621 | 300214.2966 | 59.9307 | 49.4
90856 | 2021-04-09 19:27 | 46.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3245 | μmol/L | 11.7473 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.811 | 160332.3668 | 300199.8561 | 59.9307 | 49.4
90865 | 2021-04-09 19:27 | 47.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3407 | μmol/L | 11.7535 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.808 | 160281.2354 | 300146.3977 | 59.9307 | 49.4
90874 | 2021-04-09 19:28 | 47.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3407 | μmol/L | 11.7535 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.808 | 160235.3219 | 300125.7783 | 59.9307 | 49.4
90883 | 2021-04-09 19:28 | 47.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2122 | μmol/L | 11.7596 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.811 | 160194.3039 | 300066.0199 | 59.9307 | 49.4
90892 | 2021-04-09 19:28 | 48.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3407 | μmol/L | 11.7535 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.808 | 160144.1763 | 300043.3704 | 59.9307 | 49.4
90901 | 2021-04-09 19:29 | 48.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3569 | μmol/L | 11.7596 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.805 | 160091.2005 | 299996.4348 | 59.9307 | 49.4
90910 | 2021-04-09 19:29 | 48.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3648 | μmol/L | 11.7535 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.807 | 160044.1231 | 299961.8141 | 59.9307 | 49.4
90919 | 2021-04-09 19:29 | 49.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3328 | μmol/L | 11.7596 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.806 | 159991.9218 | 299933.2009 | 59.9307 | 49.4
90928 | 2021-04-09 19:30 | 49.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2284 | μmol/L | 11.7658 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.808 | 159955.9343 | 299907.5032 | 59.9307 | 49.4
90937 | 2021-04-09 19:30 | 49.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3328 | μmol/L | 11.7596 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.806 | 159904.8413 | 299860.6805 | 59.9307 | 49.4
90946 | 2021-04-09 19:30 | 50.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.349 | μmol/L | 11.7658 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.803 | 159862.3425 | 299820.3075 | 59.9307 | 49.4
90955 | 2021-04-09 19:31 | 50.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2687 | μmol/L | 11.772 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.804 | 159820.535 | 299782.9768 | 59.9307 | 49.4
90964 | 2021-04-09 19:31 | 50.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3569 | μmol/L | 11.7596 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.805 | 159769.9838 | 299766.6415 | 59.9307 | 49.4
90973 | 2021-04-09 19:31 | 51.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2687 | μmol/L | 11.772 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.804 | 159726.8727 | 299740.9506 | 59.9307 | 49.4
90982 | 2021-04-09 19:32 | 51.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3249 | μmol/L | 11.7658 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.804 | 159681.9104 | 299695.9009 | 59.9307 | 49.4
90991 | 2021-04-09 19:32 | 51.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1644 | μmol/L | 11.7781 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.806 | 159646.6408 | 299679.0099 | 59.9307 | 49.4
91000 | 2021-04-09 19:32 | 52.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3411 | μmol/L | 11.772 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.801 | 159600.2659 | 299636.9901 | 59.9307 | 49.4
91009 | 2021-04-09 19:33 | 52.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2687 | μmol/L | 11.772 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.804 | 159559.4581 | 299625.7039 | 59.9307 | 49.4
91018 | 2021-04-09 19:33 | 52.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.317 | μmol/L | 11.772 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.802 | 159509.398 | 299573.6147 | 59.9307 | 49.4
91027 | 2021-04-09 19:33 | 53.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.285 | μmol/L | 11.7781 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.801 | 159474.0471 | 299537.242 | 59.9307 | 49.4
91036 | 2021-04-09 19:34 | 53.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3332 | μmol/L | 11.7781 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.799 | 159429.63 | 299508.8105 | 59.9307 | 49.4
91045 | 2021-04-09 19:34 | 53.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1806 | μmol/L | 11.7843 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.803 | 159393.9653 | 299488.3963 | 59.9307 | 49.4
91054 | 2021-04-09 19:34 | 54.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3012 | μmol/L | 11.7843 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.798 | 159352.7573 | 299427.2912 | 59.9307 | 49.4
91063 | 2021-04-09 19:35 | 54.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.2289 | μmol/L | 11.7843 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.801 | 159319.651 | 299417.3737 | 59.9307 | 49.4
91072 | 2021-04-09 19:35 | 54.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1487 | μmol/L | 11.7904 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.802 | 159281.3893 | 299381.0507 | 59.9307 | 49.4
91081 | 2021-04-09 19:35 | 55.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1728 | μmol/L | 11.7904 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.801 | 159226.3093 | 299318.7286 | 59.9307 | 49.4
91090 | 2021-04-09 19:36 | 55.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.1728 | μmol/L | 11.7904 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.801 | 159171.8799 | 299319.8791 | 59.9307 | 49.4
91099 | 2021-04-09 19:36 | 55.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.3657 | μmol/L | 11.7904 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.793 | 159115.2587 | 299290.6596 | 59.9307 | 49.4
91108 | 2021-04-09 19:36 | 56.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4219 | μmol/L | 11.7843 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.793 | 159048.1837 | 299253.0418 | 59.9307 | 49.4
91117 | 2021-04-09 19:37 | 56.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.35 | μmol/L | 11.8027 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.789 | 158993.2022 | 299239.9641 | 59.9307 | 49.4
91126 | 2021-04-09 19:37 | 56.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4623 | μmol/L | 11.7904 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.789 | 158950.876 | 299205.5758 | 59.9307 | 49.4
91135 | 2021-04-09 19:37 | 57.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.4224 | μmol/L | 11.8027 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.786 | 158901.111 | 299173.7841 | 59.9307 | 49.4
91144 | 2021-04-09 19:38 | 57.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.551 | μmol/L | 11.7966 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.783 | 158855.8398 | 299152.6682 | 59.9307 | 49.4
91153 | 2021-04-09 19:38 | 57.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 282.5027 | μmol/L | 11.7966 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.785 | 158814.6247 | 299124.9562 | 59.9307 | 49.4