## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89588 | 2021-04-09 18:40 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 272.2954 | μmol/L | 10.4236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.709 | 173835.5838 | 326335.57 | 33.25 | 68.6
89597 | 2021-04-09 18:41 | 0.33423 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 272.2254 | μmol/L | 10.4479 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.702 | 173655.0785 | 326287.2248 | 33.25 | 68.6
89606 | 2021-04-09 18:41 | 0.66759 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 272.0653 | μmol/L | 10.4843 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.694 | 173571.4475 | 326204.1352 | 33.25 | 68.6
89615 | 2021-04-09 18:41 | 1.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.9837 | μmol/L | 10.5147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.685 | 173483.422 | 326125.3148 | 33.25 | 68.6
89624 | 2021-04-09 18:42 | 1.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.8478 | μmol/L | 10.5389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.681 | 173371.1241 | 326024.9819 | 33.25 | 68.6
89633 | 2021-04-09 18:42 | 1.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.8005 | μmol/L | 10.5632 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.673 | 173282.1605 | 325949.8172 | 33.25 | 68.6
89642 | 2021-04-09 18:42 | 2.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.631 | μmol/L | 10.5936 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.668 | 173184.8704 | 325864.2617 | 33.25 | 68.6
89651 | 2021-04-09 18:43 | 2.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.5501 | μmol/L | 10.6239 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.659 | 173072.6937 | 325763.7221 | 33.25 | 68.6
89660 | 2021-04-09 18:43 | 2.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.459 | μmol/L | 10.6482 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.653 | 172959.4997 | 325667.098 | 33.25 | 68.6
89669 | 2021-04-09 18:43 | 3.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.3564 | μmol/L | 10.6786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.645 | 172859.1702 | 325558.487 | 33.25 | 68.6
89678 | 2021-04-09 18:44 | 3.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.2656 | μmol/L | 10.7028 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.639 | 172744.6833 | 325462.3585 | 33.25 | 68.6
89687 | 2021-04-09 18:44 | 3.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.2087 | μmol/L | 10.721 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.634 | 172631.8714 | 325367.7753 | 33.25 | 68.6
89696 | 2021-04-09 18:44 | 4.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.1844 | μmol/L | 10.7453 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.625 | 172512.205 | 325272.3602 | 33.25 | 68.6
89705 | 2021-04-09 18:45 | 4.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.0277 | μmol/L | 10.7696 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.622 | 172385.0472 | 325155.2837 | 33.25 | 68.6
89714 | 2021-04-09 18:45 | 4.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.9373 | μmol/L | 10.7939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.616 | 172267.0842 | 325052.6677 | 33.25 | 68.6
89723 | 2021-04-09 18:45 | 5.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.9134 | μmol/L | 10.8182 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.607 | 172156.6161 | 324957.4461 | 33.25 | 68.6
89732 | 2021-04-09 18:46 | 5.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.735 | μmol/L | 10.8425 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.605 | 172027.1224 | 324845.089 | 33.25 | 68.6
89741 | 2021-04-09 18:46 | 5.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7448 | μmol/L | 10.8607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.597 | 171913.1675 | 324754.5461 | 33.25 | 68.6
89750 | 2021-04-09 18:46 | 6.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6329 | μmol/L | 10.8849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.592 | 171791.2898 | 324646.3036 | 33.25 | 68.6
89759 | 2021-04-09 18:47 | 6.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6207 | μmol/L | 10.9032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.585 | 171674.3019 | 324545.5966 | 33.25 | 68.6
89768 | 2021-04-09 18:47 | 6.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5425 | μmol/L | 10.9214 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.581 | 171551.7081 | 324439.5163 | 33.25 | 68.6
89777 | 2021-04-09 18:47 | 7.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5304 | μmol/L | 10.9396 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.574 | 171424.7727 | 324345.2099 | 33.25 | 68.6
89786 | 2021-04-09 18:48 | 7.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4851 | μmol/L | 10.9639 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.566 | 171311.5696 | 324248.2312 | 33.25 | 68.6
89795 | 2021-04-09 18:48 | 7.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4291 | μmol/L | 10.9821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.561 | 171195.8088 | 324144.0525 | 33.25 | 68.6
89804 | 2021-04-09 18:48 | 8.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3845 | μmol/L | 10.9942 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.558 | 171079.2762 | 324055.8785 | 33.25 | 68.6
89813 | 2021-04-09 18:49 | 8.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3286 | μmol/L | 11.0124 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.553 | 170951.4537 | 323947.714 | 33.25 | 68.6
89822 | 2021-04-09 18:49 | 8.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2395 | μmol/L | 11.0367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.547 | 170840.4593 | 323829.5145 | 33.25 | 68.6
89831 | 2021-04-09 18:49 | 9.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1618 | μmol/L | 11.0549 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.543 | 170718.93 | 323730.6798 | 33.25 | 68.6
89840 | 2021-04-09 18:50 | 9.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1722 | μmol/L | 11.0731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.535 | 170607.1133 | 323644.0574 | 33.25 | 68.6
89849 | 2021-04-09 18:50 | 9.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1719 | μmol/L | 11.0853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.53 | 170484.2464 | 323536.4113 | 33.25 | 68.6
89858 | 2021-04-09 18:50 | 10.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1055 | μmol/L | 11.0974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.528 | 170366.8396 | 323443.0547 | 33.25 | 68.6
89867 | 2021-04-09 18:51 | 10.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.028 | μmol/L | 11.1156 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.524 | 170264.613 | 323348.1054 | 33.25 | 68.6
89876 | 2021-04-09 18:51 | 10.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0938 | μmol/L | 11.1278 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.516 | 170137.8017 | 323247.055 | 33.25 | 68.6
89885 | 2021-04-09 18:51 | 11.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9612 | μmol/L | 11.1521 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.512 | 170018.3566 | 323132.1714 | 33.25 | 68.6
89894 | 2021-04-09 18:52 | 11.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.928 | μmol/L | 11.1703 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.506 | 169910.1156 | 323045.3377 | 33.25 | 68.6
89903 | 2021-04-09 18:52 | 11.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.972 | μmol/L | 11.1703 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.504 | 169801.577 | 322964.2737 | 33.25 | 68.6
89912 | 2021-04-09 18:52 | 12.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.994 | μmol/L | 11.1824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.498 | 169682.3005 | 322858.3248 | 33.25 | 68.6
89921 | 2021-04-09 18:53 | 12.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9608 | μmol/L | 11.2006 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.492 | 169566.6571 | 322757.6802 | 33.25 | 68.6
89930 | 2021-04-09 18:53 | 12.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9277 | μmol/L | 11.2188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.486 | 169468.7196 | 322668.2401 | 33.25 | 68.6
89939 | 2021-04-09 18:53 | 13.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8066 | μmol/L | 11.2371 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.484 | 169340.1355 | 322563.2931 | 33.25 | 68.6
89948 | 2021-04-09 18:54 | 13.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8176 | μmol/L | 11.2431 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.481 | 169231.0346 | 322463.8947 | 33.25 | 68.6
89957 | 2021-04-09 18:54 | 13.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.7736 | μmol/L | 11.2553 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.478 | 169110.9004 | 322366.0059 | 33.25 | 68.6
89966 | 2021-04-09 18:54 | 14.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.7187 | μmol/L | 11.2735 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.473 | 168999.3611 | 322276.933 | 33.25 | 68.6
89975 | 2021-04-09 18:55 | 14.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6857 | μmol/L | 11.2796 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.472 | 168906.2739 | 322197.7794 | 33.25 | 68.6
89984 | 2021-04-09 18:55 | 14.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6749 | μmol/L | 11.2978 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.465 | 168792.6619 | 322082.4193 | 33.25 | 68.6
89993 | 2021-04-09 18:55 | 15.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5981 | μmol/L | 11.316 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.461 | 168683.6779 | 322008.2947 | 33.25 | 68.6
90002 | 2021-04-09 18:56 | 15.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6533 | μmol/L | 11.3221 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.456 | 168571.8599 | 321897.2809 | 33.25 | 68.6
90011 | 2021-04-09 18:56 | 15.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6644 | μmol/L | 11.3281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.453 | 168469.5816 | 321810.5316 | 33.25 | 68.6
90020 | 2021-04-09 18:56 | 16.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5986 | μmol/L | 11.3403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.451 | 168367.1096 | 321724.888 | 33.25 | 68.6
90029 | 2021-04-09 18:57 | 16.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.544 | μmol/L | 11.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.446 | 168263.2525 | 321637.5469 | 33.25 | 68.6
90038 | 2021-04-09 18:57 | 16.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5331 | μmol/L | 11.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.444 | 168155.8801 | 321536.124 | 33.25 | 68.6
90047 | 2021-04-09 18:57 | 17.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6104 | μmol/L | 11.3706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.438 | 168040.4964 | 321440.0481 | 33.25 | 68.6
90056 | 2021-04-09 18:58 | 17.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5006 | μmol/L | 11.3828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.438 | 167958.5261 | 321363.0331 | 33.25 | 68.6
90065 | 2021-04-09 18:58 | 17.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5118 | μmol/L | 11.3888 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.435 | 167859.1814 | 321267.7559 | 33.25 | 68.6
90074 | 2021-04-09 18:58 | 18.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4794 | μmol/L | 11.4071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.429 | 167750.3037 | 321191.8692 | 33.25 | 68.6
90083 | 2021-04-09 18:59 | 18.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4686 | μmol/L | 11.4131 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.427 | 167657.6703 | 321094.5154 | 33.25 | 68.6
90092 | 2021-04-09 18:59 | 18.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5018 | μmol/L | 11.4192 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.423 | 167550.0534 | 321000.6635 | 33.25 | 68.6
90101 | 2021-04-09 18:59 | 19.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4803 | μmol/L | 11.4313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.419 | 167460.7135 | 320909.688 | 33.25 | 68.6
90110 | 2021-04-09 19:00 | 19.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4147 | μmol/L | 11.4435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.417 | 167363.4561 | 320837.7021 | 33.25 | 68.6
90119 | 2021-04-09 19:00 | 19.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.448 | μmol/L | 11.4496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.413 | 167247.7704 | 320743.2428 | 33.25 | 68.6
90128 | 2021-04-09 19:00 | 20.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3057 | μmol/L | 11.4678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.412 | 167149.7812 | 320661.9045 | 33.25 | 68.6
90137 | 2021-04-09 19:01 | 20.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.339 | μmol/L | 11.4738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.408 | 167056.3058 | 320569.3892 | 33.25 | 68.6
90146 | 2021-04-09 19:01 | 20.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3503 | μmol/L | 11.4799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.405 | 166966.0914 | 320492.7807 | 33.25 | 68.6
90155 | 2021-04-09 19:01 | 21.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4824 | μmol/L | 11.4799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.399 | 166876.9917 | 320403.4517 | 33.25 | 68.6
90164 | 2021-04-09 19:02 | 21.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3509 | μmol/L | 11.4921 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.4 | 166775.3063 | 320316.1359 | 33.25 | 68.6
90173 | 2021-04-09 19:02 | 21.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4062 | μmol/L | 11.4981 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.395 | 166685.0915 | 320235.5621 | 33.25 | 68.6
90182 | 2021-04-09 19:02 | 22.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3515 | μmol/L | 11.5042 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.395 | 166580.5738 | 320149.2874 | 33.25 | 68.6
90191 | 2021-04-09 19:03 | 22.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3188 | μmol/L | 11.5103 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.394 | 166496.0816 | 320076.8001 | 33.25 | 68.6
90200 | 2021-04-09 19:03 | 22.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3855 | μmol/L | 11.5224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.386 | 166415.3884 | 319992.4617 | 33.25 | 68.6
90209 | 2021-04-09 19:03 | 23.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3088 | μmol/L | 11.5285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.387 | 166319.1316 | 319909.0921 | 33.25 | 68.6
90218 | 2021-04-09 19:04 | 23.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2875 | μmol/L | 11.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.383 | 166226.018 | 319836.7971 | 33.25 | 68.6
90227 | 2021-04-09 19:04 | 23.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2989 | μmol/L | 11.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.38 | 166145.1892 | 319762.786 | 33.25 | 68.6
90236 | 2021-04-09 19:04 | 24.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2882 | μmol/L | 11.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.378 | 166050.9487 | 319671.4246 | 33.25 | 68.6
90245 | 2021-04-09 19:05 | 24.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2776 | μmol/L | 11.5588 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.376 | 165963.3968 | 319593.9583 | 33.25 | 68.6
90254 | 2021-04-09 19:05 | 24.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2564 | μmol/L | 11.571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.372 | 165872.0483 | 319495.1316 | 33.25 | 68.6
90263 | 2021-04-09 19:05 | 25.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2784 | μmol/L | 11.571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.371 | 165780.4686 | 319427.0056 | 33.25 | 68.6
90272 | 2021-04-09 19:06 | 25.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3665 | μmol/L | 11.571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.367 | 165703.4206 | 319362.7067 | 33.25 | 68.6
90281 | 2021-04-09 19:06 | 25.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3013 | μmol/L | 11.5831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.365 | 165607.3908 | 319288.3338 | 33.25 | 68.6
90290 | 2021-04-09 19:06 | 26.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2686 | μmol/L | 11.5892 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.364 | 165521.7166 | 319196.1965 | 33.25 | 68.6
90299 | 2021-04-09 19:07 | 26.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1929 | μmol/L | 11.6074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.36 | 165438.1483 | 319113.5289 | 33.25 | 68.6
90308 | 2021-04-09 19:07 | 26.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3576 | μmol/L | 11.6013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.355 | 165349.0023 | 319048.294 | 33.25 | 68.6
90317 | 2021-04-09 19:07 | 27.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2924 | μmol/L | 11.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.353 | 165265.9454 | 318962.6672 | 33.25 | 68.6
90326 | 2021-04-09 19:08 | 27.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3471 | μmol/L | 11.6074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.353 | 165178.1824 | 318892.3701 | 33.25 | 68.6
90335 | 2021-04-09 19:08 | 27.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2934 | μmol/L | 11.6256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.348 | 165095.8985 | 318830.1688 | 33.25 | 68.6
90344 | 2021-04-09 19:08 | 28.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2608 | μmol/L | 11.6317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.347 | 165018.8707 | 318744.8541 | 33.25 | 68.6
90353 | 2021-04-09 19:09 | 28.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2723 | μmol/L | 11.6378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.344 | 164937.0684 | 318681.4719 | 33.25 | 68.6
90362 | 2021-04-09 19:09 | 28.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2943 | μmol/L | 11.6378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.343 | 164856.2984 | 318594.8692 | 33.25 | 68.6
90371 | 2021-04-09 19:09 | 29.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2397 | μmol/L | 11.6438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.343 | 164762.408 | 318516.288 | 33.25 | 68.6
90380 | 2021-04-09 19:10 | 29.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3279 | μmol/L | 11.6438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.339 | 164694.2167 | 318467.5283 | 33.25 | 68.6
90389 | 2021-04-09 19:10 | 29.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2407 | μmol/L | 11.656 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.338 | 164611.0084 | 318401.6841 | 33.25 | 68.6
90398 | 2021-04-09 19:10 | 30.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2963 | μmol/L | 11.6621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 164537.9245 | 318306.2325 | 33.25 | 68.6
90407 | 2021-04-09 19:11 | 30.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2963 | μmol/L | 11.6621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 164458.5045 | 318244.7105 | 33.25 | 68.6
90416 | 2021-04-09 19:11 | 30.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2638 | μmol/L | 11.6681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.332 | 164380.3459 | 318172.0802 | 33.25 | 68.6
90425 | 2021-04-09 19:11 | 31.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2753 | μmol/L | 11.6742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.329 | 164309.6569 | 318110.9513 | 33.25 | 68.6
90434 | 2021-04-09 19:12 | 31.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2428 | μmol/L | 11.6803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.328 | 164225.4755 | 318033.146 | 33.25 | 68.6
90443 | 2021-04-09 19:12 | 31.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.331 | μmol/L | 11.6803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.324 | 164167.6064 | 317972.48 | 33.25 | 68.6
90452 | 2021-04-09 19:12 | 32.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2764 | μmol/L | 11.6863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.324 | 164085.5603 | 317901.8002 | 33.25 | 68.6
90461 | 2021-04-09 19:13 | 32.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2218 | μmol/L | 11.6924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.324 | 164010.1969 | 317832.4974 | 33.25 | 68.6
90470 | 2021-04-09 19:13 | 32.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2775 | μmol/L | 11.6985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.319 | 163934.9445 | 317768.0648 | 33.25 | 68.6
90479 | 2021-04-09 19:13 | 33.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2775 | μmol/L | 11.6985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.319 | 163868.0082 | 317700.923 | 33.25 | 68.6
90488 | 2021-04-09 19:14 | 33.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3216 | μmol/L | 11.6985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.317 | 163802.5158 | 317639.399 | 33.25 | 68.6
90497 | 2021-04-09 19:14 | 33.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.319 | μmol/L | 11.7106 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.312 | 163714.5858 | 317562.224 | 33.25 | 68.6
90506 | 2021-04-09 19:14 | 34.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2461 | μmol/L | 11.7167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.313 | 163650.1568 | 317509.2392 | 33.25 | 68.6
90515 | 2021-04-09 19:15 | 34.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2461 | μmol/L | 11.7167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.313 | 163583.5061 | 317421.975 | 33.25 | 68.6
90524 | 2021-04-09 19:15 | 34.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2577 | μmol/L | 11.7228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.31 | 163511.4606 | 317375.4327 | 33.25 | 68.6
90533 | 2021-04-09 19:15 | 35.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3564 | μmol/L | 11.7167 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.308 | 163440.9057 | 317298.129 | 33.25 | 68.6
90542 | 2021-04-09 19:16 | 35.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2473 | μmol/L | 11.7289 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.308 | 163371.3599 | 317238.4329 | 33.25 | 68.6
90551 | 2021-04-09 19:16 | 35.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2589 | μmol/L | 11.7349 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.305 | 163287.5417 | 317173.4826 | 33.25 | 68.6
90560 | 2021-04-09 19:16 | 36.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2148 | μmol/L | 11.7349 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.307 | 163218.9267 | 317111.9968 | 33.25 | 68.6
90569 | 2021-04-09 19:17 | 36.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.216 | μmol/L | 11.7471 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.302 | 163151.2363 | 317058.4616 | 33.25 | 68.6
90578 | 2021-04-09 19:17 | 36.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2381 | μmol/L | 11.7471 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.301 | 163092.3066 | 316996.1523 | 33.25 | 68.6
90587 | 2021-04-09 19:17 | 37.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2926 | μmol/L | 11.741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.301 | 163023.9881 | 316937.2338 | 33.25 | 68.6
90596 | 2021-04-09 19:18 | 37.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1615 | μmol/L | 11.7531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.302 | 162951.0096 | 316862.3095 | 33.25 | 68.6
90605 | 2021-04-09 19:18 | 37.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2277 | μmol/L | 11.7531 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.299 | 162890.0422 | 316812.9053 | 33.25 | 68.6
90614 | 2021-04-09 19:18 | 38.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2173 | μmol/L | 11.7592 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.297 | 162831.6962 | 316756.6351 | 33.25 | 68.6
90623 | 2021-04-09 19:19 | 38.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2614 | μmol/L | 11.7592 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 162763.7866 | 316681.6209 | 33.25 | 68.6
90632 | 2021-04-09 19:19 | 38.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2289 | μmol/L | 11.7653 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.294 | 162706.5387 | 316621.8005 | 33.25 | 68.6
90641 | 2021-04-09 19:19 | 39.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1965 | μmol/L | 11.7714 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.293 | 162640.1777 | 316564.5658 | 33.25 | 68.6
90650 | 2021-04-09 19:20 | 39.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2834 | μmol/L | 11.7592 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.294 | 162577.957 | 316491.0503 | 33.25 | 68.6
90659 | 2021-04-09 19:20 | 39.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1537 | μmol/L | 11.7835 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.29 | 162522.6221 | 316466.1905 | 33.25 | 68.6
90668 | 2021-04-09 19:20 | 40.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2627 | μmol/L | 11.7714 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.29 | 162456.8417 | 316390.802 | 33.25 | 68.6
90677 | 2021-04-09 19:21 | 40.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2265 | μmol/L | 11.7774 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.289 | 162389.1826 | 316327.7828 | 33.25 | 68.6
90686 | 2021-04-09 19:21 | 40.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2706 | μmol/L | 11.7774 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.287 | 162331.8177 | 316279.9776 | 33.25 | 68.6
90695 | 2021-04-09 19:21 | 41.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2485 | μmol/L | 11.7774 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.288 | 162271.3711 | 316235.8055 | 33.25 | 68.6
90704 | 2021-04-09 19:22 | 41.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3588 | μmol/L | 11.7774 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.283 | 162219.3568 | 316164.4366 | 33.25 | 68.6
90713 | 2021-04-09 19:22 | 41.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3522 | μmol/L | 11.7835 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.281 | 162150.9991 | 316117.2599 | 33.25 | 68.6
90722 | 2021-04-09 19:22 | 42.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2719 | μmol/L | 11.7896 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.282 | 162091.348 | 316072.5254 | 33.25 | 68.6
90731 | 2021-04-09 19:23 | 42.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2395 | μmol/L | 11.7956 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.281 | 162023.8411 | 316007.147 | 33.25 | 68.6
90740 | 2021-04-09 19:23 | 42.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3418 | μmol/L | 11.7896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.279 | 161964.941 | 315947.2465 | 33.25 | 68.6
90749 | 2021-04-09 19:23 | 43.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2108 | μmol/L | 11.8017 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.28 | 161909.7693 | 315910.0585 | 33.25 | 68.6
90758 | 2021-04-09 19:24 | 43.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2291 | μmol/L | 11.8017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.279 | 161858.7217 | 315845.79 | 33.25 | 68.6
90767 | 2021-04-09 19:24 | 43.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2446 | μmol/L | 11.8078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.276 | 161801.3464 | 315796.0428 | 33.25 | 68.6
90776 | 2021-04-09 19:24 | 44.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2188 | μmol/L | 11.8078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.277 | 161738.4835 | 315740.4179 | 33.25 | 68.6
90785 | 2021-04-09 19:25 | 44.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2408 | μmol/L | 11.8078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.276 | 161690.0697 | 315687.3913 | 33.25 | 68.6
90794 | 2021-04-09 19:25 | 44.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2305 | μmol/L | 11.8139 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.274 | 161631.865 | 315627.7703 | 33.25 | 68.6
90803 | 2021-04-09 19:25 | 45.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2864 | μmol/L | 11.8199 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.269 | 161575.0605 | 315587.8748 | 33.25 | 68.6
90812 | 2021-04-09 19:26 | 45.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2422 | μmol/L | 11.8199 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.271 | 161512.8207 | 315536.1552 | 33.25 | 68.6
90821 | 2021-04-09 19:26 | 45.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2864 | μmol/L | 11.8199 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.269 | 161464.0209 | 315490.2314 | 33.25 | 68.6
90830 | 2021-04-09 19:26 | 46.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2422 | μmol/L | 11.8199 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.271 | 161404.3685 | 315445.9564 | 33.25 | 68.6
90839 | 2021-04-09 19:27 | 46.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3305 | μmol/L | 11.8199 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.267 | 161346.0087 | 315382.2025 | 33.25 | 68.6
90848 | 2021-04-09 19:27 | 46.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2981 | μmol/L | 11.826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.266 | 161300.8444 | 315343.9657 | 33.25 | 68.6
90857 | 2021-04-09 19:27 | 47.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3098 | μmol/L | 11.8321 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.263 | 161245.043 | 315280.6108 | 33.25 | 68.6
90866 | 2021-04-09 19:28 | 47.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3202 | μmol/L | 11.826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.265 | 161190.3493 | 315230.3836 | 33.25 | 68.6
90875 | 2021-04-09 19:28 | 47.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2437 | μmol/L | 11.8321 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.266 | 161147.3999 | 315205.7235 | 33.25 | 68.6
90884 | 2021-04-09 19:28 | 48.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2113 | μmol/L | 11.8382 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.265 | 161099.2816 | 315146.4677 | 33.25 | 68.6
90893 | 2021-04-09 19:29 | 48.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2775 | μmol/L | 11.8382 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.262 | 161039.9993 | 315094.0583 | 33.25 | 68.6
90902 | 2021-04-09 19:29 | 48.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2995 | μmol/L | 11.8382 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.261 | 160991.8857 | 315057.9251 | 33.25 | 68.6
90911 | 2021-04-09 19:29 | 49.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.201 | μmol/L | 11.8442 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.263 | 160944.6117 | 315011.0885 | 33.25 | 68.6
90920 | 2021-04-09 19:30 | 49.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2127 | μmol/L | 11.8503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.26 | 160886.8944 | 314964.1639 | 33.25 | 68.6
90929 | 2021-04-09 19:30 | 49.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1466 | μmol/L | 11.8503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.263 | 160836.2391 | 314909.1727 | 33.25 | 68.6
90938 | 2021-04-09 19:30 | 50.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2127 | μmol/L | 11.8503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.26 | 160782.6804 | 314859.1514 | 33.25 | 68.6
90947 | 2021-04-09 19:31 | 50.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2127 | μmol/L | 11.8503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.26 | 160734.9778 | 314820.2896 | 33.25 | 68.6
90956 | 2021-04-09 19:31 | 50.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2142 | μmol/L | 11.8624 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.255 | 160695.573 | 314784.427 | 33.25 | 68.6
90965 | 2021-04-09 19:31 | 51.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2245 | μmol/L | 11.8564 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.257 | 160639.9032 | 314748.0747 | 33.25 | 68.6
90974 | 2021-04-09 19:32 | 51.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2584 | μmol/L | 11.8624 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.253 | 160592.2511 | 314694.7057 | 33.25 | 68.6
90983 | 2021-04-09 19:32 | 51.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2907 | μmol/L | 11.8564 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.254 | 160546.715 | 314651.1751 | 33.25 | 68.6
90992 | 2021-04-09 19:32 | 52.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2401 | μmol/L | 11.8624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.254 | 160488.5323 | 314604.9449 | 33.25 | 68.6
91001 | 2021-04-09 19:33 | 52.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2804 | μmol/L | 11.8624 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.252 | 160447.9577 | 314560.1503 | 33.25 | 68.6
91010 | 2021-04-09 19:33 | 52.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1937 | μmol/L | 11.8746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.251 | 160397.2343 | 314520.4362 | 33.25 | 68.6
91019 | 2021-04-09 19:33 | 53.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2702 | μmol/L | 11.8685 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.25 | 160353.9021 | 314472.6241 | 33.25 | 68.6
91028 | 2021-04-09 19:34 | 53.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2158 | μmol/L | 11.8746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.25 | 160314.2953 | 314436.1582 | 33.25 | 68.6
91037 | 2021-04-09 19:34 | 53.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2378 | μmol/L | 11.8746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.249 | 160275.4515 | 314389.849 | 33.25 | 68.6
91046 | 2021-04-09 19:34 | 54.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2378 | μmol/L | 11.8746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.249 | 160225.0649 | 314353.4553 | 33.25 | 68.6
91055 | 2021-04-09 19:35 | 54.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2717 | μmol/L | 11.8807 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.245 | 160183.4739 | 314312.6031 | 33.25 | 68.6
91064 | 2021-04-09 19:35 | 54.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1393 | μmol/L | 11.8807 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.251 | 160151.9486 | 314270.7287 | 33.25 | 68.6
91073 | 2021-04-09 19:35 | 55.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2055 | μmol/L | 11.8807 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.248 | 160089.0534 | 314224.1412 | 33.25 | 68.6
91082 | 2021-04-09 19:36 | 55.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1732 | μmol/L | 11.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.247 | 160061.2702 | 314199.0139 | 33.25 | 68.6
91091 | 2021-04-09 19:36 | 55.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2378 | μmol/L | 11.8746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.249 | 160014.3779 | 314151.3502 | 33.25 | 68.6
91100 | 2021-04-09 19:36 | 56.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2173 | μmol/L | 11.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.245 | 159977.829 | 314113.2837 | 33.25 | 68.6
91109 | 2021-04-09 19:37 | 56.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1732 | μmol/L | 11.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.247 | 159943.5758 | 314077.5663 | 33.25 | 68.6
91118 | 2021-04-09 19:37 | 56.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1511 | μmol/L | 11.8867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.248 | 159904.2919 | 314042.1611 | 33.25 | 68.6
91127 | 2021-04-09 19:37 | 57.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1188 | μmol/L | 11.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.247 | 159859.5614 | 313997.6487 | 33.25 | 68.6
91136 | 2021-04-09 19:38 | 57.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1629 | μmol/L | 11.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.245 | 159813.4847 | 313950.4378 | 33.25 | 68.6
91145 | 2021-04-09 19:38 | 57.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2071 | μmol/L | 11.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.243 | 159771.7201 | 313911.4759 | 33.25 | 68.6
91154 | 2021-04-09 19:38 | 58.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.185 | μmol/L | 11.8928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.244 | 159732.767 | 313879.2617 | 33.25 | 68.6