## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
75924 | 2021-04-07 12:59 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7263 | μmol/L | 11.4391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 138038.8029 | 278010.9677 | 26.25 | 74
75933 | 2021-04-07 13:00 | 0.33454 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6788 | μmol/L | 11.4391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 138032.9813 | 278006.3042 | 26.25 | 74
75942 | 2021-04-07 13:00 | 0.66833 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5989 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.112 | 138025.9989 | 278003.7375 | 26.25 | 74
75951 | 2021-04-07 13:00 | 1.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6464 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.11 | 138011.1041 | 277993.9826 | 26.25 | 74
75960 | 2021-04-07 13:01 | 1.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6701 | μmol/L | 11.4452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 138005.7749 | 277982.0289 | 26.25 | 74
75969 | 2021-04-07 13:01 | 1.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5428 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.112 | 137997.0858 | 277965.6003 | 26.25 | 74
75978 | 2021-04-07 13:01 | 2.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5665 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 137993.562 | 277979.871 | 26.25 | 74
75987 | 2021-04-07 13:02 | 2.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6615 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137986.7982 | 277969.602 | 26.25 | 74
75996 | 2021-04-07 13:02 | 2.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5579 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137977.7239 | 277951.3707 | 26.25 | 74
76005 | 2021-04-07 13:02 | 3.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6378 | μmol/L | 11.4512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137964.3311 | 277950.2504 | 26.25 | 74
76014 | 2021-04-07 13:03 | 3.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5342 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.11 | 137947.3087 | 277947.2163 | 26.25 | 74
76023 | 2021-04-07 13:03 | 3.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5493 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137955.3309 | 277944.5642 | 26.25 | 74
76032 | 2021-04-07 13:03 | 4.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5493 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137948.1674 | 277934.6149 | 26.25 | 74
76041 | 2021-04-07 13:04 | 4.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5731 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 137934.6426 | 277922.4962 | 26.25 | 74
76050 | 2021-04-07 13:04 | 4.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5968 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.105 | 137940.2342 | 277920.5999 | 26.25 | 74
76059 | 2021-04-07 13:04 | 5.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5817 | μmol/L | 11.4573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137924.1805 | 277901.1387 | 26.25 | 74
76068 | 2021-04-07 13:05 | 5.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5256 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137920.6214 | 277906.2919 | 26.25 | 74
76077 | 2021-04-07 13:05 | 5.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4457 | μmol/L | 11.4695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137911.6957 | 277896.2321 | 26.25 | 74
76086 | 2021-04-07 13:05 | 6.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5731 | μmol/L | 11.4634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 137910.9937 | 277890.1461 | 26.25 | 74
76095 | 2021-04-07 13:06 | 6.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3897 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137901.7602 | 277888.1779 | 26.25 | 74
76104 | 2021-04-07 13:06 | 6.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4609 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 137894.0455 | 277882.4548 | 26.25 | 74
76113 | 2021-04-07 13:06 | 7.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4134 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137896.931 | 277861.1479 | 26.25 | 74
76122 | 2021-04-07 13:07 | 7.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3897 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137886.172 | 277844.9811 | 26.25 | 74
76131 | 2021-04-07 13:07 | 7.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4846 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.105 | 137876.2723 | 277831.749 | 26.25 | 74
76140 | 2021-04-07 13:07 | 8.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3422 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 137873.1293 | 277843.9777 | 26.25 | 74
76149 | 2021-04-07 13:08 | 8.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4457 | μmol/L | 11.4695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137870.8265 | 277820.1765 | 26.25 | 74
76158 | 2021-04-07 13:08 | 8.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3574 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137864.7766 | 277822.0987 | 26.25 | 74
76167 | 2021-04-07 13:08 | 9.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3422 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 137862.3604 | 277813.1602 | 26.25 | 74
76176 | 2021-04-07 13:09 | 9.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2862 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 137858.7134 | 277792.4435 | 26.25 | 74
76185 | 2021-04-07 13:09 | 9.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.215 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.114 | 137848.2858 | 277788.0443 | 26.25 | 74
76194 | 2021-04-07 13:09 | 10.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4134 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137847.8273 | 277789.2209 | 26.25 | 74
76203 | 2021-04-07 13:10 | 10.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2862 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 137838.3164 | 277777.1727 | 26.25 | 74
76212 | 2021-04-07 13:10 | 10.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4372 | μmol/L | 11.4756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137831.8726 | 277764.132 | 26.25 | 74
76221 | 2021-04-07 13:10 | 11.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2862 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 137824.2113 | 277767.9837 | 26.25 | 74
76230 | 2021-04-07 13:11 | 11.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3574 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137802.5673 | 277759.8262 | 26.25 | 74
76239 | 2021-04-07 13:11 | 11.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2539 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.11 | 137800.7494 | 277759.6055 | 26.25 | 74
76248 | 2021-04-07 13:11 | 12.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2539 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.11 | 137791.6045 | 277742.8687 | 26.25 | 74
76257 | 2021-04-07 13:12 | 12.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3013 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137784.2637 | 277740.5145 | 26.25 | 74
76266 | 2021-04-07 13:12 | 12.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3574 | μmol/L | 11.4816 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137763.4169 | 277737.723 | 26.25 | 74
76275 | 2021-04-07 13:12 | 13.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2776 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137772.6667 | 277720.9238 | 26.25 | 74
76284 | 2021-04-07 13:13 | 13.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3251 | μmol/L | 11.4877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137752.1131 | 277709.0762 | 26.25 | 74
76293 | 2021-04-07 13:13 | 13.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2216 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137753.0054 | 277696.72 | 26.25 | 74
76302 | 2021-04-07 13:13 | 14.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2453 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137744.7065 | 277701.8447 | 26.25 | 74
76311 | 2021-04-07 13:14 | 14.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2691 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137730.4451 | 277693.0469 | 26.25 | 74
76320 | 2021-04-07 13:14 | 14.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2368 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 137731.3716 | 277680.1235 | 26.25 | 74
76329 | 2021-04-07 13:14 | 15.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2131 | μmol/L | 11.4999 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137728.7844 | 277671.5119 | 26.25 | 74
76338 | 2021-04-07 13:15 | 15.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1096 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137711.8759 | 277681.2836 | 26.25 | 74
76347 | 2021-04-07 13:15 | 15.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2453 | μmol/L | 11.4938 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137711.2892 | 277673.6334 | 26.25 | 74
76356 | 2021-04-07 13:15 | 16.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1808 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 137696.3896 | 277652.6581 | 26.25 | 74
76365 | 2021-04-07 13:16 | 16.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1096 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137696.4967 | 277645.3632 | 26.25 | 74
76374 | 2021-04-07 13:16 | 16.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1334 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137686.4537 | 277632.6286 | 26.25 | 74
76383 | 2021-04-07 13:16 | 17.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1011 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 137687.7758 | 277636.7319 | 26.25 | 74
76392 | 2021-04-07 13:17 | 17.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1096 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.109 | 137681.4227 | 277625.0723 | 26.25 | 74
76401 | 2021-04-07 13:17 | 17.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1334 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 137681.245 | 277612.0643 | 26.25 | 74
76410 | 2021-04-07 13:17 | 18.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.0385 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.112 | 137677.1285 | 277607.8729 | 26.25 | 74
76419 | 2021-04-07 13:18 | 18.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.0859 | μmol/L | 11.506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.11 | 137669.3017 | 277588.0304 | 26.25 | 74
76428 | 2021-04-07 13:18 | 18.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.9115 | μmol/L | 11.512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.115 | 137669.6214 | 277589.0907 | 26.25 | 74
76437 | 2021-04-07 13:18 | 19.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.9029 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.113 | 137668.9865 | 277586.3386 | 26.25 | 74
76446 | 2021-04-07 13:19 | 19.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.8793 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.114 | 137668.0619 | 277571.2314 | 26.25 | 74
76455 | 2021-04-07 13:19 | 19.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.7286 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 137669.3091 | 277563.442 | 26.25 | 74
76464 | 2021-04-07 13:19 | 20.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.7286 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 137667.8901 | 277558.8271 | 26.25 | 74
76473 | 2021-04-07 13:20 | 20.3343 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.7845 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 137671.1545 | 277550.9907 | 26.25 | 74
76482 | 2021-04-07 13:20 | 20.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.7286 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 137672.2315 | 277540.1316 | 26.25 | 74
76491 | 2021-04-07 13:20 | 21.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.6728 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 137669.1411 | 277535.0942 | 26.25 | 74
76500 | 2021-04-07 13:21 | 21.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.5308 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.124 | 137677.9116 | 277527.0373 | 26.25 | 74
76509 | 2021-04-07 13:21 | 21.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.6188 | μmol/L | 11.5181 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 137686.8859 | 277520.6694 | 26.25 | 74
76518 | 2021-04-07 13:21 | 22.0011 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.563 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 137679.5074 | 277508.4269 | 26.25 | 74
76527 | 2021-04-07 13:22 | 22.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.5866 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.124 | 137689.749 | 277503.052 | 26.25 | 74
76536 | 2021-04-07 13:22 | 22.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.5866 | μmol/L | 11.5242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.124 | 137675.3915 | 277503.6887 | 26.25 | 74
76545 | 2021-04-07 13:22 | 23.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.5071 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 137677.55 | 277488.2108 | 26.25 | 74
76554 | 2021-04-07 13:23 | 23.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.5071 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 137666.7718 | 277476.6948 | 26.25 | 74
76563 | 2021-04-07 13:23 | 23.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.4835 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 137662.3318 | 277457.5803 | 26.25 | 74
76572 | 2021-04-07 13:23 | 24.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.4362 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.128 | 137655.1971 | 277451.3508 | 26.25 | 74
76581 | 2021-04-07 13:24 | 24.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.3567 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 137646.9069 | 277452.0902 | 26.25 | 74
76590 | 2021-04-07 13:24 | 24.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.4598 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.127 | 137642.8077 | 277443.5592 | 26.25 | 74
76599 | 2021-04-07 13:24 | 25.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.4835 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 137629.4916 | 277444.2517 | 26.25 | 74
76608 | 2021-04-07 13:25 | 25.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.4598 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.127 | 137626.6714 | 277436.6244 | 26.25 | 74
76617 | 2021-04-07 13:25 | 25.6677 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.4125 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 137628.1504 | 277437.3592 | 26.25 | 74
76626 | 2021-04-07 13:25 | 26.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.3804 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.128 | 137620.6026 | 277424.1841 | 26.25 | 74
76635 | 2021-04-07 13:26 | 26.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.5071 | μmol/L | 11.5303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 137609.759 | 277405.6673 | 26.25 | 74
76644 | 2021-04-07 13:26 | 26.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.3719 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 137610.2937 | 277400.3342 | 26.25 | 74
76653 | 2021-04-07 13:26 | 27.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.2925 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.127 | 137606.9387 | 277404.6879 | 26.25 | 74
76662 | 2021-04-07 13:27 | 27.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.2773 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.13 | 137603.3088 | 277400.3399 | 26.25 | 74
76671 | 2021-04-07 13:27 | 27.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.301 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 137609.8637 | 277382.8588 | 26.25 | 74
76680 | 2021-04-07 13:27 | 28.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.2537 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.131 | 137595.2036 | 277369.6062 | 26.25 | 74
76689 | 2021-04-07 13:28 | 28.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.3567 | μmol/L | 11.5363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 137593.4079 | 277360.1035 | 26.25 | 74
76698 | 2021-04-07 13:28 | 28.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.2301 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137587.9995 | 277353.9055 | 26.25 | 74
76707 | 2021-04-07 13:28 | 29.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.301 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 137577.1129 | 277344.9549 | 26.25 | 74
76716 | 2021-04-07 13:29 | 29.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.2773 | μmol/L | 11.5424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.13 | 137575.1734 | 277342.2923 | 26.25 | 74
76725 | 2021-04-07 13:29 | 29.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1743 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137575.556 | 277319.4052 | 26.25 | 74
76734 | 2021-04-07 13:29 | 30.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1979 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.131 | 137578.7043 | 277326.6282 | 26.25 | 74
76743 | 2021-04-07 13:30 | 30.3345 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.2216 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.13 | 137573.5007 | 277325.1601 | 26.25 | 74
76752 | 2021-04-07 13:30 | 30.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1658 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.13 | 137566.1148 | 277316.8896 | 26.25 | 74
76761 | 2021-04-07 13:30 | 31.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1271 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137560.1041 | 277315.2085 | 26.25 | 74
76770 | 2021-04-07 13:31 | 31.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1271 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137556.5459 | 277301.0157 | 26.25 | 74
76779 | 2021-04-07 13:31 | 31.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1743 | μmol/L | 11.5485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137555.6443 | 277292.694 | 26.25 | 74
76788 | 2021-04-07 13:31 | 32.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0241 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137554.635 | 277297.8976 | 26.25 | 74
76797 | 2021-04-07 13:32 | 32.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.095 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 137554.1824 | 277281.588 | 26.25 | 74
76806 | 2021-04-07 13:32 | 32.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.9769 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.138 | 137548.1915 | 277294.6227 | 26.25 | 74
76815 | 2021-04-07 13:32 | 33.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0713 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137543.6484 | 277269.1742 | 26.25 | 74
76824 | 2021-04-07 13:33 | 33.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0156 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137526.4114 | 277259.337 | 26.25 | 74
76833 | 2021-04-07 13:33 | 33.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.1186 | μmol/L | 11.5546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137518.8662 | 277262.3191 | 26.25 | 74
76842 | 2021-04-07 13:33 | 34.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0392 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 137515.8441 | 277266.3006 | 26.25 | 74
76851 | 2021-04-07 13:34 | 34.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.9599 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137501.4427 | 277251.4361 | 26.25 | 74
76860 | 2021-04-07 13:34 | 34.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.9127 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137491.4017 | 277253.9289 | 26.25 | 74
76869 | 2021-04-07 13:34 | 35.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0071 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137487.8177 | 277238.0691 | 26.25 | 74
76878 | 2021-04-07 13:35 | 35.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0392 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 137488.4341 | 277249.2065 | 26.25 | 74
76887 | 2021-04-07 13:35 | 35.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0071 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137477.7199 | 277230.0221 | 26.25 | 74
76896 | 2021-04-07 13:35 | 36.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0156 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137481.4539 | 277234.0714 | 26.25 | 74
76905 | 2021-04-07 13:36 | 36.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.992 | μmol/L | 11.5607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.135 | 137470.5742 | 277207.0131 | 26.25 | 74
76914 | 2021-04-07 13:36 | 36.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.0071 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 137479.837 | 277204.0948 | 26.25 | 74
76923 | 2021-04-07 13:36 | 37.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.9599 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 137470.7478 | 277203.286 | 26.25 | 74
76932 | 2021-04-07 13:37 | 37.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.8184 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.14 | 137479.1988 | 277204.6805 | 26.25 | 74
76941 | 2021-04-07 13:37 | 37.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.8891 | μmol/L | 11.5667 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137487.2779 | 277208.5624 | 26.25 | 74
76950 | 2021-04-07 13:37 | 38.001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.8335 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137495.2742 | 277183.4106 | 26.25 | 74
76959 | 2021-04-07 13:38 | 38.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.7391 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.141 | 137494.7308 | 277184.9207 | 26.25 | 74
76968 | 2021-04-07 13:38 | 38.6678 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.7627 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.14 | 137491.0527 | 277178.8992 | 26.25 | 74
76977 | 2021-04-07 13:38 | 39.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.7391 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.141 | 137498.7447 | 277177.4569 | 26.25 | 74
76986 | 2021-04-07 13:39 | 39.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.7391 | μmol/L | 11.5728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.141 | 137501.3159 | 277177.2472 | 26.25 | 74
76995 | 2021-04-07 13:39 | 39.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.6599 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.142 | 137501.9143 | 277171.4602 | 26.25 | 74
77004 | 2021-04-07 13:39 | 40.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5892 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.145 | 137501.2006 | 277176.8894 | 26.25 | 74
77013 | 2021-04-07 13:40 | 40.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5421 | μmol/L | 11.5789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.147 | 137506.3955 | 277161.8173 | 26.25 | 74
77022 | 2021-04-07 13:40 | 40.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4629 | μmol/L | 11.585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 137500.1345 | 277153.5148 | 26.25 | 74