## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
75925 | 2021-04-07 12:59 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6864 | μmol/L | 11.4097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.876 | 133035.1483 | 276129.0224 | 32.55 | 27.7
75934 | 2021-04-07 13:00 | 0.33977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7105 | μmol/L | 11.4097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.875 | 132986.6465 | 276103.1183 | 32.55 | 27.7
75943 | 2021-04-07 13:00 | 0.67294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6779 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132963.6677 | 276079.179 | 32.55 | 27.7
75952 | 2021-04-07 13:00 | 1.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.597 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.875 | 132951.5105 | 276062.0301 | 32.55 | 27.7
75961 | 2021-04-07 13:01 | 1.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7829 | μmol/L | 11.4097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.872 | 132943.3633 | 276044.2704 | 32.55 | 27.7
75970 | 2021-04-07 13:01 | 1.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6779 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132938.432 | 276026.4967 | 32.55 | 27.7
75979 | 2021-04-07 13:01 | 2.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6211 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132932.1187 | 276030.5115 | 32.55 | 27.7
75988 | 2021-04-07 13:02 | 2.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7588 | μmol/L | 11.4097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.873 | 132923.8871 | 275994.9753 | 32.55 | 27.7
75997 | 2021-04-07 13:02 | 2.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7347 | μmol/L | 11.4097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132924.3049 | 276000.9278 | 32.55 | 27.7
76006 | 2021-04-07 13:02 | 3.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6452 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.873 | 132915.5918 | 275976.7235 | 32.55 | 27.7
76015 | 2021-04-07 13:03 | 3.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5728 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.876 | 132907.8745 | 275954.1381 | 32.55 | 27.7
76024 | 2021-04-07 13:03 | 3.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6452 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.873 | 132897.4598 | 275950.5582 | 32.55 | 27.7
76033 | 2021-04-07 13:03 | 4.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5643 | μmol/L | 11.428 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132890.3062 | 275949.843 | 32.55 | 27.7
76042 | 2021-04-07 13:04 | 4.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5643 | μmol/L | 11.428 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132885.5079 | 275927.9178 | 32.55 | 27.7
76051 | 2021-04-07 13:04 | 4.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5076 | μmol/L | 11.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132880.3417 | 275906.5731 | 32.55 | 27.7
76060 | 2021-04-07 13:04 | 5.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.4508 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 132880.9518 | 275901.4046 | 32.55 | 27.7
76069 | 2021-04-07 13:05 | 5.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3062 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.88 | 132879.2006 | 275895.012 | 32.55 | 27.7
76078 | 2021-04-07 13:05 | 5.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2014 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.882 | 132886.8301 | 275888.8969 | 32.55 | 27.7
76087 | 2021-04-07 13:05 | 6.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2014 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.882 | 132875.284 | 275875.9066 | 32.55 | 27.7
76096 | 2021-04-07 13:06 | 6.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3062 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.88 | 132883.8896 | 275861.7664 | 32.55 | 27.7
76105 | 2021-04-07 13:06 | 6.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2821 | μmol/L | 11.4402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.881 | 132883.5842 | 275860.3504 | 32.55 | 27.7
76114 | 2021-04-07 13:06 | 7.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2014 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.882 | 132891.1494 | 275855.7299 | 32.55 | 27.7
76123 | 2021-04-07 13:07 | 7.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.1773 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.883 | 132884.4904 | 275839.6752 | 32.55 | 27.7
76132 | 2021-04-07 13:07 | 7.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0881 | μmol/L | 11.4585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.882 | 132875.9789 | 275828.2355 | 32.55 | 27.7
76141 | 2021-04-07 13:07 | 8.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.1291 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 132877.6666 | 275816.0846 | 32.55 | 27.7
76150 | 2021-04-07 13:08 | 8.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.1291 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 132873.1999 | 275814.3144 | 32.55 | 27.7
76159 | 2021-04-07 13:08 | 8.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0965 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.884 | 132879.5016 | 275810.1405 | 32.55 | 27.7
76168 | 2021-04-07 13:08 | 9.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9437 | μmol/L | 11.4585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132879.2206 | 275804.349 | 32.55 | 27.7
76177 | 2021-04-07 13:09 | 9.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9918 | μmol/L | 11.4585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132874.0534 | 275792.9428 | 32.55 | 27.7
76186 | 2021-04-07 13:09 | 9.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0003 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132866.4656 | 275788.3194 | 32.55 | 27.7
76195 | 2021-04-07 13:09 | 10.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9677 | μmol/L | 11.4585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132864.6427 | 275775.0739 | 32.55 | 27.7
76204 | 2021-04-07 13:10 | 10.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9111 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132855.1116 | 275773.2945 | 32.55 | 27.7
76213 | 2021-04-07 13:10 | 10.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.863 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132855.0111 | 275763.1463 | 32.55 | 27.7
76222 | 2021-04-07 13:10 | 11.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8871 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132850.8346 | 275773.4547 | 32.55 | 27.7
76231 | 2021-04-07 13:11 | 11.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8786 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132838.0261 | 275761.5978 | 32.55 | 27.7
76240 | 2021-04-07 13:11 | 11.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9833 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.884 | 132821.1206 | 275742.5705 | 32.55 | 27.7
76249 | 2021-04-07 13:11 | 12.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8786 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132821.2019 | 275733.0317 | 32.55 | 27.7
76258 | 2021-04-07 13:12 | 12.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8064 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132810.9848 | 275730.8817 | 32.55 | 27.7
76267 | 2021-04-07 13:12 | 12.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9592 | μmol/L | 11.4646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 132802.0365 | 275728.7355 | 32.55 | 27.7
76276 | 2021-04-07 13:12 | 13.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.822 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132790.5205 | 275706.5429 | 32.55 | 27.7
76285 | 2021-04-07 13:13 | 13.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8545 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132782.9622 | 275707.6835 | 32.55 | 27.7
76294 | 2021-04-07 13:13 | 13.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7979 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132780.8373 | 275699.7356 | 32.55 | 27.7
76303 | 2021-04-07 13:13 | 14.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.846 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 132760.1079 | 275698.2388 | 32.55 | 27.7
76312 | 2021-04-07 13:14 | 14.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7654 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132759.6433 | 275684.2465 | 32.55 | 27.7
76321 | 2021-04-07 13:14 | 14.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.822 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132760.5064 | 275684.5308 | 32.55 | 27.7
76330 | 2021-04-07 13:14 | 15.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8135 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.884 | 132754.8287 | 275673.1939 | 32.55 | 27.7
76339 | 2021-04-07 13:15 | 15.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7414 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132750.9939 | 275661.4012 | 32.55 | 27.7
76348 | 2021-04-07 13:15 | 15.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7979 | μmol/L | 11.4768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132754.1314 | 275673.516 | 32.55 | 27.7
76357 | 2021-04-07 13:15 | 16.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7174 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132753.0436 | 275667.1253 | 32.55 | 27.7
76366 | 2021-04-07 13:16 | 16.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6283 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132739.3036 | 275656.2305 | 32.55 | 27.7
76375 | 2021-04-07 13:16 | 16.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6933 | μmol/L | 11.4829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132736.9652 | 275649.0586 | 32.55 | 27.7
76384 | 2021-04-07 13:16 | 17.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6524 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 132728.6862 | 275633.9017 | 32.55 | 27.7
76393 | 2021-04-07 13:17 | 17.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6368 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132728.0603 | 275635.8349 | 32.55 | 27.7
76402 | 2021-04-07 13:17 | 17.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6608 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132714.6979 | 275629.8143 | 32.55 | 27.7
76411 | 2021-04-07 13:17 | 18.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5322 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132698.4953 | 275617.4024 | 32.55 | 27.7
76420 | 2021-04-07 13:18 | 18.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6043 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132703.9458 | 275615.5295 | 32.55 | 27.7
76429 | 2021-04-07 13:18 | 18.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5718 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132692.7522 | 275603.784 | 32.55 | 27.7
76438 | 2021-04-07 13:18 | 19.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6283 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132677.8938 | 275587.534 | 32.55 | 27.7
76447 | 2021-04-07 13:19 | 19.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6043 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132685.3632 | 275606.0234 | 32.55 | 27.7
76456 | 2021-04-07 13:19 | 19.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5322 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132675.4288 | 275584.4612 | 32.55 | 27.7
76465 | 2021-04-07 13:19 | 20.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5238 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132664.0955 | 275571.1629 | 32.55 | 27.7
76474 | 2021-04-07 13:20 | 20.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4757 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132668.975 | 275576.4611 | 32.55 | 27.7
76483 | 2021-04-07 13:20 | 20.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4348 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132658.0571 | 275572.2205 | 32.55 | 27.7
76492 | 2021-04-07 13:20 | 21.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5718 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132643.2318 | 275572.7727 | 32.55 | 27.7
76501 | 2021-04-07 13:21 | 21.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6199 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 132642.4485 | 275552.0324 | 32.55 | 27.7
76510 | 2021-04-07 13:21 | 21.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4348 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132636.4629 | 275553.7063 | 32.55 | 27.7
76519 | 2021-04-07 13:21 | 22.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5153 | μmol/L | 11.5073 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132633.9932 | 275545.3265 | 32.55 | 27.7
76528 | 2021-04-07 13:22 | 22.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3628 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132623.3661 | 275546.0067 | 32.55 | 27.7
76537 | 2021-04-07 13:22 | 22.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4589 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132615.9915 | 275540.1017 | 32.55 | 27.7
76546 | 2021-04-07 13:22 | 23.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3868 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132609.0245 | 275531.4414 | 32.55 | 27.7
76555 | 2021-04-07 13:23 | 23.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3628 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132602.1731 | 275529.392 | 32.55 | 27.7
76564 | 2021-04-07 13:23 | 23.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3628 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132603.0683 | 275525.9978 | 32.55 | 27.7
76573 | 2021-04-07 13:23 | 24.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3388 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132602.2633 | 275533.0884 | 32.55 | 27.7
76582 | 2021-04-07 13:24 | 24.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2824 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132592.8493 | 275522.5646 | 32.55 | 27.7
76591 | 2021-04-07 13:24 | 24.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2824 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132586.581 | 275499.7703 | 32.55 | 27.7
76600 | 2021-04-07 13:24 | 25.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3304 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132587.9901 | 275506.041 | 32.55 | 27.7
76609 | 2021-04-07 13:25 | 25.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4024 | μmol/L | 11.5195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132583.7169 | 275499.8429 | 32.55 | 27.7
76618 | 2021-04-07 13:25 | 25.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.202 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.893 | 132570.8043 | 275494.0983 | 32.55 | 27.7
76627 | 2021-04-07 13:25 | 26.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1695 | μmol/L | 11.5318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132575.4192 | 275487.392 | 32.55 | 27.7
76636 | 2021-04-07 13:26 | 26.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2739 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132566.9633 | 275485.0506 | 32.55 | 27.7
76645 | 2021-04-07 13:26 | 26.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2259 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132568.5812 | 275475.5391 | 32.55 | 27.7
76654 | 2021-04-07 13:26 | 27.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.202 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.893 | 132560.4171 | 275460.6633 | 32.55 | 27.7
76663 | 2021-04-07 13:27 | 27.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2259 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132554.5855 | 275472.5598 | 32.55 | 27.7
76672 | 2021-04-07 13:27 | 27.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1132 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132538.987 | 275459.2742 | 32.55 | 27.7
76681 | 2021-04-07 13:27 | 28.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2415 | μmol/L | 11.5318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132541.9775 | 275456.0704 | 32.55 | 27.7
76690 | 2021-04-07 13:28 | 28.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1935 | μmol/L | 11.5318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132532.8614 | 275459.5837 | 32.55 | 27.7
76699 | 2021-04-07 13:28 | 28.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2175 | μmol/L | 11.5318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132525.8504 | 275451.4655 | 32.55 | 27.7
76708 | 2021-04-07 13:28 | 29.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1935 | μmol/L | 11.5318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132515.9547 | 275434.7258 | 32.55 | 27.7
76717 | 2021-04-07 13:29 | 29.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1611 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132505.2701 | 275420.2925 | 32.55 | 27.7
76726 | 2021-04-07 13:29 | 29.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1611 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132499.0602 | 275436.9002 | 32.55 | 27.7
76735 | 2021-04-07 13:29 | 30.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1851 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132492.9907 | 275422.8475 | 32.55 | 27.7
76744 | 2021-04-07 13:30 | 30.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1527 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132494.9229 | 275417.1739 | 32.55 | 27.7
76753 | 2021-04-07 13:30 | 30.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1132 | μmol/L | 11.5379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132480.935 | 275412.0282 | 32.55 | 27.7
76762 | 2021-04-07 13:30 | 31.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0808 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132478.5195 | 275415.546 | 32.55 | 27.7
76771 | 2021-04-07 13:31 | 31.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0808 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132471.3962 | 275405.0755 | 32.55 | 27.7
76780 | 2021-04-07 13:31 | 31.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0808 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132458.4977 | 275381.2233 | 32.55 | 27.7
76789 | 2021-04-07 13:31 | 32.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1527 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.888 | 132463.4727 | 275386.7941 | 32.55 | 27.7
76798 | 2021-04-07 13:32 | 32.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0568 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132452.9079 | 275378.2445 | 32.55 | 27.7
76807 | 2021-04-07 13:32 | 32.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1767 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132459.1818 | 275391.3579 | 32.55 | 27.7
76816 | 2021-04-07 13:32 | 33.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1048 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132448.9386 | 275375.0704 | 32.55 | 27.7
76825 | 2021-04-07 13:33 | 33.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0004 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132441.978 | 275367.81 | 32.55 | 27.7
76834 | 2021-04-07 13:33 | 33.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0244 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132433.6099 | 275354.4764 | 32.55 | 27.7
76843 | 2021-04-07 13:33 | 34.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0244 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132426.7103 | 275359.1052 | 32.55 | 27.7
76852 | 2021-04-07 13:34 | 34.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9681 | μmol/L | 11.5562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132436.2615 | 275365.5824 | 32.55 | 27.7
76861 | 2021-04-07 13:34 | 34.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0484 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132429.9286 | 275367.8785 | 32.55 | 27.7
76870 | 2021-04-07 13:34 | 35.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0484 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132423.885 | 275355.9765 | 32.55 | 27.7
76879 | 2021-04-07 13:35 | 35.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0484 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132422.3744 | 275347.5371 | 32.55 | 27.7
76888 | 2021-04-07 13:35 | 35.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9921 | μmol/L | 11.5562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132421.5764 | 275336.1052 | 32.55 | 27.7
76897 | 2021-04-07 13:35 | 36.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9357 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132417.1707 | 275348.0247 | 32.55 | 27.7
76906 | 2021-04-07 13:36 | 36.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9921 | μmol/L | 11.5562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132409.9663 | 275343.5503 | 32.55 | 27.7
76915 | 2021-04-07 13:36 | 36.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9357 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132403.6625 | 275330.4241 | 32.55 | 27.7
76924 | 2021-04-07 13:36 | 37.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8638 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.893 | 132402.2526 | 275352.0065 | 32.55 | 27.7
76933 | 2021-04-07 13:37 | 37.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0077 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 132403.0556 | 275337.7665 | 32.55 | 27.7
76942 | 2021-04-07 13:37 | 37.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8399 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.894 | 132394.0959 | 275322.2119 | 32.55 | 27.7
76951 | 2021-04-07 13:37 | 38.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8878 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132388.9129 | 275321.6334 | 32.55 | 27.7
76960 | 2021-04-07 13:38 | 38.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8878 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.892 | 132391.7974 | 275329.9906 | 32.55 | 27.7
76969 | 2021-04-07 13:38 | 38.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9357 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132373.375 | 275317.4674 | 32.55 | 27.7
76978 | 2021-04-07 13:38 | 39.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8075 | μmol/L | 11.5684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.893 | 132374.196 | 275316.7154 | 32.55 | 27.7
76987 | 2021-04-07 13:39 | 39.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9597 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132365.8816 | 275291.9523 | 32.55 | 27.7
76996 | 2021-04-07 13:39 | 39.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9118 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132370.9609 | 275314.7642 | 32.55 | 27.7
77005 | 2021-04-07 13:39 | 40.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9597 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 132359.0552 | 275299.0818 | 32.55 | 27.7
77014 | 2021-04-07 13:40 | 40.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8554 | μmol/L | 11.5684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 132363.2317 | 275297.9675 | 32.55 | 27.7
77023 | 2021-04-07 13:40 | 40.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9357 | μmol/L | 11.5623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 132360.3148 | 275287.935 | 32.55 | 27.7