## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 15:51

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
77032 | 2021-04-07 14:39 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8029 | μmol/L | 11.3383 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138376.2552 | 305550.5534 | 59.9307 | 38.1
77041 | 2021-04-07 14:40 | 0.32678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9066 | μmol/L | 11.3322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138363.5436 | 305564.5446 | 59.9307 | 38.1
77050 | 2021-04-07 14:40 | 0.65989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8509 | μmol/L | 11.3383 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138360.0701 | 305554.5858 | 59.9307 | 38.1
77059 | 2021-04-07 14:40 | 0.99284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7952 | μmol/L | 11.3444 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138345.3008 | 305541.3136 | 59.9307 | 38.1
77068 | 2021-04-07 14:41 | 1.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8269 | μmol/L | 11.3383 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 138337.3617 | 305522.4753 | 59.9307 | 38.1
77077 | 2021-04-07 14:41 | 1.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8749 | μmol/L | 11.3383 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.949 | 138326.996 | 305518.0021 | 59.9307 | 38.1
77086 | 2021-04-07 14:41 | 1.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7155 | μmol/L | 11.3505 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 138322.8973 | 305503.4395 | 59.9307 | 38.1
77095 | 2021-04-07 14:42 | 2.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6915 | μmol/L | 11.3505 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138322.901 | 305500.9239 | 59.9307 | 38.1
77104 | 2021-04-07 14:42 | 2.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6521 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.949 | 138320.4558 | 305497.1164 | 59.9307 | 38.1
77113 | 2021-04-07 14:42 | 2.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6761 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 138308.0403 | 305500.3349 | 59.9307 | 38.1
77122 | 2021-04-07 14:43 | 3.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5802 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138301.9194 | 305479.9848 | 59.9307 | 38.1
77131 | 2021-04-07 14:43 | 3.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6281 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138304.5228 | 305470.8344 | 59.9307 | 38.1
77140 | 2021-04-07 14:43 | 3.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5323 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.954 | 138300.9884 | 305462.7941 | 59.9307 | 38.1
77149 | 2021-04-07 14:44 | 4.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.6281 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138299.8413 | 305453.0863 | 59.9307 | 38.1
77158 | 2021-04-07 14:44 | 4.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5802 | μmol/L | 11.3627 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138303.5454 | 305413.9229 | 59.9307 | 38.1
77167 | 2021-04-07 14:44 | 4.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4929 | μmol/L | 11.3749 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 138306.8915 | 305436.9032 | 59.9307 | 38.1
77176 | 2021-04-07 14:45 | 5.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.5246 | μmol/L | 11.3688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138303.8891 | 305407.606 | 59.9307 | 38.1
77185 | 2021-04-07 14:45 | 5.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3731 | μmol/L | 11.3749 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138294.4898 | 305417.977 | 59.9307 | 38.1
77194 | 2021-04-07 14:45 | 5.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3971 | μmol/L | 11.3749 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138287.8303 | 305397.0924 | 59.9307 | 38.1
77203 | 2021-04-07 14:46 | 6.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2458 | μmol/L | 11.381 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.959 | 138299.0849 | 305407.4851 | 59.9307 | 38.1
77212 | 2021-04-07 14:46 | 6.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.238 | μmol/L | 11.3871 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.957 | 138290.9617 | 305391.2866 | 59.9307 | 38.1
77221 | 2021-04-07 14:46 | 6.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2141 | μmol/L | 11.3871 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.958 | 138296.9179 | 305390.1084 | 59.9307 | 38.1
77230 | 2021-04-07 14:47 | 7.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2303 | μmol/L | 11.3932 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138300.6547 | 305378.9626 | 59.9307 | 38.1
77239 | 2021-04-07 14:47 | 7.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1902 | μmol/L | 11.3871 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.959 | 138291.9184 | 305381.8726 | 59.9307 | 38.1
77248 | 2021-04-07 14:47 | 7.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2859 | μmol/L | 11.3871 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138283.6158 | 305364.7795 | 59.9307 | 38.1
77257 | 2021-04-07 14:48 | 8.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1509 | μmol/L | 11.3993 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138278.4972 | 305356.1413 | 59.9307 | 38.1
77266 | 2021-04-07 14:48 | 8.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1825 | μmol/L | 11.3932 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.957 | 138268.9159 | 305368.8303 | 59.9307 | 38.1
77275 | 2021-04-07 14:48 | 8.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0714 | μmol/L | 11.4053 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.957 | 138272.1902 | 305352.6725 | 59.9307 | 38.1
77284 | 2021-04-07 14:49 | 9.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0791 | μmol/L | 11.3993 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.959 | 138275.4396 | 305340.1577 | 59.9307 | 38.1
77293 | 2021-04-07 14:49 | 9.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1432 | μmol/L | 11.4053 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.954 | 138263.2164 | 305323.2267 | 59.9307 | 38.1
77302 | 2021-04-07 14:49 | 9.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0791 | μmol/L | 11.3993 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.959 | 138270.1805 | 305337.878 | 59.9307 | 38.1
77311 | 2021-04-07 14:50 | 10.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0714 | μmol/L | 11.4053 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.957 | 138262.1726 | 305335.7141 | 59.9307 | 38.1
77320 | 2021-04-07 14:50 | 10.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9997 | μmol/L | 11.4053 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.96 | 138257.9869 | 305319.161 | 59.9307 | 38.1
77329 | 2021-04-07 14:50 | 10.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9997 | μmol/L | 11.4053 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.96 | 138257.8783 | 305326.3651 | 59.9307 | 38.1
77338 | 2021-04-07 14:51 | 11.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.992 | μmol/L | 11.4114 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.958 | 138244.7196 | 305298.5401 | 59.9307 | 38.1
77347 | 2021-04-07 14:51 | 11.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0322 | μmol/L | 11.4175 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.954 | 138233.0676 | 305290.8995 | 59.9307 | 38.1
77356 | 2021-04-07 14:51 | 11.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9843 | μmol/L | 11.4175 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138226.118 | 305297.2244 | 59.9307 | 38.1
77365 | 2021-04-07 14:52 | 12.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9289 | μmol/L | 11.4236 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138221.0722 | 305301.1538 | 59.9307 | 38.1
77374 | 2021-04-07 14:52 | 12.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8973 | μmol/L | 11.4297 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138215.6256 | 305291.1485 | 59.9307 | 38.1
77383 | 2021-04-07 14:52 | 12.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9528 | μmol/L | 11.4236 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138201.1989 | 305287.3155 | 59.9307 | 38.1
77392 | 2021-04-07 14:53 | 13.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9528 | μmol/L | 11.4236 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138192.1456 | 305285.0195 | 59.9307 | 38.1
77401 | 2021-04-07 14:53 | 13.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0006 | μmol/L | 11.4236 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.953 | 138190.1956 | 305276.2211 | 59.9307 | 38.1
77410 | 2021-04-07 14:53 | 13.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.969 | μmol/L | 11.4297 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138179.5121 | 305273.6374 | 59.9307 | 38.1
77419 | 2021-04-07 14:54 | 14.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9135 | μmol/L | 11.4358 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138178.5941 | 305278.4064 | 59.9307 | 38.1
77428 | 2021-04-07 14:54 | 14.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0647 | μmol/L | 11.4297 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 138160.9083 | 305273.9867 | 59.9307 | 38.1
77437 | 2021-04-07 14:54 | 14.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9776 | μmol/L | 11.4419 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 138148.3113 | 305265.7745 | 59.9307 | 38.1
77446 | 2021-04-07 14:55 | 15.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9059 | μmol/L | 11.4419 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138137.5615 | 305264.2696 | 59.9307 | 38.1
77455 | 2021-04-07 14:55 | 15.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0015 | μmol/L | 11.4419 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.946 | 138128.7074 | 305250.8113 | 59.9307 | 38.1
77464 | 2021-04-07 14:55 | 15.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9776 | μmol/L | 11.4419 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 138109.8216 | 305254.384 | 59.9307 | 38.1
77473 | 2021-04-07 14:56 | 16.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0254 | μmol/L | 11.4419 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.945 | 138094.6132 | 305242.2608 | 59.9307 | 38.1
77482 | 2021-04-07 14:56 | 16.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9384 | μmol/L | 11.4541 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 138084.7 | 305238.9192 | 59.9307 | 38.1
77491 | 2021-04-07 14:56 | 16.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0254 | μmol/L | 11.4419 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.945 | 138072.7649 | 305249.6199 | 59.9307 | 38.1
77500 | 2021-04-07 14:57 | 17.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0656 | μmol/L | 11.448 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 138059.7789 | 305236.9566 | 59.9307 | 38.1
77509 | 2021-04-07 14:57 | 17.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9863 | μmol/L | 11.4541 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 138049.3977 | 305212.3699 | 59.9307 | 38.1
77518 | 2021-04-07 14:57 | 17.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.1853 | μmol/L | 11.448 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.936 | 138037.3854 | 305224.7156 | 59.9307 | 38.1
77527 | 2021-04-07 14:58 | 18.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.058 | μmol/L | 11.4541 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 138029.3083 | 305208.0242 | 59.9307 | 38.1
77536 | 2021-04-07 14:58 | 18.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0504 | μmol/L | 11.4602 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 138028.7229 | 305213.9743 | 59.9307 | 38.1
77545 | 2021-04-07 14:58 | 18.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0743 | μmol/L | 11.4602 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.936 | 138020.5046 | 305199.3701 | 59.9307 | 38.1
77554 | 2021-04-07 14:59 | 19.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0189 | μmol/L | 11.4663 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.936 | 138007.366 | 305197.8055 | 59.9307 | 38.1
77563 | 2021-04-07 14:59 | 19.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9949 | μmol/L | 11.4663 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 138017.0611 | 305201.5329 | 59.9307 | 38.1
77572 | 2021-04-07 14:59 | 19.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0026 | μmol/L | 11.4602 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 138022.4007 | 305183.148 | 59.9307 | 38.1
77581 | 2021-04-07 15:00 | 20.3269 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0428 | μmol/L | 11.4663 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.935 | 138017.7544 | 305183.8229 | 59.9307 | 38.1
77590 | 2021-04-07 15:00 | 20.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9949 | μmol/L | 11.4663 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 138020.0386 | 305161.0341 | 59.9307 | 38.1
77599 | 2021-04-07 15:00 | 20.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9232 | μmol/L | 11.4663 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.94 | 138016.716 | 305158.4979 | 59.9307 | 38.1
77608 | 2021-04-07 15:01 | 21.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8439 | μmol/L | 11.4724 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 138015.9246 | 305158.1951 | 59.9307 | 38.1
77617 | 2021-04-07 15:01 | 21.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7646 | μmol/L | 11.4785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 138013.2476 | 305167.0781 | 59.9307 | 38.1
77626 | 2021-04-07 15:01 | 21.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.82 | μmol/L | 11.4724 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 138014.8813 | 305146.439 | 59.9307 | 38.1
77635 | 2021-04-07 15:02 | 22.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7961 | μmol/L | 11.4724 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.943 | 138014.7358 | 305149.0987 | 59.9307 | 38.1
77644 | 2021-04-07 15:02 | 22.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7646 | μmol/L | 11.4785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 138016.9575 | 305151.2239 | 59.9307 | 38.1
77653 | 2021-04-07 15:02 | 22.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.8124 | μmol/L | 11.4785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.94 | 138009.1509 | 305152.6473 | 59.9307 | 38.1
77662 | 2021-04-07 15:03 | 23.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.9156 | μmol/L | 11.4724 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 138007.9034 | 305116.688 | 59.9307 | 38.1
77671 | 2021-04-07 15:03 | 23.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6614 | μmol/L | 11.4846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 138010.3583 | 305125.5641 | 59.9307 | 38.1
77680 | 2021-04-07 15:03 | 23.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.7168 | μmol/L | 11.4785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 138015.6725 | 305112.8237 | 59.9307 | 38.1
77689 | 2021-04-07 15:04 | 24.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5735 | μmol/L | 11.4785 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138019.6349 | 305132.6499 | 59.9307 | 38.1
77698 | 2021-04-07 15:04 | 24.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.5898 | μmol/L | 11.4846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 138035.7677 | 305123.2334 | 59.9307 | 38.1
77707 | 2021-04-07 15:04 | 24.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.6375 | μmol/L | 11.4846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.945 | 138035.2624 | 305099.6932 | 59.9307 | 38.1
77716 | 2021-04-07 15:05 | 25.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4628 | μmol/L | 11.4907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138042.6722 | 305114.6325 | 59.9307 | 38.1
77725 | 2021-04-07 15:05 | 25.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4389 | μmol/L | 11.4907 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 138047.7349 | 305112.6961 | 59.9307 | 38.1
77734 | 2021-04-07 15:05 | 25.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.4075 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 138043.7594 | 305108.7458 | 59.9307 | 38.1
77743 | 2021-04-07 15:06 | 26.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3598 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138048.4641 | 305094.6915 | 59.9307 | 38.1
77752 | 2021-04-07 15:06 | 26.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3359 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.953 | 138044.557 | 305087.3348 | 59.9307 | 38.1
77761 | 2021-04-07 15:06 | 26.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3121 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.954 | 138052.1733 | 305082.3475 | 59.9307 | 38.1
77770 | 2021-04-07 15:07 | 27.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3045 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138037.593 | 305064.6005 | 59.9307 | 38.1
77779 | 2021-04-07 15:07 | 27.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3598 | μmol/L | 11.4967 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 138042.1427 | 305078.7474 | 59.9307 | 38.1
77788 | 2021-04-07 15:07 | 27.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2806 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.953 | 138034.7851 | 305070.2855 | 59.9307 | 38.1
77797 | 2021-04-07 15:08 | 28.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2329 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138034.2154 | 305066.6607 | 59.9307 | 38.1
77806 | 2021-04-07 15:08 | 28.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2254 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.953 | 138030.3898 | 305051.5707 | 59.9307 | 38.1
77815 | 2021-04-07 15:08 | 28.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1538 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138035.3549 | 305054.5168 | 59.9307 | 38.1
77824 | 2021-04-07 15:09 | 29.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1777 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138035.8505 | 305048.9756 | 59.9307 | 38.1
77833 | 2021-04-07 15:09 | 29.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1777 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138030.4248 | 305037.2487 | 59.9307 | 38.1
77842 | 2021-04-07 15:09 | 29.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2329 | μmol/L | 11.5028 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 138037.8819 | 305054.0229 | 59.9307 | 38.1
77851 | 2021-04-07 15:10 | 30.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0748 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.957 | 138031.1261 | 305039.5545 | 59.9307 | 38.1
77860 | 2021-04-07 15:10 | 30.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0748 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.957 | 138040.038 | 305036.2001 | 59.9307 | 38.1
77869 | 2021-04-07 15:10 | 30.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1062 | μmol/L | 11.5089 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.958 | 138042.517 | 305038.4256 | 59.9307 | 38.1
77878 | 2021-04-07 15:11 | 31.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0986 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138035.1345 | 305033.2893 | 59.9307 | 38.1
77887 | 2021-04-07 15:11 | 31.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0033 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.96 | 138040.3813 | 305025.6236 | 59.9307 | 38.1
77896 | 2021-04-07 15:11 | 31.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9557 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.962 | 138045.4865 | 305026.874 | 59.9307 | 38.1
77905 | 2021-04-07 15:12 | 32.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9957 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.958 | 138052.5735 | 305010.7571 | 59.9307 | 38.1
77914 | 2021-04-07 15:12 | 32.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0509 | μmol/L | 11.515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.958 | 138040.7165 | 305009.1325 | 59.9307 | 38.1
77923 | 2021-04-07 15:12 | 32.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9167 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.959 | 138022.6446 | 305006.0368 | 59.9307 | 38.1
77932 | 2021-04-07 15:13 | 33.3269 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0434 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138025.4336 | 305007.7766 | 59.9307 | 38.1
77941 | 2021-04-07 15:13 | 33.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0434 | μmol/L | 11.5211 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 138020.7933 | 305009.9705 | 59.9307 | 38.1
77950 | 2021-04-07 15:13 | 33.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9167 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.959 | 138005.8136 | 305001.408 | 59.9307 | 38.1
77959 | 2021-04-07 15:14 | 34.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9568 | μmol/L | 11.5333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 137995.0246 | 305002.3626 | 59.9307 | 38.1
77968 | 2021-04-07 15:14 | 34.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0358 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.954 | 137990.3438 | 304998.175 | 59.9307 | 38.1
77977 | 2021-04-07 15:14 | 34.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9016 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.955 | 137978.333 | 304992.9444 | 59.9307 | 38.1
77986 | 2021-04-07 15:15 | 35.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1073 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 137967.9553 | 304999.5223 | 59.9307 | 38.1
77995 | 2021-04-07 15:15 | 35.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0521 | μmol/L | 11.5333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 137953.9823 | 304982.6526 | 59.9307 | 38.1
78004 | 2021-04-07 15:15 | 35.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.155 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.949 | 137947.9888 | 304990.6577 | 59.9307 | 38.1
78013 | 2021-04-07 15:16 | 36.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.0521 | μmol/L | 11.5333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 137939.6342 | 304975.0325 | 59.9307 | 38.1
78022 | 2021-04-07 15:16 | 36.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2027 | μmol/L | 11.5272 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 137924.2397 | 304961.9143 | 59.9307 | 38.1
78031 | 2021-04-07 15:16 | 36.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1475 | μmol/L | 11.5333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 137916.2182 | 304968.7836 | 59.9307 | 38.1
78040 | 2021-04-07 15:17 | 37.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1876 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.943 | 137910.8933 | 304955.8429 | 59.9307 | 38.1
78049 | 2021-04-07 15:17 | 37.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1638 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 137897.2337 | 304957.6219 | 59.9307 | 38.1
78058 | 2021-04-07 15:17 | 37.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.283 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 137878.7725 | 304959.9825 | 59.9307 | 38.1
78067 | 2021-04-07 15:18 | 38.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.219 | μmol/L | 11.5333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 137863.035 | 304970.7181 | 59.9307 | 38.1
78076 | 2021-04-07 15:18 | 38.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2755 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 137856.6384 | 304954.6808 | 59.9307 | 38.1
78085 | 2021-04-07 15:18 | 38.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3546 | μmol/L | 11.5394 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.936 | 137841.8972 | 304953.7309 | 59.9307 | 38.1
78094 | 2021-04-07 15:19 | 39.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2516 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 137827.8261 | 304942.0654 | 59.9307 | 38.1
78103 | 2021-04-07 15:19 | 39.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2755 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.937 | 137821.2708 | 304949.5696 | 59.9307 | 38.1
78112 | 2021-04-07 15:19 | 39.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3471 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.934 | 137818.4511 | 304949.936 | 59.9307 | 38.1
78121 | 2021-04-07 15:20 | 40.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2918 | μmol/L | 11.5516 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.934 | 137813.1903 | 304933.5847 | 59.9307 | 38.1
78130 | 2021-04-07 15:20 | 40.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.3232 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.935 | 137819.1733 | 304925.7675 | 59.9307 | 38.1
78139 | 2021-04-07 15:20 | 40.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.2039 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.94 | 137820.5625 | 304923.4338 | 59.9307 | 38.1
78148 | 2021-04-07 15:21 | 41.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1725 | μmol/L | 11.5516 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.939 | 137837.6307 | 304916.8341 | 59.9307 | 38.1
78157 | 2021-04-07 15:21 | 41.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1487 | μmol/L | 11.5516 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.94 | 137826.0093 | 304905.7602 | 59.9307 | 38.1
78166 | 2021-04-07 15:21 | 41.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1412 | μmol/L | 11.5577 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.938 | 137838.0758 | 304904.5087 | 59.9307 | 38.1
78175 | 2021-04-07 15:22 | 42.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1085 | μmol/L | 11.5455 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 137840.2231 | 304891.7425 | 59.9307 | 38.1
78184 | 2021-04-07 15:22 | 42.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.022 | μmol/L | 11.5577 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.943 | 137850.5089 | 304907.6414 | 59.9307 | 38.1
78193 | 2021-04-07 15:22 | 42.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 279.1249 | μmol/L | 11.5516 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 137853.848 | 304884.2682 | 59.9307 | 38.1
78202 | 2021-04-07 15:23 | 43.3269 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9192 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.945 | 137868.9456 | 304901.1896 | 59.9307 | 38.1
78211 | 2021-04-07 15:23 | 43.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9505 | μmol/L | 11.5577 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.946 | 137865.6672 | 304885.2883 | 59.9307 | 38.1
78220 | 2021-04-07 15:23 | 43.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.9029 | μmol/L | 11.5577 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137860.529 | 304880.6001 | 59.9307 | 38.1
78229 | 2021-04-07 15:24 | 44.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8715 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 137875.5984 | 304886.0279 | 59.9307 | 38.1
78238 | 2021-04-07 15:24 | 44.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8715 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.947 | 137872.9724 | 304878.4582 | 59.9307 | 38.1
78247 | 2021-04-07 15:24 | 44.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.745 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 137871.1734 | 304883.1427 | 59.9307 | 38.1
78256 | 2021-04-07 15:25 | 45.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8477 | μmol/L | 11.5638 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137869.1345 | 304861.8937 | 59.9307 | 38.1
78265 | 2021-04-07 15:25 | 45.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.745 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 137880.2534 | 304886.3361 | 59.9307 | 38.1
78274 | 2021-04-07 15:25 | 45.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7688 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.949 | 137867.5442 | 304876.6436 | 59.9307 | 38.1
78283 | 2021-04-07 15:26 | 46.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7212 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.951 | 137866.6804 | 304852.812 | 59.9307 | 38.1
78292 | 2021-04-07 15:26 | 46.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6423 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 137859.8238 | 304849.0489 | 59.9307 | 38.1
78301 | 2021-04-07 15:26 | 46.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7926 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137859.5142 | 304866.911 | 59.9307 | 38.1
78310 | 2021-04-07 15:27 | 47.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8089 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.945 | 137854.0161 | 304855.0807 | 59.9307 | 38.1
78319 | 2021-04-07 15:27 | 47.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7375 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137846.6484 | 304863.4333 | 59.9307 | 38.1
78328 | 2021-04-07 15:27 | 47.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7926 | μmol/L | 11.5699 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137832.9373 | 304842.2888 | 59.9307 | 38.1
78337 | 2021-04-07 15:28 | 48.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7851 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.946 | 137831.944 | 304862.5801 | 59.9307 | 38.1
78346 | 2021-04-07 15:28 | 48.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8803 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 137821.1037 | 304856.7601 | 59.9307 | 38.1
78355 | 2021-04-07 15:28 | 48.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8565 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.943 | 137814.7546 | 304843.3619 | 59.9307 | 38.1
78364 | 2021-04-07 15:29 | 49.3269 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8565 | μmol/L | 11.576 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.943 | 137802.389 | 304849.374 | 59.9307 | 38.1
78373 | 2021-04-07 15:29 | 49.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8014 | μmol/L | 11.5821 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.943 | 137800.7047 | 304843.1823 | 59.9307 | 38.1
78382 | 2021-04-07 15:29 | 49.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.849 | μmol/L | 11.5821 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.941 | 137787.7298 | 304833.7676 | 59.9307 | 38.1
78391 | 2021-04-07 15:30 | 50.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7701 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 137780.796 | 304832.7881 | 59.9307 | 38.1
78400 | 2021-04-07 15:30 | 50.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7701 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 137775.895 | 304823.1025 | 59.9307 | 38.1
78409 | 2021-04-07 15:30 | 50.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8252 | μmol/L | 11.5821 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 137782.6655 | 304828.5961 | 59.9307 | 38.1
78418 | 2021-04-07 15:31 | 51.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.8252 | μmol/L | 11.5821 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.942 | 137792.2433 | 304822.9317 | 59.9307 | 38.1
78427 | 2021-04-07 15:31 | 51.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6749 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.946 | 137789.3918 | 304820.1639 | 59.9307 | 38.1
78436 | 2021-04-07 15:31 | 51.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6987 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.945 | 137789.8153 | 304816.3304 | 59.9307 | 38.1
78445 | 2021-04-07 15:32 | 52.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6273 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137789.313 | 304811.2501 | 59.9307 | 38.1
78454 | 2021-04-07 15:32 | 52.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.7225 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.944 | 137795.8457 | 304809.8331 | 59.9307 | 38.1
78463 | 2021-04-07 15:32 | 52.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6273 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137805.0053 | 304821.5047 | 59.9307 | 38.1
78472 | 2021-04-07 15:33 | 53.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6035 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.949 | 137814.3776 | 304820.6715 | 59.9307 | 38.1
78481 | 2021-04-07 15:33 | 53.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.5246 | μmol/L | 11.5942 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 137812.4883 | 304807.7114 | 59.9307 | 38.1
78490 | 2021-04-07 15:33 | 53.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6749 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.946 | 137816.0167 | 304797.5617 | 59.9307 | 38.1
78499 | 2021-04-07 15:34 | 54.3269 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.6273 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.948 | 137828.141 | 304807.5795 | 59.9307 | 38.1
78508 | 2021-04-07 15:34 | 54.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.4771 | μmol/L | 11.5942 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 137830.3371 | 304805.9501 | 59.9307 | 38.1
78517 | 2021-04-07 15:34 | 54.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.4771 | μmol/L | 11.5942 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 137820.1537 | 304786.2995 | 59.9307 | 38.1
78526 | 2021-04-07 15:35 | 55.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.5246 | μmol/L | 11.5942 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 137824.9455 | 304796.8779 | 59.9307 | 38.1
78535 | 2021-04-07 15:35 | 55.6603 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.5246 | μmol/L | 11.5942 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.95 | 137820.4273 | 304799.9906 | 59.9307 | 38.1
78544 | 2021-04-07 15:35 | 55.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.3983 | μmol/L | 11.6003 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.953 | 137825.3597 | 304784.4343 | 59.9307 | 38.1
78553 | 2021-04-07 15:36 | 56.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.3195 | μmol/L | 11.6064 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.954 | 137818.1135 | 304780.7805 | 59.9307 | 38.1
78562 | 2021-04-07 15:36 | 56.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.5321 | μmol/L | 11.5881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 137829.2194 | 304790.0893 | 59.9307 | 38.1
78571 | 2021-04-07 15:36 | 56.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.3269 | μmol/L | 11.6003 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.956 | 137820.4945 | 304770.2052 | 59.9307 | 38.1
78580 | 2021-04-07 15:37 | 57.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.422 | μmol/L | 11.6003 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.952 | 137825.4295 | 304786.8067 | 59.9307 | 38.1
78589 | 2021-04-07 15:37 | 57.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 278.3706 | μmol/L | 11.6003 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.954 | 137823.8691 | 304778.8628 | 59.9307 | 38.1