## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 15:51

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
77033 | 2021-04-07 14:39 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3242 | μmol/L | 11.362 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112782.5506 | 219768.7353 | 27.3 | 43.4
77042 | 2021-04-07 14:40 | 0.32679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3139 | μmol/L | 11.3681 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112789.0842 | 219777.9238 | 27.3 | 43.4
77051 | 2021-04-07 14:40 | 0.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2867 | μmol/L | 11.3681 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.134 | 112774.0376 | 219773.4975 | 27.3 | 43.4
77060 | 2021-04-07 14:40 | 0.99295 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.331 | μmol/L | 11.3742 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112745.347 | 219768.4639 | 27.3 | 43.4
77069 | 2021-04-07 14:41 | 1.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.331 | μmol/L | 11.3742 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112721.4185 | 219770.2188 | 27.3 | 43.4
77078 | 2021-04-07 14:41 | 1.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3208 | μmol/L | 11.3803 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.128 | 112714.1201 | 219766.2719 | 27.3 | 43.4
77087 | 2021-04-07 14:41 | 1.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.4298 | μmol/L | 11.3803 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112696.5095 | 219753.3194 | 27.3 | 43.4
77096 | 2021-04-07 14:42 | 2.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.4673 | μmol/L | 11.3742 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112675.6808 | 219741.1757 | 27.3 | 43.4
77105 | 2021-04-07 14:42 | 2.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3208 | μmol/L | 11.3803 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.128 | 112660.3367 | 219749.1451 | 27.3 | 43.4
77114 | 2021-04-07 14:42 | 2.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.4196 | μmol/L | 11.3864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.122 | 112642.0655 | 219736.6798 | 27.3 | 43.4
77123 | 2021-04-07 14:43 | 3.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.3651 | μmol/L | 11.3864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112640.4837 | 219740.0939 | 27.3 | 43.4
77132 | 2021-04-07 14:43 | 3.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2731 | μmol/L | 11.3925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112634.5991 | 219727.6395 | 27.3 | 43.4
77141 | 2021-04-07 14:43 | 3.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2561 | μmol/L | 11.3864 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.128 | 112617.3901 | 219726.437 | 27.3 | 43.4
77150 | 2021-04-07 14:44 | 4.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2731 | μmol/L | 11.3925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112618.4915 | 219723.7112 | 27.3 | 43.4
77159 | 2021-04-07 14:44 | 4.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1642 | μmol/L | 11.3925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.129 | 112612.8008 | 219710.4175 | 27.3 | 43.4
77168 | 2021-04-07 14:44 | 4.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2357 | μmol/L | 11.3986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112589.3224 | 219713.2429 | 27.3 | 43.4
77177 | 2021-04-07 14:45 | 5.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1438 | μmol/L | 11.4047 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112590.8827 | 219711.0197 | 27.3 | 43.4
77186 | 2021-04-07 14:45 | 5.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1711 | μmol/L | 11.4047 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112580.3504 | 219711.0782 | 27.3 | 43.4
77195 | 2021-04-07 14:45 | 5.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1337 | μmol/L | 11.4108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112579.5095 | 219686.0635 | 27.3 | 43.4
77204 | 2021-04-07 14:46 | 6.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1983 | μmol/L | 11.4047 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112565.7185 | 219689.2449 | 27.3 | 43.4
77213 | 2021-04-07 14:46 | 6.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.2426 | μmol/L | 11.4108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112551.6235 | 219681.0666 | 27.3 | 43.4
77222 | 2021-04-07 14:46 | 6.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.069 | μmol/L | 11.4169 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112545.6392 | 219682.51 | 27.3 | 43.4
77231 | 2021-04-07 14:47 | 7.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1507 | μmol/L | 11.4169 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.12 | 112539.4727 | 219667.1052 | 27.3 | 43.4
77240 | 2021-04-07 14:47 | 7.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0418 | μmol/L | 11.4169 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112537.1799 | 219669.1824 | 27.3 | 43.4
77249 | 2021-04-07 14:47 | 7.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1064 | μmol/L | 11.4108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112536.9582 | 219661.2217 | 27.3 | 43.4
77258 | 2021-04-07 14:48 | 8.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.069 | μmol/L | 11.4169 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112514.4364 | 219661.3004 | 27.3 | 43.4
77267 | 2021-04-07 14:48 | 8.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1406 | μmol/L | 11.423 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.118 | 112504.0647 | 219660.7451 | 27.3 | 43.4
77276 | 2021-04-07 14:48 | 8.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0317 | μmol/L | 11.423 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.122 | 112499.0987 | 219666.0543 | 27.3 | 43.4
77285 | 2021-04-07 14:49 | 9.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.1305 | μmol/L | 11.4291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.116 | 112494.7563 | 219653.0841 | 27.3 | 43.4
77294 | 2021-04-07 14:49 | 9.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.076 | μmol/L | 11.4291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.118 | 112485.8279 | 219654.2135 | 27.3 | 43.4
77303 | 2021-04-07 14:49 | 9.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9842 | μmol/L | 11.4352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112481.1972 | 219654.4527 | 27.3 | 43.4
77312 | 2021-04-07 14:50 | 10.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8753 | μmol/L | 11.4352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112475.9615 | 219650.6149 | 27.3 | 43.4
77321 | 2021-04-07 14:50 | 10.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0487 | μmol/L | 11.4291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112470.4613 | 219638.0754 | 27.3 | 43.4
77330 | 2021-04-07 14:50 | 10.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 319.0215 | μmol/L | 11.4291 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.12 | 112479.1763 | 219647.4112 | 27.3 | 43.4
77339 | 2021-04-07 14:51 | 11.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9297 | μmol/L | 11.4352 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.121 | 112481.6569 | 219641.465 | 27.3 | 43.4
77348 | 2021-04-07 14:51 | 11.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8006 | μmol/L | 11.4474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.121 | 112472.217 | 219632.2724 | 27.3 | 43.4
77357 | 2021-04-07 14:51 | 11.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9196 | μmol/L | 11.4413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112470.1813 | 219634.0166 | 27.3 | 43.4
77366 | 2021-04-07 14:52 | 12.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8107 | μmol/L | 11.4413 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112469.7844 | 219620.5723 | 27.3 | 43.4
77375 | 2021-04-07 14:52 | 12.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.719 | μmol/L | 11.4474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112480.599 | 219621.5149 | 27.3 | 43.4
77384 | 2021-04-07 14:52 | 12.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.5831 | μmol/L | 11.4474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.129 | 112473.6116 | 219609.6344 | 27.3 | 43.4
77393 | 2021-04-07 14:53 | 13.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.5729 | μmol/L | 11.4534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.127 | 112464.5201 | 219620.6833 | 27.3 | 43.4
77402 | 2021-04-07 14:53 | 13.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.719 | μmol/L | 11.4474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112462.0926 | 219614.3872 | 27.3 | 43.4
77411 | 2021-04-07 14:53 | 13.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7734 | μmol/L | 11.4474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.122 | 112464.8147 | 219615.7452 | 27.3 | 43.4
77420 | 2021-04-07 14:54 | 14.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6273 | μmol/L | 11.4534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.125 | 112461.0192 | 219618.0322 | 27.3 | 43.4
77429 | 2021-04-07 14:54 | 14.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7462 | μmol/L | 11.4474 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112438.1854 | 219601.3494 | 27.3 | 43.4
77438 | 2021-04-07 14:54 | 14.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6716 | μmol/L | 11.4595 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.121 | 112428.3472 | 219598.2416 | 27.3 | 43.4
77447 | 2021-04-07 14:55 | 15.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7159 | μmol/L | 11.4656 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.117 | 112429.1345 | 219605.4321 | 27.3 | 43.4
77456 | 2021-04-07 14:55 | 15.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6615 | μmol/L | 11.4656 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112419.3005 | 219592.1716 | 27.3 | 43.4
77465 | 2021-04-07 14:55 | 15.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6615 | μmol/L | 11.4656 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112409.0782 | 219595.1124 | 27.3 | 43.4
77474 | 2021-04-07 14:56 | 16.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.9538 | μmol/L | 11.4534 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.113 | 112402.4912 | 219595.0221 | 27.3 | 43.4
77483 | 2021-04-07 14:56 | 16.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6887 | μmol/L | 11.4656 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.118 | 112389.9957 | 219585.1818 | 27.3 | 43.4
77492 | 2021-04-07 14:56 | 16.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.8621 | μmol/L | 11.4595 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.114 | 112382.7737 | 219585.6502 | 27.3 | 43.4
77501 | 2021-04-07 14:57 | 17.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.7331 | μmol/L | 11.4717 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.114 | 112386.332 | 219599.1732 | 27.3 | 43.4
77510 | 2021-04-07 14:57 | 17.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.5326 | μmol/L | 11.4778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112385.1716 | 219581.672 | 27.3 | 43.4
77519 | 2021-04-07 14:57 | 17.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6514 | μmol/L | 11.4717 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.117 | 112383.6283 | 219582.4495 | 27.3 | 43.4
77528 | 2021-04-07 14:58 | 18.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.6514 | μmol/L | 11.4717 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.117 | 112382.489 | 219569.753 | 27.3 | 43.4
77537 | 2021-04-07 14:58 | 18.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.5971 | μmol/L | 11.4717 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.119 | 112386.1088 | 219560.9782 | 27.3 | 43.4
77546 | 2021-04-07 14:58 | 18.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.5598 | μmol/L | 11.4778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.118 | 112389.2107 | 219558.8984 | 27.3 | 43.4
77555 | 2021-04-07 14:59 | 19.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.4239 | μmol/L | 11.4778 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.123 | 112396.3668 | 219561.1931 | 27.3 | 43.4
77564 | 2021-04-07 14:59 | 19.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.3323 | μmol/L | 11.4839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.124 | 112396.8477 | 219553.5277 | 27.3 | 43.4
77573 | 2021-04-07 14:59 | 19.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.1864 | μmol/L | 11.49 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.127 | 112404.6998 | 219562.3677 | 27.3 | 43.4
77582 | 2021-04-07 15:00 | 20.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.1693 | μmol/L | 11.4839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112414.2465 | 219551.4923 | 27.3 | 43.4
77591 | 2021-04-07 15:00 | 20.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.1321 | μmol/L | 11.49 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.129 | 112428.9957 | 219543.3715 | 27.3 | 43.4
77600 | 2021-04-07 15:00 | 20.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.1693 | μmol/L | 11.4839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112426.8103 | 219551.2887 | 27.3 | 43.4
77609 | 2021-04-07 15:01 | 21.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.0236 | μmol/L | 11.49 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112426.6882 | 219552.3579 | 27.3 | 43.4
77618 | 2021-04-07 15:01 | 21.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.905 | μmol/L | 11.4961 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112432.0052 | 219536.0248 | 27.3 | 43.4
77627 | 2021-04-07 15:01 | 21.9934 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.905 | μmol/L | 11.4961 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112434.7034 | 219519.6893 | 27.3 | 43.4
77636 | 2021-04-07 15:02 | 22.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.9693 | μmol/L | 11.49 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112438.7597 | 219536.2336 | 27.3 | 43.4
77645 | 2021-04-07 15:02 | 22.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.9864 | μmol/L | 11.4961 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.132 | 112437.7203 | 219525.2108 | 27.3 | 43.4
77654 | 2021-04-07 15:02 | 22.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.105 | μmol/L | 11.49 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112428.4488 | 219522.3562 | 27.3 | 43.4
77663 | 2021-04-07 15:03 | 23.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 318.0236 | μmol/L | 11.49 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112426.3261 | 219522.6471 | 27.3 | 43.4
77672 | 2021-04-07 15:03 | 23.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.9763 | μmol/L | 11.5022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112414.4663 | 219518.7862 | 27.3 | 43.4
77681 | 2021-04-07 15:03 | 23.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.8407 | μmol/L | 11.5022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112406.5925 | 219516.1513 | 27.3 | 43.4
77690 | 2021-04-07 15:04 | 24.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.9763 | μmol/L | 11.5022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112397.4149 | 219514.9003 | 27.3 | 43.4
77699 | 2021-04-07 15:04 | 24.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.9492 | μmol/L | 11.5022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112389.6548 | 219504.075 | 27.3 | 43.4
77708 | 2021-04-07 15:04 | 24.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.8578 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.132 | 112397.4996 | 219494.5035 | 27.3 | 43.4
77717 | 2021-04-07 15:05 | 25.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.8307 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112378.4588 | 219501.3551 | 27.3 | 43.4
77726 | 2021-04-07 15:05 | 25.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.9392 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.129 | 112374.4776 | 219493.5498 | 27.3 | 43.4
77735 | 2021-04-07 15:05 | 25.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.8036 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.134 | 112377.4168 | 219494.5691 | 27.3 | 43.4
77744 | 2021-04-07 15:06 | 26.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7835 | μmol/L | 11.5205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.13 | 112375.9035 | 219485.9613 | 27.3 | 43.4
77753 | 2021-04-07 15:06 | 26.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.8206 | μmol/L | 11.5144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112376.8555 | 219488.274 | 27.3 | 43.4
77762 | 2021-04-07 15:06 | 26.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.8578 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.132 | 112370.576 | 219486.3802 | 27.3 | 43.4
77771 | 2021-04-07 15:07 | 27.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7764 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112376.5882 | 219483.2279 | 27.3 | 43.4
77780 | 2021-04-07 15:07 | 27.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7764 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112377.9896 | 219475.4846 | 27.3 | 43.4
77789 | 2021-04-07 15:07 | 27.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7222 | μmol/L | 11.5083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.137 | 112376.5842 | 219475.8888 | 27.3 | 43.4
77798 | 2021-04-07 15:08 | 28.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7122 | μmol/L | 11.5144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112377.7967 | 219478.4561 | 27.3 | 43.4
77807 | 2021-04-07 15:08 | 28.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6851 | μmol/L | 11.5144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112386.4861 | 219470.683 | 27.3 | 43.4
77816 | 2021-04-07 15:08 | 28.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7022 | μmol/L | 11.5205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112385.9756 | 219472.7976 | 27.3 | 43.4
77825 | 2021-04-07 15:09 | 29.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.7935 | μmol/L | 11.5144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.132 | 112378.8111 | 219458.9308 | 27.3 | 43.4
77834 | 2021-04-07 15:09 | 29.6598 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6108 | μmol/L | 11.5266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.134 | 112377.8861 | 219468.7914 | 27.3 | 43.4
77843 | 2021-04-07 15:09 | 29.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.5025 | μmol/L | 11.5266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.138 | 112378.9374 | 219463.7312 | 27.3 | 43.4
77852 | 2021-04-07 15:10 | 30.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.4483 | μmol/L | 11.5266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.14 | 112378.8489 | 219466.8226 | 27.3 | 43.4
77861 | 2021-04-07 15:10 | 30.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.5667 | μmol/L | 11.5205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.138 | 112370.0192 | 219460.7195 | 27.3 | 43.4
77870 | 2021-04-07 15:10 | 30.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.4925 | μmol/L | 11.5327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112359.7634 | 219467.7869 | 27.3 | 43.4
77879 | 2021-04-07 15:11 | 31.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.4925 | μmol/L | 11.5327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.136 | 112356.8217 | 219454.4174 | 27.3 | 43.4
77888 | 2021-04-07 15:11 | 31.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6379 | μmol/L | 11.5266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.133 | 112350.6853 | 219452.1993 | 27.3 | 43.4
77897 | 2021-04-07 15:11 | 31.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.4825 | μmol/L | 11.5388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.134 | 112342.0934 | 219455.9135 | 27.3 | 43.4
77906 | 2021-04-07 15:12 | 32.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6279 | μmol/L | 11.5327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112336.2976 | 219452.9887 | 27.3 | 43.4
77915 | 2021-04-07 15:12 | 32.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6008 | μmol/L | 11.5327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.132 | 112330.9187 | 219445.4843 | 27.3 | 43.4
77924 | 2021-04-07 15:12 | 32.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6279 | μmol/L | 11.5327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112315.1334 | 219449.6825 | 27.3 | 43.4
77933 | 2021-04-07 15:13 | 33.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6179 | μmol/L | 11.5388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.129 | 112328.7893 | 219451.8361 | 27.3 | 43.4
77942 | 2021-04-07 15:13 | 33.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.4996 | μmol/L | 11.5449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112330.1576 | 219434.217 | 27.3 | 43.4
77951 | 2021-04-07 15:13 | 33.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.5637 | μmol/L | 11.5388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112320.7473 | 219440.6715 | 27.3 | 43.4
77960 | 2021-04-07 15:14 | 34.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.6279 | μmol/L | 11.5327 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.131 | 112334.0245 | 219429.7799 | 27.3 | 43.4
77969 | 2021-04-07 15:14 | 34.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.3912 | μmol/L | 11.5449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.135 | 112347.6117 | 219430.3287 | 27.3 | 43.4
77978 | 2021-04-07 15:14 | 34.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.3471 | μmol/L | 11.5388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.139 | 112357.7003 | 219435.488 | 27.3 | 43.4
77987 | 2021-04-07 15:15 | 35.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.1747 | μmol/L | 11.5449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.143 | 112364.2746 | 219430.9587 | 27.3 | 43.4
77996 | 2021-04-07 15:15 | 35.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.2659 | μmol/L | 11.5388 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.142 | 112372.8355 | 219432.0479 | 27.3 | 43.4
78005 | 2021-04-07 15:15 | 35.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.0665 | μmol/L | 11.5449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.147 | 112395.8467 | 219424.701 | 27.3 | 43.4
78014 | 2021-04-07 15:16 | 36.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.0565 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.145 | 112407.311 | 219424.9891 | 27.3 | 43.4
78023 | 2021-04-07 15:16 | 36.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 317.0124 | μmol/L | 11.5449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.149 | 112423.298 | 219423.6082 | 27.3 | 43.4
78032 | 2021-04-07 15:16 | 36.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.8232 | μmol/L | 11.5449 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.156 | 112430.4462 | 219421.6206 | 27.3 | 43.4
78041 | 2021-04-07 15:17 | 37.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.7592 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.156 | 112452.8491 | 219420.1078 | 27.3 | 43.4
78050 | 2021-04-07 15:17 | 37.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.6241 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.161 | 112463.9582 | 219407.1604 | 27.3 | 43.4
78059 | 2021-04-07 15:17 | 37.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.5701 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.163 | 112474.0626 | 219411.6392 | 27.3 | 43.4
78068 | 2021-04-07 15:18 | 38.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.5331 | μmol/L | 11.5571 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.162 | 112486.5569 | 219411.764 | 27.3 | 43.4
78077 | 2021-04-07 15:18 | 38.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.4622 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.167 | 112490.1295 | 219415.2927 | 27.3 | 43.4
78086 | 2021-04-07 15:18 | 38.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.3543 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.171 | 112508.6254 | 219408.9209 | 27.3 | 43.4
78095 | 2021-04-07 15:19 | 39.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.2534 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.17 | 112506.7965 | 219407.7199 | 27.3 | 43.4
78104 | 2021-04-07 15:19 | 39.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.2364 | μmol/L | 11.5571 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.173 | 112502.5541 | 219410.6819 | 27.3 | 43.4
78113 | 2021-04-07 15:19 | 39.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1995 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.172 | 112517.7809 | 219406.8281 | 27.3 | 43.4
78122 | 2021-04-07 15:20 | 40.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1995 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.172 | 112522.3463 | 219391.3901 | 27.3 | 43.4
78131 | 2021-04-07 15:20 | 40.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1556 | μmol/L | 11.5571 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.176 | 112530.2517 | 219391.3303 | 27.3 | 43.4
78140 | 2021-04-07 15:20 | 40.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1186 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.175 | 112522.309 | 219391.1862 | 27.3 | 43.4
78149 | 2021-04-07 15:21 | 41.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1186 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.175 | 112529.2366 | 219386.3497 | 27.3 | 43.4
78158 | 2021-04-07 15:21 | 41.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.0817 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.174 | 112530.2853 | 219381.4673 | 27.3 | 43.4
78167 | 2021-04-07 15:21 | 41.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1186 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.175 | 112526.5588 | 219393.0752 | 27.3 | 43.4
78176 | 2021-04-07 15:22 | 42.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1116 | μmol/L | 11.551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.18 | 112526.3326 | 219395.1642 | 27.3 | 43.4
78185 | 2021-04-07 15:22 | 42.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.9739 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.178 | 112523.159 | 219388.0519 | 27.3 | 43.4
78194 | 2021-04-07 15:22 | 42.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.0278 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.176 | 112519.9368 | 219388.5324 | 27.3 | 43.4
78203 | 2021-04-07 15:23 | 43.3269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.1995 | μmol/L | 11.5632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.172 | 112520.8402 | 219377.5859 | 27.3 | 43.4
78212 | 2021-04-07 15:23 | 43.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.964 | μmol/L | 11.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.176 | 112519.797 | 219387.2284 | 27.3 | 43.4
78221 | 2021-04-07 15:23 | 43.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 316.0009 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.177 | 112516.7473 | 219371.9565 | 27.3 | 43.4
78230 | 2021-04-07 15:24 | 44.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8024 | μmol/L | 11.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.182 | 112524.2816 | 219370.8348 | 27.3 | 43.4
78239 | 2021-04-07 15:24 | 44.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.9739 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.178 | 112527.7705 | 219370.5326 | 27.3 | 43.4
78248 | 2021-04-07 15:24 | 44.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8832 | μmol/L | 11.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.179 | 112518.3239 | 219361.3885 | 27.3 | 43.4
78257 | 2021-04-07 15:25 | 45.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.9739 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.178 | 112521.4547 | 219358.6055 | 27.3 | 43.4
78266 | 2021-04-07 15:25 | 45.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8662 | μmol/L | 11.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.182 | 112526.2484 | 219356.2579 | 27.3 | 43.4
78275 | 2021-04-07 15:25 | 45.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7755 | μmol/L | 11.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.183 | 112527.8672 | 219352.8307 | 27.3 | 43.4
78284 | 2021-04-07 15:26 | 46.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8024 | μmol/L | 11.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.182 | 112527.5673 | 219359.0784 | 27.3 | 43.4
78293 | 2021-04-07 15:26 | 46.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.8293 | μmol/L | 11.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.181 | 112529.655 | 219360.105 | 27.3 | 43.4
78302 | 2021-04-07 15:26 | 46.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.7386 | μmol/L | 11.5815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.182 | 112525.3532 | 219344.004 | 27.3 | 43.4
78311 | 2021-04-07 15:27 | 47.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.5942 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.185 | 112534.5407 | 219353.2963 | 27.3 | 43.4
78320 | 2021-04-07 15:27 | 47.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6579 | μmol/L | 11.5815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.185 | 112532.5094 | 219353.2414 | 27.3 | 43.4
78329 | 2021-04-07 15:27 | 47.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.6749 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.182 | 112527.3603 | 219341.2619 | 27.3 | 43.4
78338 | 2021-04-07 15:28 | 48.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4229 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.189 | 112537.5527 | 219331.6734 | 27.3 | 43.4
78347 | 2021-04-07 15:28 | 48.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4866 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.189 | 112541.0079 | 219319.5592 | 27.3 | 43.4
78356 | 2021-04-07 15:28 | 48.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4059 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.192 | 112540.2727 | 219330.9398 | 27.3 | 43.4
78365 | 2021-04-07 15:29 | 49.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4697 | μmol/L | 11.5815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.192 | 112543.3694 | 219328.5927 | 27.3 | 43.4
78374 | 2021-04-07 15:29 | 49.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.5135 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.188 | 112555.7138 | 219333.6215 | 27.3 | 43.4
78383 | 2021-04-07 15:29 | 49.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4328 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.191 | 112563.2259 | 219324.5513 | 27.3 | 43.4
78392 | 2021-04-07 15:30 | 50.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4697 | μmol/L | 11.5815 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.192 | 112554.5556 | 219320.4962 | 27.3 | 43.4
78401 | 2021-04-07 15:30 | 50.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3691 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.191 | 112555.5603 | 219323.8992 | 27.3 | 43.4
78410 | 2021-04-07 15:30 | 50.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3791 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.193 | 112560.6302 | 219322.9195 | 27.3 | 43.4
78419 | 2021-04-07 15:31 | 51.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.5135 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.188 | 112562.9534 | 219332.8181 | 27.3 | 43.4
78428 | 2021-04-07 15:31 | 51.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3791 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.193 | 112555.2028 | 219320.5847 | 27.3 | 43.4
78437 | 2021-04-07 15:31 | 51.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.4059 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.192 | 112550.8037 | 219308.4395 | 27.3 | 43.4
78446 | 2021-04-07 15:32 | 52.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3253 | μmol/L | 11.5876 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.195 | 112550.8821 | 219330.02 | 27.3 | 43.4
78455 | 2021-04-07 15:32 | 52.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2885 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.194 | 112559.0871 | 219311.1448 | 27.3 | 43.4
78464 | 2021-04-07 15:32 | 52.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.3154 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.193 | 112558.6873 | 219317.9561 | 27.3 | 43.4
78473 | 2021-04-07 15:33 | 53.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2348 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.196 | 112562.2376 | 219305.0457 | 27.3 | 43.4
78482 | 2021-04-07 15:33 | 53.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2885 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.194 | 112568.6683 | 219307.1093 | 27.3 | 43.4
78491 | 2021-04-07 15:33 | 53.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.198 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.195 | 112558.8967 | 219300.1456 | 27.3 | 43.4
78500 | 2021-04-07 15:34 | 54.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2517 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.193 | 112561.6635 | 219304.3326 | 27.3 | 43.4
78509 | 2021-04-07 15:34 | 54.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2517 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.193 | 112558.6258 | 219305.2812 | 27.3 | 43.4
78518 | 2021-04-07 15:34 | 54.9933 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1443 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.197 | 112559.7075 | 219293.1399 | 27.3 | 43.4
78527 | 2021-04-07 15:35 | 55.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1443 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.197 | 112551.8616 | 219296.1048 | 27.3 | 43.4
78536 | 2021-04-07 15:35 | 55.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2517 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.193 | 112547.1865 | 219302.4364 | 27.3 | 43.4
78545 | 2021-04-07 15:35 | 55.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.2616 | μmol/L | 11.5937 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.195 | 112550.1969 | 219289.5852 | 27.3 | 43.4
78554 | 2021-04-07 15:36 | 56.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1174 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.198 | 112546.0961 | 219294.7788 | 27.3 | 43.4
78563 | 2021-04-07 15:36 | 56.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.1174 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.198 | 112549.0558 | 219292.0008 | 27.3 | 43.4
78572 | 2021-04-07 15:36 | 56.9934 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.9902 | μmol/L | 11.612 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.198 | 112547.5969 | 219292.5307 | 27.3 | 43.4
78581 | 2021-04-07 15:37 | 57.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0906 | μmol/L | 11.5998 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.199 | 112556.0036 | 219289.6874 | 27.3 | 43.4
78590 | 2021-04-07 15:37 | 57.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 315.0538 | μmol/L | 11.6059 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.198 | 112553.9484 | 219287.5598 | 27.3 | 43.4