## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 15:51

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
77034 | 2021-04-07 14:39 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6983 | μmol/L | 11.3669 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.156 | 107647.891 | 303430.3871 | 28.7 | 67.6
77043 | 2021-04-07 14:40 | 0.32982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6672 | μmol/L | 11.3729 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.155 | 107653.6319 | 303438.6841 | 28.7 | 67.6
77052 | 2021-04-07 14:40 | 0.66343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6672 | μmol/L | 11.3729 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.155 | 107630.9364 | 303441.8178 | 28.7 | 67.6
77061 | 2021-04-07 14:40 | 0.99641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6595 | μmol/L | 11.379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.153 | 107618.6769 | 303439.323 | 28.7 | 67.6
77070 | 2021-04-07 14:41 | 1.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.7613 | μmol/L | 11.3729 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.151 | 107607.2548 | 303427.9385 | 28.7 | 67.6
77079 | 2021-04-07 14:41 | 1.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6049 | μmol/L | 11.3851 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.153 | 107587.3631 | 303408.8664 | 28.7 | 67.6
77088 | 2021-04-07 14:41 | 1.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6755 | μmol/L | 11.3851 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 107573.235 | 303405.953 | 28.7 | 67.6
77097 | 2021-04-07 14:42 | 2.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.7149 | μmol/L | 11.3911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.146 | 107560.4119 | 303406.0074 | 28.7 | 67.6
77106 | 2021-04-07 14:42 | 2.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6755 | μmol/L | 11.3851 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 107558.3268 | 303406.9111 | 28.7 | 67.6
77115 | 2021-04-07 14:42 | 2.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.7149 | μmol/L | 11.3911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.146 | 107557.6006 | 303375.6097 | 28.7 | 67.6
77124 | 2021-04-07 14:43 | 3.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6367 | μmol/L | 11.3972 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 107545.6018 | 303380.0603 | 28.7 | 67.6
77133 | 2021-04-07 14:43 | 3.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6367 | μmol/L | 11.3972 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 107535.2733 | 303362.0009 | 28.7 | 67.6
77142 | 2021-04-07 14:43 | 3.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.504 | μmol/L | 11.4093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.148 | 107539.4589 | 303370.9093 | 28.7 | 67.6
77151 | 2021-04-07 14:44 | 4.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5351 | μmol/L | 11.4033 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.149 | 107537.3312 | 303360.2375 | 28.7 | 67.6
77160 | 2021-04-07 14:44 | 4.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5821 | μmol/L | 11.4033 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 107526.0792 | 303354.9331 | 28.7 | 67.6
77169 | 2021-04-07 14:44 | 4.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.504 | μmol/L | 11.4093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.148 | 107524.976 | 303358.5351 | 28.7 | 67.6
77178 | 2021-04-07 14:45 | 5.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4804 | μmol/L | 11.4093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.149 | 107524.2833 | 303371.2527 | 28.7 | 67.6
77187 | 2021-04-07 14:45 | 5.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4494 | μmol/L | 11.4154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.148 | 107521.3481 | 303337.1653 | 28.7 | 67.6
77196 | 2021-04-07 14:45 | 5.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5199 | μmol/L | 11.4154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 107507.1453 | 303328.6757 | 28.7 | 67.6
77205 | 2021-04-07 14:46 | 6.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4418 | μmol/L | 11.4215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.146 | 107502.967 | 303320.5429 | 28.7 | 67.6
77214 | 2021-04-07 14:46 | 6.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4023 | μmol/L | 11.4154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 107501.562 | 303332.7984 | 28.7 | 67.6
77223 | 2021-04-07 14:46 | 6.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4183 | μmol/L | 11.4215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 107487.662 | 303322.9032 | 28.7 | 67.6
77232 | 2021-04-07 14:47 | 7.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4888 | μmol/L | 11.4215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.144 | 107482.8532 | 303324.9004 | 28.7 | 67.6
77241 | 2021-04-07 14:47 | 7.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4342 | μmol/L | 11.4275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.144 | 107470.7927 | 303306.5743 | 28.7 | 67.6
77250 | 2021-04-07 14:47 | 7.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5359 | μmol/L | 11.4215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.142 | 107463.8791 | 303309.5252 | 28.7 | 67.6
77259 | 2021-04-07 14:48 | 8.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4032 | μmol/L | 11.4336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.143 | 107442.6349 | 303294.7322 | 28.7 | 67.6
77268 | 2021-04-07 14:48 | 8.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4032 | μmol/L | 11.4336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.143 | 107444.7264 | 303292.0133 | 28.7 | 67.6
77277 | 2021-04-07 14:48 | 8.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4972 | μmol/L | 11.4336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 107437.9714 | 303282.2254 | 28.7 | 67.6
77286 | 2021-04-07 14:49 | 9.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4737 | μmol/L | 11.4336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 107425.871 | 303264.4308 | 28.7 | 67.6
77295 | 2021-04-07 14:49 | 9.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4897 | μmol/L | 11.4397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 107415.4269 | 303256.4173 | 28.7 | 67.6
77304 | 2021-04-07 14:49 | 9.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4426 | μmol/L | 11.4397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 107410.4762 | 303256.7242 | 28.7 | 67.6
77313 | 2021-04-07 14:50 | 10.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5838 | μmol/L | 11.4397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107405.9097 | 303248.4754 | 28.7 | 67.6
77322 | 2021-04-07 14:50 | 10.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4586 | μmol/L | 11.4458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 107388.9758 | 303236.2838 | 28.7 | 67.6
77331 | 2021-04-07 14:50 | 10.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5678 | μmol/L | 11.4336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 107386.0807 | 303243.5608 | 28.7 | 67.6
77340 | 2021-04-07 14:51 | 11.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5292 | μmol/L | 11.4458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107377.7183 | 303244.8582 | 28.7 | 67.6
77349 | 2021-04-07 14:51 | 11.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.357 | μmol/L | 11.4518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 107376.0428 | 303231.4077 | 28.7 | 67.6
77358 | 2021-04-07 14:51 | 11.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4586 | μmol/L | 11.4458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 107367.8008 | 303226.8202 | 28.7 | 67.6
77367 | 2021-04-07 14:52 | 12.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4276 | μmol/L | 11.4518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107375.8275 | 303225.8815 | 28.7 | 67.6
77376 | 2021-04-07 14:52 | 12.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.326 | μmol/L | 11.4579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 107360.8945 | 303227.9302 | 28.7 | 67.6
77385 | 2021-04-07 14:52 | 12.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.326 | μmol/L | 11.4579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 107359.8436 | 303221.8102 | 28.7 | 67.6
77394 | 2021-04-07 14:53 | 13.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4201 | μmol/L | 11.4579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107354.5503 | 303206.1246 | 28.7 | 67.6
77403 | 2021-04-07 14:53 | 13.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.342 | μmol/L | 11.464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 107352.3739 | 303217.344 | 28.7 | 67.6
77412 | 2021-04-07 14:53 | 13.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.3655 | μmol/L | 11.464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107347.0535 | 303197.6978 | 28.7 | 67.6
77421 | 2021-04-07 14:54 | 14.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.342 | μmol/L | 11.464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 107348.845 | 303212.1199 | 28.7 | 67.6
77430 | 2021-04-07 14:54 | 14.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2715 | μmol/L | 11.464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 107341.2525 | 303190.9325 | 28.7 | 67.6
77439 | 2021-04-07 14:54 | 14.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.217 | μmol/L | 11.47 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 107343.6526 | 303190.4262 | 28.7 | 67.6
77448 | 2021-04-07 14:55 | 15.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2565 | μmol/L | 11.4761 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107344.9156 | 303187.2546 | 28.7 | 67.6
77457 | 2021-04-07 14:55 | 15.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2875 | μmol/L | 11.47 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 107339.8368 | 303194.9988 | 28.7 | 67.6
77466 | 2021-04-07 14:55 | 15.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2565 | μmol/L | 11.4761 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107336.3337 | 303178.1916 | 28.7 | 67.6
77475 | 2021-04-07 14:56 | 16.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.233 | μmol/L | 11.4761 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 107332.1798 | 303165.3041 | 28.7 | 67.6
77484 | 2021-04-07 14:56 | 16.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2095 | μmol/L | 11.4761 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107327.1058 | 303165.607 | 28.7 | 67.6
77493 | 2021-04-07 14:56 | 16.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2725 | μmol/L | 11.4822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107320.1277 | 303161.3224 | 28.7 | 67.6
77502 | 2021-04-07 14:57 | 17.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.1945 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107314.7434 | 303151.3336 | 28.7 | 67.6
77511 | 2021-04-07 14:57 | 17.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.296 | μmol/L | 11.4822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 107314.5721 | 303151.9004 | 28.7 | 67.6
77520 | 2021-04-07 14:57 | 17.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.249 | μmol/L | 11.4822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107315.5111 | 303147.5124 | 28.7 | 67.6
77529 | 2021-04-07 14:58 | 18.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.1005 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107313.7635 | 303148.0073 | 28.7 | 67.6
77538 | 2021-04-07 14:58 | 18.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2255 | μmol/L | 11.4822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 107320.1339 | 303127.8276 | 28.7 | 67.6
77547 | 2021-04-07 14:58 | 18.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0535 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 107318.2439 | 303133.9542 | 28.7 | 67.6
77556 | 2021-04-07 14:59 | 19.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.046 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107316.7635 | 303117.5042 | 28.7 | 67.6
77565 | 2021-04-07 14:59 | 19.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.1945 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107312.8687 | 303129.3741 | 28.7 | 67.6
77574 | 2021-04-07 14:59 | 19.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.171 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 107306.63 | 303110.2189 | 28.7 | 67.6
77583 | 2021-04-07 15:00 | 20.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9916 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107291.2625 | 303109.353 | 28.7 | 67.6
77592 | 2021-04-07 15:00 | 20.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.046 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107297.9012 | 303104.5766 | 28.7 | 67.6
77601 | 2021-04-07 15:00 | 20.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.109 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107282.7916 | 303099.4819 | 28.7 | 67.6
77610 | 2021-04-07 15:01 | 21.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.062 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 107282.3983 | 303098.2129 | 28.7 | 67.6
77619 | 2021-04-07 15:01 | 21.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0546 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107277.2889 | 303077.6695 | 28.7 | 67.6
77628 | 2021-04-07 15:01 | 21.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.1325 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 107263.6632 | 303080.1485 | 28.7 | 67.6
77637 | 2021-04-07 15:02 | 22.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0546 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107265.8317 | 303072.2215 | 28.7 | 67.6
77646 | 2021-04-07 15:02 | 22.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.125 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 107256.5811 | 303075.4772 | 28.7 | 67.6
77655 | 2021-04-07 15:02 | 22.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.109 | μmol/L | 11.5004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107253.4906 | 303069.9631 | 28.7 | 67.6
77664 | 2021-04-07 15:03 | 23.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0311 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107249.6706 | 303052.5129 | 28.7 | 67.6
77673 | 2021-04-07 15:03 | 23.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0471 | μmol/L | 11.5125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.128 | 107249.0244 | 303059.2877 | 28.7 | 67.6
77682 | 2021-04-07 15:03 | 23.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0001 | μmol/L | 11.5125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107237.4019 | 303047.6792 | 28.7 | 67.6
77691 | 2021-04-07 15:04 | 24.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0781 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 107236.3784 | 303059.9326 | 28.7 | 67.6
77700 | 2021-04-07 15:04 | 24.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0546 | μmol/L | 11.5065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107241.0318 | 303052.2788 | 28.7 | 67.6
77709 | 2021-04-07 15:04 | 24.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0396 | μmol/L | 11.5186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.126 | 107232.1477 | 303041.9665 | 28.7 | 67.6
77718 | 2021-04-07 15:05 | 25.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9457 | μmol/L | 11.5186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107228.402 | 303031.0723 | 28.7 | 67.6
77727 | 2021-04-07 15:05 | 25.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0236 | μmol/L | 11.5125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 107223.8871 | 303022.5945 | 28.7 | 67.6
77736 | 2021-04-07 15:05 | 25.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9617 | μmol/L | 11.5247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 107221.827 | 303030.7986 | 28.7 | 67.6
77745 | 2021-04-07 15:06 | 26.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0162 | μmol/L | 11.5186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.127 | 107228.289 | 303012.032 | 28.7 | 67.6
77754 | 2021-04-07 15:06 | 26.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.9692 | μmol/L | 11.5186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 107224.2247 | 303014.7166 | 28.7 | 67.6
77763 | 2021-04-07 15:06 | 26.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8988 | μmol/L | 11.5186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 107226.4946 | 303004.8071 | 28.7 | 67.6
77772 | 2021-04-07 15:07 | 27.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8913 | μmol/L | 11.5247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.13 | 107223.0416 | 302991.842 | 28.7 | 67.6
77781 | 2021-04-07 15:07 | 27.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8678 | μmol/L | 11.5247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107227.3956 | 303000.923 | 28.7 | 67.6
77790 | 2021-04-07 15:07 | 27.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8135 | μmol/L | 11.5307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107222.9338 | 302985.9863 | 28.7 | 67.6
77799 | 2021-04-07 15:08 | 28.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8444 | μmol/L | 11.5247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 107220.4236 | 302998.1858 | 28.7 | 67.6
77808 | 2021-04-07 15:08 | 28.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8678 | μmol/L | 11.5247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.131 | 107214.6346 | 302983.0214 | 28.7 | 67.6
77817 | 2021-04-07 15:08 | 28.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.8604 | μmol/L | 11.5307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 107222.8974 | 302970.7755 | 28.7 | 67.6
77826 | 2021-04-07 15:09 | 29.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.7665 | μmol/L | 11.5307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107218.6508 | 302949.5833 | 28.7 | 67.6
77835 | 2021-04-07 15:09 | 29.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.6653 | μmol/L | 11.5368 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107221.9029 | 302970.5714 | 28.7 | 67.6
77844 | 2021-04-07 15:09 | 29.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.6887 | μmol/L | 11.5368 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 107227.8148 | 302961.5117 | 28.7 | 67.6
77853 | 2021-04-07 15:10 | 30.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.6258 | μmol/L | 11.5307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 107230.3112 | 302965.3399 | 28.7 | 67.6
77862 | 2021-04-07 15:10 | 30.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.6961 | μmol/L | 11.5307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 107249.926 | 302949.6023 | 28.7 | 67.6
77871 | 2021-04-07 15:10 | 30.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.5011 | μmol/L | 11.5368 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.142 | 107254.0358 | 302944.7414 | 28.7 | 67.6
77880 | 2021-04-07 15:11 | 31.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3766 | μmol/L | 11.5429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 107262.9483 | 302943.5486 | 28.7 | 67.6
77889 | 2021-04-07 15:11 | 31.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3766 | μmol/L | 11.5429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 107279.1271 | 302935.8784 | 28.7 | 67.6
77898 | 2021-04-07 15:11 | 31.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2755 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.147 | 107282.2487 | 302917.7102 | 28.7 | 67.6
77907 | 2021-04-07 15:12 | 32.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.3457 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.144 | 107287.2983 | 302944.4543 | 28.7 | 67.6
77916 | 2021-04-07 15:12 | 32.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2361 | μmol/L | 11.5429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.151 | 107303.6059 | 302944.1797 | 28.7 | 67.6
77925 | 2021-04-07 15:12 | 32.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.252 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.148 | 107298.0235 | 302944.1587 | 28.7 | 67.6
77934 | 2021-04-07 15:13 | 33.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2595 | μmol/L | 11.5429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 107301.3664 | 302935.3539 | 28.7 | 67.6
77943 | 2021-04-07 15:13 | 33.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.2052 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 107303.9719 | 302921.0338 | 28.7 | 67.6
77952 | 2021-04-07 15:13 | 33.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.1116 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.154 | 107303.3571 | 302937.3295 | 28.7 | 67.6
77961 | 2021-04-07 15:14 | 34.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0648 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.156 | 107315.1349 | 302934.7138 | 28.7 | 67.6
77970 | 2021-04-07 15:14 | 34.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.135 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.153 | 107322.5108 | 302933.3944 | 28.7 | 67.6
77979 | 2021-04-07 15:14 | 34.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0956 | μmol/L | 11.5429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.157 | 107318.7636 | 302918.5652 | 28.7 | 67.6
77988 | 2021-04-07 15:15 | 35.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0956 | μmol/L | 11.5429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.157 | 107334.8169 | 302925.3345 | 28.7 | 67.6
77997 | 2021-04-07 15:15 | 35.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 275.0106 | μmol/L | 11.555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.156 | 107335.332 | 302912.3067 | 28.7 | 67.6
78006 | 2021-04-07 15:15 | 35.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8002 | μmol/L | 11.555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 107335.6439 | 302908.3546 | 28.7 | 67.6
78015 | 2021-04-07 15:16 | 36.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9479 | μmol/L | 11.5489 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.161 | 107348.7318 | 302894.292 | 28.7 | 67.6
78024 | 2021-04-07 15:16 | 36.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.9405 | μmol/L | 11.555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.159 | 107353.8995 | 302902.1369 | 28.7 | 67.6
78033 | 2021-04-07 15:16 | 36.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8469 | μmol/L | 11.555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.163 | 107358.5254 | 302892.1116 | 28.7 | 67.6
78042 | 2021-04-07 15:17 | 37.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.8002 | μmol/L | 11.555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 107365.3069 | 302901.505 | 28.7 | 67.6
78051 | 2021-04-07 15:17 | 37.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7461 | μmol/L | 11.5611 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 107360.8153 | 302893.2271 | 28.7 | 67.6
78060 | 2021-04-07 15:17 | 37.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7928 | μmol/L | 11.5611 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.163 | 107362.9587 | 302877.8258 | 28.7 | 67.6
78069 | 2021-04-07 15:18 | 38.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7153 | μmol/L | 11.5671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.164 | 107361.3617 | 302883.2861 | 28.7 | 67.6
78078 | 2021-04-07 15:18 | 38.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5752 | μmol/L | 11.5671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.17 | 107359.8076 | 302878.019 | 28.7 | 67.6
78087 | 2021-04-07 15:18 | 38.997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6993 | μmol/L | 11.5611 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.167 | 107356.3949 | 302880.7021 | 28.7 | 67.6
78096 | 2021-04-07 15:19 | 39.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.7153 | μmol/L | 11.5671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.164 | 107350.0415 | 302862.4436 | 28.7 | 67.6
78105 | 2021-04-07 15:19 | 39.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6378 | μmol/L | 11.5732 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 107351.5802 | 302865.0644 | 28.7 | 67.6
78114 | 2021-04-07 15:19 | 39.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6686 | μmol/L | 11.5671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.166 | 107350.7882 | 302853.8022 | 28.7 | 67.6
78123 | 2021-04-07 15:20 | 40.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6686 | μmol/L | 11.5671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.166 | 107354.917 | 302867.513 | 28.7 | 67.6
78132 | 2021-04-07 15:20 | 40.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5911 | μmol/L | 11.5732 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.167 | 107353.3477 | 302853.8641 | 28.7 | 67.6
78141 | 2021-04-07 15:20 | 40.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5678 | μmol/L | 11.5732 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.168 | 107356.9573 | 302860.9966 | 28.7 | 67.6
78150 | 2021-04-07 15:21 | 41.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5444 | μmol/L | 11.5732 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.169 | 107354.4176 | 302845.9415 | 28.7 | 67.6
78159 | 2021-04-07 15:21 | 41.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.537 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.167 | 107350.1921 | 302838.4571 | 28.7 | 67.6
78168 | 2021-04-07 15:21 | 41.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5137 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.168 | 107334.805 | 302837.1049 | 28.7 | 67.6
78177 | 2021-04-07 15:22 | 42.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5837 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 107336.7516 | 302830.4029 | 28.7 | 67.6
78186 | 2021-04-07 15:22 | 42.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.537 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.167 | 107331.1135 | 302827.1558 | 28.7 | 67.6
78195 | 2021-04-07 15:22 | 42.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6845 | μmol/L | 11.5732 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.163 | 107327.9598 | 302823.6641 | 28.7 | 67.6
78204 | 2021-04-07 15:23 | 43.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5137 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.168 | 107310.9528 | 302803.7344 | 28.7 | 67.6
78213 | 2021-04-07 15:23 | 43.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6538 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.162 | 107312.79 | 302809.2859 | 28.7 | 67.6
78222 | 2021-04-07 15:23 | 43.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.6071 | μmol/L | 11.5793 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.164 | 107311.8028 | 302824.1684 | 28.7 | 67.6
78231 | 2021-04-07 15:24 | 44.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5763 | μmol/L | 11.5854 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.163 | 107306.3903 | 302811.99 | 28.7 | 67.6
78240 | 2021-04-07 15:24 | 44.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5997 | μmol/L | 11.5854 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.162 | 107308.3711 | 302805.1893 | 28.7 | 67.6
78249 | 2021-04-07 15:24 | 44.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.4989 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.164 | 107293.9604 | 302791.4249 | 28.7 | 67.6
78258 | 2021-04-07 15:25 | 45.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.4829 | μmol/L | 11.5854 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.167 | 107301.1266 | 302774.4504 | 28.7 | 67.6
78267 | 2021-04-07 15:25 | 45.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.5222 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.163 | 107304.7767 | 302769.4369 | 28.7 | 67.6
78276 | 2021-04-07 15:25 | 45.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.4755 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 107300.3201 | 302759.0219 | 28.7 | 67.6
78285 | 2021-04-07 15:26 | 46.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.3748 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.167 | 107311.2388 | 302791.2041 | 28.7 | 67.6
78294 | 2021-04-07 15:26 | 46.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.2656 | μmol/L | 11.5914 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.174 | 107320.2671 | 302786.4835 | 28.7 | 67.6
78303 | 2021-04-07 15:26 | 46.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.3048 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.17 | 107318.1375 | 302762.1295 | 28.7 | 67.6
78312 | 2021-04-07 15:27 | 47.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.2582 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.172 | 107333.0658 | 302744.5529 | 28.7 | 67.6
78321 | 2021-04-07 15:27 | 47.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.2116 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.174 | 107334.1234 | 302740.7545 | 28.7 | 67.6
78330 | 2021-04-07 15:27 | 47.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0019 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.183 | 107350.1807 | 302743.7033 | 28.7 | 67.6
78339 | 2021-04-07 15:28 | 48.3303 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0411 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.179 | 107362.614 | 302758.5676 | 28.7 | 67.6
78348 | 2021-04-07 15:28 | 48.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0251 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.182 | 107357.5096 | 302747.9324 | 28.7 | 67.6
78357 | 2021-04-07 15:28 | 48.9969 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0484 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.181 | 107364.2774 | 302744.2386 | 28.7 | 67.6
78366 | 2021-04-07 15:29 | 49.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9945 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.181 | 107373.1941 | 302745.3486 | 28.7 | 67.6
78375 | 2021-04-07 15:29 | 49.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0251 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.182 | 107372.8881 | 302726.7157 | 28.7 | 67.6
78384 | 2021-04-07 15:29 | 49.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9479 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.183 | 107368.7029 | 302721.6998 | 28.7 | 67.6
78393 | 2021-04-07 15:30 | 50.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9246 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.184 | 107368.9024 | 302723.2667 | 28.7 | 67.6
78402 | 2021-04-07 15:30 | 50.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0019 | μmol/L | 11.5975 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.183 | 107367.9059 | 302716.5539 | 28.7 | 67.6
78411 | 2021-04-07 15:30 | 50.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.8474 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.185 | 107370.3456 | 302723.4037 | 28.7 | 67.6
78420 | 2021-04-07 15:31 | 51.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.878 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.186 | 107379.0911 | 302727.2782 | 28.7 | 67.6
78429 | 2021-04-07 15:31 | 51.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9479 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.183 | 107382.4771 | 302715.2015 | 28.7 | 67.6
78438 | 2021-04-07 15:31 | 51.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.7776 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.188 | 107387.2105 | 302727.6198 | 28.7 | 67.6
78447 | 2021-04-07 15:32 | 52.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.8315 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.188 | 107393.4132 | 302734.2495 | 28.7 | 67.6
78456 | 2021-04-07 15:32 | 52.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.7543 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.189 | 107395.3583 | 302705.658 | 28.7 | 67.6
78465 | 2021-04-07 15:32 | 52.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.731 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.19 | 107397.8255 | 302721.1806 | 28.7 | 67.6
78474 | 2021-04-07 15:33 | 53.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.7776 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.188 | 107397.9542 | 302714.9222 | 28.7 | 67.6
78483 | 2021-04-07 15:33 | 53.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.8008 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.187 | 107385.3929 | 302701.3193 | 28.7 | 67.6
78492 | 2021-04-07 15:33 | 53.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.7543 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.189 | 107380.561 | 302705.8221 | 28.7 | 67.6
78501 | 2021-04-07 15:34 | 54.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.8082 | μmol/L | 11.6036 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.189 | 107367.0683 | 302702.3355 | 28.7 | 67.6
78510 | 2021-04-07 15:34 | 54.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.8241 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.186 | 107353.7165 | 302686.1678 | 28.7 | 67.6
78519 | 2021-04-07 15:34 | 54.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9405 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.181 | 107340.4015 | 302697.1711 | 28.7 | 67.6
78528 | 2021-04-07 15:35 | 55.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9564 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.178 | 107325.7887 | 302699.1899 | 28.7 | 67.6
78537 | 2021-04-07 15:35 | 55.6636 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0104 | μmol/L | 11.6096 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.178 | 107320.4724 | 302684.9524 | 28.7 | 67.6
78546 | 2021-04-07 15:35 | 55.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9797 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.177 | 107302.7667 | 302674.3253 | 28.7 | 67.6
78555 | 2021-04-07 15:36 | 56.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0496 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.174 | 107287.7062 | 302675.8984 | 28.7 | 67.6
78564 | 2021-04-07 15:36 | 56.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.019 | μmol/L | 11.6218 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.173 | 107292.5325 | 302680.186 | 28.7 | 67.6
78573 | 2021-04-07 15:36 | 56.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0729 | μmol/L | 11.6157 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.173 | 107290.4597 | 302679.4305 | 28.7 | 67.6
78582 | 2021-04-07 15:37 | 57.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 274.0656 | μmol/L | 11.6218 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.171 | 107276.1742 | 302671.371 | 28.7 | 67.6
78591 | 2021-04-07 15:37 | 57.6637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 273.9957 | μmol/L | 11.6218 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.174 | 107268.8233 | 302654.8322 | 28.7 | 67.6