## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 15:51

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
77035 | 2021-04-07 14:39 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.1914 | μmol/L | 11.3416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.76 | 142834.5652 | 277594.9354 | 36.4 | 83.1
77044 | 2021-04-07 14:40 | 0.33085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.3058 | μmol/L | 11.3355 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.758 | 142817.5777 | 277607.6646 | 36.4 | 83.1
77053 | 2021-04-07 14:40 | 0.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.269 | μmol/L | 11.3416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.757 | 142798.6216 | 277587.224 | 36.4 | 83.1
77062 | 2021-04-07 14:40 | 0.99779 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.258 | μmol/L | 11.3477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.755 | 142773.0586 | 277587.7089 | 36.4 | 83.1
77071 | 2021-04-07 14:41 | 1.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.4501 | μmol/L | 11.3416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.75 | 142741.3727 | 277573.7601 | 36.4 | 83.1
77080 | 2021-04-07 14:41 | 1.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.3506 | μmol/L | 11.3538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.749 | 142711.4917 | 277565.9889 | 36.4 | 83.1
77089 | 2021-04-07 14:41 | 1.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5059 | μmol/L | 11.3538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.743 | 142681.7816 | 277558.0766 | 36.4 | 83.1
77098 | 2021-04-07 14:42 | 2.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5576 | μmol/L | 11.3538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.741 | 142655.2326 | 277555.3097 | 36.4 | 83.1
77107 | 2021-04-07 14:42 | 2.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5726 | μmol/L | 11.3599 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142637.65 | 277546.7972 | 36.4 | 83.1
77116 | 2021-04-07 14:42 | 2.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.6244 | μmol/L | 11.3599 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142611.7217 | 277544.3917 | 36.4 | 83.1
77125 | 2021-04-07 14:43 | 3.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5099 | μmol/L | 11.366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142613.3004 | 277541.0226 | 36.4 | 83.1
77134 | 2021-04-07 14:43 | 3.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5985 | μmol/L | 11.3599 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 142602.7335 | 277515.5018 | 36.4 | 83.1
77143 | 2021-04-07 14:43 | 3.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5099 | μmol/L | 11.366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142601.2703 | 277519.8299 | 36.4 | 83.1
77152 | 2021-04-07 14:44 | 4.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5358 | μmol/L | 11.366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 142597.4136 | 277499.8059 | 36.4 | 83.1
77161 | 2021-04-07 14:44 | 4.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.5249 | μmol/L | 11.3721 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.735 | 142596.3569 | 277502.659 | 36.4 | 83.1
77170 | 2021-04-07 14:44 | 4.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.4513 | μmol/L | 11.3843 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142589.0373 | 277492.963 | 36.4 | 83.1
77179 | 2021-04-07 14:45 | 5.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.3069 | μmol/L | 11.3782 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.741 | 142590.6786 | 277482.2511 | 36.4 | 83.1
77188 | 2021-04-07 14:45 | 5.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.2075 | μmol/L | 11.3905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142589.1957 | 277477.7931 | 36.4 | 83.1
77197 | 2021-04-07 14:45 | 5.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.104 | μmol/L | 11.3905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.744 | 142595.5799 | 277484.2094 | 36.4 | 83.1
77206 | 2021-04-07 14:46 | 6.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0265 | μmol/L | 11.3905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.747 | 142596.9016 | 277476.6497 | 36.4 | 83.1
77215 | 2021-04-07 14:46 | 6.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0156 | μmol/L | 11.3966 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142599.8971 | 277464.69 | 36.4 | 83.1
77224 | 2021-04-07 14:46 | 6.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0047 | μmol/L | 11.4027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.743 | 142595.6428 | 277456.0119 | 36.4 | 83.1
77233 | 2021-04-07 14:47 | 7.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0156 | μmol/L | 11.3966 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142593.1761 | 277453.7152 | 36.4 | 83.1
77242 | 2021-04-07 14:47 | 7.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9898 | μmol/L | 11.3966 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142590.2386 | 277450.9937 | 36.4 | 83.1
77251 | 2021-04-07 14:47 | 7.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9898 | μmol/L | 11.3966 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142598.2375 | 277437.7565 | 36.4 | 83.1
77260 | 2021-04-07 14:48 | 8.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8647 | μmol/L | 11.4088 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142586.6526 | 277441.574 | 36.4 | 83.1
77269 | 2021-04-07 14:48 | 8.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8905 | μmol/L | 11.4088 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142589.7244 | 277441.9253 | 36.4 | 83.1
77278 | 2021-04-07 14:48 | 8.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9163 | μmol/L | 11.4088 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.744 | 142595.772 | 277424.3875 | 36.4 | 83.1
77287 | 2021-04-07 14:49 | 9.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.828 | μmol/L | 11.4149 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142583.1567 | 277421.5172 | 36.4 | 83.1
77296 | 2021-04-07 14:49 | 9.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7763 | μmol/L | 11.4149 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.747 | 142578.2711 | 277415.928 | 36.4 | 83.1
77305 | 2021-04-07 14:49 | 9.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8796 | μmol/L | 11.4149 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.743 | 142566.9961 | 277401.8513 | 36.4 | 83.1
77314 | 2021-04-07 14:50 | 10.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9313 | μmol/L | 11.4149 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.741 | 142550.364 | 277399.0359 | 36.4 | 83.1
77323 | 2021-04-07 14:50 | 10.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9463 | μmol/L | 11.421 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142532.9645 | 277397.7806 | 36.4 | 83.1
77332 | 2021-04-07 14:50 | 10.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7954 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.739 | 142517.5728 | 277391.1013 | 36.4 | 83.1
77341 | 2021-04-07 14:51 | 11.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0497 | μmol/L | 11.421 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142507.4008 | 277385.182 | 36.4 | 83.1
77350 | 2021-04-07 14:51 | 11.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.013 | μmol/L | 11.4271 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142483.969 | 277374.3138 | 36.4 | 83.1
77359 | 2021-04-07 14:51 | 11.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8213 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142470.9905 | 277372.0841 | 36.4 | 83.1
77368 | 2021-04-07 14:52 | 12.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9246 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142463.6089 | 277375.2708 | 36.4 | 83.1
77377 | 2021-04-07 14:52 | 12.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 307.0022 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.731 | 142445.2837 | 277354.1854 | 36.4 | 83.1
77386 | 2021-04-07 14:52 | 12.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.9246 | μmol/L | 11.4332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142453.9666 | 277353.7912 | 36.4 | 83.1
77395 | 2021-04-07 14:53 | 13.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8621 | μmol/L | 11.4393 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142447.348 | 277362.1604 | 36.4 | 83.1
77404 | 2021-04-07 14:53 | 13.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.888 | μmol/L | 11.4393 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142450.5024 | 277348.615 | 36.4 | 83.1
77413 | 2021-04-07 14:53 | 13.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6963 | μmol/L | 11.4455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142455.0501 | 277344.3461 | 36.4 | 83.1
77422 | 2021-04-07 14:54 | 14.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8255 | μmol/L | 11.4455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142449.47 | 277344.3446 | 36.4 | 83.1
77431 | 2021-04-07 14:54 | 14.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7996 | μmol/L | 11.4455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142459.3265 | 277337.8596 | 36.4 | 83.1
77440 | 2021-04-07 14:54 | 14.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7372 | μmol/L | 11.4516 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142463.9717 | 277320.2523 | 36.4 | 83.1
77449 | 2021-04-07 14:55 | 15.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6855 | μmol/L | 11.4516 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142454.9025 | 277323.2878 | 36.4 | 83.1
77458 | 2021-04-07 14:55 | 15.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6597 | μmol/L | 11.4516 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 142453.848 | 277328.9017 | 36.4 | 83.1
77467 | 2021-04-07 14:55 | 15.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6489 | μmol/L | 11.4577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.735 | 142442.1456 | 277313.7678 | 36.4 | 83.1
77476 | 2021-04-07 14:56 | 16.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6231 | μmol/L | 11.4577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142424.0403 | 277321.092 | 36.4 | 83.1
77485 | 2021-04-07 14:56 | 16.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7005 | μmol/L | 11.4577 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142410.0401 | 277315.6762 | 36.4 | 83.1
77494 | 2021-04-07 14:56 | 16.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.763 | μmol/L | 11.4516 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142391.3903 | 277309.0154 | 36.4 | 83.1
77503 | 2021-04-07 14:57 | 17.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7672 | μmol/L | 11.4638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.728 | 142380.0443 | 277301.7542 | 36.4 | 83.1
77512 | 2021-04-07 14:57 | 17.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7931 | μmol/L | 11.4638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.727 | 142363.9695 | 277306.8269 | 36.4 | 83.1
77521 | 2021-04-07 14:57 | 17.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8081 | μmol/L | 11.4699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 142359.4795 | 277291.2796 | 36.4 | 83.1
77530 | 2021-04-07 14:58 | 18.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6682 | μmol/L | 11.476 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.727 | 142349.7745 | 277271.9153 | 36.4 | 83.1
77539 | 2021-04-07 14:58 | 18.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7823 | μmol/L | 11.4699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.725 | 142333.4303 | 277287.1271 | 36.4 | 83.1
77548 | 2021-04-07 14:58 | 18.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7823 | μmol/L | 11.4699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.725 | 142334.9667 | 277288.9407 | 36.4 | 83.1
77557 | 2021-04-07 14:59 | 19.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8706 | μmol/L | 11.4638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 142328.2095 | 277282.6325 | 36.4 | 83.1
77566 | 2021-04-07 14:59 | 19.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7973 | μmol/L | 11.476 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.722 | 142318.5403 | 277267.0829 | 36.4 | 83.1
77575 | 2021-04-07 14:59 | 19.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.8081 | μmol/L | 11.4699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 142316.0016 | 277272.5106 | 36.4 | 83.1
77584 | 2021-04-07 15:00 | 20.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.7715 | μmol/L | 11.476 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.723 | 142307.8998 | 277268.5131 | 36.4 | 83.1
77593 | 2021-04-07 15:00 | 20.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.5283 | μmol/L | 11.4821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142316.7877 | 277262.1933 | 36.4 | 83.1
77602 | 2021-04-07 15:00 | 20.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6316 | μmol/L | 11.4821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.726 | 142325.6354 | 277259.8458 | 36.4 | 83.1
77611 | 2021-04-07 15:01 | 21.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.6574 | μmol/L | 11.4821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.725 | 142328.1559 | 277257.2368 | 36.4 | 83.1
77620 | 2021-04-07 15:01 | 21.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.5541 | μmol/L | 11.4821 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.729 | 142324.0806 | 277239.8806 | 36.4 | 83.1
77629 | 2021-04-07 15:01 | 21.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.4917 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.729 | 142322.4004 | 277248.3761 | 36.4 | 83.1
77638 | 2021-04-07 15:02 | 22.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.4917 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.729 | 142317.5217 | 277240.8963 | 36.4 | 83.1
77647 | 2021-04-07 15:02 | 22.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.352 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.732 | 142322.5899 | 277244.5611 | 36.4 | 83.1
77656 | 2021-04-07 15:02 | 22.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.4401 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.731 | 142319.3949 | 277234.7668 | 36.4 | 83.1
77665 | 2021-04-07 15:03 | 23.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.3885 | μmol/L | 11.4882 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142317.3799 | 277220.056 | 36.4 | 83.1
77674 | 2021-04-07 15:03 | 23.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.4036 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142322.0764 | 277221.641 | 36.4 | 83.1
77683 | 2021-04-07 15:03 | 23.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2746 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.735 | 142324.5965 | 277227.5033 | 36.4 | 83.1
77692 | 2021-04-07 15:04 | 24.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2746 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.735 | 142322.1025 | 277218.7549 | 36.4 | 83.1
77701 | 2021-04-07 15:04 | 24.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.352 | μmol/L | 11.4943 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.732 | 142325.3802 | 277211.0853 | 36.4 | 83.1
77710 | 2021-04-07 15:04 | 24.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2123 | μmol/L | 11.5005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.735 | 142312.0084 | 277209.9839 | 36.4 | 83.1
77719 | 2021-04-07 15:05 | 25.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2015 | μmol/L | 11.5066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142305.0866 | 277186.2675 | 36.4 | 83.1
77728 | 2021-04-07 15:05 | 25.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.3412 | μmol/L | 11.5005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142322.0562 | 277196.7768 | 36.4 | 83.1
77737 | 2021-04-07 15:05 | 25.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.1757 | μmol/L | 11.5066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142314.8807 | 277184.9194 | 36.4 | 83.1
77746 | 2021-04-07 15:06 | 26.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2273 | μmol/L | 11.5066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.732 | 142316.9246 | 277196.8968 | 36.4 | 83.1
77755 | 2021-04-07 15:06 | 26.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.1349 | μmol/L | 11.5005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142307.9263 | 277183.4552 | 36.4 | 83.1
77764 | 2021-04-07 15:06 | 26.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.1757 | μmol/L | 11.5066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.734 | 142315.3777 | 277177.1865 | 36.4 | 83.1
77773 | 2021-04-07 15:07 | 27.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0619 | μmol/L | 11.5127 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142306.3718 | 277174.0504 | 36.4 | 83.1
77782 | 2021-04-07 15:07 | 27.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.1908 | μmol/L | 11.5127 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.731 | 142291.896 | 277176.5506 | 36.4 | 83.1
77791 | 2021-04-07 15:07 | 27.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.077 | μmol/L | 11.5188 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142276.118 | 277161.7948 | 36.4 | 83.1
77800 | 2021-04-07 15:08 | 28.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.294 | μmol/L | 11.5127 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.727 | 142246.1935 | 277162.5087 | 36.4 | 83.1
77809 | 2021-04-07 15:08 | 28.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.2209 | μmol/L | 11.5249 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.725 | 142214.7177 | 277168.1433 | 36.4 | 83.1
77818 | 2021-04-07 15:08 | 28.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.309 | μmol/L | 11.5188 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 142196.1728 | 277156.1298 | 36.4 | 83.1
77827 | 2021-04-07 15:09 | 29.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.4381 | μmol/L | 11.5188 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.719 | 142180.8994 | 277150.4576 | 36.4 | 83.1
77836 | 2021-04-07 15:09 | 29.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.1844 | μmol/L | 11.531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 142181.5577 | 277148.6009 | 36.4 | 83.1
77845 | 2021-04-07 15:09 | 29.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.1844 | μmol/L | 11.531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 142190.7123 | 277139.5188 | 36.4 | 83.1
77854 | 2021-04-07 15:10 | 30.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.148 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.723 | 142197.5309 | 277146.6564 | 36.4 | 83.1
77863 | 2021-04-07 15:10 | 30.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0706 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.726 | 142209.1857 | 277140.4056 | 36.4 | 83.1
77872 | 2021-04-07 15:10 | 30.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0706 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.726 | 142210.4739 | 277153.082 | 36.4 | 83.1
77881 | 2021-04-07 15:11 | 31.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0662 | μmol/L | 11.5249 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.731 | 142216.3621 | 277135.9911 | 36.4 | 83.1
77890 | 2021-04-07 15:11 | 31.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.0298 | μmol/L | 11.531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142228.3004 | 277140.0462 | 36.4 | 83.1
77899 | 2021-04-07 15:11 | 31.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 306.004 | μmol/L | 11.531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.731 | 142231.7305 | 277129.5124 | 36.4 | 83.1
77908 | 2021-04-07 15:12 | 32.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.7872 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 142243.2018 | 277115.6891 | 36.4 | 83.1
77917 | 2021-04-07 15:12 | 32.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.813 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142251.2372 | 277125.9431 | 36.4 | 83.1
77926 | 2021-04-07 15:12 | 32.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.7508 | μmol/L | 11.5432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142259.7213 | 277119.6104 | 36.4 | 83.1
77935 | 2021-04-07 15:13 | 33.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.7357 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.739 | 142271.1578 | 277127.6701 | 36.4 | 83.1
77944 | 2021-04-07 15:13 | 33.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.813 | μmol/L | 11.5371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142267.5998 | 277127.2658 | 36.4 | 83.1
77953 | 2021-04-07 15:13 | 33.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4571 | μmol/L | 11.5493 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142273.117 | 277102.9864 | 36.4 | 83.1
77962 | 2021-04-07 15:14 | 34.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.5706 | μmol/L | 11.5432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.743 | 142286.5944 | 277113.7678 | 36.4 | 83.1
77971 | 2021-04-07 15:14 | 34.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4935 | μmol/L | 11.5432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142299.828 | 277115.5407 | 36.4 | 83.1
77980 | 2021-04-07 15:14 | 34.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3542 | μmol/L | 11.5493 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.749 | 142313.4163 | 277099.592 | 36.4 | 83.1
77989 | 2021-04-07 15:15 | 35.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3799 | μmol/L | 11.5493 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.748 | 142314.5893 | 277095.8914 | 36.4 | 83.1
77998 | 2021-04-07 15:15 | 35.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4935 | μmol/L | 11.5432 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142320.6926 | 277102.2825 | 36.4 | 83.1
78007 | 2021-04-07 15:15 | 35.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.395 | μmol/L | 11.5555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142311.0194 | 277087.9458 | 36.4 | 83.1
78016 | 2021-04-07 15:16 | 36.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4314 | μmol/L | 11.5493 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142295.281 | 277092.9999 | 36.4 | 83.1
78025 | 2021-04-07 15:16 | 36.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4571 | μmol/L | 11.5493 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.745 | 142281.2063 | 277093.3114 | 36.4 | 83.1
78034 | 2021-04-07 15:16 | 36.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4207 | μmol/L | 11.5555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.744 | 142277.5368 | 277090.3671 | 36.4 | 83.1
78043 | 2021-04-07 15:17 | 37.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.5236 | μmol/L | 11.5555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142268.534 | 277096.7021 | 36.4 | 83.1
78052 | 2021-04-07 15:17 | 37.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4615 | μmol/L | 11.5616 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142261.9069 | 277083.3984 | 36.4 | 83.1
78061 | 2021-04-07 15:17 | 37.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.575 | μmol/L | 11.5555 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142240.9096 | 277074.9035 | 36.4 | 83.1
78070 | 2021-04-07 15:18 | 38.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.5643 | μmol/L | 11.5616 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142233.2502 | 277081.7594 | 36.4 | 83.1
78079 | 2021-04-07 15:18 | 38.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.5643 | μmol/L | 11.5616 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142228.9124 | 277092.3421 | 36.4 | 83.1
78088 | 2021-04-07 15:18 | 38.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.5022 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.736 | 142219.357 | 277074.0286 | 36.4 | 83.1
78097 | 2021-04-07 15:19 | 39.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4508 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142217.3191 | 277072.5373 | 36.4 | 83.1
78106 | 2021-04-07 15:19 | 39.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4251 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.739 | 142218.4681 | 277079.469 | 36.4 | 83.1
78115 | 2021-04-07 15:19 | 39.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4765 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.737 | 142202.9602 | 277064.5661 | 36.4 | 83.1
78124 | 2021-04-07 15:20 | 40.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.4508 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142204.1449 | 277057.2414 | 36.4 | 83.1
78133 | 2021-04-07 15:20 | 40.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3116 | μmol/L | 11.5738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.741 | 142207.3159 | 277062.5716 | 36.4 | 83.1
78142 | 2021-04-07 15:20 | 40.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3994 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142221.2124 | 277051.7489 | 36.4 | 83.1
78151 | 2021-04-07 15:21 | 41.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3479 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.742 | 142229.4364 | 277051.3757 | 36.4 | 83.1
78160 | 2021-04-07 15:21 | 41.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2451 | μmol/L | 11.5677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142239.6473 | 277043.7939 | 36.4 | 83.1
78169 | 2021-04-07 15:21 | 41.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1317 | μmol/L | 11.5738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.748 | 142253.7466 | 277028.1137 | 36.4 | 83.1
78178 | 2021-04-07 15:22 | 42.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1574 | μmol/L | 11.5738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.747 | 142259.6662 | 277026.155 | 36.4 | 83.1
78187 | 2021-04-07 15:22 | 42.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.9927 | μmol/L | 11.5799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.751 | 142281.1366 | 277025.9559 | 36.4 | 83.1
78196 | 2021-04-07 15:22 | 42.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.0803 | μmol/L | 11.5738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.75 | 142295.1473 | 277034.4288 | 36.4 | 83.1
78205 | 2021-04-07 15:23 | 43.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.8387 | μmol/L | 11.5799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.757 | 142305.5154 | 277037.2976 | 36.4 | 83.1
78214 | 2021-04-07 15:23 | 43.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.7617 | μmol/L | 11.5799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.76 | 142309.57 | 277018.6342 | 36.4 | 83.1
78223 | 2021-04-07 15:23 | 43.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.7511 | μmol/L | 11.586 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.758 | 142321.3243 | 277014.1333 | 36.4 | 83.1
78232 | 2021-04-07 15:24 | 44.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.7511 | μmol/L | 11.586 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.758 | 142324.0685 | 277014.0915 | 36.4 | 83.1
78241 | 2021-04-07 15:24 | 44.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.6122 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.761 | 142322.6929 | 277011.3559 | 36.4 | 83.1
78250 | 2021-04-07 15:24 | 44.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.6335 | μmol/L | 11.5799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.765 | 142324.7303 | 277005.4535 | 36.4 | 83.1
78259 | 2021-04-07 15:25 | 45.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.5866 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.762 | 142319.4989 | 276992.7362 | 36.4 | 83.1
78268 | 2021-04-07 15:25 | 45.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.6379 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.76 | 142309.0344 | 276988.8306 | 36.4 | 83.1
78277 | 2021-04-07 15:25 | 45.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.6635 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.759 | 142295.3832 | 276994.3651 | 36.4 | 83.1
78286 | 2021-04-07 15:26 | 46.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.8024 | μmol/L | 11.586 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.756 | 142271.4171 | 276988.773 | 36.4 | 83.1
78295 | 2021-04-07 15:26 | 46.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.7404 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.756 | 142266.9794 | 276982.9029 | 36.4 | 83.1
78304 | 2021-04-07 15:26 | 46.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.8944 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.75 | 142246.8397 | 276989.9666 | 36.4 | 83.1
78313 | 2021-04-07 15:27 | 47.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.8687 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.751 | 142233.5228 | 276993.221 | 36.4 | 83.1
78322 | 2021-04-07 15:27 | 47.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.8838 | μmol/L | 11.5982 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.748 | 142211.6109 | 276978.3752 | 36.4 | 83.1
78331 | 2021-04-07 15:27 | 47.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.9865 | μmol/L | 11.5982 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.744 | 142198.7311 | 276986.4201 | 36.4 | 83.1
78340 | 2021-04-07 15:28 | 48.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.9351 | μmol/L | 11.5982 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.746 | 142187.6769 | 276984.7461 | 36.4 | 83.1
78349 | 2021-04-07 15:28 | 48.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.0378 | μmol/L | 11.5982 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.742 | 142159.8392 | 276971.1263 | 36.4 | 83.1
78358 | 2021-04-07 15:28 | 48.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.0892 | μmol/L | 11.5982 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142150.678 | 276970.1702 | 36.4 | 83.1
78367 | 2021-04-07 15:29 | 49.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1512 | μmol/L | 11.5921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142141.2442 | 276962.2824 | 36.4 | 83.1
78376 | 2021-04-07 15:29 | 49.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 304.9652 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.74 | 142130.3596 | 276978.5445 | 36.4 | 83.1
78385 | 2021-04-07 15:29 | 49.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.0786 | μmol/L | 11.6044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.738 | 142118.413 | 276967.6047 | 36.4 | 83.1
78394 | 2021-04-07 15:30 | 50.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2328 | μmol/L | 11.6044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.732 | 142086.1966 | 276955.6686 | 36.4 | 83.1
78403 | 2021-04-07 15:30 | 50.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2071 | μmol/L | 11.6044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.733 | 142060.7217 | 276961.763 | 36.4 | 83.1
78412 | 2021-04-07 15:30 | 50.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.3613 | μmol/L | 11.6044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.727 | 142048.8582 | 276960.672 | 36.4 | 83.1
78421 | 2021-04-07 15:31 | 51.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2222 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142030.231 | 276939.3065 | 36.4 | 83.1
78430 | 2021-04-07 15:31 | 51.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2479 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.729 | 142037.2494 | 276941.6299 | 36.4 | 83.1
78439 | 2021-04-07 15:31 | 51.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2222 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142035.1255 | 276947.9448 | 36.4 | 83.1
78448 | 2021-04-07 15:32 | 52.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2736 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.728 | 142044.0266 | 276961.5351 | 36.4 | 83.1
78457 | 2021-04-07 15:32 | 52.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2116 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.728 | 142037.1538 | 276937.9134 | 36.4 | 83.1
78466 | 2021-04-07 15:32 | 52.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2993 | μmol/L | 11.6105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.727 | 142034.6721 | 276949.8918 | 36.4 | 83.1
78475 | 2021-04-07 15:33 | 53.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1088 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.732 | 142028.6172 | 276933.4887 | 36.4 | 83.1
78484 | 2021-04-07 15:33 | 53.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1859 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.729 | 142035.6243 | 276939.0033 | 36.4 | 83.1
78493 | 2021-04-07 15:33 | 53.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1345 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.731 | 142037.8338 | 276938.9461 | 36.4 | 83.1
78502 | 2021-04-07 15:34 | 54.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1859 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.729 | 142029.2679 | 276943.0547 | 36.4 | 83.1
78511 | 2021-04-07 15:34 | 54.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.0982 | μmol/L | 11.6227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142023.3189 | 276931.2226 | 36.4 | 83.1
78520 | 2021-04-07 15:34 | 54.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1496 | μmol/L | 11.6227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.728 | 142028.1389 | 276937.3642 | 36.4 | 83.1
78529 | 2021-04-07 15:35 | 55.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1602 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 142017.4575 | 276925.1488 | 36.4 | 83.1
78538 | 2021-04-07 15:35 | 55.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1088 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.732 | 142013.6718 | 276914.899 | 36.4 | 83.1
78547 | 2021-04-07 15:35 | 55.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.263 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.726 | 142000.7126 | 276914.0806 | 36.4 | 83.1
78556 | 2021-04-07 15:36 | 56.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1602 | μmol/L | 11.6166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.73 | 141989.6462 | 276914.7996 | 36.4 | 83.1
78565 | 2021-04-07 15:36 | 56.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2161 | μmol/L | 11.6288 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.723 | 141979.7921 | 276912.0476 | 36.4 | 83.1
78574 | 2021-04-07 15:36 | 56.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2267 | μmol/L | 11.6227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.725 | 141975.6679 | 276893.6416 | 36.4 | 83.1
78583 | 2021-04-07 15:37 | 57.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.2781 | μmol/L | 11.6227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.723 | 141962.2341 | 276904.5322 | 36.4 | 83.1
78592 | 2021-04-07 15:37 | 57.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 305.1904 | μmol/L | 11.6288 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.724 | 141950.7418 | 276897.1288 | 36.4 | 83.1