## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89589 | 2021-04-09 18:40 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.2153 | μmol/L | 10.4058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.709 | 147851.0566 | 287432.0267 | 26.25 | 74
89598 | 2021-04-09 18:41 | 0.34078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3043 | μmol/L | 10.4362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.693 | 147698.1579 | 287364.9556 | 26.25 | 74
89607 | 2021-04-09 18:41 | 0.67411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4034 | μmol/L | 10.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.679 | 147550.1424 | 287283.5783 | 26.25 | 74
89616 | 2021-04-09 18:41 | 1.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5722 | μmol/L | 10.4848 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.662 | 147388.296 | 287216.2791 | 26.25 | 74
89625 | 2021-04-09 18:42 | 1.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.6487 | μmol/L | 10.5092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.649 | 147238.6966 | 287136.575 | 26.25 | 74
89634 | 2021-04-09 18:42 | 1.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.613 | μmol/L | 10.5456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.636 | 147081.1837 | 287035.6727 | 26.25 | 74
89643 | 2021-04-09 18:42 | 2.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.6801 | μmol/L | 10.576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.621 | 146920.0955 | 286949.2101 | 26.25 | 74
89652 | 2021-04-09 18:43 | 2.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.8925 | μmol/L | 10.5882 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.607 | 146756.029 | 286886.3808 | 26.25 | 74
89661 | 2021-04-09 18:43 | 2.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.9833 | μmol/L | 10.6185 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.591 | 146611.4165 | 286783.9852 | 26.25 | 74
89670 | 2021-04-09 18:43 | 3.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1168 | μmol/L | 10.6368 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.578 | 146460.4897 | 286695.5143 | 26.25 | 74
89679 | 2021-04-09 18:44 | 3.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.148 | μmol/L | 10.6611 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.567 | 146316.0261 | 286615.814 | 26.25 | 74
89688 | 2021-04-09 18:44 | 3.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.249 | μmol/L | 10.6854 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.553 | 146163.411 | 286505.7051 | 26.25 | 74
89697 | 2021-04-09 18:44 | 4.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4393 | μmol/L | 10.6975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.54 | 146016.7367 | 286423.5787 | 26.25 | 74
89706 | 2021-04-09 18:45 | 4.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4613 | μmol/L | 10.7279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.527 | 145870.0153 | 286349.2887 | 26.25 | 74
89715 | 2021-04-09 18:45 | 4.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5259 | μmol/L | 10.7462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.517 | 145723.0427 | 286251.7122 | 26.25 | 74
89724 | 2021-04-09 18:45 | 5.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.6372 | μmol/L | 10.7644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.505 | 145578.436 | 286168.9008 | 26.25 | 74
89733 | 2021-04-09 18:46 | 5.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7253 | μmol/L | 10.7826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.494 | 145436.3124 | 286084.5667 | 26.25 | 74
89742 | 2021-04-09 18:46 | 5.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5986 | μmol/L | 10.8191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.485 | 145310.6334 | 285991.419 | 26.25 | 74
89751 | 2021-04-09 18:46 | 6.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8364 | μmol/L | 10.8313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.47 | 145160.8376 | 285908.1334 | 26.25 | 74
89760 | 2021-04-09 18:47 | 6.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8082 | μmol/L | 10.8495 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.464 | 145030.9413 | 285806.9469 | 26.25 | 74
89769 | 2021-04-09 18:47 | 6.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8641 | μmol/L | 10.8738 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.452 | 144887.9205 | 285714.9393 | 26.25 | 74
89778 | 2021-04-09 18:47 | 7.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9856 | μmol/L | 10.886 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.442 | 144752.7464 | 285623.3247 | 26.25 | 74
89787 | 2021-04-09 18:48 | 7.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.995 | μmol/L | 10.9103 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.432 | 144624.643 | 285540.3895 | 26.25 | 74
89796 | 2021-04-09 18:48 | 7.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.0373 | μmol/L | 10.9285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.423 | 144495.9335 | 285441.8071 | 26.25 | 74
89805 | 2021-04-09 18:48 | 8.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1498 | μmol/L | 10.9467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.411 | 144371.5043 | 285365.6119 | 26.25 | 74
89814 | 2021-04-09 18:49 | 8.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1547 | μmol/L | 10.9589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.406 | 144247.2195 | 285271.5088 | 26.25 | 74
89823 | 2021-04-09 18:49 | 8.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2206 | μmol/L | 10.9771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.396 | 144131.1767 | 285202.0666 | 26.25 | 74
89832 | 2021-04-09 18:49 | 9.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2724 | μmol/L | 10.9893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.389 | 144015.6556 | 285105.8161 | 26.25 | 74
89841 | 2021-04-09 18:50 | 9.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1561 | μmol/L | 11.0197 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.382 | 143896.1908 | 285029.3328 | 26.25 | 74
89850 | 2021-04-09 18:50 | 9.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2875 | μmol/L | 11.0257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.374 | 143790.0355 | 284933.374 | 26.25 | 74
89859 | 2021-04-09 18:50 | 10.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2275 | μmol/L | 11.0501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.367 | 143670.8883 | 284837.3328 | 26.25 | 74
89868 | 2021-04-09 18:51 | 10.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4058 | μmol/L | 11.0561 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.357 | 143565.3688 | 284773.3896 | 26.25 | 74
89877 | 2021-04-09 18:51 | 10.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3876 | μmol/L | 11.0683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.353 | 143446.6288 | 284670.1594 | 26.25 | 74
89886 | 2021-04-09 18:51 | 11.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3043 | μmol/L | 11.0926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.347 | 143338.489 | 284579.6347 | 26.25 | 74
89895 | 2021-04-09 18:52 | 11.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.333 | μmol/L | 11.1048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.341 | 143224.9935 | 284490.0865 | 26.25 | 74
89904 | 2021-04-09 18:52 | 11.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4882 | μmol/L | 11.1108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.332 | 143109.2802 | 284417.6857 | 26.25 | 74
89913 | 2021-04-09 18:52 | 12.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4845 | μmol/L | 11.1291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.325 | 143012.3243 | 284331.1127 | 26.25 | 74
89922 | 2021-04-09 18:53 | 12.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5279 | μmol/L | 11.1473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.316 | 142908.7177 | 284237.0555 | 26.25 | 74
89931 | 2021-04-09 18:53 | 12.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5098 | μmol/L | 11.1595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.312 | 142810.2518 | 284161.8064 | 26.25 | 74
89940 | 2021-04-09 18:53 | 13.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4919 | μmol/L | 11.1716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.308 | 142716.3089 | 284079.2222 | 26.25 | 74
89949 | 2021-04-09 18:54 | 13.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4974 | μmol/L | 11.1838 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.303 | 142616.8325 | 283983.1911 | 26.25 | 74
89958 | 2021-04-09 18:54 | 13.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4795 | μmol/L | 11.1959 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.299 | 142518.3327 | 283898.7869 | 26.25 | 74
89967 | 2021-04-09 18:54 | 14.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3498 | μmol/L | 11.2203 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.295 | 142422.2427 | 283821.0431 | 26.25 | 74
89976 | 2021-04-09 18:55 | 14.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5142 | μmol/L | 11.2203 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.288 | 142334.6259 | 283743.2511 | 26.25 | 74
89985 | 2021-04-09 18:55 | 14.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4024 | μmol/L | 11.2324 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.288 | 142245.7955 | 283654.1677 | 26.25 | 74
89994 | 2021-04-09 18:55 | 15.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5109 | μmol/L | 11.2385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.281 | 142140.3829 | 283560.2384 | 26.25 | 74
90003 | 2021-04-09 18:56 | 15.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.5129 | μmol/L | 11.2506 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.276 | 142062.1469 | 283487.695 | 26.25 | 74
90012 | 2021-04-09 18:56 | 15.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.537 | μmol/L | 11.2689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.268 | 141975.5991 | 283392.4902 | 26.25 | 74
90021 | 2021-04-09 18:56 | 16.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4107 | μmol/L | 11.275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.271 | 141881.5617 | 283318.1021 | 26.25 | 74
90030 | 2021-04-09 18:57 | 16.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4597 | μmol/L | 11.2871 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.264 | 141809.4123 | 283251.641 | 26.25 | 74
90039 | 2021-04-09 18:57 | 16.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3392 | μmol/L | 11.3054 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.262 | 141722.4272 | 283166.9699 | 26.25 | 74
90048 | 2021-04-09 18:57 | 17.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4244 | μmol/L | 11.3114 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.256 | 141628.2627 | 283074.553 | 26.25 | 74
90057 | 2021-04-09 18:58 | 17.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3636 | μmol/L | 11.3236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.254 | 141546.0654 | 283013.4691 | 26.25 | 74
90066 | 2021-04-09 18:58 | 17.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.351 | μmol/L | 11.3297 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.252 | 141467.2197 | 282925.8523 | 26.25 | 74
90075 | 2021-04-09 18:58 | 18.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4039 | μmol/L | 11.3418 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.245 | 141378.875 | 282848.8552 | 26.25 | 74
90084 | 2021-04-09 18:59 | 18.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.4099 | μmol/L | 11.354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.24 | 141301.9601 | 282773.5122 | 26.25 | 74
90093 | 2021-04-09 18:59 | 18.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2279 | μmol/L | 11.3661 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.243 | 141208.837 | 282692.4677 | 26.25 | 74
90102 | 2021-04-09 18:59 | 19.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3836 | μmol/L | 11.3722 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.234 | 141129.2782 | 282613.7852 | 26.25 | 74
90111 | 2021-04-09 19:00 | 19.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3427 | μmol/L | 11.3844 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.231 | 141041.6349 | 282540.7996 | 26.25 | 74
90120 | 2021-04-09 19:00 | 19.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.334 | μmol/L | 11.3905 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.229 | 140966.961 | 282454.9815 | 26.25 | 74
90129 | 2021-04-09 19:00 | 20.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3253 | μmol/L | 11.3965 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.227 | 140889.1812 | 282389.4205 | 26.25 | 74
90138 | 2021-04-09 19:01 | 20.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2609 | μmol/L | 11.4087 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 140810.3509 | 282308.4403 | 26.25 | 74
90147 | 2021-04-09 19:01 | 20.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2992 | μmol/L | 11.4148 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.221 | 140730.7295 | 282220.7625 | 26.25 | 74
90156 | 2021-04-09 19:01 | 21.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3375 | μmol/L | 11.4208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.217 | 140659.4182 | 282160.1648 | 26.25 | 74
90165 | 2021-04-09 19:02 | 21.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3759 | μmol/L | 11.4269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.213 | 140587.8626 | 282078.0969 | 26.25 | 74
90174 | 2021-04-09 19:02 | 21.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3907 | μmol/L | 11.433 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.21 | 140512.9192 | 282011.9034 | 26.25 | 74
90183 | 2021-04-09 19:02 | 22.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3264 | μmol/L | 11.4452 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.208 | 140420.7964 | 281945.9952 | 26.25 | 74
90192 | 2021-04-09 19:03 | 22.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3091 | μmol/L | 11.4573 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.204 | 140356.8029 | 281861.8142 | 26.25 | 74
90201 | 2021-04-09 19:03 | 22.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2856 | μmol/L | 11.4573 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.205 | 140275.9676 | 281781.7303 | 26.25 | 74
90210 | 2021-04-09 19:03 | 23.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3946 | μmol/L | 11.4634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.198 | 140196.4188 | 281708.3066 | 26.25 | 74
90219 | 2021-04-09 19:04 | 23.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3303 | μmol/L | 11.4756 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.196 | 140125.2324 | 281651.1903 | 26.25 | 74
90228 | 2021-04-09 19:04 | 23.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2896 | μmol/L | 11.4877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.193 | 140062.0395 | 281577.8364 | 26.25 | 74
90237 | 2021-04-09 19:04 | 24.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3837 | μmol/L | 11.4877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.189 | 139986.1197 | 281505.7324 | 26.25 | 74
90246 | 2021-04-09 19:05 | 24.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3665 | μmol/L | 11.4999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.185 | 139909.9209 | 281447.5019 | 26.25 | 74
90255 | 2021-04-09 19:05 | 24.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2638 | μmol/L | 11.506 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.187 | 139838.8773 | 281363.6189 | 26.25 | 74
90264 | 2021-04-09 19:05 | 25.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3344 | μmol/L | 11.506 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.184 | 139778.6266 | 281302.2771 | 26.25 | 74
90273 | 2021-04-09 19:06 | 25.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2232 | μmol/L | 11.5181 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.184 | 139710.8125 | 281236.9772 | 26.25 | 74
90282 | 2021-04-09 19:06 | 25.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3408 | μmol/L | 11.5181 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.179 | 139638.4136 | 281175.995 | 26.25 | 74
90291 | 2021-04-09 19:06 | 26.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.3323 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.177 | 139574.9888 | 281094.7077 | 26.25 | 74
90300 | 2021-04-09 19:07 | 26.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2446 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.176 | 139514.8578 | 281038.4082 | 26.25 | 74
90309 | 2021-04-09 19:07 | 26.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2596 | μmol/L | 11.5424 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.173 | 139455.4605 | 280971.5122 | 26.25 | 74
90318 | 2021-04-09 19:07 | 27.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.204 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.173 | 139385.9605 | 280898.4747 | 26.25 | 74
90327 | 2021-04-09 19:08 | 27.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1955 | μmol/L | 11.5546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.171 | 139333.0007 | 280836.5368 | 26.25 | 74
90336 | 2021-04-09 19:08 | 27.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2661 | μmol/L | 11.5546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.168 | 139268.7569 | 280790.7022 | 26.25 | 74
90345 | 2021-04-09 19:08 | 28.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.202 | μmol/L | 11.5667 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.166 | 139211.0843 | 280716.2893 | 26.25 | 74
90354 | 2021-04-09 19:09 | 28.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.2256 | μmol/L | 11.5667 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.165 | 139154.2326 | 280659.5933 | 26.25 | 74
90363 | 2021-04-09 19:09 | 28.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1465 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.166 | 139089.8624 | 280575.3123 | 26.25 | 74
90372 | 2021-04-09 19:09 | 29.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1851 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.162 | 139033.9888 | 280511.5234 | 26.25 | 74
90381 | 2021-04-09 19:10 | 29.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.0505 | μmol/L | 11.5911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.163 | 138979.035 | 280451.6028 | 26.25 | 74
90390 | 2021-04-09 19:10 | 29.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1211 | μmol/L | 11.5911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.16 | 138921.9703 | 280392.8477 | 26.25 | 74
90399 | 2021-04-09 19:10 | 30.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.074 | μmol/L | 11.5911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.162 | 138863.829 | 280334.8039 | 26.25 | 74
90408 | 2021-04-09 19:11 | 30.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9311 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.161 | 138807.6023 | 280285.4048 | 26.25 | 74
90417 | 2021-04-09 19:11 | 30.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9227 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.159 | 138755.3105 | 280197.7953 | 26.25 | 74
90426 | 2021-04-09 19:11 | 31.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9227 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.159 | 138697.6744 | 280151.9217 | 26.25 | 74
90435 | 2021-04-09 19:12 | 31.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9227 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.159 | 138648.8342 | 280074.0379 | 26.25 | 74
90444 | 2021-04-09 19:12 | 31.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9932 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.156 | 138582.3978 | 280012.4423 | 26.25 | 74
90453 | 2021-04-09 19:12 | 32.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8504 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.155 | 138534.5927 | 279959.6729 | 26.25 | 74
90462 | 2021-04-09 19:13 | 32.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.842 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.153 | 138473.8048 | 279897.5255 | 26.25 | 74
90471 | 2021-04-09 19:13 | 32.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.936 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.149 | 138420.852 | 279839.3628 | 26.25 | 74
90480 | 2021-04-09 19:13 | 33.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9192 | μmol/L | 11.6519 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 138359.3509 | 279789.0537 | 26.25 | 74
90489 | 2021-04-09 19:14 | 33.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8571 | μmol/L | 11.6458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.15 | 138308.7863 | 279715.0258 | 26.25 | 74
90498 | 2021-04-09 19:14 | 33.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8957 | μmol/L | 11.6519 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.146 | 138250.2987 | 279665.2905 | 26.25 | 74
90507 | 2021-04-09 19:14 | 34.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8403 | μmol/L | 11.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.146 | 138213.0187 | 279619.1222 | 26.25 | 74
90516 | 2021-04-09 19:15 | 34.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8638 | μmol/L | 11.6579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 138151.5593 | 279550.7068 | 26.25 | 74
90525 | 2021-04-09 19:15 | 34.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8084 | μmol/L | 11.664 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 138098.2426 | 279495.885 | 26.25 | 74
90534 | 2021-04-09 19:15 | 35.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8235 | μmol/L | 11.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.142 | 138047.3101 | 279426.9902 | 26.25 | 74
90543 | 2021-04-09 19:16 | 35.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7296 | μmol/L | 11.6701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.146 | 137999.0087 | 279372.3759 | 26.25 | 74
90552 | 2021-04-09 19:16 | 35.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7682 | μmol/L | 11.6762 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.142 | 137945.2726 | 279324.1562 | 26.25 | 74
90561 | 2021-04-09 19:16 | 36.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.6423 | μmol/L | 11.6822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.145 | 137902.9821 | 279268.7917 | 26.25 | 74
90570 | 2021-04-09 19:17 | 36.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7682 | μmol/L | 11.6762 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.142 | 137850.638 | 279218.8884 | 26.25 | 74
90579 | 2021-04-09 19:17 | 36.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7045 | μmol/L | 11.6883 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 137803.6904 | 279157.706 | 26.25 | 74
90588 | 2021-04-09 19:17 | 37.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7363 | μmol/L | 11.6822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.141 | 137757.0057 | 279102.0881 | 26.25 | 74
90597 | 2021-04-09 19:18 | 37.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.6643 | μmol/L | 11.7005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137705.364 | 279050.5624 | 26.25 | 74
90606 | 2021-04-09 19:18 | 37.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7196 | μmol/L | 11.6944 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137664.9189 | 278992.4212 | 26.25 | 74
90615 | 2021-04-09 19:18 | 38.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5703 | μmol/L | 11.7005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.141 | 137618.2469 | 278941.1501 | 26.25 | 74
90624 | 2021-04-09 19:19 | 38.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.6408 | μmol/L | 11.7005 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 137577.4604 | 278886.4404 | 26.25 | 74
90633 | 2021-04-09 19:19 | 38.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5385 | μmol/L | 11.7066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 137534.3153 | 278838.6175 | 26.25 | 74
90642 | 2021-04-09 19:19 | 39.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4749 | μmol/L | 11.7187 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 137491.2228 | 278793.477 | 26.25 | 74
90651 | 2021-04-09 19:20 | 39.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5772 | μmol/L | 11.7126 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137451.1643 | 278738.8915 | 26.25 | 74
90660 | 2021-04-09 19:20 | 39.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5067 | μmol/L | 11.7126 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 137400.9534 | 278691.7269 | 26.25 | 74
90669 | 2021-04-09 19:20 | 40.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4114 | μmol/L | 11.7309 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137359.3307 | 278642.7996 | 26.25 | 74
90678 | 2021-04-09 19:21 | 40.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3644 | μmol/L | 11.7309 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 137317.1915 | 278592.6768 | 26.25 | 74
90687 | 2021-04-09 19:21 | 40.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4666 | μmol/L | 11.7248 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137283.7827 | 278530.1776 | 26.25 | 74
90696 | 2021-04-09 19:21 | 41.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4114 | μmol/L | 11.7309 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137239.142 | 278488.2589 | 26.25 | 74
90705 | 2021-04-09 19:22 | 41.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3327 | μmol/L | 11.737 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137211.2262 | 278436.5483 | 26.25 | 74
90714 | 2021-04-09 19:22 | 41.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2774 | μmol/L | 11.743 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 137172.4121 | 278376.6538 | 26.25 | 74
90723 | 2021-04-09 19:22 | 42.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3009 | μmol/L | 11.743 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 137131.7837 | 278326.1532 | 26.25 | 74
90732 | 2021-04-09 19:23 | 42.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.254 | μmol/L | 11.743 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 137090.2239 | 278291.4207 | 26.25 | 74
90741 | 2021-04-09 19:23 | 42.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1753 | μmol/L | 11.7491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 137047.9482 | 278246.078 | 26.25 | 74
90750 | 2021-04-09 19:23 | 43.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2057 | μmol/L | 11.7613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 137000.5325 | 278187.2689 | 26.25 | 74
90759 | 2021-04-09 19:24 | 43.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1905 | μmol/L | 11.7552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 136964.4376 | 278149.0477 | 26.25 | 74
90768 | 2021-04-09 19:24 | 43.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2374 | μmol/L | 11.7552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 136922.104 | 278111.5092 | 26.25 | 74
90777 | 2021-04-09 19:24 | 44.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2057 | μmol/L | 11.7613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 136886.7859 | 278053.9981 | 26.25 | 74
90786 | 2021-04-09 19:25 | 44.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1271 | μmol/L | 11.7674 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 136840.3901 | 278017.1983 | 26.25 | 74
90795 | 2021-04-09 19:25 | 44.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2995 | μmol/L | 11.7613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.129 | 136803.2005 | 277981.5045 | 26.25 | 74
90804 | 2021-04-09 19:25 | 45.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0954 | μmol/L | 11.7734 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 136762.7996 | 277915.1862 | 26.25 | 74
90813 | 2021-04-09 19:26 | 45.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1271 | μmol/L | 11.7674 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.134 | 136725.8894 | 277871.4135 | 26.25 | 74
90822 | 2021-04-09 19:26 | 45.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0485 | μmol/L | 11.7734 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 136684.7222 | 277828.3176 | 26.25 | 74
90831 | 2021-04-09 19:26 | 46.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1188 | μmol/L | 11.7734 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 136658.5218 | 277793.6618 | 26.25 | 74
90840 | 2021-04-09 19:27 | 46.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0637 | μmol/L | 11.7795 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 136620.3284 | 277743.5206 | 26.25 | 74
90849 | 2021-04-09 19:27 | 46.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0637 | μmol/L | 11.7795 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.132 | 136585.3423 | 277699.012 | 26.25 | 74
90858 | 2021-04-09 19:27 | 47.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.8996 | μmol/L | 11.7795 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 136558.8329 | 277647.2891 | 26.25 | 74
90867 | 2021-04-09 19:28 | 47.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.8363 | μmol/L | 11.7917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 136520.7871 | 277608.7437 | 26.25 | 74
90876 | 2021-04-09 19:28 | 47.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.828 | μmol/L | 11.7978 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 136494.8261 | 277575.9836 | 26.25 | 74
90885 | 2021-04-09 19:28 | 48.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.766 | μmol/L | 11.7917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 136471.1908 | 277534.0183 | 26.25 | 74
90894 | 2021-04-09 19:29 | 48.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.8363 | μmol/L | 11.7917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 136447.6373 | 277489.9824 | 26.25 | 74
90903 | 2021-04-09 19:29 | 48.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.7578 | μmol/L | 11.7978 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 136413.2087 | 277457.5889 | 26.25 | 74
90912 | 2021-04-09 19:29 | 49.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.7027 | μmol/L | 11.8038 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 136380.1388 | 277404.6577 | 26.25 | 74
90921 | 2021-04-09 19:30 | 49.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.7344 | μmol/L | 11.7978 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 136342.312 | 277365.0013 | 26.25 | 74
90930 | 2021-04-09 19:30 | 49.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.6945 | μmol/L | 11.8099 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 136323.1755 | 277327.8969 | 26.25 | 74
90939 | 2021-04-09 19:30 | 50.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5459 | μmol/L | 11.816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 136290.0462 | 277284.5374 | 26.25 | 74
90948 | 2021-04-09 19:31 | 50.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.6711 | μmol/L | 11.8099 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 136257.8883 | 277240.3199 | 26.25 | 74
90957 | 2021-04-09 19:31 | 50.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4757 | μmol/L | 11.816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.143 | 136226.6785 | 277189.5348 | 26.25 | 74
90966 | 2021-04-09 19:31 | 51.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5693 | μmol/L | 11.816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 136201.9131 | 277156.9501 | 26.25 | 74
90975 | 2021-04-09 19:32 | 51.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5693 | μmol/L | 11.816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 136167.0855 | 277119.0655 | 26.25 | 74
90984 | 2021-04-09 19:32 | 51.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4675 | μmol/L | 11.8221 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.141 | 136139.9157 | 277096.4874 | 26.25 | 74
90993 | 2021-04-09 19:32 | 52.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5377 | μmol/L | 11.8221 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 136107.9325 | 277049.3147 | 26.25 | 74
91002 | 2021-04-09 19:33 | 52.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4675 | μmol/L | 11.8221 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.141 | 136071.8869 | 276991.3063 | 26.25 | 74
91011 | 2021-04-09 19:33 | 52.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4593 | μmol/L | 11.8282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 136053.4431 | 276975.0076 | 26.25 | 74
91020 | 2021-04-09 19:33 | 53.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5061 | μmol/L | 11.8282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 136025.7931 | 276943.3351 | 26.25 | 74
91029 | 2021-04-09 19:34 | 53.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4359 | μmol/L | 11.8282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 135995.1533 | 276907.7286 | 26.25 | 74
91038 | 2021-04-09 19:34 | 53.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3809 | μmol/L | 11.8342 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 135968.6849 | 276859.2626 | 26.25 | 74
91047 | 2021-04-09 19:34 | 54.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4043 | μmol/L | 11.8342 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 135933.9916 | 276833.7689 | 26.25 | 74
91056 | 2021-04-09 19:35 | 54.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3809 | μmol/L | 11.8342 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.14 | 135894.9702 | 276798.5044 | 26.25 | 74
91065 | 2021-04-09 19:35 | 54.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4277 | μmol/L | 11.8342 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 135872.9243 | 276763.5265 | 26.25 | 74
91074 | 2021-04-09 19:35 | 55.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3494 | μmol/L | 11.8403 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.139 | 135844.9535 | 276728.4748 | 26.25 | 74
91083 | 2021-04-09 19:36 | 55.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.2477 | μmol/L | 11.8464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.141 | 135807.613 | 276684.1295 | 26.25 | 74
91092 | 2021-04-09 19:36 | 55.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.2792 | μmol/L | 11.8403 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.142 | 135777.0594 | 276650.3717 | 26.25 | 74
91101 | 2021-04-09 19:36 | 56.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3412 | μmol/L | 11.8464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.137 | 135742.2555 | 276620.4688 | 26.25 | 74
91110 | 2021-04-09 19:37 | 56.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3727 | μmol/L | 11.8403 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.138 | 135710.795 | 276580.9771 | 26.25 | 74
91119 | 2021-04-09 19:37 | 56.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.333 | μmol/L | 11.8525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 135675.1787 | 276543.1124 | 26.25 | 74
91128 | 2021-04-09 19:37 | 57.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3646 | μmol/L | 11.8464 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 135645.2309 | 276513.9666 | 26.25 | 74
91137 | 2021-04-09 19:38 | 57.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.333 | μmol/L | 11.8525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.135 | 135612.5735 | 276489.707 | 26.25 | 74
91146 | 2021-04-09 19:38 | 57.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3798 | μmol/L | 11.8525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.133 | 135582.7861 | 276446.6027 | 26.25 | 74
91155 | 2021-04-09 19:38 | 58.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3096 | μmol/L | 11.8525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.136 | 135559.0263 | 276424.2588 | 26.25 | 74