## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 15:51

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
77039 | 2021-04-07 14:39 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.173 | μmol/L | 11.4208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.224 | 136797.2147 | 277394.7896 | 26.25 | 74
77048 | 2021-04-07 14:40 | 0.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.1965 | μmol/L | 11.4208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.223 | 136805.9467 | 277391.1802 | 26.25 | 74
77057 | 2021-04-07 14:40 | 0.66673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9999 | μmol/L | 11.4269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.229 | 136821.0645 | 277395.6264 | 26.25 | 74
77066 | 2021-04-07 14:40 | 0.99962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 280.0852 | μmol/L | 11.433 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.223 | 136806.7729 | 277364.0803 | 26.25 | 74
77075 | 2021-04-07 14:41 | 1.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9913 | μmol/L | 11.433 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.227 | 136801.5276 | 277354.7464 | 26.25 | 74
77084 | 2021-04-07 14:41 | 1.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9209 | μmol/L | 11.433 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136789.385 | 277344.6212 | 26.25 | 74
77093 | 2021-04-07 14:41 | 2.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8097 | μmol/L | 11.4452 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136793.1794 | 277338.1899 | 26.25 | 74
77102 | 2021-04-07 14:42 | 2.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.9357 | μmol/L | 11.4391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.227 | 136787.6429 | 277336.0383 | 26.25 | 74
77111 | 2021-04-07 14:42 | 2.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8097 | μmol/L | 11.4452 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136785.4181 | 277318.2856 | 26.25 | 74
77120 | 2021-04-07 14:42 | 3.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.8566 | μmol/L | 11.4452 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.228 | 136783.9533 | 277317.6961 | 26.25 | 74
77129 | 2021-04-07 14:43 | 3.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.7393 | μmol/L | 11.4452 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 136795.0891 | 277317.2043 | 26.25 | 74
77138 | 2021-04-07 14:43 | 3.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.6369 | μmol/L | 11.4512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136799.2437 | 277291.7155 | 26.25 | 74
77147 | 2021-04-07 14:43 | 4 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.59 | μmol/L | 11.4512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.237 | 136812.0733 | 277301.3485 | 26.25 | 74
77156 | 2021-04-07 14:44 | 4.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.5197 | μmol/L | 11.4512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.24 | 136819.9378 | 277287.6044 | 26.25 | 74
77165 | 2021-04-07 14:44 | 4.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.4408 | μmol/L | 11.4573 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.241 | 136821.8008 | 277282.573 | 26.25 | 74
77174 | 2021-04-07 14:44 | 4.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3619 | μmol/L | 11.4634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.242 | 136827.3359 | 277278.6242 | 26.25 | 74
77183 | 2021-04-07 14:45 | 5.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2128 | μmol/L | 11.4695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.246 | 136836.4384 | 277261.5205 | 26.25 | 74
77192 | 2021-04-07 14:45 | 5.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2448 | μmol/L | 11.4634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.247 | 136852.4169 | 277267.0518 | 26.25 | 74
77201 | 2021-04-07 14:45 | 6.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1746 | μmol/L | 11.4634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136843.8713 | 277251.1135 | 26.25 | 74
77210 | 2021-04-07 14:46 | 6.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1894 | μmol/L | 11.4695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.247 | 136846.3134 | 277244.4059 | 26.25 | 74
77219 | 2021-04-07 14:46 | 6.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2128 | μmol/L | 11.4695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.246 | 136829.1935 | 277243.3084 | 26.25 | 74
77228 | 2021-04-07 14:46 | 6.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0872 | μmol/L | 11.4756 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.249 | 136822.75 | 277242.0548 | 26.25 | 74
77237 | 2021-04-07 14:47 | 7.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1106 | μmol/L | 11.4756 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.248 | 136815.8666 | 277221.2553 | 26.25 | 74
77246 | 2021-04-07 14:47 | 7.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2041 | μmol/L | 11.4756 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.244 | 136799.1682 | 277227.8565 | 26.25 | 74
77255 | 2021-04-07 14:47 | 7.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1807 | μmol/L | 11.4756 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.245 | 136785.7204 | 277227.173 | 26.25 | 74
77264 | 2021-04-07 14:48 | 8.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2276 | μmol/L | 11.4756 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.243 | 136768.1485 | 277203.598 | 26.25 | 74
77273 | 2021-04-07 14:48 | 8.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2189 | μmol/L | 11.4816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.241 | 136756.5379 | 277214.2596 | 26.25 | 74
77282 | 2021-04-07 14:48 | 8.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2658 | μmol/L | 11.4816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 136741.2517 | 277202.9428 | 26.25 | 74
77291 | 2021-04-07 14:49 | 9.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2423 | μmol/L | 11.4816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.24 | 136735.8773 | 277186.3226 | 26.25 | 74
77300 | 2021-04-07 14:49 | 9.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1549 | μmol/L | 11.4938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 136718.1825 | 277173.0998 | 26.25 | 74
77309 | 2021-04-07 14:49 | 9.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.304 | μmol/L | 11.4877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136698.3649 | 277191.5789 | 26.25 | 74
77318 | 2021-04-07 14:50 | 10.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2017 | μmol/L | 11.4938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.237 | 136688.2357 | 277184.5152 | 26.25 | 74
77327 | 2021-04-07 14:50 | 10.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3188 | μmol/L | 11.4938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 136683.6753 | 277165.6553 | 26.25 | 74
77336 | 2021-04-07 14:50 | 10.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2251 | μmol/L | 11.4938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.236 | 136669.9362 | 277164.5912 | 26.25 | 74
77345 | 2021-04-07 14:51 | 11.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1931 | μmol/L | 11.4999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136650.5182 | 277154.8367 | 26.25 | 74
77354 | 2021-04-07 14:51 | 11.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2485 | μmol/L | 11.4938 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136646.4269 | 277149.0572 | 26.25 | 74
77363 | 2021-04-07 14:51 | 11.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1931 | μmol/L | 11.4999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136636.8662 | 277145.2683 | 26.25 | 74
77372 | 2021-04-07 14:52 | 12.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2634 | μmol/L | 11.4999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 136638.8379 | 277153.7771 | 26.25 | 74
77381 | 2021-04-07 14:52 | 12.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.24 | μmol/L | 11.4999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 136617.9275 | 277133.2831 | 26.25 | 74
77390 | 2021-04-07 14:52 | 13.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.2548 | μmol/L | 11.506 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136616.1508 | 277132.6576 | 26.25 | 74
77399 | 2021-04-07 14:53 | 13.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1994 | μmol/L | 11.512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136614.2591 | 277125.3216 | 26.25 | 74
77408 | 2021-04-07 14:53 | 13.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1846 | μmol/L | 11.506 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.233 | 136606.6091 | 277119.7244 | 26.25 | 74
77417 | 2021-04-07 14:53 | 13.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0824 | μmol/L | 11.512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136592.3149 | 277124.6547 | 26.25 | 74
77426 | 2021-04-07 14:54 | 14.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1994 | μmol/L | 11.512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136599.0154 | 277124.334 | 26.25 | 74
77435 | 2021-04-07 14:54 | 14.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1994 | μmol/L | 11.512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136588.8187 | 277120.1451 | 26.25 | 74
77444 | 2021-04-07 14:54 | 14.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3165 | μmol/L | 11.512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 136574.7871 | 277106.1445 | 26.25 | 74
77453 | 2021-04-07 14:55 | 15.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.3165 | μmol/L | 11.512 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.225 | 136571.1243 | 277100.0077 | 26.25 | 74
77462 | 2021-04-07 14:55 | 15.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0972 | μmol/L | 11.5181 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.232 | 136559.3578 | 277101.8943 | 26.25 | 74
77471 | 2021-04-07 14:55 | 15.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1908 | μmol/L | 11.5181 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.228 | 136551.3875 | 277101.824 | 26.25 | 74
77480 | 2021-04-07 14:56 | 16.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1908 | μmol/L | 11.5181 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.228 | 136544.6785 | 277086.7324 | 26.25 | 74
77489 | 2021-04-07 14:56 | 16.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.0652 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.231 | 136553.6848 | 277081.3449 | 26.25 | 74
77498 | 2021-04-07 14:56 | 16.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.1588 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.227 | 136552.9884 | 277082.8659 | 26.25 | 74
77507 | 2021-04-07 14:57 | 17.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 279.112 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.229 | 136554.1245 | 277079.1195 | 26.25 | 74
77516 | 2021-04-07 14:57 | 17.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.9951 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.234 | 136568.0974 | 277074.5106 | 26.25 | 74
77525 | 2021-04-07 14:57 | 17.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.9717 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136581.911 | 277060.6455 | 26.25 | 74
77534 | 2021-04-07 14:58 | 18.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.8228 | μmol/L | 11.5303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 136596.7911 | 277056.5319 | 26.25 | 74
77543 | 2021-04-07 14:58 | 18.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.8781 | μmol/L | 11.5242 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.239 | 136613.0733 | 277063.951 | 26.25 | 74
77552 | 2021-04-07 14:58 | 19.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.7293 | μmol/L | 11.5303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.243 | 136621.6736 | 277041.4376 | 26.25 | 74
77561 | 2021-04-07 14:59 | 19.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.6593 | μmol/L | 11.5303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.246 | 136650.5704 | 277050.0333 | 26.25 | 74
77570 | 2021-04-07 14:59 | 19.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5425 | μmol/L | 11.5303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.251 | 136668.359 | 277041.6178 | 26.25 | 74
77579 | 2021-04-07 14:59 | 20 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5106 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136678.0225 | 277037.2071 | 26.25 | 74
77588 | 2021-04-07 15:00 | 20.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3473 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.257 | 136680.3981 | 277032.7132 | 26.25 | 74
77597 | 2021-04-07 15:00 | 20.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.5106 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136677.3652 | 277020.0657 | 26.25 | 74
77606 | 2021-04-07 15:00 | 20.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3473 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.257 | 136677.2391 | 277020.9511 | 26.25 | 74
77615 | 2021-04-07 15:01 | 21.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4258 | μmol/L | 11.5303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.256 | 136672.1444 | 277034.3857 | 26.25 | 74
77624 | 2021-04-07 15:01 | 21.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4406 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.253 | 136660.9689 | 277013.3655 | 26.25 | 74
77633 | 2021-04-07 15:01 | 22 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4639 | μmol/L | 11.5363 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.252 | 136642.5459 | 277020.2173 | 26.25 | 74
77642 | 2021-04-07 15:02 | 22.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3069 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.254 | 136637.8935 | 277017.9808 | 26.25 | 74
77651 | 2021-04-07 15:02 | 22.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3768 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.251 | 136632.4312 | 277017.6715 | 26.25 | 74
77660 | 2021-04-07 15:02 | 22.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3535 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.252 | 136621.3043 | 277000.4913 | 26.25 | 74
77669 | 2021-04-07 15:03 | 23.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.3768 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.251 | 136611.2896 | 276988.5414 | 26.25 | 74
77678 | 2021-04-07 15:03 | 23.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.415 | μmol/L | 11.5546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.247 | 136611.0152 | 276996.1358 | 26.25 | 74
77687 | 2021-04-07 15:03 | 24.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4702 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.247 | 136609.3509 | 276978.1985 | 26.25 | 74
77696 | 2021-04-07 15:04 | 24.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4554 | μmol/L | 11.5424 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136608.9904 | 276982.916 | 26.25 | 74
77705 | 2021-04-07 15:04 | 24.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.4002 | μmol/L | 11.5485 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136608.3075 | 276972.3857 | 26.25 | 74
77714 | 2021-04-07 15:04 | 25 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.345 | μmol/L | 11.5546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136606.113 | 276960.5392 | 26.25 | 74
77723 | 2021-04-07 15:05 | 25.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.2284 | μmol/L | 11.5546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.255 | 136616.3784 | 276961.1748 | 26.25 | 74
77732 | 2021-04-07 15:05 | 25.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.205 | μmol/L | 11.5546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.256 | 136628.5956 | 276949.913 | 26.25 | 74
77741 | 2021-04-07 15:05 | 25.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.1499 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.256 | 136639.4261 | 276955.4687 | 26.25 | 74
77750 | 2021-04-07 15:06 | 26.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.1266 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.257 | 136648.0158 | 276945.326 | 26.25 | 74
77759 | 2021-04-07 15:06 | 26.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.0101 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.262 | 136651.934 | 276941.8384 | 26.25 | 74
77768 | 2021-04-07 15:06 | 26.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.0715 | μmol/L | 11.5667 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.257 | 136656.3267 | 276935.6203 | 26.25 | 74
77777 | 2021-04-07 15:07 | 27.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.0567 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.26 | 136659.9241 | 276939.6972 | 26.25 | 74
77786 | 2021-04-07 15:07 | 27.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 278.0334 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.261 | 136653.4916 | 276933.1867 | 26.25 | 74
77795 | 2021-04-07 15:07 | 27.9994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.9402 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.265 | 136668.9386 | 276928.0827 | 26.25 | 74
77804 | 2021-04-07 15:08 | 28.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.8704 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 136684.8085 | 276926.7544 | 26.25 | 74
77813 | 2021-04-07 15:08 | 28.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.8005 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.271 | 136678.6655 | 276935.084 | 26.25 | 74
77822 | 2021-04-07 15:08 | 28.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7455 | μmol/L | 11.5667 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.271 | 136683.875 | 276915.3859 | 26.25 | 74
77831 | 2021-04-07 15:09 | 29.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.8238 | μmol/L | 11.5607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.27 | 136695.9157 | 276919.2424 | 26.25 | 74
77840 | 2021-04-07 15:09 | 29.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6671 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.272 | 136695.1335 | 276910.4754 | 26.25 | 74
77849 | 2021-04-07 15:09 | 30.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.8153 | μmol/L | 11.5667 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 136687.3298 | 276892.6305 | 26.25 | 74
77858 | 2021-04-07 15:10 | 30.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6671 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.272 | 136690.5097 | 276898.047 | 26.25 | 74
77867 | 2021-04-07 15:10 | 30.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7137 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.27 | 136685.743 | 276892.2611 | 26.25 | 74
77876 | 2021-04-07 15:10 | 30.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6586 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.27 | 136682.1612 | 276886.5547 | 26.25 | 74
77885 | 2021-04-07 15:11 | 31.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6671 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.272 | 136668.0851 | 276879.114 | 26.25 | 74
77894 | 2021-04-07 15:11 | 31.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6206 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.274 | 136665.3878 | 276894.1376 | 26.25 | 74
77903 | 2021-04-07 15:11 | 31.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6121 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.272 | 136666.9146 | 276879.5087 | 26.25 | 74
77912 | 2021-04-07 15:12 | 32.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7137 | μmol/L | 11.5728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.27 | 136656.2798 | 276884.078 | 26.25 | 74
77921 | 2021-04-07 15:12 | 32.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7284 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.267 | 136646.4589 | 276883.9408 | 26.25 | 74
77930 | 2021-04-07 15:12 | 33.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7052 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 136627.0482 | 276873.4974 | 26.25 | 74
77939 | 2021-04-07 15:13 | 33.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7665 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.263 | 136620.3562 | 276864.9605 | 26.25 | 74
77948 | 2021-04-07 15:13 | 33.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.775 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.265 | 136619.577 | 276880.2227 | 26.25 | 74
77957 | 2021-04-07 15:13 | 33.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.8215 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.263 | 136608.6146 | 276856.1225 | 26.25 | 74
77966 | 2021-04-07 15:14 | 34.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.7897 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.262 | 136611.4274 | 276858.1261 | 26.25 | 74
77975 | 2021-04-07 15:14 | 34.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6967 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.266 | 136615.1027 | 276857.0302 | 26.25 | 74
77984 | 2021-04-07 15:14 | 35 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6734 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.267 | 136620.2692 | 276860.2478 | 26.25 | 74
77993 | 2021-04-07 15:15 | 35.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6501 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 136625.7005 | 276853.5837 | 26.25 | 74
78002 | 2021-04-07 15:15 | 35.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6354 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.271 | 136629.7177 | 276852.4724 | 26.25 | 74
78011 | 2021-04-07 15:15 | 35.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6586 | μmol/L | 11.5789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.27 | 136631.3616 | 276839.7167 | 26.25 | 74
78020 | 2021-04-07 15:16 | 36.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4874 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.275 | 136649.6175 | 276840.5763 | 26.25 | 74
78029 | 2021-04-07 15:16 | 36.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5338 | μmol/L | 11.585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.273 | 136650.1322 | 276843.1804 | 26.25 | 74
78038 | 2021-04-07 15:16 | 36.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4789 | μmol/L | 11.5911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.273 | 136638.9387 | 276838.2859 | 26.25 | 74
78047 | 2021-04-07 15:17 | 37.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4471 | μmol/L | 11.5971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.272 | 136645.2842 | 276822.8298 | 26.25 | 74
78056 | 2021-04-07 15:17 | 37.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4006 | μmol/L | 11.5971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.274 | 136653.1275 | 276829.1803 | 26.25 | 74
78065 | 2021-04-07 15:17 | 37.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2528 | μmol/L | 11.6032 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.278 | 136672.4748 | 276823.9577 | 26.25 | 74
78074 | 2021-04-07 15:18 | 38.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.238 | μmol/L | 11.5971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136675.4018 | 276825.0609 | 26.25 | 74
78083 | 2021-04-07 15:18 | 38.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2612 | μmol/L | 11.5971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.28 | 136672.7666 | 276811.3103 | 26.25 | 74
78092 | 2021-04-07 15:18 | 38.9994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2697 | μmol/L | 11.5911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.282 | 136679.0819 | 276806.5478 | 26.25 | 74
78101 | 2021-04-07 15:19 | 39.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1367 | μmol/L | 11.6032 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136691.9898 | 276800.5607 | 26.25 | 74
78110 | 2021-04-07 15:19 | 39.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1452 | μmol/L | 11.5971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136688.1779 | 276807.5782 | 26.25 | 74
78119 | 2021-04-07 15:19 | 40.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1072 | μmol/L | 11.5911 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.289 | 136695.557 | 276795.5823 | 26.25 | 74
78128 | 2021-04-07 15:20 | 40.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0902 | μmol/L | 11.6032 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136704.2864 | 276792.3594 | 26.25 | 74
78137 | 2021-04-07 15:20 | 40.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1219 | μmol/L | 11.5971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136692.6943 | 276786.0831 | 26.25 | 74
78146 | 2021-04-07 15:20 | 40.9994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.989 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.287 | 136691.0758 | 276790.9479 | 26.25 | 74
78155 | 2021-04-07 15:21 | 41.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0438 | μmol/L | 11.6032 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.287 | 136677.7224 | 276790.5871 | 26.25 | 74
78164 | 2021-04-07 15:21 | 41.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1367 | μmol/L | 11.6032 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136666.1495 | 276771.5608 | 26.25 | 74
78173 | 2021-04-07 15:21 | 41.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1282 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136654.9634 | 276770.5439 | 26.25 | 74
78182 | 2021-04-07 15:22 | 42.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1514 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.28 | 136642.9906 | 276779.5499 | 26.25 | 74
78191 | 2021-04-07 15:22 | 42.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1282 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136637.2255 | 276774.5196 | 26.25 | 74
78200 | 2021-04-07 15:22 | 42.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1429 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.278 | 136629.1192 | 276764.5983 | 26.25 | 74
78209 | 2021-04-07 15:23 | 43.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.105 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.282 | 136625.5655 | 276768.1476 | 26.25 | 74
78218 | 2021-04-07 15:23 | 43.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0354 | μmol/L | 11.6093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136622.8299 | 276770.4994 | 26.25 | 74
78227 | 2021-04-07 15:23 | 43.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.9256 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136630.485 | 276760.5777 | 26.25 | 74
78236 | 2021-04-07 15:24 | 44.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0037 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136632.0898 | 276744.9743 | 26.25 | 74
78245 | 2021-04-07 15:24 | 44.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0269 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136647.1221 | 276741.8545 | 26.25 | 74
78254 | 2021-04-07 15:24 | 45.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.9109 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.288 | 136655.5919 | 276741.1374 | 26.25 | 74
78263 | 2021-04-07 15:25 | 45.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.9805 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136674.7774 | 276756.6712 | 26.25 | 74
78272 | 2021-04-07 15:25 | 45.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.795 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.293 | 136682.8651 | 276751.8997 | 26.25 | 74
78281 | 2021-04-07 15:25 | 45.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.717 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.294 | 136708.0542 | 276723.8127 | 26.25 | 74
78290 | 2021-04-07 15:26 | 46.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6706 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.296 | 136718.356 | 276723.2492 | 26.25 | 74
78299 | 2021-04-07 15:26 | 46.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6328 | μmol/L | 11.6154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.3 | 136729.5814 | 276712.8441 | 26.25 | 74
78308 | 2021-04-07 15:26 | 46.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.578 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.3 | 136739.5284 | 276724.7309 | 26.25 | 74
78317 | 2021-04-07 15:27 | 47.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5085 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.303 | 136744.9572 | 276717.4521 | 26.25 | 74
78326 | 2021-04-07 15:27 | 47.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5085 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.303 | 136741.0518 | 276723.5489 | 26.25 | 74
78335 | 2021-04-07 15:27 | 48 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5317 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.302 | 136733.6621 | 276705.1065 | 26.25 | 74
78344 | 2021-04-07 15:28 | 48.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6011 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.299 | 136719.9059 | 276707.0153 | 26.25 | 74
78353 | 2021-04-07 15:28 | 48.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.578 | μmol/L | 11.6215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.3 | 136703.6438 | 276712.9142 | 26.25 | 74
78362 | 2021-04-07 15:28 | 48.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5927 | μmol/L | 11.6275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.297 | 136690.7626 | 276714.2141 | 26.25 | 74
78371 | 2021-04-07 15:29 | 49.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.639 | μmol/L | 11.6275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.295 | 136667.3806 | 276703.3384 | 26.25 | 74
78380 | 2021-04-07 15:29 | 49.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6305 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.293 | 136654.5287 | 276703.4964 | 26.25 | 74
78389 | 2021-04-07 15:29 | 50 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7549 | μmol/L | 11.6275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.29 | 136637.3277 | 276689.3888 | 26.25 | 74
78398 | 2021-04-07 15:30 | 50.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7696 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.287 | 136625.0246 | 276697.3042 | 26.25 | 74
78407 | 2021-04-07 15:30 | 50.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8012 | μmol/L | 11.6275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.288 | 136603.347 | 276684.2043 | 26.25 | 74
78416 | 2021-04-07 15:30 | 50.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.738 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136592.5484 | 276685.6582 | 26.25 | 74
78425 | 2021-04-07 15:31 | 51.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8391 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136575.0156 | 276676.0043 | 26.25 | 74
78434 | 2021-04-07 15:31 | 51.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.01 | μmol/L | 11.6275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.279 | 136576.5922 | 276673.7734 | 26.25 | 74
78443 | 2021-04-07 15:31 | 51.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7928 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136569.5175 | 276668.5358 | 26.25 | 74
78452 | 2021-04-07 15:32 | 52.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8855 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.282 | 136573.0492 | 276668.0095 | 26.25 | 74
78461 | 2021-04-07 15:32 | 52.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.9087 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136558.2033 | 276652.4476 | 26.25 | 74
78470 | 2021-04-07 15:32 | 53.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8075 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136562.1278 | 276674.174 | 26.25 | 74
78479 | 2021-04-07 15:33 | 53.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8855 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.282 | 136560.9361 | 276667.7054 | 26.25 | 74
78488 | 2021-04-07 15:33 | 53.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8539 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136561.2401 | 276663.2825 | 26.25 | 74
78497 | 2021-04-07 15:33 | 53.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8623 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136555.0636 | 276661.1358 | 26.25 | 74
78506 | 2021-04-07 15:34 | 54.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8391 | μmol/L | 11.6336 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136548.3363 | 276660.5132 | 26.25 | 74
78515 | 2021-04-07 15:34 | 54.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8771 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.28 | 136541.4577 | 276662.9586 | 26.25 | 74
78524 | 2021-04-07 15:34 | 54.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8539 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136548.6414 | 276647.3325 | 26.25 | 74
78533 | 2021-04-07 15:35 | 55.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7843 | μmol/L | 11.6397 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136557.2234 | 276636.3201 | 26.25 | 74
78542 | 2021-04-07 15:35 | 55.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7527 | μmol/L | 11.6458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136556.2704 | 276647.8385 | 26.25 | 74
78551 | 2021-04-07 15:35 | 56.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6832 | μmol/L | 11.6458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136554.4822 | 276636.5404 | 26.25 | 74
78560 | 2021-04-07 15:36 | 56.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6747 | μmol/L | 11.6519 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136544.5481 | 276637.9536 | 26.25 | 74
78569 | 2021-04-07 15:36 | 56.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6979 | μmol/L | 11.6519 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136545.4969 | 276658.4035 | 26.25 | 74
78578 | 2021-04-07 15:36 | 56.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6747 | μmol/L | 11.6519 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136543.6192 | 276629.1054 | 26.25 | 74
78587 | 2021-04-07 15:37 | 57.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7527 | μmol/L | 11.6458 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136536.0847 | 276635.8004 | 26.25 | 74
78596 | 2021-04-07 15:37 | 57.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7211 | μmol/L | 11.6519 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.282 | 136535.0047 | 276639.6375 | 26.25 | 74