## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 19:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
89590 | 2021-04-09 18:40 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.2102 | μmol/L | 10.4274 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.534 | 134713.13 | 281300.222 | 32.55 | 27.7
89599 | 2021-04-09 18:41 | 0.33074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.3607 | μmol/L | 10.464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.513 | 134558.4403 | 281260.3901 | 32.55 | 27.7
89608 | 2021-04-09 18:41 | 0.66412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.5214 | μmol/L | 10.4945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.494 | 134401.049 | 281215.2553 | 32.55 | 27.7
89617 | 2021-04-09 18:41 | 0.99709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.7389 | μmol/L | 10.5189 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.475 | 134233.193 | 281160.7861 | 32.55 | 27.7
89626 | 2021-04-09 18:42 | 1.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.7739 | μmol/L | 10.5555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.459 | 134093.8829 | 281094.1411 | 32.55 | 27.7
89635 | 2021-04-09 18:42 | 1.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.8052 | μmol/L | 10.5799 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.448 | 133967.1632 | 281048.33 | 32.55 | 27.7
89644 | 2021-04-09 18:42 | 1.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.7941 | μmol/L | 10.6165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.434 | 133799.1614 | 280985.1261 | 32.55 | 27.7
89653 | 2021-04-09 18:43 | 2.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.966 | μmol/L | 10.6409 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.417 | 133645.1582 | 280941.3377 | 32.55 | 27.7
89662 | 2021-04-09 18:43 | 2.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.9554 | μmol/L | 10.6775 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.403 | 133502.6093 | 280893.7372 | 32.55 | 27.7
89671 | 2021-04-09 18:43 | 2.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.0906 | μmol/L | 10.6958 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.39 | 133369.7828 | 280840.7742 | 32.55 | 27.7
89680 | 2021-04-09 18:44 | 3.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.0994 | μmol/L | 10.7202 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.38 | 133223.835 | 280782.9001 | 32.55 | 27.7
89689 | 2021-04-09 18:44 | 3.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.1786 | μmol/L | 10.7447 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.367 | 133072.5883 | 280725.7909 | 32.55 | 27.7
89698 | 2021-04-09 18:44 | 3.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.3283 | μmol/L | 10.7691 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.351 | 132913.1541 | 280685.7674 | 32.55 | 27.7
89707 | 2021-04-09 18:45 | 4.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.4079 | μmol/L | 10.7935 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.338 | 132762.6369 | 280622.0619 | 32.55 | 27.7
89716 | 2021-04-09 18:45 | 4.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.6286 | μmol/L | 10.8179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.319 | 132625.2878 | 280564.2324 | 32.55 | 27.7
89725 | 2021-04-09 18:45 | 4.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.6241 | μmol/L | 10.8362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.312 | 132479.376 | 280499.7076 | 32.55 | 27.7
89734 | 2021-04-09 18:46 | 5.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.7748 | μmol/L | 10.8606 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.296 | 132333.4046 | 280456.5555 | 32.55 | 27.7
89743 | 2021-04-09 18:46 | 5.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.7519 | μmol/L | 10.8911 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.285 | 132200.836 | 280416.8345 | 32.55 | 27.7
89752 | 2021-04-09 18:46 | 5.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8417 | μmol/L | 10.9094 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.274 | 132057.8601 | 280353.2653 | 32.55 | 27.7
89761 | 2021-04-09 18:47 | 6.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.9552 | μmol/L | 10.9277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 131927.0167 | 280291.5195 | 32.55 | 27.7
89770 | 2021-04-09 18:47 | 6.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.9746 | μmol/L | 10.946 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.254 | 131792.6457 | 280246.5216 | 32.55 | 27.7
89779 | 2021-04-09 18:47 | 6.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2154 | μmol/L | 10.9582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.239 | 131657.7871 | 280194.2434 | 32.55 | 27.7
89788 | 2021-04-09 18:48 | 7.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2731 | μmol/L | 10.9826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.227 | 131532.1052 | 280151.2127 | 32.55 | 27.7
89797 | 2021-04-09 18:48 | 7.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.3073 | μmol/L | 11.007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.216 | 131399.2534 | 280088.2808 | 32.55 | 27.7
89806 | 2021-04-09 18:48 | 7.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.3181 | μmol/L | 11.0314 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.206 | 131274.6455 | 280033.4593 | 32.55 | 27.7
89815 | 2021-04-09 18:49 | 8.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4416 | μmol/L | 11.0436 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.196 | 131157.284 | 279985.7977 | 32.55 | 27.7
89824 | 2021-04-09 18:49 | 8.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4144 | μmol/L | 11.0619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.19 | 131036.4962 | 279940.004 | 32.55 | 27.7
89833 | 2021-04-09 18:49 | 8.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5145 | μmol/L | 11.0741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.181 | 130920.5557 | 279893.377 | 32.55 | 27.7
89842 | 2021-04-09 18:50 | 9.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6292 | μmol/L | 11.0924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.169 | 130802.0413 | 279835.2872 | 32.55 | 27.7
89851 | 2021-04-09 18:50 | 9.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6822 | μmol/L | 11.1046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.162 | 130695.0382 | 279795.1277 | 32.55 | 27.7
89860 | 2021-04-09 18:50 | 9.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7498 | μmol/L | 11.1229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.152 | 130580.0228 | 279733.8884 | 32.55 | 27.7
89869 | 2021-04-09 18:51 | 10.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6757 | μmol/L | 11.1412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 130466.7182 | 279666.5132 | 32.55 | 27.7
89878 | 2021-04-09 18:51 | 10.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6726 | μmol/L | 11.1595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.141 | 130373.6905 | 279609.502 | 32.55 | 27.7
89887 | 2021-04-09 18:51 | 10.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.637 | μmol/L | 11.1839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 130272.0342 | 279572.7508 | 32.55 | 27.7
89896 | 2021-04-09 18:52 | 11.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7464 | μmol/L | 11.19 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 130182.4045 | 279530.3342 | 32.55 | 27.7
89905 | 2021-04-09 18:52 | 11.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.705 | μmol/L | 11.2022 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.123 | 130087.3872 | 279463.135 | 32.55 | 27.7
89914 | 2021-04-09 18:52 | 11.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.711 | μmol/L | 11.2144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 129993.6648 | 279401.9397 | 32.55 | 27.7
89923 | 2021-04-09 18:53 | 12.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.646 | μmol/L | 11.2267 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.116 | 129899.6156 | 279369.5304 | 32.55 | 27.7
89932 | 2021-04-09 18:53 | 12.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8177 | μmol/L | 11.2389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.104 | 129798.6967 | 279314.8355 | 32.55 | 27.7
89941 | 2021-04-09 18:53 | 12.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.744 | μmol/L | 11.2572 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.1 | 129691.8075 | 279245.7032 | 32.55 | 27.7
89950 | 2021-04-09 18:54 | 13.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8536 | μmol/L | 11.2633 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.093 | 129597.0879 | 279212.5575 | 32.55 | 27.7
89959 | 2021-04-09 18:54 | 13.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8835 | μmol/L | 11.2755 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.087 | 129501.782 | 279151.5437 | 32.55 | 27.7
89968 | 2021-04-09 18:54 | 13.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9134 | μmol/L | 11.2877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 129421.1588 | 279115.609 | 32.55 | 27.7
89977 | 2021-04-09 18:55 | 14.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7212 | μmol/L | 11.306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.082 | 129338.8125 | 279057.8871 | 32.55 | 27.7
89986 | 2021-04-09 18:55 | 14.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7362 | μmol/L | 11.3121 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.079 | 129258.2753 | 279004.5497 | 32.55 | 27.7
89995 | 2021-04-09 18:55 | 14.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7899 | μmol/L | 11.3243 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.072 | 129179.0806 | 278967.9654 | 32.55 | 27.7
90004 | 2021-04-09 18:56 | 15.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8436 | μmol/L | 11.3365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 129071.88 | 278909.6697 | 32.55 | 27.7
90013 | 2021-04-09 18:56 | 15.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.8499 | μmol/L | 11.3487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 128979.2276 | 278857.985 | 32.55 | 27.7
90022 | 2021-04-09 18:56 | 15.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.88 | μmol/L | 11.3609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 128888.3727 | 278799.7264 | 32.55 | 27.7
90031 | 2021-04-09 18:57 | 16.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9426 | μmol/L | 11.367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 128787.3112 | 278764.7232 | 32.55 | 27.7
90040 | 2021-04-09 18:57 | 16.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9253 | μmol/L | 11.3792 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 128709.0228 | 278712.0769 | 32.55 | 27.7
90049 | 2021-04-09 18:57 | 16.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9555 | μmol/L | 11.3914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 128625.9181 | 278676.6543 | 32.55 | 27.7
90058 | 2021-04-09 18:58 | 17.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9469 | μmol/L | 11.3975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.037 | 128538.522 | 278638.4039 | 32.55 | 27.7
90067 | 2021-04-09 18:58 | 17.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.0009 | μmol/L | 11.4097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.03 | 128445.7609 | 278579.577 | 32.55 | 27.7
90076 | 2021-04-09 18:58 | 17.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.0398 | μmol/L | 11.4158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.026 | 128370.844 | 278528.0628 | 32.55 | 27.7
90085 | 2021-04-09 18:59 | 18.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.1024 | μmol/L | 11.4219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.021 | 128285.2996 | 278491.685 | 32.55 | 27.7
90094 | 2021-04-09 18:59 | 18.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.109 | μmol/L | 11.4341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 128199.803 | 278447.6716 | 32.55 | 27.7
90103 | 2021-04-09 18:59 | 18.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.0444 | μmol/L | 11.4463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 128110.4651 | 278381.6749 | 32.55 | 27.7
90112 | 2021-04-09 19:00 | 19.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.226 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.004 | 128022.5196 | 278333.0762 | 32.55 | 27.7
90121 | 2021-04-09 19:00 | 19.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.2735 | μmol/L | 11.4524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.002 | 127936.761 | 278286.1096 | 32.55 | 27.7
90130 | 2021-04-09 19:00 | 19.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.2004 | μmol/L | 11.4707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.998 | 127855.0799 | 278242.4455 | 32.55 | 27.7
90139 | 2021-04-09 19:01 | 20.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.056 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.997 | 127780.7753 | 278198.0902 | 32.55 | 27.7
90148 | 2021-04-09 19:01 | 20.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.2224 | μmol/L | 11.489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.99 | 127698.5716 | 278153.7469 | 32.55 | 27.7
90157 | 2021-04-09 19:01 | 20.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.3091 | μmol/L | 11.4951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.984 | 127609.0812 | 278100.8322 | 32.55 | 27.7
90166 | 2021-04-09 19:02 | 21.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.4196 | μmol/L | 11.5012 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.977 | 127523.4135 | 278074.4735 | 32.55 | 27.7
90175 | 2021-04-09 19:02 | 21.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.4587 | μmol/L | 11.5073 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.973 | 127429.3535 | 278034.5636 | 32.55 | 27.7
90184 | 2021-04-09 19:02 | 21.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.5931 | μmol/L | 11.5134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.965 | 127355.277 | 277998.9508 | 32.55 | 27.7
90193 | 2021-04-09 19:03 | 22.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.5048 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.964 | 127266.7752 | 277947.0919 | 32.55 | 27.7
90202 | 2021-04-09 19:03 | 22.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.6001 | μmol/L | 11.5256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.96 | 127187.4868 | 277907.1839 | 32.55 | 27.7
90211 | 2021-04-09 19:03 | 22.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.7223 | μmol/L | 11.5379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.95 | 127096.3845 | 277846.1005 | 32.55 | 27.7
90220 | 2021-04-09 19:04 | 23.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.9731 | μmol/L | 11.5318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.942 | 127002.1234 | 277804.8823 | 32.55 | 27.7
90229 | 2021-04-09 19:04 | 23.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.9324 | μmol/L | 11.544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.939 | 126919.0128 | 277758.7055 | 32.55 | 27.7
90238 | 2021-04-09 19:04 | 23.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.9479 | μmol/L | 11.5501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.936 | 126826.8451 | 277729.2539 | 32.55 | 27.7
90247 | 2021-04-09 19:05 | 24.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.1027 | μmol/L | 11.5562 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.927 | 126753.6773 | 277690.9665 | 32.55 | 27.7
90256 | 2021-04-09 19:05 | 24.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.0182 | μmol/L | 11.5684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.926 | 126670.245 | 277635.3433 | 32.55 | 27.7
90265 | 2021-04-09 19:05 | 24.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.1253 | μmol/L | 11.5745 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.919 | 126585.0788 | 277590.1334 | 32.55 | 27.7
90274 | 2021-04-09 19:06 | 25.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.037 | μmol/L | 11.5867 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.918 | 126516.9358 | 277556.0256 | 32.55 | 27.7
90283 | 2021-04-09 19:06 | 25.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.0931 | μmol/L | 11.5806 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.918 | 126431.8406 | 277524.0813 | 32.55 | 27.7
90292 | 2021-04-09 19:06 | 25.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.2237 | μmol/L | 11.5928 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.908 | 126356.9176 | 277470.8746 | 32.55 | 27.7
90301 | 2021-04-09 19:07 | 26.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.3393 | μmol/L | 11.5928 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.903 | 126294.3107 | 277440.2479 | 32.55 | 27.7
90310 | 2021-04-09 19:07 | 26.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.2987 | μmol/L | 11.605 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.9 | 126218.0795 | 277398.5378 | 32.55 | 27.7
90319 | 2021-04-09 19:07 | 26.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.3983 | μmol/L | 11.605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.896 | 126135.1684 | 277348.2919 | 32.55 | 27.7
90328 | 2021-04-09 19:08 | 27.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.4618 | μmol/L | 11.6111 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.891 | 126065.7328 | 277321.2713 | 32.55 | 27.7
90337 | 2021-04-09 19:08 | 27.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.4495 | μmol/L | 11.6172 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.889 | 125993.7363 | 277282.2384 | 32.55 | 27.7
90346 | 2021-04-09 19:08 | 27.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.513 | μmol/L | 11.6233 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.884 | 125916.3207 | 277220.256 | 32.55 | 27.7
90355 | 2021-04-09 19:09 | 28.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.4808 | μmol/L | 11.6294 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.883 | 125843.8439 | 277211.1009 | 32.55 | 27.7
90364 | 2021-04-09 19:09 | 28.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6484 | μmol/L | 11.6294 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.876 | 125775.6039 | 277155.6645 | 32.55 | 27.7
90373 | 2021-04-09 19:09 | 28.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.5839 | μmol/L | 11.6416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.874 | 125709.2281 | 277120.1478 | 32.55 | 27.7
90382 | 2021-04-09 19:10 | 29.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6235 | μmol/L | 11.6477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.87 | 125632.9955 | 277079.4281 | 32.55 | 27.7
90391 | 2021-04-09 19:10 | 29.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8393 | μmol/L | 11.6477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.861 | 125562.5497 | 277024.584 | 32.55 | 27.7
90400 | 2021-04-09 19:10 | 29.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6872 | μmol/L | 11.6538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.865 | 125499.5249 | 277002.5271 | 32.55 | 27.7
90409 | 2021-04-09 19:11 | 30.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7591 | μmol/L | 11.6538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.862 | 125435.4472 | 276961.8848 | 32.55 | 27.7
90418 | 2021-04-09 19:11 | 30.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8467 | μmol/L | 11.6599 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.856 | 125377.189 | 276927.2948 | 32.55 | 27.7
90427 | 2021-04-09 19:11 | 30.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6384 | μmol/L | 11.6721 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.86 | 125314.566 | 276904.7624 | 32.55 | 27.7
90436 | 2021-04-09 19:12 | 31.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7583 | μmol/L | 11.6721 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.855 | 125265.5514 | 276871.0014 | 32.55 | 27.7
90445 | 2021-04-09 19:12 | 31.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8302 | μmol/L | 11.6721 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.852 | 125205.8806 | 276831.3031 | 32.55 | 27.7
90454 | 2021-04-09 19:12 | 31.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.774 | μmol/L | 11.6782 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.852 | 125158.3703 | 276801.7429 | 32.55 | 27.7
90463 | 2021-04-09 19:13 | 32.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8542 | μmol/L | 11.6721 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.851 | 125102.1863 | 276763.0492 | 32.55 | 27.7
90472 | 2021-04-09 19:13 | 32.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8535 | μmol/L | 11.6904 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.844 | 125046.4288 | 276713.2299 | 32.55 | 27.7
90481 | 2021-04-09 19:13 | 32.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8453 | μmol/L | 11.6965 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 124990.5327 | 276675.4112 | 32.55 | 27.7
90490 | 2021-04-09 19:14 | 33.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9255 | μmol/L | 11.6904 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.841 | 124921.039 | 276639.4822 | 32.55 | 27.7
90499 | 2021-04-09 19:14 | 33.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8213 | μmol/L | 11.6965 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.843 | 124873.256 | 276611.7305 | 32.55 | 27.7
90508 | 2021-04-09 19:14 | 33.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8289 | μmol/L | 11.7087 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.838 | 124815.0839 | 276580.9989 | 32.55 | 27.7
90517 | 2021-04-09 19:15 | 34.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8289 | μmol/L | 11.7087 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.838 | 124764.2585 | 276531.057 | 32.55 | 27.7
90526 | 2021-04-09 19:15 | 34.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7727 | μmol/L | 11.7148 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.838 | 124708.1046 | 276499.161 | 32.55 | 27.7
90535 | 2021-04-09 19:15 | 34.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8529 | μmol/L | 11.7087 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.837 | 124665.6926 | 276464.8115 | 32.55 | 27.7
90544 | 2021-04-09 19:16 | 35.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7967 | μmol/L | 11.7148 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.837 | 124609.353 | 276424.3301 | 32.55 | 27.7
90553 | 2021-04-09 19:16 | 35.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7885 | μmol/L | 11.7209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.835 | 124569.9942 | 276394.8357 | 32.55 | 27.7
90562 | 2021-04-09 19:16 | 35.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7084 | μmol/L | 11.727 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.836 | 124533.1139 | 276357.9034 | 32.55 | 27.7
90571 | 2021-04-09 19:17 | 36.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7084 | μmol/L | 11.727 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.836 | 124489.0491 | 276339.7511 | 32.55 | 27.7
90580 | 2021-04-09 19:17 | 36.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6763 | μmol/L | 11.7331 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.835 | 124448.8368 | 276292.9029 | 32.55 | 27.7
90589 | 2021-04-09 19:17 | 36.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7564 | μmol/L | 11.727 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.834 | 124404.9587 | 276262.8376 | 32.55 | 27.7
90598 | 2021-04-09 19:18 | 37.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.5722 | μmol/L | 11.7392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.837 | 124353.7313 | 276216.5053 | 32.55 | 27.7
90607 | 2021-04-09 19:18 | 37.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6921 | μmol/L | 11.7392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.832 | 124307.1626 | 276192.9359 | 32.55 | 27.7
90616 | 2021-04-09 19:18 | 37.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7161 | μmol/L | 11.7392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.831 | 124255.1634 | 276167.0997 | 32.55 | 27.7
90625 | 2021-04-09 19:19 | 38.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7319 | μmol/L | 11.7453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.828 | 124201.8023 | 276134.3276 | 32.55 | 27.7
90634 | 2021-04-09 19:19 | 38.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6437 | μmol/L | 11.7575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.827 | 124157.1618 | 276097.4451 | 32.55 | 27.7
90643 | 2021-04-09 19:19 | 38.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7396 | μmol/L | 11.7575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.823 | 124095.9096 | 276074.9287 | 32.55 | 27.7
90652 | 2021-04-09 19:20 | 39.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8356 | μmol/L | 11.7575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.819 | 124042.7719 | 276030.7884 | 32.55 | 27.7
90661 | 2021-04-09 19:20 | 39.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8356 | μmol/L | 11.7575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.819 | 123985.6469 | 276000.8094 | 32.55 | 27.7
90670 | 2021-04-09 19:20 | 39.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7555 | μmol/L | 11.7636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.82 | 123939.819 | 275974.9549 | 32.55 | 27.7
90679 | 2021-04-09 19:21 | 40.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8596 | μmol/L | 11.7575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.818 | 123894.5709 | 275941.5057 | 32.55 | 27.7
90688 | 2021-04-09 19:21 | 40.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8995 | μmol/L | 11.7636 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.814 | 123845.1766 | 275913.713 | 32.55 | 27.7
90697 | 2021-04-09 19:21 | 40.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9154 | μmol/L | 11.7697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.811 | 123811.6527 | 275891.4477 | 32.55 | 27.7
90706 | 2021-04-09 19:22 | 41.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8434 | μmol/L | 11.7697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.814 | 123769.9415 | 275855.7837 | 32.55 | 27.7
90715 | 2021-04-09 19:22 | 41.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8914 | μmol/L | 11.7697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.812 | 123728.4244 | 275819.7997 | 32.55 | 27.7
90724 | 2021-04-09 19:22 | 41.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8271 | μmol/L | 11.782 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.81 | 123697.98 | 275794.1483 | 32.55 | 27.7
90733 | 2021-04-09 19:23 | 42.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7071 | μmol/L | 11.782 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.815 | 123679.5887 | 275769.6138 | 32.55 | 27.7
90742 | 2021-04-09 19:23 | 42.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.6592 | μmol/L | 11.782 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.817 | 123663.9554 | 275733.5649 | 32.55 | 27.7
90751 | 2021-04-09 19:23 | 42.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.5312 | μmol/L | 11.7881 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.82 | 123642.8384 | 275700.6284 | 32.55 | 27.7
90760 | 2021-04-09 19:24 | 43.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.4353 | μmol/L | 11.7881 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.824 | 123624.4734 | 275662.0782 | 32.55 | 27.7
90769 | 2021-04-09 19:24 | 43.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.2356 | μmol/L | 11.7942 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.83 | 123615.06 | 275648.4299 | 32.55 | 27.7
90778 | 2021-04-09 19:24 | 43.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.1078 | μmol/L | 11.8003 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.833 | 123604.0063 | 275608.7371 | 32.55 | 27.7
90787 | 2021-04-09 19:25 | 44.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.068 | μmol/L | 11.7942 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.837 | 123597.0757 | 275595.4191 | 32.55 | 27.7
90796 | 2021-04-09 19:25 | 44.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.9962 | μmol/L | 11.7942 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.84 | 123603.546 | 275560.7603 | 32.55 | 27.7
90805 | 2021-04-09 19:25 | 44.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.8366 | μmol/L | 11.8064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.842 | 123590.0242 | 275526.6026 | 32.55 | 27.7
90814 | 2021-04-09 19:26 | 45.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.6296 | μmol/L | 11.8003 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.853 | 123586.6768 | 275503.0387 | 32.55 | 27.7
90823 | 2021-04-09 19:26 | 45.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.5418 | μmol/L | 11.8125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.852 | 123585.5548 | 275474.7295 | 32.55 | 27.7
90832 | 2021-04-09 19:26 | 45.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.3828 | μmol/L | 11.8064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.861 | 123581.1448 | 275446.5834 | 32.55 | 27.7
90841 | 2021-04-09 19:27 | 46.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.2793 | μmol/L | 11.8125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.863 | 123567.9958 | 275428.4502 | 32.55 | 27.7
90850 | 2021-04-09 19:27 | 46.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 282.0091 | μmol/L | 11.8186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.872 | 123561.8621 | 275395.0136 | 32.55 | 27.7
90859 | 2021-04-09 19:27 | 46.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9933 | μmol/L | 11.8125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.875 | 123547.3718 | 275370.9544 | 32.55 | 27.7
90868 | 2021-04-09 19:28 | 47.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9138 | μmol/L | 11.8186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.876 | 123535.771 | 275351.7117 | 32.55 | 27.7
90877 | 2021-04-09 19:28 | 47.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.9219 | μmol/L | 11.8125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.878 | 123520.6805 | 275321.8211 | 32.55 | 27.7
90886 | 2021-04-09 19:28 | 47.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7472 | μmol/L | 11.8186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.883 | 123510.0122 | 275286.3659 | 32.55 | 27.7
90895 | 2021-04-09 19:29 | 48.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.7153 | μmol/L | 11.8247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.882 | 123492.7335 | 275264.5976 | 32.55 | 27.7
90904 | 2021-04-09 19:29 | 48.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.771 | μmol/L | 11.8186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.882 | 123483.2722 | 275248.7621 | 32.55 | 27.7
90913 | 2021-04-09 19:29 | 48.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5646 | μmol/L | 11.8308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.886 | 123455.0498 | 275210.7928 | 32.55 | 27.7
90922 | 2021-04-09 19:30 | 49.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4932 | μmol/L | 11.8308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.889 | 123436.213 | 275205.7014 | 32.55 | 27.7
90931 | 2021-04-09 19:30 | 49.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4695 | μmol/L | 11.8308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.89 | 123398.4071 | 275153.0612 | 32.55 | 27.7
90940 | 2021-04-09 19:30 | 49.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.517 | μmol/L | 11.8308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.888 | 123370.9919 | 275133.7192 | 32.55 | 27.7
90949 | 2021-04-09 19:31 | 50.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.517 | μmol/L | 11.8308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.888 | 123344.0395 | 275094.0856 | 32.55 | 27.7
90958 | 2021-04-09 19:31 | 50.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5089 | μmol/L | 11.8369 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.886 | 123296.587 | 275075.571 | 32.55 | 27.7
90967 | 2021-04-09 19:31 | 50.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4296 | μmol/L | 11.843 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.887 | 123269.5842 | 275055.6634 | 32.55 | 27.7
90976 | 2021-04-09 19:32 | 51.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6121 | μmol/L | 11.8308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.884 | 123227.9425 | 275033.5336 | 32.55 | 27.7
90985 | 2021-04-09 19:32 | 51.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5247 | μmol/L | 11.843 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.883 | 123187.8459 | 275010.6261 | 32.55 | 27.7
90994 | 2021-04-09 19:32 | 51.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6436 | μmol/L | 11.843 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.878 | 123153.146 | 274992.798 | 32.55 | 27.7
91003 | 2021-04-09 19:33 | 52.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.461 | μmol/L | 11.8552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.881 | 123117.0086 | 274965.0154 | 32.55 | 27.7
91012 | 2021-04-09 19:33 | 52.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5404 | μmol/L | 11.8491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.88 | 123075.9962 | 274950.5455 | 32.55 | 27.7
91021 | 2021-04-09 19:33 | 52.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.6673 | μmol/L | 11.843 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.877 | 123042.3449 | 274923.961 | 32.55 | 27.7
91030 | 2021-04-09 19:34 | 53.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5086 | μmol/L | 11.8552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.879 | 123016.3024 | 274893.3562 | 32.55 | 27.7
91039 | 2021-04-09 19:34 | 53.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5166 | μmol/L | 11.8491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.881 | 122980.9504 | 274887.5539 | 32.55 | 27.7
91048 | 2021-04-09 19:34 | 53.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4848 | μmol/L | 11.8552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.88 | 122952.8067 | 274857.2512 | 32.55 | 27.7
91057 | 2021-04-09 19:35 | 54.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.5323 | μmol/L | 11.8552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.878 | 122939.8292 | 274839.5079 | 32.55 | 27.7
91066 | 2021-04-09 19:35 | 54.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.4292 | μmol/L | 11.8613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.88 | 122909.8996 | 274807.4295 | 32.55 | 27.7
91075 | 2021-04-09 19:35 | 54.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.3184 | μmol/L | 11.8552 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.887 | 122903.3879 | 274787.2562 | 32.55 | 27.7
91084 | 2021-04-09 19:36 | 55.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2866 | μmol/L | 11.8613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.886 | 122882.3293 | 274764.5357 | 32.55 | 27.7
91093 | 2021-04-09 19:36 | 55.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2311 | μmol/L | 11.8674 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.886 | 122873.2104 | 274738.0785 | 32.55 | 27.7
91102 | 2021-04-09 19:36 | 55.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.2154 | μmol/L | 11.8613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.889 | 122869.5414 | 274712.9081 | 32.55 | 27.7
91111 | 2021-04-09 19:37 | 56.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.1124 | μmol/L | 11.8674 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.891 | 122847.3711 | 274703.9622 | 32.55 | 27.7
91120 | 2021-04-09 19:37 | 56.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.962 | μmol/L | 11.8735 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.895 | 122839.1538 | 274683.564 | 32.55 | 27.7
91129 | 2021-04-09 19:37 | 56.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.1204 | μmol/L | 11.8613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.893 | 122829.2031 | 274661.9957 | 32.55 | 27.7
91138 | 2021-04-09 19:38 | 57.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 281.0492 | μmol/L | 11.8613 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.896 | 122811.4918 | 274652.4013 | 32.55 | 27.7
91147 | 2021-04-09 19:38 | 57.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8434 | μmol/L | 11.8735 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.9 | 122798.2042 | 274608.3033 | 32.55 | 27.7
91156 | 2021-04-09 19:38 | 57.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 280.8752 | μmol/L | 11.8674 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.901 | 122786.2974 | 274585.9291 | 32.55 | 27.7