## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 16:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
78598 | 2021-04-07 16:13 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1856 | μmol/L | 11.3079 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.158 | 140245.188 | 305387.7858 | 59.9307 | 38.1
78607 | 2021-04-07 16:14 | 0.34166 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1778 | μmol/L | 11.314 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.156 | 140245.3705 | 305404.3756 | 59.9307 | 38.1
78616 | 2021-04-07 16:14 | 0.67483 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.2248 | μmol/L | 11.314 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.154 | 140221.658 | 305402.5321 | 59.9307 | 38.1
78625 | 2021-04-07 16:14 | 1.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1856 | μmol/L | 11.3261 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.151 | 140205.1079 | 305403.9961 | 59.9307 | 38.1
78634 | 2021-04-07 16:15 | 1.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1386 | μmol/L | 11.3261 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.153 | 140194.1385 | 305386.6576 | 59.9307 | 38.1
78643 | 2021-04-07 16:15 | 1.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.2013 | μmol/L | 11.3322 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.148 | 140173.7989 | 305376.9509 | 59.9307 | 38.1
78652 | 2021-04-07 16:15 | 2.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1857 | μmol/L | 11.3444 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.144 | 140159.8109 | 305361.8542 | 59.9307 | 38.1
78661 | 2021-04-07 16:16 | 2.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.2092 | μmol/L | 11.3444 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.143 | 140136.58 | 305349.1938 | 59.9307 | 38.1
78670 | 2021-04-07 16:16 | 2.6745 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1074 | μmol/L | 11.3505 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.145 | 140118.4548 | 305340.4371 | 59.9307 | 38.1
78679 | 2021-04-07 16:16 | 3.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0684 | μmol/L | 11.3627 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.142 | 140104.4528 | 305333.1785 | 59.9307 | 38.1
78688 | 2021-04-07 16:17 | 3.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1859 | μmol/L | 11.3627 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.137 | 140096.4296 | 305319.9376 | 59.9307 | 38.1
78697 | 2021-04-07 16:17 | 3.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0841 | μmol/L | 11.3688 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.139 | 140079.4425 | 305307.8585 | 59.9307 | 38.1
78706 | 2021-04-07 16:17 | 4.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1546 | μmol/L | 11.3688 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.136 | 140057.1521 | 305293.9469 | 59.9307 | 38.1
78715 | 2021-04-07 16:18 | 4.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1781 | μmol/L | 11.3688 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.135 | 140041.2531 | 305293.4221 | 59.9307 | 38.1
78724 | 2021-04-07 16:18 | 4.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1391 | μmol/L | 11.381 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.132 | 140033.5314 | 305283.9883 | 59.9307 | 38.1
78733 | 2021-04-07 16:18 | 5.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1626 | μmol/L | 11.381 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.131 | 140022.5089 | 305277.4168 | 59.9307 | 38.1
78742 | 2021-04-07 16:19 | 5.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0296 | μmol/L | 11.3932 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.132 | 140005.0954 | 305270.3047 | 59.9307 | 38.1
78751 | 2021-04-07 16:19 | 5.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1784 | μmol/L | 11.3871 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.128 | 139990.4804 | 305257.2471 | 59.9307 | 38.1
78760 | 2021-04-07 16:19 | 6.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1471 | μmol/L | 11.3932 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.127 | 139968.9472 | 305259.3068 | 59.9307 | 38.1
78769 | 2021-04-07 16:20 | 6.3416 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1316 | μmol/L | 11.4053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.123 | 139963.8265 | 305246.4845 | 59.9307 | 38.1
78778 | 2021-04-07 16:20 | 6.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0924 | μmol/L | 11.3993 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.127 | 139953.4795 | 305247.868 | 59.9307 | 38.1
78787 | 2021-04-07 16:20 | 7.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1552 | μmol/L | 11.4053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.122 | 139943.9507 | 305242.2245 | 59.9307 | 38.1
78796 | 2021-04-07 16:21 | 7.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9987 | μmol/L | 11.4175 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.124 | 139924.0141 | 305212.4524 | 59.9307 | 38.1
78805 | 2021-04-07 16:21 | 7.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1552 | μmol/L | 11.4053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.122 | 139918.4431 | 305236.6586 | 59.9307 | 38.1
78814 | 2021-04-07 16:21 | 8.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.944 | μmol/L | 11.4236 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.124 | 139906.961 | 305222.1613 | 59.9307 | 38.1
78823 | 2021-04-07 16:22 | 8.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9598 | μmol/L | 11.4297 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.121 | 139886.3628 | 305210.9641 | 59.9307 | 38.1
78832 | 2021-04-07 16:22 | 8.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0615 | μmol/L | 11.4236 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.119 | 139882.8893 | 305196.4074 | 59.9307 | 38.1
78841 | 2021-04-07 16:22 | 9.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0773 | μmol/L | 11.4297 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.116 | 139868.7525 | 305206.7594 | 59.9307 | 38.1
78850 | 2021-04-07 16:23 | 9.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9991 | μmol/L | 11.4358 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.117 | 139858.2961 | 305199.4022 | 59.9307 | 38.1
78859 | 2021-04-07 16:23 | 9.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1243 | μmol/L | 11.4297 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.114 | 139844.9695 | 305186.0742 | 59.9307 | 38.1
78868 | 2021-04-07 16:23 | 10.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0696 | μmol/L | 11.4358 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.114 | 139832.5319 | 305179.8671 | 59.9307 | 38.1
78877 | 2021-04-07 16:24 | 10.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9837 | μmol/L | 11.448 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.113 | 139821.4817 | 305187.2713 | 59.9307 | 38.1
78886 | 2021-04-07 16:24 | 10.6748 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.0307 | μmol/L | 11.448 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.111 | 139810.8297 | 305155.911 | 59.9307 | 38.1
78895 | 2021-04-07 16:24 | 11.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 276.1089 | μmol/L | 11.4419 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.11 | 139815.7486 | 305176.2612 | 59.9307 | 38.1
78904 | 2021-04-07 16:25 | 11.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9837 | μmol/L | 11.448 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.113 | 139799.1434 | 305161.7735 | 59.9307 | 38.1
78913 | 2021-04-07 16:25 | 11.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9526 | μmol/L | 11.4541 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.112 | 139796.257 | 305162.7844 | 59.9307 | 38.1
78922 | 2021-04-07 16:25 | 12.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9449 | μmol/L | 11.4602 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.11 | 139775.8676 | 305136.7254 | 59.9307 | 38.1
78931 | 2021-04-07 16:26 | 12.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8979 | μmol/L | 11.4602 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.112 | 139775.8648 | 305151.5893 | 59.9307 | 38.1
78940 | 2021-04-07 16:26 | 12.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.9372 | μmol/L | 11.4663 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.108 | 139767.597 | 305123.3412 | 59.9307 | 38.1
78949 | 2021-04-07 16:26 | 13.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8515 | μmol/L | 11.4785 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.107 | 139762.9425 | 305136.2415 | 59.9307 | 38.1
78958 | 2021-04-07 16:27 | 13.3413 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8826 | μmol/L | 11.4724 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.108 | 139757.0186 | 305140.2732 | 59.9307 | 38.1
78967 | 2021-04-07 16:27 | 13.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.828 | μmol/L | 11.4785 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.108 | 139740.0095 | 305113.3094 | 59.9307 | 38.1
78976 | 2021-04-07 16:27 | 14.0079 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8515 | μmol/L | 11.4785 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.107 | 139729.6412 | 305118.7619 | 59.9307 | 38.1
78985 | 2021-04-07 16:28 | 14.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8749 | μmol/L | 11.4785 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.106 | 139735.7393 | 305118.4764 | 59.9307 | 38.1
78994 | 2021-04-07 16:28 | 14.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8673 | μmol/L | 11.4846 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.104 | 139720.344 | 305100.4553 | 59.9307 | 38.1
79003 | 2021-04-07 16:28 | 15.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7734 | μmol/L | 11.4846 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.108 | 139714.7787 | 305096.9318 | 59.9307 | 38.1
79012 | 2021-04-07 16:29 | 15.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8597 | μmol/L | 11.4907 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.102 | 139711.8071 | 305087.4133 | 59.9307 | 38.1
79021 | 2021-04-07 16:29 | 15.6744 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7581 | μmol/L | 11.4967 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.104 | 139698.4989 | 305076.6177 | 59.9307 | 38.1
79030 | 2021-04-07 16:29 | 16.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7968 | μmol/L | 11.4846 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.107 | 139694.0199 | 305079.4862 | 59.9307 | 38.1
79039 | 2021-04-07 16:30 | 16.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8051 | μmol/L | 11.4967 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.102 | 139699.2826 | 305092.9405 | 59.9307 | 38.1
79048 | 2021-04-07 16:30 | 16.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7657 | μmol/L | 11.4907 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.106 | 139692.9959 | 305066.6692 | 59.9307 | 38.1
79057 | 2021-04-07 16:30 | 17.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8051 | μmol/L | 11.4967 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.102 | 139685.3794 | 305057.8428 | 59.9307 | 38.1
79066 | 2021-04-07 16:31 | 17.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7505 | μmol/L | 11.5028 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.102 | 139668.3739 | 305060.9906 | 59.9307 | 38.1
79075 | 2021-04-07 16:31 | 17.6744 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6959 | μmol/L | 11.5089 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.102 | 139677.7886 | 305060.3334 | 59.9307 | 38.1
79084 | 2021-04-07 16:31 | 18.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.774 | μmol/L | 11.5028 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.101 | 139658.9886 | 305044.5588 | 59.9307 | 38.1
79093 | 2021-04-07 16:32 | 18.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6489 | μmol/L | 11.5089 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.104 | 139662.4147 | 305046.6883 | 59.9307 | 38.1
79102 | 2021-04-07 16:32 | 18.6744 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6179 | μmol/L | 11.515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.103 | 139649.2068 | 305054.941 | 59.9307 | 38.1
79111 | 2021-04-07 16:32 | 19.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7118 | μmol/L | 11.515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.099 | 139635.4594 | 305041.4798 | 59.9307 | 38.1
79120 | 2021-04-07 16:33 | 19.3411 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7118 | μmol/L | 11.515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.099 | 139627.1138 | 305029.6333 | 59.9307 | 38.1
79129 | 2021-04-07 16:33 | 19.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7588 | μmol/L | 11.515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.097 | 139626.3423 | 305034.7451 | 59.9307 | 38.1
79138 | 2021-04-07 16:33 | 20.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.8527 | μmol/L | 11.515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.093 | 139616.891 | 305033.0064 | 59.9307 | 38.1
79147 | 2021-04-07 16:34 | 20.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6807 | μmol/L | 11.5211 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.098 | 139595.1473 | 305022.9856 | 59.9307 | 38.1
79156 | 2021-04-07 16:34 | 20.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6655 | μmol/L | 11.5333 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.094 | 139591.0121 | 305015.583 | 59.9307 | 38.1
79165 | 2021-04-07 16:34 | 21.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7671 | μmol/L | 11.5272 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.092 | 139579.0184 | 305027.4654 | 59.9307 | 38.1
79174 | 2021-04-07 16:35 | 21.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7436 | μmol/L | 11.5272 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.093 | 139568.2701 | 304993.8936 | 59.9307 | 38.1
79183 | 2021-04-07 16:35 | 21.6746 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.6655 | μmol/L | 11.5333 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.094 | 139574.3715 | 305013.2616 | 59.9307 | 38.1
79192 | 2021-04-07 16:35 | 22.0085 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.7125 | μmol/L | 11.5333 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.092 | 139561.0314 | 304999.8511 | 59.9307 | 38.1