## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 16:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
78599 | 2021-04-07 16:13 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.7889 | μmol/L | 11.2645 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 113155.1247 | 219645.9503 | 27.3 | 43.4
78608 | 2021-04-07 16:14 | 0.32614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.8692 | μmol/L | 11.2645 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.338 | 113165.1543 | 219650.3987 | 27.3 | 43.4
78617 | 2021-04-07 16:14 | 0.65996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.7087 | μmol/L | 11.2645 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.344 | 113159.2253 | 219651.537 | 27.3 | 43.4
78626 | 2021-04-07 16:14 | 0.99294 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.5647 | μmol/L | 11.2706 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 113148.5911 | 219654.6855 | 27.3 | 43.4
78635 | 2021-04-07 16:15 | 1.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.6344 | μmol/L | 11.2767 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.342 | 113142.1134 | 219647.7057 | 27.3 | 43.4
78644 | 2021-04-07 16:15 | 1.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.5439 | μmol/L | 11.2828 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 113141.2318 | 219634.8879 | 27.3 | 43.4
78653 | 2021-04-07 16:15 | 1.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.3836 | μmol/L | 11.2828 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.349 | 113125.9709 | 219639.5726 | 27.3 | 43.4
78662 | 2021-04-07 16:16 | 2.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.3895 | μmol/L | 11.2949 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.344 | 113122.8348 | 219631.2501 | 27.3 | 43.4
78671 | 2021-04-07 16:16 | 2.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.299 | μmol/L | 11.301 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.345 | 113110.8274 | 219620.3417 | 27.3 | 43.4
78680 | 2021-04-07 16:16 | 2.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.3524 | μmol/L | 11.301 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 113108.2889 | 219628.0899 | 27.3 | 43.4
78689 | 2021-04-07 16:17 | 3.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.3791 | μmol/L | 11.301 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.342 | 113094.4015 | 219614.2838 | 27.3 | 43.4
78698 | 2021-04-07 16:17 | 3.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.2783 | μmol/L | 11.3132 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 113084.8972 | 219610.9682 | 27.3 | 43.4
78707 | 2021-04-07 16:17 | 3.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.1715 | μmol/L | 11.3132 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.345 | 113077.6452 | 219611.6 | 27.3 | 43.4
78716 | 2021-04-07 16:18 | 4.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.2413 | μmol/L | 11.3193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.34 | 113083.8003 | 219610.7998 | 27.3 | 43.4
78725 | 2021-04-07 16:18 | 4.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.1612 | μmol/L | 11.3193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 113077.5149 | 219614.1772 | 27.3 | 43.4
78734 | 2021-04-07 16:18 | 4.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.2042 | μmol/L | 11.3254 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.339 | 113069.933 | 219599.0272 | 27.3 | 43.4
78743 | 2021-04-07 16:19 | 5.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.0605 | μmol/L | 11.3315 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.342 | 113064.57 | 219601.5677 | 27.3 | 43.4
78752 | 2021-04-07 16:19 | 5.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.9865 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.34 | 113050.2533 | 219599.3564 | 27.3 | 43.4
78761 | 2021-04-07 16:19 | 5.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.8798 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.344 | 113047.6204 | 219588.0178 | 27.3 | 43.4
78770 | 2021-04-07 16:20 | 6.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.9598 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 113046.4333 | 219581.5977 | 27.3 | 43.4
78779 | 2021-04-07 16:20 | 6.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 314.0131 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.339 | 113038.6165 | 219574.883 | 27.3 | 43.4
78788 | 2021-04-07 16:20 | 6.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.8428 | μmol/L | 11.3498 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 113036.2224 | 219572.0539 | 27.3 | 43.4
78797 | 2021-04-07 16:21 | 7.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.8325 | μmol/L | 11.3559 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 113016.8121 | 219577.6276 | 27.3 | 43.4
78806 | 2021-04-07 16:21 | 7.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.8592 | μmol/L | 11.3559 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.34 | 113010.3047 | 219572.5756 | 27.3 | 43.4
78815 | 2021-04-07 16:21 | 7.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.5885 | μmol/L | 11.3742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 113005.0843 | 219579.1285 | 27.3 | 43.4
78824 | 2021-04-07 16:22 | 8.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.7217 | μmol/L | 11.3742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.338 | 113007.9912 | 219560.017 | 27.3 | 43.4
78833 | 2021-04-07 16:22 | 8.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.5782 | μmol/L | 11.3803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 113002.0868 | 219555.8908 | 27.3 | 43.4
78842 | 2021-04-07 16:22 | 8.9934 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.7217 | μmol/L | 11.3742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.338 | 112989.0538 | 219557.5394 | 27.3 | 43.4
78851 | 2021-04-07 16:23 | 9.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.6315 | μmol/L | 11.3803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.339 | 112987.694 | 219547.7386 | 27.3 | 43.4
78860 | 2021-04-07 16:23 | 9.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.6315 | μmol/L | 11.3803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.339 | 112996.0453 | 219551.5921 | 27.3 | 43.4
78869 | 2021-04-07 16:23 | 9.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.488 | μmol/L | 11.3864 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.342 | 112978.0114 | 219542.0875 | 27.3 | 43.4
78878 | 2021-04-07 16:24 | 10.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.5146 | μmol/L | 11.3864 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 112983.5071 | 219539.9912 | 27.3 | 43.4
78887 | 2021-04-07 16:24 | 10.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.3979 | μmol/L | 11.3925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 112990.1845 | 219539.4677 | 27.3 | 43.4
78896 | 2021-04-07 16:24 | 10.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.2812 | μmol/L | 11.3986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.345 | 112986.1806 | 219533.8732 | 27.3 | 43.4
78905 | 2021-04-07 16:25 | 11.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.3446 | μmol/L | 11.3925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.345 | 112984.0992 | 219528.7899 | 27.3 | 43.4
78914 | 2021-04-07 16:25 | 11.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.228 | μmol/L | 11.3986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 112991.3332 | 219526.4165 | 27.3 | 43.4
78923 | 2021-04-07 16:25 | 11.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.1911 | μmol/L | 11.4047 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.346 | 112981.3834 | 219517.4864 | 27.3 | 43.4
78932 | 2021-04-07 16:26 | 12.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.0213 | μmol/L | 11.4108 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.35 | 112989.042 | 219519.615 | 27.3 | 43.4
78941 | 2021-04-07 16:26 | 12.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9845 | μmol/L | 11.4169 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.349 | 112990.5654 | 219520.5306 | 27.3 | 43.4
78950 | 2021-04-07 16:26 | 12.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9845 | μmol/L | 11.4169 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.349 | 112987.781 | 219524.9373 | 27.3 | 43.4
78959 | 2021-04-07 16:27 | 13.3266 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9845 | μmol/L | 11.4169 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.349 | 112987.6134 | 219503.3498 | 27.3 | 43.4
78968 | 2021-04-07 16:27 | 13.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9109 | μmol/L | 11.4291 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 112977.5629 | 219497.4464 | 27.3 | 43.4
78977 | 2021-04-07 16:27 | 13.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 313.0806 | μmol/L | 11.423 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 112977.4159 | 219506.0689 | 27.3 | 43.4
78986 | 2021-04-07 16:28 | 14.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9375 | μmol/L | 11.4291 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.346 | 112969.0639 | 219506.9654 | 27.3 | 43.4
78995 | 2021-04-07 16:28 | 14.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.8843 | μmol/L | 11.4291 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.348 | 112964.0275 | 219507.4089 | 27.3 | 43.4
79004 | 2021-04-07 16:28 | 14.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.8578 | μmol/L | 11.4291 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.349 | 112959.8108 | 219501.8342 | 27.3 | 43.4
79013 | 2021-04-07 16:29 | 15.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.8476 | μmol/L | 11.4352 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 112944.6185 | 219496.2721 | 27.3 | 43.4
79022 | 2021-04-07 16:29 | 15.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9437 | μmol/L | 11.4413 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.341 | 112947.8092 | 219492.0563 | 27.3 | 43.4
79031 | 2021-04-07 16:29 | 15.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.9805 | μmol/L | 11.4352 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.342 | 112940.1307 | 219491.0028 | 27.3 | 43.4
79040 | 2021-04-07 16:30 | 16.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.8905 | μmol/L | 11.4413 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.343 | 112940.9578 | 219492.6648 | 27.3 | 43.4
79049 | 2021-04-07 16:30 | 16.6599 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.8108 | μmol/L | 11.4413 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.346 | 112938.02 | 219488.5119 | 27.3 | 43.4
79058 | 2021-04-07 16:30 | 16.9935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.6944 | μmol/L | 11.4474 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.348 | 112930.5686 | 219493.1732 | 27.3 | 43.4
79067 | 2021-04-07 16:31 | 17.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.6842 | μmol/L | 11.4534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.346 | 112926.3881 | 219481.7168 | 27.3 | 43.4
79076 | 2021-04-07 16:31 | 17.6601 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.7107 | μmol/L | 11.4534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.345 | 112929.9621 | 219476.444 | 27.3 | 43.4
79085 | 2021-04-07 16:31 | 17.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.6576 | μmol/L | 11.4534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 112948.2507 | 219472.877 | 27.3 | 43.4
79094 | 2021-04-07 16:32 | 18.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.578 | μmol/L | 11.4534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.35 | 112934.0295 | 219467.5046 | 27.3 | 43.4
79103 | 2021-04-07 16:32 | 18.66 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.5943 | μmol/L | 11.4595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 112939.6596 | 219469.0948 | 27.3 | 43.4
79112 | 2021-04-07 16:32 | 18.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.478 | μmol/L | 11.4656 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.349 | 112929.6632 | 219463.1261 | 27.3 | 43.4
79121 | 2021-04-07 16:33 | 19.3267 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.5147 | μmol/L | 11.4595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.35 | 112940.7843 | 219463.6739 | 27.3 | 43.4
79130 | 2021-04-07 16:33 | 19.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.4249 | μmol/L | 11.4656 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.351 | 112937.1387 | 219459.1174 | 27.3 | 43.4
79139 | 2021-04-07 16:33 | 19.9936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.3352 | μmol/L | 11.4717 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.352 | 112931.6751 | 219450.6262 | 27.3 | 43.4
79148 | 2021-04-07 16:34 | 20.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.3882 | μmol/L | 11.4717 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.35 | 112927.6814 | 219450.5786 | 27.3 | 43.4
79157 | 2021-04-07 16:34 | 20.6602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.272 | μmol/L | 11.4778 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.352 | 112918.9545 | 219443.1546 | 27.3 | 43.4
79166 | 2021-04-07 16:34 | 20.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.3352 | μmol/L | 11.4717 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.352 | 112924.6748 | 219437.025 | 27.3 | 43.4
79175 | 2021-04-07 16:35 | 21.3268 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.4678 | μmol/L | 11.4717 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.347 | 112915.8968 | 219437.295 | 27.3 | 43.4
79184 | 2021-04-07 16:35 | 21.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.2618 | μmol/L | 11.4839 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.35 | 112914.1368 | 219442.1244 | 27.3 | 43.4
79193 | 2021-04-07 16:35 | 21.9932 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 312.3781 | μmol/L | 11.4778 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.348 | 112900.8812 | 219437.3025 | 27.3 | 43.4