## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 16:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
78601 | 2021-04-07 16:13 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 303.0249 | μmol/L | 11.2927 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.942 | 147371.9532 | 277449.8942 | 36.4 | 83.1
78610 | 2021-04-07 16:14 | 0.33748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.963 | μmol/L | 11.2988 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.942 | 147368.9448 | 277446.6276 | 36.4 | 83.1
78619 | 2021-04-07 16:14 | 0.67048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.963 | μmol/L | 11.2988 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.942 | 147370.7677 | 277442.18 | 36.4 | 83.1
78628 | 2021-04-07 16:14 | 1.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.7632 | μmol/L | 11.311 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.945 | 147354.3537 | 277434.0467 | 36.4 | 83.1
78637 | 2021-04-07 16:15 | 1.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.687 | μmol/L | 11.311 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.948 | 147363.276 | 277418.8492 | 36.4 | 83.1
78646 | 2021-04-07 16:15 | 1.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.5991 | μmol/L | 11.3293 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.944 | 147368.9246 | 277411.0537 | 36.4 | 83.1
78655 | 2021-04-07 16:15 | 2.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.6396 | μmol/L | 11.3232 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.945 | 147363.4892 | 277406.0819 | 36.4 | 83.1
78664 | 2021-04-07 16:16 | 2.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.7006 | μmol/L | 11.3293 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.94 | 147364.9667 | 277398.9038 | 36.4 | 83.1
78673 | 2021-04-07 16:16 | 2.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.5628 | μmol/L | 11.3355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.943 | 147358.1384 | 277397.2612 | 36.4 | 83.1
78682 | 2021-04-07 16:16 | 3.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4757 | μmol/L | 11.3416 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.944 | 147333.7881 | 277384.0814 | 36.4 | 83.1
78691 | 2021-04-07 16:17 | 3.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4901 | μmol/L | 11.3477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.941 | 147323.9263 | 277390.7472 | 36.4 | 83.1
78700 | 2021-04-07 16:17 | 3.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4935 | μmol/L | 11.3599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147293.9224 | 277375.4615 | 36.4 | 83.1
78709 | 2021-04-07 16:17 | 4.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.6169 | μmol/L | 11.3477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.936 | 147271.8287 | 277361.3824 | 36.4 | 83.1
78718 | 2021-04-07 16:18 | 4.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.5189 | μmol/L | 11.3599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.935 | 147241.4252 | 277357.605 | 36.4 | 83.1
78727 | 2021-04-07 16:18 | 4.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.5587 | μmol/L | 11.366 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.931 | 147221.2495 | 277365.0478 | 36.4 | 83.1
78736 | 2021-04-07 16:18 | 5.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.6094 | μmol/L | 11.366 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.929 | 147200.4072 | 277359.4856 | 36.4 | 83.1
78745 | 2021-04-07 16:19 | 5.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.6239 | μmol/L | 11.3721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.926 | 147191.1076 | 277359.1184 | 36.4 | 83.1
78754 | 2021-04-07 16:19 | 5.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.486 | μmol/L | 11.3782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.929 | 147182.4465 | 277337.5541 | 36.4 | 83.1
78763 | 2021-04-07 16:19 | 6.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4244 | μmol/L | 11.3843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.929 | 147176.5641 | 277342.6676 | 36.4 | 83.1
78772 | 2021-04-07 16:20 | 6.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.5005 | μmol/L | 11.3843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.926 | 147188.1289 | 277329.6821 | 36.4 | 83.1
78781 | 2021-04-07 16:20 | 6.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.3881 | μmol/L | 11.3905 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.928 | 147190.3978 | 277313.2845 | 36.4 | 83.1
78790 | 2021-04-07 16:20 | 7.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.2866 | μmol/L | 11.3905 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.932 | 147190.3812 | 277305.1355 | 36.4 | 83.1
78799 | 2021-04-07 16:21 | 7.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.2866 | μmol/L | 11.3905 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.932 | 147190.7192 | 277301.0453 | 36.4 | 83.1
78808 | 2021-04-07 16:21 | 7.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.1634 | μmol/L | 11.4027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.932 | 147181.437 | 277295.0875 | 36.4 | 83.1
78817 | 2021-04-07 16:21 | 8.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.2395 | μmol/L | 11.4027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.929 | 147174.053 | 277297.2423 | 36.4 | 83.1
78826 | 2021-04-07 16:22 | 8.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.167 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.927 | 147157.7038 | 277296.0524 | 36.4 | 83.1
78835 | 2021-04-07 16:22 | 8.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.2177 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.925 | 147117.9156 | 277277.7771 | 36.4 | 83.1
78844 | 2021-04-07 16:22 | 9.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4206 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.917 | 147086.2417 | 277279.4837 | 36.4 | 83.1
78853 | 2021-04-07 16:23 | 9.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4206 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.917 | 147070.3219 | 277280.6542 | 36.4 | 83.1
78862 | 2021-04-07 16:23 | 9.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4967 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.914 | 147042.7738 | 277250.924 | 36.4 | 83.1
78871 | 2021-04-07 16:23 | 10.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.5982 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.91 | 147029.7117 | 277251.5166 | 36.4 | 83.1
78880 | 2021-04-07 16:24 | 10.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.3626 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.912 | 147005.5247 | 277258.2737 | 36.4 | 83.1
78889 | 2021-04-07 16:24 | 10.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4133 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.91 | 146996.9501 | 277250.2207 | 36.4 | 83.1
78898 | 2021-04-07 16:24 | 11.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.388 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.911 | 146980.8448 | 277237.2572 | 36.4 | 83.1
78907 | 2021-04-07 16:25 | 11.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.4025 | μmol/L | 11.4393 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.908 | 146975.059 | 277231.9906 | 36.4 | 83.1
78916 | 2021-04-07 16:25 | 11.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.3771 | μmol/L | 11.4393 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146974.1028 | 277223.444 | 36.4 | 83.1
78925 | 2021-04-07 16:25 | 12.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.3409 | μmol/L | 11.4455 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.908 | 146965.2491 | 277225.9558 | 36.4 | 83.1
78934 | 2021-04-07 16:26 | 12.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.2032 | μmol/L | 11.4516 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.911 | 146957.6602 | 277222.4852 | 36.4 | 83.1
78943 | 2021-04-07 16:26 | 12.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.254 | μmol/L | 11.4516 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146970.9937 | 277231.054 | 36.4 | 83.1
78952 | 2021-04-07 16:26 | 13.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.1525 | μmol/L | 11.4516 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.913 | 146970.6796 | 277217.2528 | 36.4 | 83.1
78961 | 2021-04-07 16:27 | 13.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.015 | μmol/L | 11.4577 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.916 | 146989.4982 | 277201.2883 | 36.4 | 83.1
78970 | 2021-04-07 16:27 | 13.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8522 | μmol/L | 11.4638 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.92 | 146986.5722 | 277196.7728 | 36.4 | 83.1
78979 | 2021-04-07 16:27 | 14.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9643 | μmol/L | 11.4577 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.918 | 146997.3145 | 277191.4794 | 36.4 | 83.1
78988 | 2021-04-07 16:28 | 14.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.0042 | μmol/L | 11.4638 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.914 | 147001.2367 | 277183.7417 | 36.4 | 83.1
78997 | 2021-04-07 16:28 | 14.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8268 | μmol/L | 11.4638 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.921 | 147020.4007 | 277182.0688 | 36.4 | 83.1
79006 | 2021-04-07 16:28 | 15.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.628 | μmol/L | 11.476 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.924 | 147020.9939 | 277182.1618 | 36.4 | 83.1
79015 | 2021-04-07 16:29 | 15.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.816 | μmol/L | 11.4699 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.919 | 147018.1574 | 277168.9215 | 36.4 | 83.1
79024 | 2021-04-07 16:29 | 15.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7799 | μmol/L | 11.476 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.918 | 147020.3782 | 277159.7636 | 36.4 | 83.1
79033 | 2021-04-07 16:29 | 16.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.704 | μmol/L | 11.476 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.921 | 147006.2101 | 277174.4699 | 36.4 | 83.1
79042 | 2021-04-07 16:30 | 16.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6065 | μmol/L | 11.4882 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.92 | 146993.5131 | 277156.2462 | 36.4 | 83.1
79051 | 2021-04-07 16:30 | 16.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7077 | μmol/L | 11.4882 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.916 | 146987.3468 | 277167.198 | 36.4 | 83.1
79060 | 2021-04-07 16:30 | 17.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6932 | μmol/L | 11.4821 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.919 | 146968.8298 | 277160.5987 | 36.4 | 83.1
79069 | 2021-04-07 16:31 | 17.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6824 | μmol/L | 11.4882 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.917 | 146955.7691 | 277148.303 | 36.4 | 83.1
79078 | 2021-04-07 16:31 | 17.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6716 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.915 | 146946.6845 | 277160.1504 | 36.4 | 83.1
79087 | 2021-04-07 16:31 | 18.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6463 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.916 | 146935.4218 | 277143.6725 | 36.4 | 83.1
79096 | 2021-04-07 16:32 | 18.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6716 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.915 | 146924.7611 | 277145.339 | 36.4 | 83.1
79105 | 2021-04-07 16:32 | 18.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8235 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146906.3381 | 277138.2659 | 36.4 | 83.1
79114 | 2021-04-07 16:32 | 19.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8235 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146892.5688 | 277133.8198 | 36.4 | 83.1
79123 | 2021-04-07 16:33 | 19.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7621 | μmol/L | 11.5005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146884.9093 | 277132.614 | 36.4 | 83.1
79132 | 2021-04-07 16:33 | 19.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.726 | μmol/L | 11.5066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.908 | 146867.7436 | 277141.8313 | 36.4 | 83.1
79141 | 2021-04-07 16:33 | 20.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6247 | μmol/L | 11.5066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.912 | 146869.138 | 277140.1714 | 36.4 | 83.1
79150 | 2021-04-07 16:34 | 20.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7513 | μmol/L | 11.5066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.907 | 146856.7355 | 277129.4064 | 36.4 | 83.1
79159 | 2021-04-07 16:34 | 20.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6393 | μmol/L | 11.5127 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146853.1756 | 277133.7515 | 36.4 | 83.1
79168 | 2021-04-07 16:34 | 21.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7045 | μmol/L | 11.5188 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.904 | 146843.1634 | 277129.3346 | 36.4 | 83.1
79177 | 2021-04-07 16:35 | 21.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7152 | μmol/L | 11.5127 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.906 | 146836.3567 | 277130.5179 | 36.4 | 83.1
79186 | 2021-04-07 16:35 | 21.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5419 | μmol/L | 11.5249 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.908 | 146832.511 | 277113.1895 | 36.4 | 83.1
79195 | 2021-04-07 16:35 | 22.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5925 | μmol/L | 11.5249 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.906 | 146821.012 | 277103.5089 | 36.4 | 83.1