## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 16:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
78602 | 2021-04-07 16:13 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5455 | μmol/L | 11.3086 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.352 | 112951.6916 | 305564.3856 | 30.45 | 114.2
78611 | 2021-04-07 16:14 | 0.33813 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5373 | μmol/L | 11.3147 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.35 | 112943.3475 | 305580.5371 | 30.45 | 114.2
78620 | 2021-04-07 16:14 | 0.67105 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5753 | μmol/L | 11.3208 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.346 | 112935.6106 | 305583.1987 | 30.45 | 114.2
78629 | 2021-04-07 16:14 | 1.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5835 | μmol/L | 11.3147 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 112923.4612 | 305574.9304 | 30.45 | 114.2
78638 | 2021-04-07 16:15 | 1.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.5061 | μmol/L | 11.3208 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.349 | 112912.0072 | 305558.4902 | 30.45 | 114.2
78647 | 2021-04-07 16:15 | 1.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4897 | μmol/L | 11.3331 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 112897.7586 | 305566.3308 | 30.45 | 114.2
78656 | 2021-04-07 16:15 | 2.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.4354 | μmol/L | 11.3392 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 112890.9906 | 305555.3393 | 30.45 | 114.2
78665 | 2021-04-07 16:16 | 2.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.3349 | μmol/L | 11.3454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.347 | 112883.0782 | 305531.2202 | 30.45 | 114.2
78674 | 2021-04-07 16:16 | 2.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.419 | μmol/L | 11.3515 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.341 | 112881.5303 | 305532.0315 | 30.45 | 114.2
78683 | 2021-04-07 16:16 | 3.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.3349 | μmol/L | 11.3454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.347 | 112869.3519 | 305527.2719 | 30.45 | 114.2
78692 | 2021-04-07 16:17 | 3.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.3729 | μmol/L | 11.3515 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 112858.5374 | 305527.7056 | 30.45 | 114.2
78701 | 2021-04-07 16:17 | 3.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.2413 | μmol/L | 11.3638 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.344 | 112857.6843 | 305509.7674 | 30.45 | 114.2
78710 | 2021-04-07 16:17 | 4.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.2331 | μmol/L | 11.3699 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 112845.6146 | 305506.0209 | 30.45 | 114.2
78719 | 2021-04-07 16:18 | 4.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.225 | μmol/L | 11.376 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.34 | 112844.2811 | 305494.5176 | 30.45 | 114.2
78728 | 2021-04-07 16:18 | 4.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.2792 | μmol/L | 11.3699 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.34 | 112836.2708 | 305496.3671 | 30.45 | 114.2
78737 | 2021-04-07 16:18 | 5.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0555 | μmol/L | 11.3821 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 112831.1117 | 305480.5039 | 30.45 | 114.2
78746 | 2021-04-07 16:19 | 5.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0555 | μmol/L | 11.3821 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.345 | 112824.0087 | 305474.8026 | 30.45 | 114.2
78755 | 2021-04-07 16:19 | 5.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0704 | μmol/L | 11.3883 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 112814.7129 | 305466.601 | 30.45 | 114.2
78764 | 2021-04-07 16:19 | 6.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9932 | μmol/L | 11.3944 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.343 | 112811.4083 | 305458.8604 | 30.45 | 114.2
78773 | 2021-04-07 16:20 | 6.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0623 | μmol/L | 11.3944 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.34 | 112801.4843 | 305451.4958 | 30.45 | 114.2
78782 | 2021-04-07 16:20 | 6.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0393 | μmol/L | 11.3944 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.341 | 112796.0673 | 305448.36 | 30.45 | 114.2
78791 | 2021-04-07 16:20 | 7.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 272.0312 | μmol/L | 11.4005 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.339 | 112784.4493 | 305440.3178 | 30.45 | 114.2
78800 | 2021-04-07 16:21 | 7.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9079 | μmol/L | 11.4067 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 112775.4676 | 305436.4899 | 30.45 | 114.2
78809 | 2021-04-07 16:21 | 7.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9228 | μmol/L | 11.4128 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.339 | 112768.4375 | 305428.6173 | 30.45 | 114.2
78818 | 2021-04-07 16:21 | 8.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9458 | μmol/L | 11.4128 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.338 | 112768.9486 | 305427.6379 | 30.45 | 114.2
78827 | 2021-04-07 16:22 | 8.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9689 | μmol/L | 11.4128 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.337 | 112752.6827 | 305417.1395 | 30.45 | 114.2
78836 | 2021-04-07 16:22 | 8.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9838 | μmol/L | 11.4189 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.334 | 112744.7954 | 305414.7397 | 30.45 | 114.2
78845 | 2021-04-07 16:22 | 9.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9608 | μmol/L | 11.4189 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.335 | 112731.9628 | 305393.3115 | 30.45 | 114.2
78854 | 2021-04-07 16:23 | 9.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9378 | μmol/L | 11.4189 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.336 | 112733.1352 | 305399.294 | 30.45 | 114.2
78863 | 2021-04-07 16:23 | 9.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.8755 | μmol/L | 11.4312 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.334 | 112730.7802 | 305395.4351 | 30.45 | 114.2
78872 | 2021-04-07 16:23 | 10.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.9216 | μmol/L | 11.4312 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.332 | 112718.2854 | 305391.6467 | 30.45 | 114.2
78881 | 2021-04-07 16:24 | 10.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.8525 | μmol/L | 11.4312 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.335 | 112712.7123 | 305385.2464 | 30.45 | 114.2
78890 | 2021-04-07 16:24 | 10.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.8444 | μmol/L | 11.4373 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.333 | 112706.1736 | 305364.6118 | 30.45 | 114.2
78899 | 2021-04-07 16:24 | 11.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.7524 | μmol/L | 11.4373 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.337 | 112705.9433 | 305369.4105 | 30.45 | 114.2
78908 | 2021-04-07 16:25 | 11.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.6752 | μmol/L | 11.4434 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.338 | 112702.5753 | 305364.0018 | 30.45 | 114.2
78917 | 2021-04-07 16:25 | 11.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.6522 | μmol/L | 11.4434 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.339 | 112705.0266 | 305366.2685 | 30.45 | 114.2
78926 | 2021-04-07 16:25 | 12.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.7754 | μmol/L | 11.4373 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.336 | 112704.4379 | 305352.3892 | 30.45 | 114.2
78935 | 2021-04-07 16:26 | 12.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.6983 | μmol/L | 11.4434 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.337 | 112704.0323 | 305353.1865 | 30.45 | 114.2
78944 | 2021-04-07 16:26 | 12.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.5211 | μmol/L | 11.4557 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.34 | 112708.2698 | 305332.6897 | 30.45 | 114.2
78953 | 2021-04-07 16:26 | 13.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.4981 | μmol/L | 11.4557 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.341 | 112706.9003 | 305323.2852 | 30.45 | 114.2
78962 | 2021-04-07 16:27 | 13.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.4751 | μmol/L | 11.4557 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.342 | 112720.5451 | 305332.8098 | 30.45 | 114.2
78971 | 2021-04-07 16:27 | 13.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.3752 | μmol/L | 11.4618 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.344 | 112729.5166 | 305315.1437 | 30.45 | 114.2
78980 | 2021-04-07 16:27 | 14.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.4292 | μmol/L | 11.4557 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.344 | 112743.0771 | 305321.8375 | 30.45 | 114.2
78989 | 2021-04-07 16:28 | 14.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.2832 | μmol/L | 11.4618 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.348 | 112753.4417 | 305321.6772 | 30.45 | 114.2
78998 | 2021-04-07 16:28 | 14.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.2063 | μmol/L | 11.468 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.349 | 112762.6107 | 305320.4397 | 30.45 | 114.2
79007 | 2021-04-07 16:28 | 15.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0605 | μmol/L | 11.4741 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.353 | 112771.8911 | 305305.8029 | 30.45 | 114.2
79016 | 2021-04-07 16:29 | 15.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0456 | μmol/L | 11.468 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.356 | 112782.2003 | 305296.4361 | 30.45 | 114.2
79025 | 2021-04-07 16:29 | 15.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 271.0146 | μmol/L | 11.4741 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.355 | 112795.0885 | 305300.5528 | 30.45 | 114.2
79034 | 2021-04-07 16:29 | 16.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.8919 | μmol/L | 11.4802 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.358 | 112810.4165 | 305296.412 | 30.45 | 114.2
79043 | 2021-04-07 16:30 | 16.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.7772 | μmol/L | 11.4802 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.363 | 112808.547 | 305290.2727 | 30.45 | 114.2
79052 | 2021-04-07 16:30 | 16.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.6776 | μmol/L | 11.4864 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.365 | 112811.8846 | 305279.1273 | 30.45 | 114.2
79061 | 2021-04-07 16:30 | 17.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.6317 | μmol/L | 11.4864 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.367 | 112822.926 | 305279.2931 | 30.45 | 114.2
79070 | 2021-04-07 16:31 | 17.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.6856 | μmol/L | 11.4802 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.367 | 112823.2997 | 305268.4524 | 30.45 | 114.2
79079 | 2021-04-07 16:31 | 17.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.6317 | μmol/L | 11.4864 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.367 | 112823.1672 | 305257.4058 | 30.45 | 114.2
79088 | 2021-04-07 16:31 | 18.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.6008 | μmol/L | 11.4925 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.366 | 112832.8742 | 305259.2257 | 30.45 | 114.2
79097 | 2021-04-07 16:32 | 18.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.5928 | μmol/L | 11.4986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.364 | 112830.8544 | 305262.9911 | 30.45 | 114.2
79106 | 2021-04-07 16:32 | 18.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.4783 | μmol/L | 11.4986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.369 | 112832.4715 | 305246.0145 | 30.45 | 114.2
79115 | 2021-04-07 16:32 | 19.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.3787 | μmol/L | 11.5047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.371 | 112834.9849 | 305251.0156 | 30.45 | 114.2
79124 | 2021-04-07 16:33 | 19.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.4325 | μmol/L | 11.4986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.371 | 112842.96 | 305243.7051 | 30.45 | 114.2
79133 | 2021-04-07 16:33 | 19.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.4016 | μmol/L | 11.5047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.37 | 112843.3403 | 305234.1892 | 30.45 | 114.2
79142 | 2021-04-07 16:33 | 20.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.3558 | μmol/L | 11.5047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.372 | 112847.2818 | 305228.9802 | 30.45 | 114.2
79151 | 2021-04-07 16:34 | 20.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.333 | μmol/L | 11.5047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.373 | 112848.05 | 305232.3798 | 30.45 | 114.2
79160 | 2021-04-07 16:34 | 20.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.3787 | μmol/L | 11.5047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.371 | 112853.438 | 305214.3418 | 30.45 | 114.2
79169 | 2021-04-07 16:34 | 21.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.2563 | μmol/L | 11.5109 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.374 | 112854.3846 | 305216.9668 | 30.45 | 114.2
79178 | 2021-04-07 16:35 | 21.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.0963 | μmol/L | 11.5109 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.381 | 112853.9033 | 305201.6694 | 30.45 | 114.2
79187 | 2021-04-07 16:35 | 21.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.1877 | μmol/L | 11.5109 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.377 | 112863.3049 | 305211.4846 | 30.45 | 114.2
79196 | 2021-04-07 16:35 | 22.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 270.2106 | μmol/L | 11.5109 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 23.376 | 112856.1447 | 305194.2022 | 30.45 | 114.2