## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 16:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
78603 | 2021-04-07 16:13 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2936 | μmol/L | 11.2424 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.046 | 162780.4045 | 299742.211 | 59.9307 | 49.4
78612 | 2021-04-07 16:14 | 0.32813 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.309 | μmol/L | 11.2486 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.043 | 162766.6923 | 299733.3004 | 59.9307 | 49.4
78621 | 2021-04-07 16:14 | 0.66093 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3244 | μmol/L | 11.2547 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.04 | 162742.1653 | 299698.6292 | 59.9307 | 49.4
78630 | 2021-04-07 16:14 | 0.99479 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3159 | μmol/L | 11.2609 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.038 | 162740.8085 | 299699.5854 | 59.9307 | 49.4
78639 | 2021-04-07 16:15 | 1.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3159 | μmol/L | 11.2609 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.038 | 162702.289 | 299703.8237 | 59.9307 | 49.4
78648 | 2021-04-07 16:15 | 1.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3553 | μmol/L | 11.267 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.034 | 162694.4459 | 299710.1711 | 59.9307 | 49.4
78657 | 2021-04-07 16:15 | 1.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.275 | μmol/L | 11.2732 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.035 | 162676.9043 | 299698.6146 | 59.9307 | 49.4
78666 | 2021-04-07 16:16 | 2.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3143 | μmol/L | 11.2793 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.031 | 162653.6206 | 299692.936 | 59.9307 | 49.4
78675 | 2021-04-07 16:16 | 2.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2665 | μmol/L | 11.2793 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.033 | 162634.9864 | 299666.5888 | 59.9307 | 49.4
78684 | 2021-04-07 16:16 | 2.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2734 | μmol/L | 11.2917 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.028 | 162621.1991 | 299670.5066 | 59.9307 | 49.4
78693 | 2021-04-07 16:17 | 3.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3298 | μmol/L | 11.2855 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.028 | 162602.8163 | 299669.3738 | 59.9307 | 49.4
78702 | 2021-04-07 16:17 | 3.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2256 | μmol/L | 11.2917 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.03 | 162587.0107 | 299659.5528 | 59.9307 | 49.4
78711 | 2021-04-07 16:17 | 3.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3692 | μmol/L | 11.2917 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.024 | 162573.3757 | 299658.6312 | 59.9307 | 49.4
78720 | 2021-04-07 16:18 | 4.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2804 | μmol/L | 11.304 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.023 | 162549.9846 | 299656.1166 | 59.9307 | 49.4
78729 | 2021-04-07 16:18 | 4.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2565 | μmol/L | 11.304 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.024 | 162529.25 | 299637.2341 | 59.9307 | 49.4
78738 | 2021-04-07 16:18 | 4.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2241 | μmol/L | 11.3101 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.023 | 162507.7562 | 299639.1466 | 59.9307 | 49.4
78747 | 2021-04-07 16:19 | 5.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2481 | μmol/L | 11.3101 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.022 | 162507.5482 | 299644.5385 | 59.9307 | 49.4
78756 | 2021-04-07 16:19 | 5.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.2959 | μmol/L | 11.3101 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.02 | 162496.8171 | 299633.5115 | 59.9307 | 49.4
78765 | 2021-04-07 16:19 | 5.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.3677 | μmol/L | 11.3101 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.017 | 162474.5249 | 299635.0539 | 59.9307 | 49.4
78774 | 2021-04-07 16:20 | 6.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.279 | μmol/L | 11.3224 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.016 | 162458.471 | 299625.3725 | 59.9307 | 49.4
78783 | 2021-04-07 16:20 | 6.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1425 | μmol/L | 11.3348 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.017 | 162441.5766 | 299614.2735 | 59.9307 | 49.4
78792 | 2021-04-07 16:20 | 6.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1063 | μmol/L | 11.3409 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.016 | 162438.4536 | 299603.7328 | 59.9307 | 49.4
78801 | 2021-04-07 16:21 | 7.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1664 | μmol/L | 11.3348 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.016 | 162428.5997 | 299596.4259 | 59.9307 | 49.4
78810 | 2021-04-07 16:21 | 7.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1102 | μmol/L | 11.3409 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.016 | 162418.5119 | 299594.3972 | 59.9307 | 49.4
78819 | 2021-04-07 16:21 | 7.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1017 | μmol/L | 11.3471 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.014 | 162420.7442 | 299600.2542 | 59.9307 | 49.4
78828 | 2021-04-07 16:22 | 8.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.03 | μmol/L | 11.3471 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.017 | 162407.9323 | 299590.254 | 59.9307 | 49.4
78837 | 2021-04-07 16:22 | 8.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0694 | μmol/L | 11.3532 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.013 | 162391.2309 | 299576.646 | 59.9307 | 49.4
78846 | 2021-04-07 16:22 | 8.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0933 | μmol/L | 11.3532 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.012 | 162368.9166 | 299568.6137 | 59.9307 | 49.4
78855 | 2021-04-07 16:23 | 9.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0656 | μmol/L | 11.3532 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.013 | 162360.4753 | 299558.2479 | 59.9307 | 49.4
78864 | 2021-04-07 16:23 | 9.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0048 | μmol/L | 11.3655 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.011 | 162341.6926 | 299564.2216 | 59.9307 | 49.4
78873 | 2021-04-07 16:23 | 9.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1173 | μmol/L | 11.3532 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.011 | 162328.6968 | 299550.8231 | 59.9307 | 49.4
78882 | 2021-04-07 16:24 | 10.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0249 | μmol/L | 11.3655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.01 | 162316.5651 | 299550.902 | 59.9307 | 49.4
78891 | 2021-04-07 16:24 | 10.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0765 | μmol/L | 11.3655 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.008 | 162313.9351 | 299573.7698 | 59.9307 | 49.4
78900 | 2021-04-07 16:24 | 10.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0921 | μmol/L | 11.3717 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.005 | 162297.4612 | 299541.095 | 59.9307 | 49.4
78909 | 2021-04-07 16:25 | 11.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0442 | μmol/L | 11.3717 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.007 | 162281.3661 | 299542.7075 | 59.9307 | 49.4
78918 | 2021-04-07 16:25 | 11.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.9079 | μmol/L | 11.384 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.008 | 162273.046 | 299541.9588 | 59.9307 | 49.4
78927 | 2021-04-07 16:25 | 11.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1076 | μmol/L | 11.3779 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.002 | 162245.6124 | 299510.1247 | 59.9307 | 49.4
78936 | 2021-04-07 16:26 | 12.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1555 | μmol/L | 11.3779 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23 | 162237.5924 | 299529.4017 | 59.9307 | 49.4
78945 | 2021-04-07 16:26 | 12.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0753 | μmol/L | 11.384 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.001 | 162227.9071 | 299520.6848 | 59.9307 | 49.4
78954 | 2021-04-07 16:26 | 12.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.043 | μmol/L | 11.3902 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23 | 162206.7738 | 299519.5886 | 59.9307 | 49.4
78963 | 2021-04-07 16:27 | 13.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.067 | μmol/L | 11.3902 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.999 | 162201.7078 | 299511.8959 | 59.9307 | 49.4
78972 | 2021-04-07 16:27 | 13.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0825 | μmol/L | 11.3963 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.996 | 162189.3066 | 299521.0729 | 59.9307 | 49.4
78981 | 2021-04-07 16:27 | 13.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.9869 | μmol/L | 11.3963 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23 | 162182.2941 | 299521.3743 | 59.9307 | 49.4
78990 | 2021-04-07 16:28 | 14.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0742 | μmol/L | 11.4025 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.994 | 162173.9301 | 299483.6367 | 59.9307 | 49.4
78999 | 2021-04-07 16:28 | 14.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1065 | μmol/L | 11.3963 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.995 | 162170.2391 | 299516.1006 | 59.9307 | 49.4
79008 | 2021-04-07 16:28 | 14.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0024 | μmol/L | 11.4025 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.997 | 162155.4794 | 299505.4426 | 59.9307 | 49.4
79017 | 2021-04-07 16:29 | 15.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0419 | μmol/L | 11.4086 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.993 | 162139.1271 | 299508.8485 | 59.9307 | 49.4
79026 | 2021-04-07 16:29 | 15.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.9857 | μmol/L | 11.4148 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.993 | 162139.0265 | 299512.1476 | 59.9307 | 49.4
79035 | 2021-04-07 16:29 | 15.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0859 | μmol/L | 11.4086 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.991 | 162129.5885 | 299501.2199 | 59.9307 | 49.4
79044 | 2021-04-07 16:30 | 16.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0815 | μmol/L | 11.4148 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.989 | 162114.2812 | 299494.0838 | 59.9307 | 49.4
79053 | 2021-04-07 16:30 | 16.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0013 | μmol/L | 11.421 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.99 | 162104.2226 | 299493.2379 | 59.9307 | 49.4
79062 | 2021-04-07 16:30 | 16.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0537 | μmol/L | 11.4148 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.99 | 162084.1595 | 299478.3648 | 59.9307 | 49.4
79071 | 2021-04-07 16:31 | 17.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.9653 | μmol/L | 11.4271 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.989 | 162074.1442 | 299470.2427 | 59.9307 | 49.4
79080 | 2021-04-07 16:31 | 17.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.9892 | μmol/L | 11.4271 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.988 | 162066.6792 | 299457.4825 | 59.9307 | 49.4
79089 | 2021-04-07 16:31 | 17.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0971 | μmol/L | 11.421 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.986 | 162048.094 | 299462.8968 | 59.9307 | 49.4
79098 | 2021-04-07 16:32 | 18.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1088 | μmol/L | 11.4271 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.983 | 162055.5664 | 299467.7167 | 59.9307 | 49.4
79107 | 2021-04-07 16:32 | 18.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0086 | μmol/L | 11.4333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.985 | 162042.1143 | 299456.2403 | 59.9307 | 49.4
79116 | 2021-04-07 16:32 | 18.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0086 | μmol/L | 11.4333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.985 | 162034.391 | 299445.4064 | 59.9307 | 49.4
79125 | 2021-04-07 16:33 | 19.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0086 | μmol/L | 11.4333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.985 | 162036.2567 | 299464.5216 | 59.9307 | 49.4
79134 | 2021-04-07 16:33 | 19.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.9369 | μmol/L | 11.4333 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.988 | 162034.4875 | 299458.8386 | 59.9307 | 49.4
79143 | 2021-04-07 16:33 | 19.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.1005 | μmol/L | 11.4333 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.981 | 162012.6462 | 299453.7344 | 59.9307 | 49.4
79152 | 2021-04-07 16:34 | 20.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.8724 | μmol/L | 11.4456 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.986 | 162019.9133 | 299430.3967 | 59.9307 | 49.4
79161 | 2021-04-07 16:34 | 20.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.7924 | μmol/L | 11.4517 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.987 | 162007.778 | 299448.1898 | 59.9307 | 49.4
79170 | 2021-04-07 16:34 | 20.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.912 | μmol/L | 11.4517 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.982 | 161998.9255 | 299437.617 | 59.9307 | 49.4
79179 | 2021-04-07 16:35 | 21.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 281.0204 | μmol/L | 11.4394 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.982 | 161996.0592 | 299412.7155 | 59.9307 | 49.4
79188 | 2021-04-07 16:35 | 21.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.7886 | μmol/L | 11.4517 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 22.987 | 161995.3768 | 299421.7428 | 59.9307 | 49.4
79197 | 2021-04-07 16:35 | 21.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.8641 | μmol/L | 11.4517 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 22.984 | 161965.4926 | 299427.4557 | 59.9307 | 49.4