## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 16:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
78604 | 2021-04-07 16:13 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.1681 | μmol/L | 11.4374 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.34 | 162173.4092 | 314838.4788 | 33.25 | 68.6
78613 | 2021-04-07 16:14 | 0.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.2017 | μmol/L | 11.4435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.336 | 162170.0138 | 314846.1968 | 33.25 | 68.6
78622 | 2021-04-07 16:14 | 0.66847 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.2905 | μmol/L | 11.4435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.332 | 162157.3092 | 314847.0637 | 33.25 | 68.6
78631 | 2021-04-07 16:14 | 1.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.3127 | μmol/L | 11.4435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.331 | 162139.8244 | 314833.899 | 33.25 | 68.6
78640 | 2021-04-07 16:15 | 1.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.302 | μmol/L | 11.4496 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.329 | 162120.6353 | 314832.1912 | 33.25 | 68.6
78649 | 2021-04-07 16:15 | 1.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.2024 | μmol/L | 11.4556 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.331 | 162097.7247 | 314807.1771 | 33.25 | 68.6
78658 | 2021-04-07 16:15 | 2.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.1587 | μmol/L | 11.4678 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.328 | 162097.9712 | 314800.9689 | 33.25 | 68.6
78667 | 2021-04-07 16:16 | 2.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.0921 | μmol/L | 11.4678 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.331 | 162073.7692 | 314796.4464 | 33.25 | 68.6
78676 | 2021-04-07 16:16 | 2.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.1258 | μmol/L | 11.4738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.327 | 162058.0261 | 314804.855 | 33.25 | 68.6
78685 | 2021-04-07 16:16 | 3.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.2253 | μmol/L | 11.4678 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.325 | 162047.2952 | 314787.4637 | 33.25 | 68.6
78694 | 2021-04-07 16:17 | 3.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.0929 | μmol/L | 11.4799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.326 | 162032.6379 | 314781.4499 | 33.25 | 68.6
78703 | 2021-04-07 16:17 | 3.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.0485 | μmol/L | 11.4799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.328 | 162011.8835 | 314748.4478 | 33.25 | 68.6
78712 | 2021-04-07 16:17 | 4.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 271.0049 | μmol/L | 11.4921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.325 | 162011.2732 | 314765.3199 | 33.25 | 68.6
78721 | 2021-04-07 16:18 | 4.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.9498 | μmol/L | 11.4981 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.325 | 161991.5388 | 314741.0127 | 33.25 | 68.6
78730 | 2021-04-07 16:18 | 4.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.9613 | μmol/L | 11.5042 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.322 | 161989.498 | 314736.1258 | 33.25 | 68.6
78739 | 2021-04-07 16:18 | 5.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.884 | μmol/L | 11.5103 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.323 | 161978.5204 | 314723.8218 | 33.25 | 68.6
78748 | 2021-04-07 16:19 | 5.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.9391 | μmol/L | 11.5042 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.323 | 161962.9014 | 314705.8513 | 33.25 | 68.6
78757 | 2021-04-07 16:19 | 5.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.9613 | μmol/L | 11.5042 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.322 | 161956.5278 | 314716.7557 | 33.25 | 68.6
78766 | 2021-04-07 16:19 | 6.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7847 | μmol/L | 11.5163 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.325 | 161952.3257 | 314698.9188 | 33.25 | 68.6
78775 | 2021-04-07 16:20 | 6.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.8512 | μmol/L | 11.5163 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.322 | 161939.7373 | 314697.5843 | 33.25 | 68.6
78784 | 2021-04-07 16:20 | 6.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7633 | μmol/L | 11.5285 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.321 | 161937.9899 | 314688.2576 | 33.25 | 68.6
78793 | 2021-04-07 16:20 | 7.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.8955 | μmol/L | 11.5163 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.32 | 161922.4234 | 314685.0508 | 33.25 | 68.6
78802 | 2021-04-07 16:21 | 7.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7411 | μmol/L | 11.5285 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.322 | 161916.5896 | 314682.6532 | 33.25 | 68.6
78811 | 2021-04-07 16:21 | 7.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7526 | μmol/L | 11.5346 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.319 | 161910.8998 | 314661.1741 | 33.25 | 68.6
78820 | 2021-04-07 16:21 | 8.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7526 | μmol/L | 11.5346 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.319 | 161894.4081 | 314668.6179 | 33.25 | 68.6
78829 | 2021-04-07 16:22 | 8.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.797 | μmol/L | 11.5346 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.317 | 161881.4727 | 314649.3687 | 33.25 | 68.6
78838 | 2021-04-07 16:22 | 8.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.7305 | μmol/L | 11.5346 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.32 | 161872.8552 | 314627.4757 | 33.25 | 68.6
78847 | 2021-04-07 16:22 | 9.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.687 | μmol/L | 11.5467 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.317 | 161860.6757 | 314628.5744 | 33.25 | 68.6
78856 | 2021-04-07 16:23 | 9.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6648 | μmol/L | 11.5467 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.318 | 161863.6503 | 314625.7528 | 33.25 | 68.6
78865 | 2021-04-07 16:23 | 9.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5656 | μmol/L | 11.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.32 | 161851.7664 | 314617.5211 | 33.25 | 68.6
78874 | 2021-04-07 16:23 | 10.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5877 | μmol/L | 11.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.319 | 161838.5467 | 314615.1192 | 33.25 | 68.6
78883 | 2021-04-07 16:24 | 10.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5222 | μmol/L | 11.5649 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.317 | 161831.2575 | 314607.8179 | 33.25 | 68.6
78892 | 2021-04-07 16:24 | 10.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.632 | μmol/L | 11.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.317 | 161841.1079 | 314600.4217 | 33.25 | 68.6
78901 | 2021-04-07 16:24 | 11.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4779 | μmol/L | 11.5649 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.319 | 161816.5793 | 314586.6001 | 33.25 | 68.6
78910 | 2021-04-07 16:25 | 11.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5328 | μmol/L | 11.5588 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.319 | 161811.4175 | 314579.4283 | 33.25 | 68.6
78919 | 2021-04-07 16:25 | 11.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4779 | μmol/L | 11.5649 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.319 | 161812.2653 | 314578.5942 | 33.25 | 68.6
78928 | 2021-04-07 16:25 | 12.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5665 | μmol/L | 11.5649 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.315 | 161808.4085 | 314577.115 | 33.25 | 68.6
78937 | 2021-04-07 16:26 | 12.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4451 | μmol/L | 11.571 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.318 | 161795.5226 | 314554.1365 | 33.25 | 68.6
78946 | 2021-04-07 16:26 | 12.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4451 | μmol/L | 11.571 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.318 | 161796.2324 | 314548.1662 | 33.25 | 68.6
78955 | 2021-04-07 16:26 | 13.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4345 | μmol/L | 11.5771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.316 | 161774.9259 | 314539.9767 | 33.25 | 68.6
78964 | 2021-04-07 16:27 | 13.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4345 | μmol/L | 11.5771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.316 | 161772.0059 | 314537.2153 | 33.25 | 68.6
78973 | 2021-04-07 16:27 | 13.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3796 | μmol/L | 11.5831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.316 | 161761.8514 | 314524.0367 | 33.25 | 68.6
78982 | 2021-04-07 16:27 | 14.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3575 | μmol/L | 11.5831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.317 | 161754.7542 | 314506.5607 | 33.25 | 68.6
78991 | 2021-04-07 16:28 | 14.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4239 | μmol/L | 11.5831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161753.5149 | 314520.698 | 33.25 | 68.6
79000 | 2021-04-07 16:28 | 14.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3912 | μmol/L | 11.5892 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.313 | 161747.6471 | 314500.0409 | 33.25 | 68.6
79009 | 2021-04-07 16:28 | 15.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4354 | μmol/L | 11.5892 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.311 | 161734.6604 | 314495.6127 | 33.25 | 68.6
79018 | 2021-04-07 16:29 | 15.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3142 | μmol/L | 11.5953 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161738.7902 | 314505.3969 | 33.25 | 68.6
79027 | 2021-04-07 16:29 | 15.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2593 | μmol/L | 11.6013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161734.0522 | 314500.3279 | 33.25 | 68.6
79036 | 2021-04-07 16:29 | 16.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2372 | μmol/L | 11.6013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.315 | 161729.6513 | 314486.5528 | 33.25 | 68.6
79045 | 2021-04-07 16:30 | 16.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2593 | μmol/L | 11.6013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161717.2298 | 314473.858 | 33.25 | 68.6
79054 | 2021-04-07 16:30 | 16.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3142 | μmol/L | 11.5953 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161711.9516 | 314476.6347 | 33.25 | 68.6
79063 | 2021-04-07 16:30 | 17.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3036 | μmol/L | 11.6013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.312 | 161712.1052 | 314469.8629 | 33.25 | 68.6
79072 | 2021-04-07 16:31 | 17.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1718 | μmol/L | 11.6135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.313 | 161700.9312 | 314461.6911 | 33.25 | 68.6
79081 | 2021-04-07 16:31 | 17.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2045 | μmol/L | 11.6074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161697.483 | 314462.5674 | 33.25 | 68.6
79090 | 2021-04-07 16:31 | 18.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.216 | μmol/L | 11.6135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.311 | 161702.3667 | 314458.8701 | 33.25 | 68.6
79099 | 2021-04-07 16:32 | 18.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1276 | μmol/L | 11.6135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.315 | 161691.1169 | 314450.3753 | 33.25 | 68.6
79108 | 2021-04-07 16:32 | 18.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1276 | μmol/L | 11.6135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.315 | 161688.2125 | 314450.8052 | 33.25 | 68.6
79117 | 2021-04-07 16:32 | 19.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0728 | μmol/L | 11.6196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.315 | 161682.5125 | 314429.9669 | 33.25 | 68.6
79126 | 2021-04-07 16:33 | 19.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1391 | μmol/L | 11.6196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.312 | 161668.6746 | 314432.5781 | 33.25 | 68.6
79135 | 2021-04-07 16:33 | 19.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0401 | μmol/L | 11.6256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.314 | 161666.4331 | 314427.6096 | 33.25 | 68.6
79144 | 2021-04-07 16:33 | 20.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1612 | μmol/L | 11.6196 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.311 | 161647.079 | 314431.1934 | 33.25 | 68.6
79153 | 2021-04-07 16:34 | 20.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1507 | μmol/L | 11.6256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.309 | 161640.202 | 314420.4323 | 33.25 | 68.6
79162 | 2021-04-07 16:34 | 20.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0517 | μmol/L | 11.6317 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.311 | 161614.0719 | 314409.9064 | 33.25 | 68.6
79171 | 2021-04-07 16:34 | 21.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.118 | μmol/L | 11.6317 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.308 | 161607.259 | 314405.3437 | 33.25 | 68.6
79180 | 2021-04-07 16:35 | 21.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0959 | μmol/L | 11.6317 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.309 | 161600.3726 | 314395.924 | 33.25 | 68.6
79189 | 2021-04-07 16:35 | 21.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1075 | μmol/L | 11.6378 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.306 | 161602.8251 | 314396.0236 | 33.25 | 68.6
79198 | 2021-04-07 16:35 | 22.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1296 | μmol/L | 11.6378 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.305 | 161572.0923 | 314397.104 | 33.25 | 68.6