## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
79202 | 2021-04-07 17:18 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5814 | μmol/L | 11.4822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 107118.5283 | 303059.8932 | 28.7 | 67.6
79211 | 2021-04-07 17:18 | 0.33999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4517 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 107114.4956 | 303075.0513 | 28.7 | 67.6
79220 | 2021-04-07 17:18 | 0.67373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6043 | μmol/L | 11.4822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 107104.8724 | 303056.511 | 28.7 | 67.6
79229 | 2021-04-07 17:19 | 1.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6426 | μmol/L | 11.4882 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 107090.6905 | 303039.6454 | 28.7 | 67.6
79238 | 2021-04-07 17:19 | 1.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4975 | μmol/L | 11.4943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 107087.2448 | 303030.8432 | 28.7 | 67.6
79247 | 2021-04-07 17:19 | 1.6731 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5509 | μmol/L | 11.4882 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 107077.3332 | 303022.872 | 28.7 | 67.6
79256 | 2021-04-07 17:20 | 2.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5588 | μmol/L | 11.5004 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 107068.7334 | 302991.0641 | 28.7 | 67.6
79265 | 2021-04-07 17:20 | 2.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.49 | μmol/L | 11.5004 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 107056.4438 | 302988.0009 | 28.7 | 67.6
79274 | 2021-04-07 17:20 | 2.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.49 | μmol/L | 11.5004 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 107037.3926 | 302985.2104 | 28.7 | 67.6
79283 | 2021-04-07 17:21 | 3.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4442 | μmol/L | 11.5004 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 107025.7056 | 302969.6008 | 28.7 | 67.6
79292 | 2021-04-07 17:21 | 3.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3908 | μmol/L | 11.5065 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 107013.5007 | 302943.1366 | 28.7 | 67.6
79301 | 2021-04-07 17:21 | 3.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3758 | μmol/L | 11.5186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 107008.2046 | 302944.9246 | 28.7 | 67.6
79310 | 2021-04-07 17:22 | 4.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3833 | μmol/L | 11.5125 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106993.4156 | 302939.4079 | 28.7 | 67.6
79319 | 2021-04-07 17:22 | 4.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3833 | μmol/L | 11.5125 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106983.388 | 302914.253 | 28.7 | 67.6
79328 | 2021-04-07 17:22 | 4.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3908 | μmol/L | 11.5065 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106976.8267 | 302903.182 | 28.7 | 67.6
79337 | 2021-04-07 17:23 | 5.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.33 | μmol/L | 11.5186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106968.2677 | 302896.5633 | 28.7 | 67.6
79346 | 2021-04-07 17:23 | 5.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3454 | μmol/L | 11.5247 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106965.4627 | 302902.2663 | 28.7 | 67.6
79355 | 2021-04-07 17:23 | 5.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3454 | μmol/L | 11.5247 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106954.7439 | 302886.37 | 28.7 | 67.6
79364 | 2021-04-07 17:24 | 6.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2767 | μmol/L | 11.5247 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106945.4276 | 302871.9648 | 28.7 | 67.6
79373 | 2021-04-07 17:24 | 6.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2996 | μmol/L | 11.5247 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106929.5791 | 302860.4006 | 28.7 | 67.6
79382 | 2021-04-07 17:24 | 6.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2388 | μmol/L | 11.5368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106924.6999 | 302860.1441 | 28.7 | 67.6
79391 | 2021-04-07 17:25 | 7.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.193 | μmol/L | 11.5368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106911.7676 | 302843.3179 | 28.7 | 67.6
79400 | 2021-04-07 17:25 | 7.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2159 | μmol/L | 11.5368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 106906.7223 | 302839.2906 | 28.7 | 67.6
79409 | 2021-04-07 17:25 | 7.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2388 | μmol/L | 11.5368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106889.8274 | 302817.701 | 28.7 | 67.6
79418 | 2021-04-07 17:26 | 8.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2313 | μmol/L | 11.5429 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.367 | 106882.7085 | 302810.724 | 28.7 | 67.6
79427 | 2021-04-07 17:26 | 8.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1398 | μmol/L | 11.5429 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106872.3882 | 302794.0106 | 28.7 | 67.6
79436 | 2021-04-07 17:26 | 8.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2542 | μmol/L | 11.5429 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.366 | 106868.0821 | 302786.2682 | 28.7 | 67.6
79445 | 2021-04-07 17:27 | 9.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1626 | μmol/L | 11.5429 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 106858.3918 | 302764.2586 | 28.7 | 67.6
79454 | 2021-04-07 17:27 | 9.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1323 | μmol/L | 11.5489 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106844.3432 | 302742.8841 | 28.7 | 67.6
79463 | 2021-04-07 17:27 | 9.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1019 | μmol/L | 11.555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.368 | 106844.7707 | 302754.9032 | 28.7 | 67.6
79472 | 2021-04-07 17:28 | 10.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1855 | μmol/L | 11.5429 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106841.5571 | 302747.8759 | 28.7 | 67.6
79481 | 2021-04-07 17:28 | 10.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0865 | μmol/L | 11.5489 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106832.6254 | 302732.6679 | 28.7 | 67.6
79490 | 2021-04-07 17:28 | 10.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0258 | μmol/L | 11.5611 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106826.3311 | 302714.0356 | 28.7 | 67.6
79499 | 2021-04-07 17:29 | 11.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9801 | μmol/L | 11.5611 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106825.335 | 302712.6234 | 28.7 | 67.6
79508 | 2021-04-07 17:29 | 11.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9572 | μmol/L | 11.5611 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106814.8722 | 302714.3656 | 28.7 | 67.6
79517 | 2021-04-07 17:29 | 11.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0562 | μmol/L | 11.555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 106816.7324 | 302689.7646 | 28.7 | 67.6
79526 | 2021-04-07 17:30 | 12.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0258 | μmol/L | 11.5611 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106820.7406 | 302693.5983 | 28.7 | 67.6
79535 | 2021-04-07 17:30 | 12.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8811 | μmol/L | 11.5671 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.373 | 106806.2268 | 302667.8011 | 28.7 | 67.6
79544 | 2021-04-07 17:30 | 12.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8354 | μmol/L | 11.5671 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106811.7914 | 302645.3345 | 28.7 | 67.6
79553 | 2021-04-07 17:31 | 13.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8886 | μmol/L | 11.5611 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106814.8649 | 302647.3778 | 28.7 | 67.6
79562 | 2021-04-07 17:31 | 13.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6754 | μmol/L | 11.5671 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.382 | 106810.0736 | 302632.8499 | 28.7 | 67.6
79571 | 2021-04-07 17:31 | 13.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7668 | μmol/L | 11.5671 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.378 | 106810.2856 | 302639.7077 | 28.7 | 67.6
79580 | 2021-04-07 17:32 | 14.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.744 | μmol/L | 11.5671 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.379 | 106815.8102 | 302618.5101 | 28.7 | 67.6
79589 | 2021-04-07 17:32 | 14.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5766 | μmol/L | 11.5732 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.384 | 106823.1293 | 302618.8571 | 28.7 | 67.6
79598 | 2021-04-07 17:32 | 14.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4322 | μmol/L | 11.5793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.388 | 106838.2714 | 302603.3319 | 28.7 | 67.6
79607 | 2021-04-07 17:33 | 15.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.455 | μmol/L | 11.5793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.387 | 106824.1117 | 302589.9413 | 28.7 | 67.6
79616 | 2021-04-07 17:33 | 15.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.455 | μmol/L | 11.5793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.387 | 106831.0139 | 302575.1309 | 28.7 | 67.6
79625 | 2021-04-07 17:33 | 15.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3865 | μmol/L | 11.5793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.39 | 106828.2251 | 302566.4397 | 28.7 | 67.6
79634 | 2021-04-07 17:34 | 16.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3791 | μmol/L | 11.5854 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.388 | 106835.3431 | 302553.2536 | 28.7 | 67.6
79643 | 2021-04-07 17:34 | 16.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4322 | μmol/L | 11.5793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.388 | 106835.8085 | 302552.8767 | 28.7 | 67.6
79652 | 2021-04-07 17:34 | 16.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3335 | μmol/L | 11.5854 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.39 | 106835.0014 | 302532.4618 | 28.7 | 67.6
79661 | 2021-04-07 17:35 | 17.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.265 | μmol/L | 11.5854 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.393 | 106826.8063 | 302541.1642 | 28.7 | 67.6
79670 | 2021-04-07 17:35 | 17.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2348 | μmol/L | 11.5914 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.392 | 106822.2716 | 302525.1383 | 28.7 | 67.6
79679 | 2021-04-07 17:35 | 17.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.326 | μmol/L | 11.5914 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.388 | 106810.3657 | 302504.6482 | 28.7 | 67.6
79688 | 2021-04-07 17:36 | 18.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3945 | μmol/L | 11.5914 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.385 | 106804.5903 | 302503.769 | 28.7 | 67.6
79697 | 2021-04-07 17:36 | 18.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2348 | μmol/L | 11.5914 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.392 | 106806.3105 | 302504.336 | 28.7 | 67.6
79706 | 2021-04-07 17:36 | 18.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3032 | μmol/L | 11.5914 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 106797.3833 | 302502.3707 | 28.7 | 67.6
79715 | 2021-04-07 17:37 | 19.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1971 | μmol/L | 11.6036 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 106799.2909 | 302489.4024 | 28.7 | 67.6
79724 | 2021-04-07 17:37 | 19.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1515 | μmol/L | 11.6036 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.391 | 106772.6704 | 302466.17 | 28.7 | 67.6
79733 | 2021-04-07 17:37 | 19.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1971 | μmol/L | 11.6036 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 106771.084 | 302452.2499 | 28.7 | 67.6
79742 | 2021-04-07 17:38 | 20.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3414 | μmol/L | 11.5975 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.385 | 106757.4137 | 302453.0025 | 28.7 | 67.6
79751 | 2021-04-07 17:38 | 20.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2656 | μmol/L | 11.6036 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.386 | 106736.3098 | 302438.1419 | 28.7 | 67.6
79760 | 2021-04-07 17:38 | 20.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.281 | μmol/L | 11.6096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.383 | 106729.7477 | 302425.3423 | 28.7 | 67.6
79769 | 2021-04-07 17:39 | 21.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3568 | μmol/L | 11.6036 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.382 | 106709.9083 | 302432.668 | 28.7 | 67.6
79778 | 2021-04-07 17:39 | 21.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3494 | μmol/L | 11.6096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.38 | 106700.1032 | 302429.0013 | 28.7 | 67.6
79787 | 2021-04-07 17:39 | 21.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.395 | μmol/L | 11.6096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.378 | 106687.6777 | 302418.6479 | 28.7 | 67.6
79796 | 2021-04-07 17:40 | 22.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4407 | μmol/L | 11.6096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 106664.1393 | 302411.6023 | 28.7 | 67.6
79805 | 2021-04-07 17:40 | 22.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4333 | μmol/L | 11.6157 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106655.3152 | 302399.8189 | 28.7 | 67.6
79814 | 2021-04-07 17:40 | 22.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4864 | μmol/L | 11.6096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106638.4191 | 302403.1016 | 28.7 | 67.6
79823 | 2021-04-07 17:41 | 23.0064 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5018 | μmol/L | 11.6157 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106630.8501 | 302374.8959 | 28.7 | 67.6
79832 | 2021-04-07 17:41 | 23.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5549 | μmol/L | 11.6096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106626.1276 | 302364.6556 | 28.7 | 67.6
79841 | 2021-04-07 17:41 | 23.6733 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4561 | μmol/L | 11.6157 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.373 | 106628.3568 | 302359.0536 | 28.7 | 67.6
79850 | 2021-04-07 17:42 | 24.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4259 | μmol/L | 11.6218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106616.6196 | 302352.0096 | 28.7 | 67.6
79859 | 2021-04-07 17:42 | 24.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4105 | μmol/L | 11.6157 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106614.7064 | 302350.4561 | 28.7 | 67.6
79868 | 2021-04-07 17:42 | 24.6731 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4185 | μmol/L | 11.6278 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 106616.5866 | 302351.0821 | 28.7 | 67.6
79877 | 2021-04-07 17:43 | 25.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3346 | μmol/L | 11.6218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 106606.255 | 302344.5101 | 28.7 | 67.6
79886 | 2021-04-07 17:43 | 25.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4487 | μmol/L | 11.6218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106601.4355 | 302328.7554 | 28.7 | 67.6
79895 | 2021-04-07 17:43 | 25.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3957 | μmol/L | 11.6278 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106585.6697 | 302315.2062 | 28.7 | 67.6
79904 | 2021-04-07 17:44 | 26.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4642 | μmol/L | 11.6278 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.368 | 106581.1946 | 302304.1195 | 28.7 | 67.6
79913 | 2021-04-07 17:44 | 26.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3655 | μmol/L | 11.6339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 106574.0572 | 302292.2244 | 28.7 | 67.6
79922 | 2021-04-07 17:44 | 26.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4487 | μmol/L | 11.6218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106572.2728 | 302300.3965 | 28.7 | 67.6
79931 | 2021-04-07 17:45 | 27.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.35 | μmol/L | 11.6278 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.373 | 106565.2067 | 302285.3742 | 28.7 | 67.6
79940 | 2021-04-07 17:45 | 27.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3272 | μmol/L | 11.6278 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106561.0689 | 302263.3893 | 28.7 | 67.6
79949 | 2021-04-07 17:45 | 27.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2514 | μmol/L | 11.6339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106568.0369 | 302278.3797 | 28.7 | 67.6
79958 | 2021-04-07 17:46 | 28.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3198 | μmol/L | 11.6339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 106559.4772 | 302257.9057 | 28.7 | 67.6
79967 | 2021-04-07 17:46 | 28.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2514 | μmol/L | 11.6339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106552.7178 | 302266.8572 | 28.7 | 67.6
79976 | 2021-04-07 17:46 | 28.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2742 | μmol/L | 11.6339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106551.0993 | 302257.1502 | 28.7 | 67.6
79985 | 2021-04-07 17:47 | 29.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1072 | μmol/L | 11.64 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.379 | 106551.2312 | 302253.0644 | 28.7 | 67.6
79994 | 2021-04-07 17:47 | 29.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1528 | μmol/L | 11.64 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.377 | 106537.2174 | 302238.2321 | 28.7 | 67.6
80003 | 2021-04-07 17:47 | 29.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1682 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106550.5858 | 302236.2979 | 28.7 | 67.6
80012 | 2021-04-07 17:48 | 30.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.077 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.378 | 106559.5775 | 302231.3718 | 28.7 | 67.6
80021 | 2021-04-07 17:48 | 30.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.016 | μmol/L | 11.64 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.383 | 106566.8453 | 302227.4686 | 28.7 | 67.6
80030 | 2021-04-07 17:48 | 30.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9403 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.384 | 106575.1391 | 302222.6053 | 28.7 | 67.6
80039 | 2021-04-07 17:49 | 31.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9476 | μmol/L | 11.64 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.386 | 106583.1113 | 302196.4364 | 28.7 | 67.6
80048 | 2021-04-07 17:49 | 31.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8491 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.388 | 106589.3823 | 302183.9592 | 28.7 | 67.6
80057 | 2021-04-07 17:49 | 31.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7808 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.391 | 106597.8862 | 302178.7067 | 28.7 | 67.6
80066 | 2021-04-07 17:50 | 32.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6369 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.395 | 106611.1851 | 302185.6597 | 28.7 | 67.6
80075 | 2021-04-07 17:50 | 32.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6824 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.393 | 106613.8422 | 302157.8371 | 28.7 | 67.6
80084 | 2021-04-07 17:50 | 32.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8036 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.39 | 106609.5628 | 302179.8469 | 28.7 | 67.6
80093 | 2021-04-07 17:51 | 33.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6142 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106594.2067 | 302152.6169 | 28.7 | 67.6
80102 | 2021-04-07 17:51 | 33.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.667 | μmol/L | 11.6461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106595.2896 | 302146.8913 | 28.7 | 67.6
80111 | 2021-04-07 17:51 | 33.6733 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5914 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.397 | 106598.2915 | 302155.8543 | 28.7 | 67.6
80120 | 2021-04-07 17:52 | 34.0064 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6142 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106598.1151 | 302155.1198 | 28.7 | 67.6
80129 | 2021-04-07 17:52 | 34.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6142 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106601.1091 | 302132.0896 | 28.7 | 67.6
80138 | 2021-04-07 17:52 | 34.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4931 | μmol/L | 11.6582 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.399 | 106589.9948 | 302128.6346 | 28.7 | 67.6
80147 | 2021-04-07 17:53 | 35.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5004 | μmol/L | 11.6521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.401 | 106595.0391 | 302115.7784 | 28.7 | 67.6
80156 | 2021-04-07 17:53 | 35.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.463 | μmol/L | 11.6643 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.398 | 106592.9865 | 302113.5859 | 28.7 | 67.6
80165 | 2021-04-07 17:53 | 35.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4021 | μmol/L | 11.6582 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.403 | 106591.4056 | 302099.0793 | 28.7 | 67.6
80174 | 2021-04-07 17:54 | 36.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4857 | μmol/L | 11.6643 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.397 | 106592.615 | 302082.2559 | 28.7 | 67.6
80183 | 2021-04-07 17:54 | 36.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4175 | μmol/L | 11.6643 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.4 | 106591.0922 | 302094.9249 | 28.7 | 67.6
80192 | 2021-04-07 17:54 | 36.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4931 | μmol/L | 11.6582 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.399 | 106588.2159 | 302078.1336 | 28.7 | 67.6
80201 | 2021-04-07 17:55 | 37.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4857 | μmol/L | 11.6643 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.397 | 106574.0262 | 302063.8028 | 28.7 | 67.6
80210 | 2021-04-07 17:55 | 37.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.3948 | μmol/L | 11.6643 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.401 | 106571.4862 | 302069.1071 | 28.7 | 67.6
80219 | 2021-04-07 17:55 | 37.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4402 | μmol/L | 11.6643 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.399 | 106559.0047 | 302066.8881 | 28.7 | 67.6
80228 | 2021-04-07 17:56 | 38.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4556 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106546.2487 | 302066.7932 | 28.7 | 67.6
80237 | 2021-04-07 17:56 | 38.3403 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5011 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.394 | 106531.7922 | 302045.3467 | 28.7 | 67.6
80246 | 2021-04-07 17:56 | 38.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5693 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.391 | 106520.3159 | 302054.5112 | 28.7 | 67.6
80255 | 2021-04-07 17:57 | 39.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5466 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.392 | 106503.8386 | 302037.4078 | 28.7 | 67.6
80264 | 2021-04-07 17:57 | 39.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5392 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.39 | 106495.8615 | 302049.5983 | 28.7 | 67.6
80273 | 2021-04-07 17:57 | 39.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6148 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 106468.506 | 302035.1388 | 28.7 | 67.6
80282 | 2021-04-07 17:58 | 40.007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8425 | μmol/L | 11.6703 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.379 | 106450.8435 | 302020.6811 | 28.7 | 67.6
80291 | 2021-04-07 17:58 | 40.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7668 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.38 | 106438.053 | 302026.2152 | 28.7 | 67.6
80300 | 2021-04-07 17:58 | 40.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8579 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 106414.0467 | 302027.2993 | 28.7 | 67.6
80309 | 2021-04-07 17:59 | 41.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8579 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 106406.9683 | 302025.4863 | 28.7 | 67.6
80318 | 2021-04-07 17:59 | 41.3404 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8278 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106390.3695 | 302031.0972 | 28.7 | 67.6
80327 | 2021-04-07 17:59 | 41.6733 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9873 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.368 | 106376.5965 | 302006.1739 | 28.7 | 67.6
80336 | 2021-04-07 18:00 | 42.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8807 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.375 | 106367.806 | 302001.3887 | 28.7 | 67.6
80345 | 2021-04-07 18:00 | 42.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9417 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.37 | 106367.9838 | 301995.3035 | 28.7 | 67.6
80354 | 2021-04-07 18:00 | 42.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9035 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106363.7053 | 301995.3804 | 28.7 | 67.6
80363 | 2021-04-07 18:01 | 43.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.805 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 106377.1824 | 301996.6781 | 28.7 | 67.6
80372 | 2021-04-07 18:01 | 43.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8205 | μmol/L | 11.6885 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.373 | 106381.7898 | 301984.9376 | 28.7 | 67.6
80381 | 2021-04-07 18:01 | 43.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8579 | μmol/L | 11.6764 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.376 | 106391.9804 | 301995.2944 | 28.7 | 67.6
80390 | 2021-04-07 18:02 | 44.0064 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7367 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.379 | 106402.6636 | 301991.8852 | 28.7 | 67.6
80399 | 2021-04-07 18:02 | 44.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6457 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.383 | 106418.2949 | 301990.9336 | 28.7 | 67.6
80408 | 2021-04-07 18:02 | 44.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6611 | μmol/L | 11.6885 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.38 | 106418.1901 | 301975.0176 | 28.7 | 67.6
80417 | 2021-04-07 18:03 | 45.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5774 | μmol/L | 11.6825 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.386 | 106425.9818 | 301975.1099 | 28.7 | 67.6
80426 | 2021-04-07 18:03 | 45.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4945 | μmol/L | 11.6946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.385 | 106431.6743 | 301972.5048 | 28.7 | 67.6
80435 | 2021-04-07 18:03 | 45.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.449 | μmol/L | 11.6946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.387 | 106434.7402 | 301966.572 | 28.7 | 67.6
80444 | 2021-04-07 18:04 | 46.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.3654 | μmol/L | 11.6885 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.393 | 106446.3917 | 301972.18 | 28.7 | 67.6
80453 | 2021-04-07 18:04 | 46.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2672 | μmol/L | 11.6946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.395 | 106455.4159 | 301965.7113 | 28.7 | 67.6
80462 | 2021-04-07 18:04 | 46.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2672 | μmol/L | 11.6946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.395 | 106454.1587 | 301961.9937 | 28.7 | 67.6
80471 | 2021-04-07 18:05 | 47.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.1917 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106456.8175 | 301956.9268 | 28.7 | 67.6
80480 | 2021-04-07 18:05 | 47.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2899 | μmol/L | 11.6946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.394 | 106450.9963 | 301941.1461 | 28.7 | 67.6
80489 | 2021-04-07 18:05 | 47.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2063 | μmol/L | 11.6885 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.4 | 106458.47 | 301948.3404 | 28.7 | 67.6
80498 | 2021-04-07 18:06 | 48.0064 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2972 | μmol/L | 11.6885 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106463.0534 | 301961.6412 | 28.7 | 67.6
80507 | 2021-04-07 18:06 | 48.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2144 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.395 | 106462.4488 | 301936.2151 | 28.7 | 67.6
80516 | 2021-04-07 18:06 | 48.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.0327 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.403 | 106447.7968 | 301923.1697 | 28.7 | 67.6
80525 | 2021-04-07 18:07 | 49.0067 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.1917 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.396 | 106441.223 | 301921.5987 | 28.7 | 67.6
80534 | 2021-04-07 18:07 | 49.3405 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.169 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.397 | 106431.8683 | 301919.2014 | 28.7 | 67.6
80543 | 2021-04-07 18:07 | 49.6736 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2144 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.395 | 106428.9052 | 301913.77 | 28.7 | 67.6
80552 | 2021-04-07 18:08 | 50.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2071 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.393 | 106421.956 | 301937.5249 | 28.7 | 67.6
80561 | 2021-04-07 18:08 | 50.3402 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2144 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.395 | 106402.1253 | 301918.603 | 28.7 | 67.6
80570 | 2021-04-07 18:08 | 50.6731 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.328 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.39 | 106392.8443 | 301917.3509 | 28.7 | 67.6
80579 | 2021-04-07 18:09 | 51.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.298 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.389 | 106370.8179 | 301901.2974 | 28.7 | 67.6
80588 | 2021-04-07 18:09 | 51.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.3662 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.386 | 106351.9397 | 301911.1649 | 28.7 | 67.6
80597 | 2021-04-07 18:09 | 51.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5026 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.38 | 106333.2174 | 301894.3799 | 28.7 | 67.6
80606 | 2021-04-07 18:10 | 52.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.631 | μmol/L | 11.6946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.379 | 106314.8572 | 301890.7281 | 28.7 | 67.6
80615 | 2021-04-07 18:10 | 52.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5327 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.381 | 106301.6856 | 301887.9838 | 28.7 | 67.6
80624 | 2021-04-07 18:10 | 52.6731 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6391 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 106288.5891 | 301884.0217 | 28.7 | 67.6
80633 | 2021-04-07 18:11 | 53.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.753 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.369 | 106263.1542 | 301884.8169 | 28.7 | 67.6
80642 | 2021-04-07 18:11 | 53.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6546 | μmol/L | 11.7128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.371 | 106253.5581 | 301885.5199 | 28.7 | 67.6
80651 | 2021-04-07 18:11 | 53.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.897 | μmol/L | 11.7007 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.365 | 106245.0719 | 301889.3514 | 28.7 | 67.6
80660 | 2021-04-07 18:12 | 54.0071 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7684 | μmol/L | 11.7128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.366 | 106229.8702 | 301892.8512 | 28.7 | 67.6
80669 | 2021-04-07 18:12 | 54.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9051 | μmol/L | 11.7128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.36 | 106210.5046 | 301876.5572 | 28.7 | 67.6
80678 | 2021-04-07 18:12 | 54.6738 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8823 | μmol/L | 11.7128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.361 | 106199.8937 | 301879.9053 | 28.7 | 67.6
80687 | 2021-04-07 18:13 | 55.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8523 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.36 | 106182.9689 | 301876.401 | 28.7 | 67.6
80696 | 2021-04-07 18:13 | 55.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0948 | μmol/L | 11.7068 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.354 | 106179.5108 | 301882.398 | 28.7 | 67.6
80705 | 2021-04-07 18:13 | 55.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0191 | μmol/L | 11.7128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.355 | 106159.5686 | 301870.5451 | 28.7 | 67.6
80714 | 2021-04-07 18:14 | 56.0072 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0875 | μmol/L | 11.7128 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.352 | 106161.8393 | 301867.2196 | 28.7 | 67.6
80723 | 2021-04-07 18:14 | 56.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.989 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.354 | 106163.1749 | 301876.8232 | 28.7 | 67.6
80732 | 2021-04-07 18:14 | 56.6737 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0346 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.352 | 106149.3173 | 301874.4752 | 28.7 | 67.6
80741 | 2021-04-07 18:15 | 57.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0118 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.353 | 106158.7079 | 301861.2428 | 28.7 | 67.6
80750 | 2021-04-07 18:15 | 57.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9662 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.355 | 106154.7921 | 301860.9397 | 28.7 | 67.6
80759 | 2021-04-07 18:15 | 57.6739 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9662 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.355 | 106156.3721 | 301857.1425 | 28.7 | 67.6
80768 | 2021-04-07 18:16 | 58.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8523 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.36 | 106160.7039 | 301859.4406 | 28.7 | 67.6
80777 | 2021-04-07 18:16 | 58.3406 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9662 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.355 | 106162.1387 | 301853.4942 | 28.7 | 67.6
80786 | 2021-04-07 18:16 | 58.6734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9817 | μmol/L | 11.725 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.352 | 106164.5252 | 301873.1717 | 28.7 | 67.6
80794 | 2021-04-07 18:17 | 59.0069 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8222 | μmol/L | 11.725 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.359 | 106158.471 | 301854.0904 | 28.7 | 67.6
80802 | 2021-04-07 18:17 | 59.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9206 | μmol/L | 11.7189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.357 | 106161.2213 | 301854.3496 | 28.7 | 67.6
80810 | 2021-04-07 18:17 | 59.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7766 | μmol/L | 11.725 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.361 | 106165.5909 | 301868.0256 | 28.7 | 67.6